## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2018 | 2700189 | 2018-10-02 |  | 11.4982 | 11.2 | 102.6625 | 2.6625 | 0.89 | 0.33506 | 0.04 | 3132 | Sample was diluted |  |  | ug/L | T223 | ICPMS18271A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 2760034 | 2018-10-04 |  | 3.9365 | 3.8 | 103.5921 | 3.5921 | 0.297 | 0.4596 | 0.05 | 3132 |  |  |  | µg/L | T221 | ICPMS18275A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 2770140 | 2018-10-12 |  | 11.033 | 11.2 | 98.5089 | -1.4911 | 0.89 | -0.18764 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T223 | ICPMS18284A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 2830105 | 2018-10-12 |  | 5.1552 | 5.09 | 101.2809 | 1.2809 | 0.526 | 0.12395 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS18284A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 2890061 | 2018-10-23 |  | 3.8304 | 3.8 | 100.8 | 0.8 | 0.297 | 0.10236 | 0.05 | 3132 |  |  |  | µg/L | T221 | ICPMS18288A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 2840111 | 2018-10-23 |  | 5.5685 | 5.33 | 104.4747 | 4.4747 | 0.571 | 0.41769 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS18288A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 2960205 | 2018-10-25 |  | 5.1662 | 5.09 | 101.4971 | 1.4971 | 0.526 | 0.14487 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS18296A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 2910154 | 2018-10-29 |  | 11.1894 | 11.2 | 99.9054 | -0.094643 | 0.89 | -0.01191 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T223 | ICPMS18302A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 2980090 | 2018-10-29 |  | 5.8464 | 5.33 | 109.6886 | 9.6886 | 0.571 | 0.90438 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS18302A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 3120135 | 2018-11-22 |  | 5.7308 | 5.33 | 107.5197 | 7.5197 | 0.571 | 0.70193 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS18320A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 3250019 | 2018-11-27 |  | 3.8843 | 3.8 | 102.2184 | 2.2184 | 0.297 | 0.28384 | 0.05 | 3132 |  |  |  | µg/L | T221 | ICPMS18327A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 3270026 | 2018-11-27 |  | 0.598 | 1.11 | 53.8739 | -46.1261 | 1.01 | -0.50693 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS18327A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 3100174 | 2018-11-28 |  | 0.562 | 1.11 | 50.6306 | -49.3694 | 1.01 | -0.54257 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T231 | ICPMS18332A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 3180066 | 2018-11-29 |  | 11.219 | 11.2 | 100.1696 | 0.16964 | 0.89 | 0.021348 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T223 | ICPMS18333A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 3330148 | 2018-12-04 |  | 3.9344 | 3.8 | 103.5368 | 3.5368 | 0.297 | 0.45253 | 0.05 | 3132 |  |  |  | µg/L | T221 | ICPMS18334A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 3320104 | 2018-12-10 |  | 11.2434 | 11.2 | 100.3875 | 0.3875 | 0.89 | 0.048764 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T223 | ICPMS18341A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 3310050 | 2018-12-10 |  | 5.5036 | 5.33 | 103.257 | 3.257 | 0.571 | 0.30403 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS18341A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 3410005 | 2018-12-13 |  | 3.9794 | 3.8 | 104.7211 | 4.7211 | 0.297 | 0.60404 | 0.05 | 3132 |  |  |  | µg/L | T221 | ICPMS18346A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 3450114 | 2019-01-29 |  | 5.4394 | 5.33 | 102.0525 | 2.0525 | 0.571 | 0.19159 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS18354A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 3540062 | 2019-02-08 |  | 3.765 | 3.8 | 99.0789 | -0.92105 | 0.297 | -0.11785 | 0.05 | 3132 |  |  |  | µg/L | T221 | ICPMS19038A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 0520007 | 2019-03-01 |  | 10.9823 | 11.2 | 98.0563 | -1.9437 | 0.89 | -0.24461 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T223 | ICPMS19059A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 0570186 | 2019-03-01 |  | 0.5647 | 1.11 | 50.8739 | -49.1261 | 1.01 | -0.5399 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS19059A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 0640092 | 2019-03-13 |  | 5.8203 | 5.33 | 109.1989 | 9.1989 | 0.571 | 0.85867 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS19064A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 0660075 | 2019-03-15 |  | 5.1842 | 5.09 | 101.8507 | 1.8507 | 0.526 | 0.17909 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS19071A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 0780096 | 2019-03-23 |  | 5.7094 | 5.33 | 107.1182 | 7.1182 | 0.571 | 0.66445 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS19078A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 0730067 | 2019-03-28 |  | 11.3519 | 11.2 | 101.3563 | 1.3563 | 0.89 | 0.17067 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T223 | ICPMS19085A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 0800127 | 2019-03-28 |  | 5.2154 | 5.09 | 102.4637 | 2.4637 | 0.526 | 0.2384 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS19085A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 0920065 | 2019-04-05 |  | 3.9016 | 3.8 | 102.6737 | 2.6737 | 0.297 | 0.34209 | 0.05 | 3132 |  |  |  | µg/L | T221 | ICPMS19093A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 0870140 | 2019-04-09 |  | 11.0586 | 11.2 | 98.7375 | -1.2625 | 0.89 | -0.15888 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T223 | ICPMS19095A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 0940209 | 2019-04-11 |  | 11.0725 | 11.2 | 98.8616 | -1.1384 | 0.89 | -0.14326 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T223 | ICPMS19099A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 1010105 | 2019-04-15 |  | 5.8749 | 5.33 | 110.2233 | 10.2233 | 0.571 | 0.95429 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS19100A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 0990128 | 2019-04-15 |  | 5.3955 | 5.09 | 106.002 | 6.002 | 0.526 | 0.5808 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS19100A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 1060103 | 2019-04-17 |  | 3.834 | 3.8 | 100.8947 | 0.89474 | 0.297 | 0.11448 | 0.05 | 3132 |  |  |  | µg/L | T221 | ICPMS19102A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 1150184 | 2019-05-02 |  | 5.5139 | 5.33 | 103.4503 | 3.4503 | 0.571 | 0.32207 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS19120A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 1130095 | 2019-05-02 |  | 5.1564 | 5.09 | 101.3045 | 1.3045 | 0.526 | 0.12624 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS19113A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 1080305 | 2019-05-03 |  | 10.2102 | 11.2 | 91.1625 | -8.8375 | 0.89 | -1.1121 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T223 | ICPMS19122A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 1280117 | 2019-05-09 |  | 0.5509 | 1.11 | 49.6306 | -50.3694 | 1.01 | -0.55356 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS19128A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 1290097 | 2019-05-17 |  | 5.678 | 5.33 | 106.5291 | 6.5291 | 0.571 | 0.60946 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS19136A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 1360139 | 2019-05-23 |  | 3.7904 | 3.8 | 99.7474 | -0.25263 | 0.297 | -0.032323 | 0.05 | 3132 |  |  |  | µg/L | T221 | ICPMS19141A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 1340212 | 2019-05-24 |  | 10.968 | 11.2 | 97.9286 | -2.0714 | 0.89 | -0.26067 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T223 | ICPMS19142A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 1410229 | 2019-05-24 |  | 0.5675 | 1.11 | 51.1261 | -48.8739 | 1.01 | -0.53713 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS19142A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 1430266 | 2019-05-30 |  | 5.7027 | 5.33 | 106.9925 | 6.9925 | 0.571 | 0.65271 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS19144A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 1490062 | 2019-06-04 |  | 10.3436 | 11.2 | 92.3536 | -7.6464 | 0.89 | -0.96225 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T223 | ICPMS19155A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 1550159 | 2019-06-11 |  | 3.7204 | 3.8 | 97.9053 | -2.0947 | 0.297 | -0.26801 | 0.05 | 3132 |  |  |  | µg/L | T221 | ICPMS19161A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 1570209 | 2019-06-11 |  | 3.8809 | 3.8 | 102.1289 | 2.1289 | 0.297 | 0.27239 | 0.05 | 3132 |  |  |  | µg/L | T221 | ICPMS19161A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 1640207 | 2019-06-18 |  | 0.5453 | 1.11 | 49.1261 | -50.8739 | 1.01 | -0.55911 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS19165A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 1620136 | 2019-06-20 |  | 5.5979 | 5.33 | 105.0263 | 5.0263 | 0.571 | 0.46918 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS19168A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 1710257 | 2019-06-25 |  | 3.8994 | 3.8 | 102.6158 | 2.6158 | 0.297 | 0.33468 | 0.05 | 3132 |  |  |  | µg/L | T221 | ICPMS19175A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 1780227 | 2019-07-08 |  | 0.5062 | 1.11 | 45.6036 | -54.3964 | 1.01 | -0.59782 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS19184A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 1760173 | 2019-07-09 |  | 5.4735 | 5.33 | 102.6923 | 2.6923 | 0.571 | 0.25131 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS19189A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 1830106 | 2019-07-09 |  | 5.0741 | 5.09 | 99.6876 | -0.31238 | 0.526 | -0.030228 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS19189A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 1840120 | 2019-07-09 |  | 0.5548 | 1.11 | 49.982 | -50.018 | 1.01 | -0.5497 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS19189A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 1900100 | 2019-07-12 |  | 3.9554 | 3.8 | 104.0895 | 4.0895 | 0.297 | 0.52323 | 0.05 | 3132 |  |  |  | µg/L | T221 | ICPMS19192A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 2000016 | 2019-07-25 |  | 5.0459 | 5.09 | 99.1336 | -0.8664 | 0.526 | -0.08384 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS19205A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 2050046 | 2019-07-26 |  | 3.7798 | 3.8 | 99.4684 | -0.53158 | 0.297 | -0.068013 | 0.05 | 3132 |  |  |  | µg/L | T221 | ICPMS19206A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 2030079 | 2019-08-07 |  | 0.6211 | 1.11 | 55.955 | -44.045 | 1.01 | -0.48406 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T231 | ICPMS19218A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 2250166 | 2019-08-21 |  | 0.5203 | 1.11 | 46.8739 | -53.1261 | 1.01 | -0.58386 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS19231A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 2180150 | 2019-08-22 |  | 11.0301 | 11.2 | 98.483 | -1.517 | 0.89 | -0.1909 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T223 | ICPMS19232A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 2270233 | 2019-08-22 |  | 4.9779 | 5.09 | 97.7976 | -2.2024 | 0.526 | -0.21312 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS19232A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 2320181 | 2019-08-30 |  | 10.9558 | 11.2 | 97.8196 | -2.1804 | 0.89 | -0.27438 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T223 | ICPMS19240A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 2390203 | 2019-08-30 |  | 0.5475 | 1.11 | 49.3243 | -50.6757 | 1.01 | -0.55693 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS19240A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 2410097 | 2019-09-06 |  | 5.1523 | 5.09 | 101.224 | 1.224 | 0.526 | 0.11844 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS19246A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 2470180 | 2019-09-10 |  | 5.5533 | 5.33 | 104.1895 | 4.1895 | 0.571 | 0.39107 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS19248A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 2480213 | 2019-09-10 |  | 4.9783 | 5.09 | 97.8055 | -2.1945 | 0.526 | -0.21236 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS19248A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 2600328 | 2019-09-24 |  | 5.5577 | 5.33 | 104.272 | 4.272 | 0.571 | 0.39877 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS19261A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 2620329 | 2019-09-25 |  | 5.0424 | 5.09 | 99.0648 | -0.93517 | 0.526 | -0.090494 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS19267A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 2560158 | 2019-09-27 |  | 11.089 | 11.2 | 99.0089 | -0.99107 | 0.89 | -0.12472 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T223 | ICPMS19268A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2019 | 2690145 | 2019-10-04 |  | 11.3957 | 11.2 | 101.7473 | 1.7473 | 0.89 | 0.21989 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T223 | ICPMS19276A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 2810114 | 2019-10-11 |  | 4.2601 | 4.53 | 94.0419 | -5.9581 | 0.545 | -0.49523 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS19282A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 2830131 | 2019-10-11 |  | 2.3007 | 2.29 | 100.4672 | 0.46725 | 0.371 | 0.028841 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS19282A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 2910178 | 2019-10-24 |  | 5.4323 | 5.33 | 101.9193 | 1.9193 | 0.571 | 0.17916 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS19295A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 2890221 | 2019-10-24 |  | 4.723 | 5.09 | 92.7898 | -7.2102 | 0.526 | -0.69772 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T229 | ICPMS19295A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 2950100 | 2019-10-28 |  | 4.306 | 4.53 | 95.0552 | -4.9448 | 0.545 | -0.41101 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS19297A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 2970173 | 2019-10-28 |  | 2.1563 | 2.29 | 94.1616 | -5.8384 | 0.371 | -0.36038 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS19297A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 3040163 | 2019-11-01 |  | 5.4748 | 5.33 | 102.7167 | 2.7167 | 0.571 | 0.25359 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS19302A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 3030027 | 2019-11-01 |  | 4.7817 | 5.09 | 93.943 | -6.057 | 0.526 | -0.58612 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS19302A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 3250088 | 2019-12-06 |  | 5.5535 | 5.33 | 104.1932 | 4.1932 | 0.571 | 0.39142 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS19326A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 3310060 | 2019-12-06 |  | 2.1793 | 2.29 | 95.1659 | -4.8341 | 0.371 | -0.29838 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS19326A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 3370105 | 2019-12-09 |  | 4.3592 | 4.53 | 96.2296 | -3.7704 | 0.545 | -0.31339 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS19340A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 3110129 | 2019-12-10 |  | 5.6666 | 5.33 | 106.3152 | 6.3152 | 0.571 | 0.58949 | 0.05 | 3132 | Value verified by rerun, same method | Sample was diluted |  | µg/L | T225 | ICPMS19343A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 3180078 | 2019-12-10 |  | 4.3661 | 4.53 | 96.3819 | -3.6181 | 0.545 | -0.30073 | 0.05 | 3132 | Value verified by rerun, same method |  |  | µg/L | T233 | ICPMS19343A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 3170095 | 2019-12-10 |  | 2.218 | 2.29 | 96.8559 | -3.1441 | 0.371 | -0.19407 | 0.05 | 3132 | Value verified by rerun, same method |  |  | µg/L | T235 | ICPMS19343A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 3230099 | 2019-12-11 |  | 0.4977 | 1.11 | 44.8378 | -55.1622 | 1.01 | -0.60624 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T231 | ICPMS19344A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 3090147 | 2019-12-13 |  | 0.5989 | 1.11 | 53.955 | -46.045 | 1.01 | -0.50604 | 0.05 | 3132 | Value verified by rerun, same method |  |  | µg/L | T231 | ICPMS19345A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 3390130 | 2019-12-17 |  | 4.3728 | 4.53 | 96.5298 | -3.4702 | 0.545 | -0.28844 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS19347A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 3440294 | 2019-12-18 |  | 5.7046 | 5.33 | 107.0281 | 7.0281 | 0.571 | 0.65604 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS19351A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 3530005 | 2019-12-23 |  | 4.4421 | 4.53 | 98.0596 | -1.9404 | 0.545 | -0.16128 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS19354A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 3600045 | 2020-01-08 |  | 5.8163 | 5.33 | 109.1238 | 9.1238 | 0.571 | 0.85166 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS20002A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 0070044 | 2020-01-08 |  | 5.1987 | 5.09 | 102.1356 | 2.1356 | 0.526 | 0.20665 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS20002A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 0090083 | 2020-01-14 |  | 0.5807 | 1.11 | 52.3153 | -47.6847 | 1.01 | -0.52406 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS20013A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 0150017 | 2020-01-16 |  | 4.5171 | 4.53 | 99.7152 | -0.28477 | 0.545 | -0.02367 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS20014A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 0220109 | 2020-01-23 |  | 5.1119 | 5.09 | 100.4303 | 0.43026 | 0.526 | 0.041635 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS20022A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 0230066 | 2020-01-29 |  | 0.5649 | 1.11 | 50.8919 | -49.1081 | 1.01 | -0.5397 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS20023A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 0280070 | 2020-02-11 |  | 4.3225 | 4.53 | 95.4194 | -4.5806 | 0.545 | -0.38073 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS20038A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 0350135 | 2020-02-12 |  | 2.1182 | 2.29 | 92.4978 | -7.5022 | 0.371 | -0.46307 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS20042A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 0420076 | 2020-02-20 |  | 0.6001 | 1.11 | 54.0631 | -45.9369 | 1.01 | -0.50485 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS20049A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 0500059 | 2020-02-26 |  | 2.2017 | 2.29 | 96.1441 | -3.8559 | 0.371 | -0.23801 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS20056A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 0560053 | 2020-03-03 |  | 0.6162 | 1.11 | 55.5135 | -44.4865 | 1.01 | -0.48891 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS20062A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 0630051 | 2020-03-04 |  | 5.7335 | 5.33 | 107.5704 | 7.5704 | 0.571 | 0.70665 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS20063A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 0650087 | 2020-03-11 |  | 5.1175 | 5.09 | 100.5403 | 0.54028 | 0.526 | 0.052281 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS20069A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 0730159 | 2020-03-30 |  | 2.1982 | 2.29 | 95.9913 | -4.0087 | 0.371 | -0.24744 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS20087A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 0770114 | 2020-03-31 |  | 5.9471 | 5.33 | 111.5779 | 11.5779 | 0.571 | 1.0807 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS20087A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 0800006 | 2020-04-01 |  | 5.0719 | 5.09 | 99.6444 | -0.3556 | 0.526 | -0.034411 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS20091A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 0860001 | 2020-04-01 |  | 2.1747 | 2.29 | 94.9651 | -5.0349 | 0.371 | -0.31078 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS20091A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 1060059 | 2020-04-20 |  | 5.0313 | 5.09 | 98.8468 | -1.1532 | 0.526 | -0.1116 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS20111A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 0980043 | 2020-04-20 |  | 4.4527 | 4.53 | 98.2936 | -1.7064 | 0.545 | -0.14183 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS20111A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 1000065 | 2020-04-20 |  | 2.1622 | 2.29 | 94.4192 | -5.5808 | 0.371 | -0.34447 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS20111A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 1120049 | 2020-04-22 |  | 4.5083 | 4.53 | 99.521 | -0.47903 | 0.545 | -0.039817 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS20113A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 1140085 | 2020-04-29 |  | 2.3939 | 2.29 | 104.5371 | 4.5371 | 0.371 | 0.28005 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS20120A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 1070054 | 2020-05-05 |  | 5.4932 | 5.33 | 103.0619 | 3.0619 | 0.571 | 0.28581 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS20125A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 1200019 | 2020-05-05 |  | 5.8154 | 5.33 | 109.1069 | 9.1069 | 0.571 | 0.85009 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS20125A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 1280003 | 2020-05-09 |  | 5.748 | 5.33 | 107.8424 | 7.8424 | 0.571 | 0.73205 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS20129A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 1330126 | 2020-06-03 |  | 2.1393 | 2.29 | 93.4192 | -6.5808 | 0.371 | -0.4062 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS20154A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 1400018 | 2020-06-29 |  | 4.4521 | 4.53 | 98.2804 | -1.7196 | 0.545 | -0.14294 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS20181A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 1550011 | 2020-06-29 |  | 4.3714 | 4.53 | 96.4989 | -3.5011 | 0.545 | -0.29101 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS20181A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 1560169 | 2020-06-29 |  | 4.3996 | 4.53 | 97.1214 | -2.8786 | 0.545 | -0.23927 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS20181A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 1630145 | 2020-07-02 |  | 0.5408 | 1.11 | 48.7207 | -51.2793 | 1.01 | -0.56356 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS20183A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 1700253 | 2020-07-20 |  | 4.5812 | 4.53 | 101.1302 | 1.1302 | 0.545 | 0.093945 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS20198A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 1890182 | 2020-07-21 |  | 5.0596 | 5.09 | 99.4028 | -0.59725 | 0.526 | -0.057795 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS20202A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 1770246 | 2020-07-21 |  | 0.5924 | 1.11 | 53.3694 | -46.6306 | 1.01 | -0.51248 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS20198A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 1430102 | 2020-08-11 |  | 5.513 | 5.33 | 103.4334 | 3.4334 | 0.571 | 0.32049 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS20218B
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 1910113 | 2020-08-11 |  | 0.5764 | 1.11 | 51.9279 | -48.0721 | 1.01 | -0.52832 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS20224A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 1960126 | 2020-08-11 |  | 4.3367 | 4.53 | 95.7329 | -4.2671 | 0.545 | -0.35468 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS20224A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 1760101 | 2020-08-27 |  | 5.3242 | 5.33 | 99.8912 | -0.10882 | 0.571 | -0.010158 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS20238A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 2040025 | 2020-09-02 |  | 5.0994 | 5.09 | 100.1847 | 0.18468 | 0.526 | 0.017871 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS20245A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 2120199 | 2020-09-03 |  | 4.55 | 4.53 | 100.4415 | 0.4415 | 0.545 | 0.036697 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS20247A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 2110030 | 2020-09-22 |  | 0.5754 | 1.11 | 51.8378 | -48.1622 | 1.01 | -0.52931 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T231 | ICPMS20265A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 2240092 | 2020-10-07 |  | 0.6251 | 1.11 | 56.3153 | -43.6847 | 1.01 | -0.4801 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS20280A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 2260122 | 2020-10-09 |  | 5.0524 | 5.09 | 99.2613 | -0.7387 | 0.526 | -0.071483 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS20281A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 2320037 | 2020-10-19 |  | 2.1851 | 2.29 | 95.4192 | -4.5808 | 0.371 | -0.28275 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS20293A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 2400048 | 2020-10-23 |  | 5.1713 | 5.09 | 101.5972 | 1.5972 | 0.526 | 0.15456 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS20297A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 2390027 | 2020-10-24 |  | 0.5732 | 1.11 | 51.6396 | -48.3604 | 1.01 | -0.53149 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS20296A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 2530137 | 2020-10-30 |  | 5.5359 | 5.33 | 103.863 | 3.863 | 0.571 | 0.3606 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS20303B
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 2610176 | 2020-11-02 |  | 2.2033 | 2.29 | 96.214 | -3.786 | 0.371 | -0.23369 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS20307B
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 2540254 | 2020-11-03 |  | 5.2634 | 5.09 | 103.4067 | 3.4067 | 0.526 | 0.32966 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS20307A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 2670298 | 2020-11-04 |  | 5.4483 | 5.33 | 102.2195 | 2.2195 | 0.571 | 0.20718 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T225 | ICPMS20307C
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 2170035 | 2020-11-05 |  | 2.203 | 2.29 | 96.2009 | -3.7991 | 0.371 | -0.2345 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS20310A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 2680088 | 2020-11-06 |  | 5.0223 | 5.09 | 98.6699 | -1.3301 | 0.526 | -0.12871 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS20310B
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 2810032 | 2020-11-13 |  | 4.5305 | 4.53 | 100.011 | 0.011038 | 0.545 | 0.00091743 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS20318A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2020 | 2750112 | 2020-11-13 |  | 2.1616 | 2.29 | 94.393 | -5.607 | 0.371 | -0.34609 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS20317A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 2820106 | 2020-11-13 |  | 2.2124 | 2.29 | 96.6114 | -3.3886 | 0.371 | -0.20916 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS20318A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 2950028 | 2020-11-23 |  | 4.5769 | 4.53 | 101.0353 | 1.0353 | 0.545 | 0.086055 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS20328B
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 2880069 | 2020-12-31 |  | 5.1469 | 5.09 | 101.1179 | 1.1179 | 0.526 | 0.10817 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS20356A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 2960114 | 2020-12-31 |  | 2.1696 | 2.29 | 94.7424 | -5.2576 | 0.371 | -0.32453 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS20356A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 3010155 | 2021-01-20 |  | 5.123 | 5.09 | 100.6483 | 0.64833 | 0.526 | 0.062738 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS21019A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 3150100 | 2021-01-22 |  | 2.1422 | 2.29 | 93.5459 | -6.4541 | 0.371 | -0.39838 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS21022A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 3080107 | 2021-01-27 |  | 0.6151 | 1.11 | 55.4144 | -44.5856 | 1.01 | -0.49 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS21020A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 3180092 | 2021-01-28 |  | 4.4887 | 4.53 | 99.0883 | -0.9117 | 0.545 | -0.07578 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS21027A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 3230039 | 2021-01-29 |  | 0.5821 | 1.11 | 52.4414 | -47.5586 | 1.01 | -0.52267 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS21027A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 3300047 | 2021-02-16 |  | 2.2599 | 2.29 | 98.6856 | -1.3144 | 0.371 | -0.081132 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS21040A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 3350001 | 2021-02-19 |  | 4.3895 | 4.53 | 96.8985 | -3.1015 | 0.545 | -0.2578 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS21047A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 3440081 | 2021-02-24 |  | 4.4281 | 4.13 | 107.2179 | 7.2179 | 0.411 | 0.7253 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T239 | ICPMS21053A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 3450088 | 2021-03-01 |  | 4.0681 | 4.53 | 89.8035 | -10.1965 | 0.545 | -0.84752 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS21056A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 3630005 | 2021-03-03 |  | 4.5145 | 4.53 | 99.6578 | -0.34216 | 0.545 | -0.02844 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS21062A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 0050024 | 2021-03-04 |  | 5.0099 | 5.09 | 98.4263 | -1.5737 | 0.526 | -0.15228 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS21062A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 3580059 | 2021-03-04 |  | 4.5472 | 4.13 | 110.1017 | 10.1017 | 0.411 | 1.0151 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T239 | ICPMS21062A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 0120036 | 2021-03-08 |  | 4.2851 | 4.53 | 94.5938 | -5.4062 | 0.545 | -0.44936 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS21063A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 0330077 | 2021-03-10 |  | 0.6069 | 1.11 | 54.6757 | -45.3243 | 1.01 | -0.49812 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS21068A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 0270078 | 2021-03-10 |  | 4.5523 | 4.53 | 100.4923 | 0.49227 | 0.545 | 0.040917 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS21067A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 0540055 | 2021-03-11 |  | 2.189 | 2.29 | 95.5895 | -4.4105 | 0.371 | -0.27224 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS21070A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 0480038 | 2021-03-12 |  | 0.5467 | 1.11 | 49.2523 | -50.7477 | 1.01 | -0.55772 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS21070A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 0400076 | 2021-03-12 |  | 2.2241 | 2.29 | 97.1223 | -2.8777 | 0.371 | -0.17763 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS21069A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 0120031 | 2021-03-19 |  | 0.6205 | 1.11 | 55.9009 | -44.0991 | 1.01 | -0.48465 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T231 | ICPMS21076A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 0210015 | 2021-03-26 |  | 4.7704 | 5.09 | 93.721 | -6.279 | 0.526 | -0.6076 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T229 | ICPMS21084A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 0210054 | 2021-03-26 |  | 0.5822 | 1.11 | 52.4505 | -47.5495 | 1.01 | -0.52257 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T231 | ICPMS21084A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 0560226 | 2021-03-30 |  | 4.3018 | 4.13 | 104.1598 | 4.1598 | 0.411 | 0.418 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T239 | ICPMS21088A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 0420166 | 2021-04-20 |  | 4.5787 | 4.13 | 110.8644 | 10.8644 | 0.411 | 1.0917 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T239 | ICPMS21109A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 0630014 | 2021-04-26 |  | 4.9908 | 5.09 | 98.0511 | -1.9489 | 0.526 | -0.18859 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS21116A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 0690088 | 2021-04-27 |  | 2.1155 | 2.29 | 92.3799 | -7.6201 | 0.371 | -0.47035 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS21117A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 0680063 | 2021-04-28 |  | 4.4283 | 4.13 | 107.2228 | 7.2228 | 0.411 | 0.72579 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T239 | ICPMS21117A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 0770038 | 2021-04-30 |  | 5.2286 | 5.09 | 102.723 | 2.723 | 0.526 | 0.2635 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS21119A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 0840106 | 2021-05-05 |  | 2.1644 | 2.29 | 94.5153 | -5.4847 | 0.371 | -0.33854 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS21123A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 0970048 | 2021-05-13 |  | 4.5305 | 4.53 | 100.011 | 0.011038 | 0.545 | 0.00091743 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS21133A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 0980125 | 2021-05-13 |  | 2.1871 | 2.29 | 95.5066 | -4.4934 | 0.371 | -0.27736 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS21133A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 1110004 | 2021-05-27 |  | 4.5419 | 4.53 | 100.2627 | 0.26269 | 0.545 | 0.021835 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS21146A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 1120199 | 2021-06-07 |  | 2.1227 | 2.29 | 92.6943 | -7.3057 | 0.371 | -0.45094 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS21158A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 0830027 | 2021-06-07 |  | 4.2124 | 4.13 | 101.9952 | 1.9952 | 0.411 | 0.20049 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T239 | ICPMS21158A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 1180038 | 2021-06-09 |  | 4.8474 | 5.09 | 95.2338 | -4.7662 | 0.526 | -0.46122 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS21158B
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 1030144 | 2021-06-10 |  | 4.8188 | 5.09 | 94.6719 | -5.3281 | 0.526 | -0.51559 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T229 | ICPMS21160A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 1250004 | 2021-06-10 |  | 0.5413 | 1.11 | 48.7658 | -51.2342 | 1.01 | -0.56307 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS21160A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 1320162 | 2021-06-23 |  | 2.2067 | 2.29 | 96.3624 | -3.6376 | 0.371 | -0.22453 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS21174A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 1380139 | 2021-06-25 |  | 0.5734 | 1.11 | 51.6577 | -48.3423 | 1.01 | -0.53129 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS21174B
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 1460003 | 2021-06-30 |  | 2.1215 | 2.29 | 92.6419 | -7.3581 | 0.371 | -0.45418 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS21181A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 1330239 | 2021-07-06 |  | 4.4156 | 4.53 | 97.4746 | -2.5254 | 0.545 | -0.20991 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS21187A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 1530098 | 2021-07-07 |  | 4.4771 | 4.53 | 98.8322 | -1.1678 | 0.545 | -0.097064 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS21188A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 1540139 | 2021-07-08 |  | 4.4211 | 4.13 | 107.0484 | 7.0484 | 0.411 | 0.70827 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T239 | ICPMS21189A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 1610179 | 2021-07-15 |  | 0.5309 | 1.11 | 47.8288 | -52.1712 | 1.01 | -0.57337 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS21196A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 1600024 | 2021-07-21 |  | 4.5078 | 4.53 | 99.5099 | -0.49007 | 0.545 | -0.040734 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS21202A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 1680018 | 2021-07-22 |  | 4.3703 | 4.53 | 96.4746 | -3.5254 | 0.545 | -0.29303 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS21203A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 1660119 | 2021-07-22 |  | 4.2362 | 4.13 | 102.5714 | 2.5714 | 0.411 | 0.25839 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T239 | ICPMS21202A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 1750332 | 2021-07-28 |  | 0.5947 | 1.11 | 53.5766 | -46.4234 | 1.01 | -0.5102 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS21209A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 1880114 | 2021-08-17 |  | 5.1966 | 5.09 | 102.0943 | 2.0943 | 0.526 | 0.20266 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS21229A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 1890249 | 2021-08-18 |  | 0.563 | 1.11 | 50.7207 | -49.2793 | 1.01 | -0.54158 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS21230B
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 1940229 | 2021-08-23 |  | 4.4502 | 4.53 | 98.2384 | -1.7616 | 0.545 | -0.14642 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS21235A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 1960202 | 2021-08-27 |  | 4.3099 | 4.13 | 104.3559 | 4.3559 | 0.411 | 0.43771 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T239 | ICPMS21238A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 2020243 | 2021-08-30 |  | 0.5351 | 1.11 | 48.2072 | -51.7928 | 1.01 | -0.56921 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS21242A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 2010231 | 2021-08-31 |  | 5.0141 | 5.09 | 98.5088 | -1.4912 | 0.526 | -0.1443 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS21242A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 2080172 | 2021-09-14 |  | 4.2978 | 4.53 | 94.8742 | -5.1258 | 0.545 | -0.42606 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS21256A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 2150046 | 2021-09-14 |  | 2.1715 | 2.29 | 94.8253 | -5.1747 | 0.371 | -0.31941 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS21257A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 2100163 | 2021-09-14 |  | 4.3991 | 4.13 | 106.5157 | 6.5157 | 0.411 | 0.65474 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T239 | ICPMS21256A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 2170003 | 2021-09-23 |  | 4.4502 | 4.13 | 107.753 | 7.753 | 0.411 | 0.77908 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T239 | ICPMS21258A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 2220178 | 2021-10-04 |  | 0.5638 | 1.11 | 50.7928 | -49.2072 | 1.01 | -0.54079 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS21274A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 2240198 | 2021-10-08 |  | 5.0713 | 5.09 | 99.6326 | -0.36739 | 0.526 | -0.035551 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS21281A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 2290121 | 2021-10-13 |  | 2.1539 | 2.29 | 94.0568 | -5.9432 | 0.371 | -0.36685 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS21286A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 2310211 | 2021-10-15 |  | 4.5763 | 4.13 | 110.8063 | 10.8063 | 0.411 | 1.0859 | 0.05 | 3132 |  |  |  | µg/L | T239 | ICPMS21287A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 2380348 | 2021-10-27 |  | 5.187 | 5.09 | 101.9057 | 1.9057 | 0.526 | 0.18441 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS21300A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 2360118 | 2021-11-01 |  | 0.5453 | 1.11 | 49.1261 | -50.8739 | 1.01 | -0.55911 | 0.05 | 3132 |  |  |  | µg/L | T231 | ICPMS21305A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 2520501 | 2021-11-09 |  | 5.4519 | 5.09 | 107.11 | 7.11 | 0.526 | 0.68802 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS21313A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 2590006 | 2021-11-16 |  | 2.0354 | 2.29 | 88.8821 | -11.1179 | 0.371 | -0.68625 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS21320A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 2580265 | 2021-11-16 |  | 4.7047 | 4.13 | 113.9153 | 13.9153 | 0.411 | 1.3983 | 0.05 | 3132 |  |  |  | µg/L | T239 | ICPMS21320A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 2660011 | 2021-11-24 |  | 5.2316 | 5.09 | 102.7819 | 2.7819 | 0.526 | 0.2692 | 0.05 | 3132 |  |  |  | µg/L | T229 | ICPMS21328A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 2790037 | 2021-12-02 |  | 4.3395 | 4.53 | 95.7947 | -4.2053 | 0.545 | -0.34954 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS21336A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 2790013 | 2021-12-02 |  | 2.2387 | 2.29 | 97.7598 | -2.2402 | 0.371 | -0.13827 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS21336A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 2800046 | 2021-12-02 |  | 2.0995 | 2.29 | 91.6812 | -8.3188 | 0.371 | -0.51348 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS21336A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2021 | 2790034 | 2021-12-09 |  | 4.9251 | 4.13 | 119.2518 | 19.2518 | 0.411 | 1.9345 | 0.05 | 3132 |  |  |  | µg/L | T239 | ICPMS21343A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 2940108 | 2021-12-15 |  | 2.1315 | 2.29 | 93.0786 | -6.9214 | 0.371 | -0.42722 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS21349A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 3060209 | 2021-12-29 |  | 2.1211 | 1.96 | 108.2194 | 8.2194 | 0.184 | 0.87554 | 0.05 | 3132 |  |  |  | µg/L | T243 | ICPMS21362A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 3130184 | 2022-01-10 |  | 2.2032 | 2.29 | 96.2096 | -3.7904 | 0.371 | -0.23396 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS22010A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 3190108 | 2022-01-12 |  | 4.6326 | 4.53 | 102.2649 | 2.2649 | 0.545 | 0.18826 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS22011A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 3340034 | 2022-01-14 |  | 4.4 | 4.53 | 97.1302 | -2.8698 | 0.545 | -0.23853 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS22014A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 3270288 | 2022-01-14 |  | 2.2 | 2.29 | 96.0699 | -3.9301 | 0.371 | -0.24259 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS22014A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 3200088 | 2022-01-18 |  | 2.1 | 1.96 | 107.1429 | 7.1429 | 0.184 | 0.76087 | 0.05 | 3132 |  |  |  | µg/L | T243 | ICPMS22018A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 3430138 | 2022-01-19 |  | 4.6 | 4.53 | 101.5453 | 1.5453 | 0.545 | 0.12844 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS22019A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 3620335 | 2022-01-27 |  | 4.5 | 4.53 | 99.3377 | -0.66225 | 0.545 | -0.055046 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS22027A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 3410064 | 2022-01-27 |  | 4.9 | 4.13 | 118.6441 | 18.6441 | 0.411 | 1.8735 | 0.05 | 3132 |  |  |  | µg/L | T239 | ICPMS22026A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 0060146 | 2022-01-28 |  | 2.2 | 1.96 | 112.2449 | 12.2449 | 0.184 | 1.3043 | 0.05 | 3132 |  |  |  | µg/L | T243 | ICPMS22027A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 0120120 | 2022-02-07 |  | 4.4 | 4.53 | 97.1302 | -2.8698 | 0.545 | -0.23853 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS22038A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 0200051 | 2022-02-14 |  | 2.1 | 1.96 | 107.1429 | 7.1429 | 0.184 | 0.76087 | 0.05 | 3132 |  |  |  | µg/L | T243 | ICPMS22045A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 0250044 | 2022-02-15 |  | 4.3 | 4.53 | 94.9227 | -5.0773 | 0.545 | -0.42202 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS22046A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 3570003 | 2022-02-17 |  | 4.3 | 4.13 | 104.1162 | 4.1162 | 0.411 | 0.41363 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T239 | ICPMS22047A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 0380065 | 2022-02-23 |  | 2.2 | 2.29 | 96.0699 | -3.9301 | 0.371 | -0.24259 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS22054A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 0380061 | 2022-02-24 |  | 4.5 | 4.13 | 108.9588 | 8.9588 | 0.411 | 0.90024 | 0.05 | 3132 |  |  |  | µg/L | T239 | ICPMS22054A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 0390071 | 2022-02-24 |  | 2.3 | 1.96 | 117.3469 | 17.3469 | 0.184 | 1.8478 | 0.05 | 3132 |  |  |  | µg/L | T243 | ICPMS22054A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 0480131 | 2022-03-03 |  | 2.2 | 2.29 | 96.0699 | -3.9301 | 0.371 | -0.24259 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS22062A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 0540113 | 2022-03-05 |  | 2.2 | 1.96 | 112.2449 | 12.2449 | 0.184 | 1.3043 | 0.05 | 3132 |  |  |  | µg/L | T243 | ICPMS22063A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 0490003 | 2022-03-10 |  | 4.7 | 4.13 | 113.8015 | 13.8015 | 0.411 | 1.3869 | 0.05 | 3132 |  |  |  | µg/L | T239 | ICPMS22068A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 0690224 | 2022-03-17 |  | 2.2 | 2.29 | 96.0699 | -3.9301 | 0.371 | -0.24259 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS22076A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 0670123 | 2022-03-17 |  | 4.8 | 4.13 | 116.2228 | 16.2228 | 0.411 | 1.6302 | 0.05 | 3132 |  |  |  | µg/L | T239 | ICPMS22075A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 0830132 | 2022-03-30 |  | 2.2 | 2.29 | 96.0699 | -3.9301 | 0.371 | -0.24259 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS22089A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 0820073 | 2022-03-31 |  | 5.1 | 4.13 | 123.4867 | 23.4867 | 0.411 | 2.3601 | 0.05 | 3132 |  |  |  | µg/L | T239 | ICPMS22089A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 0960123 | 2022-04-20 |  | 4.2 | 4.53 | 92.7152 | -7.2848 | 0.545 | -0.6055 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS22110A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 0970128 | 2022-04-20 |  | 2 | 2.29 | 87.3362 | -12.6638 | 0.371 | -0.78167 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS22110A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 1090127 | 2022-05-06 |  | 4.5 | 4.53 | 99.3377 | -0.66225 | 0.545 | -0.055046 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS22126A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 1110197 | 2022-05-11 |  | 2.1 | 2.29 | 91.7031 | -8.2969 | 0.371 | -0.51213 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS22131A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 1230094 | 2022-05-25 |  | 2 | 1.96 | 102.0408 | 2.0408 | 0.184 | 0.21739 | 0.05 | 3132 |  |  |  | µg/L | T243 | ICPMS22143A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 1320258 | 2022-06-01 |  | 2.1 | 2.29 | 91.7031 | -8.2969 | 0.371 | -0.51213 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS22152A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 1370140 | 2022-06-02 |  | 4.8 | 4.53 | 105.9603 | 5.9603 | 0.545 | 0.49541 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS22153A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 1380070 | 2022-06-03 |  | 2.2 | 1.96 | 112.2449 | 12.2449 | 0.184 | 1.3043 | 0.05 | 3132 |  |  |  | µg/L | T243 | ICPMS22153A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 1460098 | 2022-06-28 |  | 2.2 | 2.29 | 96.0699 | -3.9301 | 0.371 | -0.24259 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS22179A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 1520234 | 2022-06-30 |  | 4.7 | 4.53 | 103.7528 | 3.7528 | 0.545 | 0.31193 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS22180A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 1580091 | 2022-07-02 |  | 4.7 | 4.13 | 113.8015 | 13.8015 | 0.411 | 1.3869 | 0.05 | 3132 |  |  |  | µg/L | T239 | ICPMS22182A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 1600025 | 2022-07-05 |  | 4.4 | 4.53 | 97.1302 | -2.8698 | 0.545 | -0.23853 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS22186A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 1670120 | 2022-07-14 |  | 2.1 | 1.96 | 107.1429 | 7.1429 | 0.184 | 0.76087 | 0.05 | 3132 |  |  |  | µg/L | T243 | ICPMS22194A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 1740029 | 2022-07-19 |  | 4.3 | 4.53 | 94.9227 | -5.0773 | 0.545 | -0.42202 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS22200A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 1730126 | 2022-07-20 |  | 4.6 | 4.13 | 111.3801 | 11.3801 | 0.411 | 1.1436 | 0.05 | 3132 |  |  |  | µg/L | T239 | ICPMS22200A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 1810187 | 2022-07-23 |  | 2.1 | 1.96 | 107.1429 | 7.1429 | 0.184 | 0.76087 | 0.05 | 3132 |  |  |  | µg/L | T243 | ICPMS22203A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 1930200 | 2022-07-27 |  | 4.6 | 4.53 | 101.5453 | 1.5453 | 0.545 | 0.12844 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS22208A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 1950119 | 2022-07-28 |  | 4.7 | 4.13 | 113.8015 | 13.8015 | 0.411 | 1.3869 | 0.05 | 3132 |  |  |  | µg/L | T239 | ICPMS22209A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 2020026 | 2022-07-28 |  | 2.2 | 1.96 | 112.2449 | 12.2449 | 0.184 | 1.3043 | 0.05 | 3132 |  |  |  | µg/L | T243 | ICPMS22209A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 2080416 | 2022-07-29 |  | 4.4 | 4.53 | 97.1302 | -2.8698 | 0.545 | -0.23853 | 0.05 | 3132 |  |  |  | µg/L | T233 | ICPMS22210A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 2090181 | 2022-07-29 |  | 4.7 | 4.13 | 113.8015 | 13.8015 | 0.411 | 1.3869 | 0.05 | 3132 |  |  |  | µg/L | T239 | ICPMS22210A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 1880163 | 2022-08-12 |  | 1.6 | 1.96 | 81.6327 | -18.3673 | 0.184 | -1.9565 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T243 | ICPMS22224A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 2140174 | 2022-08-31 |  | 2.2 | 2.29 | 96.0699 | -3.9301 | 0.371 | -0.24259 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS22243A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 2160003 | 2022-09-01 |  | 4.7 | 4.13 | 113.8015 | 13.8015 | 0.411 | 1.3869 | 0.05 | 3132 |  |  |  | µg/L | T239 | ICPMS22243A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 2210114 | 2022-09-07 |  | 2.2 | 1.96 | 112.2449 | 12.2449 | 0.184 | 1.3043 | 0.05 | 3132 |  |  |  | µg/L | T243 | ICPMS22249A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 2280351 | 2022-09-08 |  | 2.3 | 2.29 | 100.4367 | 0.43668 | 0.371 | 0.026954 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS22251A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 2300212 | 2022-09-09 |  | 4.7 | 4.13 | 113.8015 | 13.8015 | 0.411 | 1.3869 | 0.05 | 3132 |  |  |  | µg/L | T239 | ICPMS22251A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 2360390 | 2022-09-15 |  | 2.1 | 1.96 | 107.1429 | 7.1429 | 0.184 | 0.76087 | 0.05 | 3132 |  |  |  | µg/L | T243 | ICPMS22256B
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 2580150 | 2022-09-29 |  | 2.3 | 2.29 | 100.4367 | 0.43668 | 0.371 | 0.026954 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS22270A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 2570117 | 2022-09-30 |  | 4.6 | 4.13 | 111.3801 | 11.3801 | 0.411 | 1.1436 | 0.05 | 3132 |  |  |  | µg/L | T239 | ICPMS22270A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2022 | 2720121 | 2022-10-20 |  | 2.3 | 2.29 | 100.4367 | 0.43668 | 0.371 | 0.026954 | 0.05 | 3132 |  |  |  | µg/L | T235 | ICPMS22286A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 2770114 | 2022-10-20 |  | 1.9 | 2.14 | 88.785 | -11.215 | 0.326 | -0.7362 | 0.05 | 3132 |  |  |  | µg/L | T245 | ICPMS22286A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 2790113 | 2022-11-02 |  | 2.5 | 2.24 | 111.6071 | 11.6071 | 0.511 | 0.50881 | 0.05 | 3132 |  |  |  | µg/L | T247 | ICPMS22305A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 2920222 | 2022-11-09 |  | 2.1 | 2.14 | 98.1308 | -1.8692 | 0.326 | -0.1227 | 0.05 | 3132 |  |  |  | µg/L | T245 | ICPMS22313A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 2930117 | 2022-11-10 |  | 2.4 | 2.24 | 107.1429 | 7.1429 | 0.511 | 0.31311 | 0.05 | 3132 |  |  |  | µg/L | T247 | ICPMS22313A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 3130109 | 2022-12-02 |  | 2.6438 | 2.24 | 118.0268 | 18.0268 | 0.511 | 0.79022 | 0.05 | 3132 |  |  |  | µg/L | T247 | ICPMS22325A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 3060049 | 2022-12-07 |  | 2.2577 | 1.96 | 115.1888 | 15.1888 | 0.184 | 1.6179 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T243 | ICPMS22340A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 3190029 | 2022-12-15 |  | 2.1504 | 2.14 | 100.486 | 0.48598 | 0.326 | 0.031902 | 0.05 | 3132 |  |  |  | µg/L | T245 | ICPMS22349A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 3200145 | 2022-12-16 |  | 2.0802 | 1.96 | 106.1327 | 6.1327 | 0.184 | 0.65326 | 0.05 | 3132 |  |  |  | µg/L | T243 | ICPMS22349A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 3340029 | 2022-12-20 |  | 2.1155 | 2.14 | 98.8551 | -1.1449 | 0.326 | -0.075153 | 0.05 | 3132 |  |  |  | µg/L | T245 | ICPMS22354A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 3330054 | 2022-12-21 |  | 2.468 | 2.24 | 110.1786 | 10.1786 | 0.511 | 0.44618 | 0.05 | 3132 |  |  |  | µg/L | T247 | ICPMS22354A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 3400090 | 2023-01-07 |  | 4.5835 | 4.13 | 110.9806 | 10.9806 | 0.411 | 1.1034 | 0.05 | 3132 |  |  |  | µg/L | T239 | ICPMS23006A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 3420127 | 2023-01-10 |  | 2.1146 | 2.14 | 98.8131 | -1.1869 | 0.326 | -0.077914 | 0.05 | 3132 |  |  |  | µg/L | T245 | ICPMS23010A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 3620086 | 2023-03-02 |  | 2.1608 | 2.14 | 100.972 | 0.97196 | 0.326 | 0.063804 | 0.05 | 3132 |  |  |  | µg/L | T245 | ICPMS23061A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 3610135 | 2023-03-03 |  | 4.4882 | 4.13 | 108.6731 | 8.6731 | 0.411 | 0.87153 | 0.05 | 3132 |  |  |  | µg/L | T239 | ICPMS23061A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 0120192 | 2023-03-07 |  | 2.1636 | 1.96 | 110.3878 | 10.3878 | 0.184 | 1.1065 | 0.05 | 3132 |  |  |  | µg/L | T243 | ICPMS23065A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 0190114 | 2023-03-24 |  | 2.1017 | 2.14 | 98.2103 | -1.7897 | 0.326 | -0.11748 | 0.05 | 3132 |  |  |  | µg/L | T245 | ICPMS23083A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 0260067 | 2023-03-28 |  | 2.0537 | 1.96 | 104.7806 | 4.7806 | 0.184 | 0.50924 | 0.05 | 3132 |  |  |  | µg/L | T243 | ICPMS23086A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 0380151 | 2023-03-28 |  | 2.2299 | 2.24 | 99.5491 | -0.45089 | 0.511 | -0.019765 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T247 | ICPMS23086A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 0470007 | 2023-03-29 |  | 2.2209 | 1.96 | 113.3112 | 13.3112 | 0.184 | 1.4179 | 0.05 | 3132 |  |  |  | µg/L | T243 | ICPMS23088B
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 0400092 | 2023-03-30 |  | 4.4983 | 4.13 | 108.9177 | 8.9177 | 0.411 | 0.89611 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T239 | ICPMS23088B
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 0600115 | 2023-04-05 |  | 4.4763 | 4.13 | 108.385 | 8.385 | 0.411 | 0.84258 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T239 | ICPMS23093A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 0590092 | 2023-04-05 |  | 2.3683 | 2.24 | 105.7277 | 5.7277 | 0.511 | 0.25108 | 0.05 | 3132 |  |  |  | µg/L | T247 | ICPMS23093A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 0310087 | 2023-04-06 |  | 2.0761 | 2.14 | 97.014 | -2.986 | 0.326 | -0.19601 | 0.05 | 3132 |  |  |  | µg/L | T245 | ICPMS23096A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 0620097 | 2023-04-08 |  | 2.1626 | 1.96 | 110.3367 | 10.3367 | 0.184 | 1.1011 | 0.05 | 3132 |  |  |  | µg/L | T243 | ICPMS23097A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 0740033 | 2023-04-13 |  | 4.5226 | 4.13 | 109.5061 | 9.5061 | 0.411 | 0.95523 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T239 | ICPMS23102A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 0750097 | 2023-04-13 |  | 2.489 | 2.24 | 111.1161 | 11.1161 | 0.511 | 0.48728 | 0.05 | 3132 |  |  |  | µg/L | T247 | ICPMS23102A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 0880093 | 2023-04-15 |  | 4.5002 | 4.13 | 108.9637 | 8.9637 | 0.411 | 0.90073 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T239 | ICPMS23104A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 0890105 | 2023-04-21 |  | 2.2573 | 2.24 | 100.7723 | 0.77232 | 0.511 | 0.033855 | 0.05 | 3132 |  |  |  | µg/L | T247 | ICPMS23109A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 0940130 | 2023-04-22 |  | 1.9291 | 2.14 | 90.1449 | -9.8551 | 0.326 | -0.64693 | 0.05 | 3132 |  |  |  | µg/L | T245 | ICPMS23111B
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 0960142 | 2023-04-24 |  | 2.4779 | 2.24 | 110.6205 | 10.6205 | 0.511 | 0.46556 | 0.05 | 3132 |  |  |  | µg/L | T247 | ICPMS23111C
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 1100089 | 2023-04-27 |  | 2.1366 | 2.14 | 99.8411 | -0.15888 | 0.326 | -0.010429 | 0.05 | 3132 |  |  |  | µg/L | T245 | ICPMS23116A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 1150156 | 2023-04-28 |  | 2.419 | 2.24 | 107.9911 | 7.9911 | 0.511 | 0.35029 | 0.05 | 3132 |  |  |  | µg/L | T247 | ICPMS23116A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 1240210 | 2023-05-17 |  | 2.1459 | 1.96 | 109.4847 | 9.4847 | 0.184 | 1.0103 | 0.05 | 3132 |  |  |  | µg/L | T243 | ICPMS23135A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 1310002 | 2023-05-19 |  | 2.1022 | 2.14 | 98.2336 | -1.7664 | 0.326 | -0.11595 | 0.05 | 3132 |  |  |  | µg/L | T245 | ICPMS23138A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 1300167 | 2023-05-20 |  | 2.3607 | 2.24 | 105.3884 | 5.3884 | 0.511 | 0.2362 | 0.05 | 3132 |  |  |  | µg/L | T247 | ICPMS23138A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 1360048 | 2023-05-26 |  | 2.1543 | 1.96 | 109.9133 | 9.9133 | 0.184 | 1.056 | 0.05 | 3132 |  |  |  | µg/L | T243 | ICPMS23145A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 1440060 | 2023-06-01 |  | 2.4966 | 2.24 | 111.4554 | 11.4554 | 0.511 | 0.50215 | 0.05 | 3132 |  |  |  | µg/L | T247 | ICPMS23145C
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 1460002 | 2023-06-05 |  | 2.061 | 2.14 | 96.3084 | -3.6916 | 0.326 | -0.24233 | 0.05 | 3132 |  |  |  | µg/L | T245 | ICPMS23156A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 1570041 | 2023-06-09 |  | 4.4188 | 4.13 | 106.9927 | 6.9927 | 0.411 | 0.70268 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T239 | ICPMS23159A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 1590232 | 2023-06-26 |  | 2.0829 | 2.14 | 97.3318 | -2.6682 | 0.326 | -0.17515 | 0.05 | 3132 |  |  |  | µg/L | T245 | ICPMS23177A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 1660194 | 2023-06-27 |  | 2.1009 | 1.96 | 107.1888 | 7.1888 | 0.184 | 0.76576 | 0.05 | 3132 |  |  |  | µg/L | T243 | ICPMS23178A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 1790028 | 2023-07-07 |  | 2.0296 | 2.14 | 94.8411 | -5.1589 | 0.326 | -0.33865 | 0.05 | 3132 |  |  |  | µg/L | T245 | ICPMS23188A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 1860127 | 2023-07-11 |  | 2.0826 | 1.96 | 106.2551 | 6.2551 | 0.184 | 0.6663 | 0.05 | 3132 |  |  |  | µg/L | T243 | ICPMS23191A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 1940234 | 2023-07-14 |  | 2.0424 | 2.14 | 95.4393 | -4.5607 | 0.326 | -0.29939 | 0.05 | 3132 |  |  |  | µg/L | T245 | ICPMS23195A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 1920171 | 2023-07-15 |  | 2.0029 | 1.96 | 102.1888 | 2.1888 | 0.184 | 0.23315 | 0.05 | 3132 |  |  |  | µg/L | T243 | ICPMS23195A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 1730211 | 2023-07-22 |  | 4.3068 | 4.13 | 104.2809 | 4.2809 | 0.411 | 0.43017 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T239 | ICPMS23201A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 1980050 | 2023-08-10 |  | 4.4474 | 4.13 | 107.6852 | 7.6852 | 0.411 | 0.77226 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T239 | ICPMS23221A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 2020024 | 2023-08-17 |  | 2.1075 | 1.96 | 107.5255 | 7.5255 | 0.184 | 0.80163 | 0.05 | 3132 |  |  |  | µg/L | T243 | ICPMS23228A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 2060142 | 2023-08-17 |  | 2.1115 | 2.14 | 98.6682 | -1.3318 | 0.326 | -0.087423 | 0.05 | 3132 |  |  |  | µg/L | T245 | ICPMS23229A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 2080234 | 2023-08-19 |  | 4.4115 | 4.13 | 106.816 | 6.816 | 0.411 | 0.68491 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T239 | ICPMS23230A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 2200127 | 2023-08-31 |  | 2.467 | 2.24 | 110.1339 | 10.1339 | 0.511 | 0.44423 | 0.05 | 3132 |  |  |  | µg/L | T247 | ICPMS23243A
Selenium, FIL, cICP-MS | 01145 | PLM10 | FIL | 2023 | 2220099 | 2023-09-01 |  | 4.5843 | 4.13 | 111 | 11 | 0.411 | 1.1054 | 0.05 | 3132 | Sample was diluted |  |  | µg/L | T239 | ICPMS23243A