## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Silica, FIL, DA | 00955 | CL151 | FIL | 2019 | 2760031 | 2018-10-11 |  | 23.4015 | 24.1 | 97.1017 | -2.8983 | 1.205 | -0.57965 | 0.1 | 3121 | Sample was diluted |  |  | mg/L | M218 | DSIO218283A
Silica, FIL, DA | 00955 | CL151 | FIL | 2019 | 2890060 | 2018-11-06 |  | 23.5984 | 24.1 | 97.9188 | -2.0812 | 1.205 | -0.41624 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M218 | DSIO218310A
Silica, FIL, DA | 00955 | CL151 | FIL | 2019 | 3100177 | 2018-11-26 |  | 6.5471 | 6.5 | 100.7243 | 0.72431 | 0.367 | 0.12828 | 0.06 | 3121 |  |  |  | mg/L | M220 | DSIO218330A
Silica, FIL, DA | 00955 | CL151 | FIL | 2019 | 3270027 | 2018-11-26 |  | 6.6475 | 6.5 | 102.27 | 2.27 | 0.367 | 0.40204 | 0.06 | 3121 |  |  |  | mg/L | M220 | DSIO218330A
Silica, FIL, DA | 00955 | CL151 | FIL | 2019 | 3400025 | 2018-12-14 |  | 11.3296 | 11 | 102.9965 | 2.9965 | 0.593 | 0.55583 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M224 | DSIO218346A
Silica, FIL, DA | 00955 | CL151 | FIL | 2019 | 3530017 | 2019-02-04 |  | 11.3021 | 11 | 102.7465 | 2.7465 | 0.593 | 0.50946 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M224 | DSIO219035A
Silica, FIL, DA | 00955 | CL151 | FIL | 2019 | 0520010 | 2019-02-28 |  | 6.1427 | 6.06 | 101.3645 | 1.3645 | 0.392 | 0.21094 | 0.06 | 3121 |  |  |  | mg/L | M222 | DSIO219053A
Silica, FIL, DA | 00955 | CL151 | FIL | 2019 | 0640093 | 2019-03-07 |  | 9.5258 | 9.18 | 103.7673 | 3.7673 | 0.459 | 0.75346 | 0.06 | 3121 |  |  |  | mg/L | M214 | DSIO219065A
Silica, FIL, DA | 00955 | CL151 | FIL | 2019 | 0780094 | 2019-04-04 |  | 9.1772 | 9.18 | 99.9697 | -0.030283 | 0.459 | -0.0060566 | 0.06 | 3121 |  |  |  | mg/L | M214 | DSIO219086A
Silica, FIL, DA | 00955 | CL151 | FIL | 2019 | 0920064 | 2019-04-09 |  | 24.4764 | 24.1 | 101.5616 | 1.5616 | 1.205 | 0.31232 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M218 | DSIO219099A
Silica, FIL, DA | 00955 | CL151 | FIL | 2019 | 1060102 | 2019-04-17 |  | 23.436 | 24.1 | 97.2447 | -2.7553 | 1.205 | -0.55105 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M218 | DSIO219107A
Silica, FIL, DA | 00955 | CL151 | FIL | 2019 | 1280120 | 2019-05-15 |  | 6.6463 | 6.5 | 102.2503 | 2.2503 | 0.367 | 0.39856 | 0.06 | 3121 |  |  |  | mg/L | M220 | DSIO219133A
Silica, FIL, DA | 00955 | CL151 | FIL | 2019 | 1410226 | 2019-05-31 |  | 6.5258 | 6.5 | 100.3972 | 0.39723 | 0.367 | 0.070354 | 0.06 | 3121 |  |  |  | mg/L | M220 | DSIO219158A
Silica, FIL, DA | 00955 | CL151 | FIL | 2019 | 1550165 | 2019-06-07 |  | 11.296 | 11 | 102.6913 | 2.6913 | 0.593 | 0.49922 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M224 | DSIO219156A
Silica, FIL, DA | 00955 | CL151 | FIL | 2019 | 1690138 | 2019-07-05 |  | 11.4843 | 11 | 104.403 | 4.403 | 0.593 | 0.81675 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M224 | DSIO219172A
Silica, FIL, DA | 00955 | CL151 | FIL | 2019 | 1830104 | 2019-07-11 |  | 14.9259 | 15.1 | 98.8473 | -1.1527 | 0.838 | -0.20771 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M216 | DSIO219184A
Silica, FIL, DA | 00955 | CL151 | FIL | 2019 | 2000017 | 2019-07-25 |  | 15.2608 | 15.1 | 101.065 | 1.065 | 0.838 | 0.19191 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M216 | DSIO219206A
Silica, FIL, DA | 00955 | CL151 | FIL | 2019 | 2180151 | 2019-08-15 |  | 6.0986 | 6.06 | 100.6365 | 0.63647 | 0.392 | 0.098393 | 0.06 | 3121 |  |  |  | mg/L | M222 | DSIO219225B
Silica, FIL, DA | 00955 | CL151 | FIL | 2019 | 2320180 | 2019-09-04 |  | 6.3212 | 6.06 | 104.3097 | 4.3097 | 0.392 | 0.66625 | 0.06 | 3121 |  |  |  | mg/L | M222 | DSIO219227A
Silica, FIL, DA | 00955 | CL151 | FIL | 2019 | 2470181 | 2019-09-16 |  | 9.1372 | 9.18 | 99.534 | -0.46601 | 0.459 | -0.093203 | 0.06 | 3121 |  |  |  | mg/L | M214 | DSIO219259A
Silica, FIL, DA | 00955 | CL151 | FIL | 2019 | 2600329 | 2019-09-24 |  | 9.907 | 9.18 | 107.9198 | 7.9198 | 0.459 | 1.584 | 0.06 | 3121 |  |  |  | mg/L | M214 | DSIO219266A
Silica, FIL, DA | 00955 | CL151 | FIL | 2020 | 2810113 | 2019-10-24 |  | 24.4563 | 24.1 | 101.4784 | 1.4784 | 1.205 | 0.29568 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M218 | DSIO219290A
Silica, FIL, DA | 00955 | CL151 | FIL | 2020 | 2950102 | 2019-10-24 |  | 24.1587 | 24.1 | 100.2434 | 0.24344 | 1.205 | 0.048689 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M218 | DSIO219290A
Silica, FIL, DA | 00955 | CL151 | FIL | 2020 | 3090146 | 2019-12-02 |  | 6.6052 | 6.5 | 101.6188 | 1.6188 | 0.367 | 0.2867 | 0.06 | 3121 |  |  |  | mg/L | M220 | DSIO219336A
Silica, FIL, DA | 00955 | CL151 | FIL | 2020 | 3230098 | 2019-12-02 |  | 6.7641 | 6.5 | 104.0629 | 4.0629 | 0.367 | 0.71959 | 0.06 | 3121 |  |  |  | mg/L | M220 | DSIO219336A
Silica, FIL, DA | 00955 | CL151 | FIL | 2020 | 3370102 | 2019-12-17 |  | 11.0671 | 11 | 100.6102 | 0.61018 | 0.593 | 0.11319 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M224 | DSIO219344A
Silica, FIL, DA | 00955 | CL151 | FIL | 2020 | 3510019 | 2019-12-26 |  | 11.3295 | 11 | 102.9952 | 2.9952 | 0.593 | 0.5556 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M224 | DSIO219360A
Silica, FIL, DA | 00955 | CL151 | FIL | 2020 | 0350136 | 2020-02-24 |  | 6.169 | 6.06 | 101.7987 | 1.7987 | 0.392 | 0.27806 | 0.06 | 3121 |  |  |  | mg/L | M222 | DSIO220045A
Silica, FIL, DA | 00955 | CL151 | FIL | 2020 | 0500060 | 2020-02-24 |  | 6.2075 | 6.06 | 102.4345 | 2.4345 | 0.392 | 0.37635 | 0.06 | 3121 |  |  |  | mg/L | M222 | DSIO220045A
Silica, FIL, DA | 00955 | CL151 | FIL | 2020 | 0630050 | 2020-03-10 |  | 10.9589 | 10.5 | 104.3709 | 4.3709 | 0.525 | 0.87417 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M226 | DSIO220070A
Silica, FIL, DA | 00955 | CL151 | FIL | 2020 | 0770115 | 2020-03-24 |  | 10.9024 | 10.5 | 103.8328 | 3.8328 | 0.525 | 0.76655 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M226 | DSIO220071A
Silica, FIL, DA | 00955 | CL151 | FIL | 2020 | 0980042 | 2020-05-27 |  | 24.2944 | 24.1 | 100.8066 | 0.80664 | 1.205 | 0.16133 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M218 | DSIO220148A
Silica, FIL, DA | 00955 | CL151 | FIL | 2020 | 1120048 | 2020-05-27 |  | 24.8947 | 24.1 | 103.2974 | 3.2974 | 1.205 | 0.65949 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M218 | DSIO220148A
Silica, FIL, DA | 00955 | CL151 | FIL | 2020 | 1260081 | 2020-05-27 |  | 6.7072 | 6.5 | 103.1882 | 3.1882 | 0.367 | 0.56466 | 0.06 | 3121 |  |  |  | mg/L | M220 | DSIO220148A
Silica, FIL, DA | 00955 | CL151 | FIL | 2020 | 1550006 | 2020-07-14 |  | 10.9541 | 11 | 99.5831 | -0.41691 | 0.593 | -0.077336 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M224 | DSIO220161A
Silica, FIL, DA | 00955 | CL151 | FIL | 2020 | 1680147 | 2020-07-22 |  | 11.7343 | 11 | 106.6759 | 6.6759 | 0.593 | 1.2384 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M224 | DSIO220191A
Silica, FIL, DA | 00955 | CL151 | FIL | 2020 | 2170031 | 2020-08-19 |  | 6.3458 | 6.06 | 104.7163 | 4.7163 | 0.392 | 0.72911 | 0.06 | 3121 |  |  |  | mg/L | M222 | DSIO220231A
Silica, FIL, DA | 00955 | CL151 | FIL | 2020 | 2320038 | 2020-09-03 |  | 6.2627 | 6.06 | 103.3446 | 3.3446 | 0.392 | 0.51704 | 0.06 | 3121 |  |  |  | mg/L | M222 | DSIO220245A
Silica, FIL, DA | 00955 | CL151 | FIL | 2020 | 2530138 | 2020-09-24 |  | 10.106 | 10.5 | 96.248 | -3.752 | 0.525 | -0.7504 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M226 | DSIO220267A
Silica, FIL, DA | 00955 | CL151 | FIL | 2020 | 2670296 | 2020-10-16 |  | 10.3743 | 10.5 | 98.8033 | -1.1967 | 0.525 | -0.23933 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M226 | DSIO220289A
Silica, FIL, DA | 00955 | CL151 | FIL | 2021 | 2810028 | 2020-10-16 |  | 9.8203 | 10.3 | 95.3432 | -4.6568 | 0.574 | -0.83563 | 0.06 | 3121 |  |  |  | mg/L | M230 | DSIO220289A
Silica, FIL, DA | 00955 | CL151 | FIL | 2021 | 2950029 | 2020-11-30 |  | 9.8338 | 10.3 | 95.4743 | -4.5257 | 0.574 | -0.81211 | 0.06 | 3121 |  |  |  | mg/L | M230 | DSIO220304A
Silica, FIL, DA | 00955 | CL151 | FIL | 2021 | 3080105 | 2020-11-30 |  | 7.5991 | 7.91 | 96.0692 | -3.9308 | 0.486 | -0.63977 | 0.06 | 3121 |  |  |  | mg/L | M232 | DSIO220304A
Silica, FIL, DA | 00955 | CL151 | FIL | 2021 | 3230037 | 2020-12-30 |  | 7.7674 | 7.91 | 98.1972 | -1.8028 | 0.486 | -0.29342 | 0.06 | 3121 |  |  |  | mg/L | M232 | DSIO220356A
Silica, FIL, DA | 00955 | CL151 | FIL | 2021 | 3440079 | 2021-02-05 |  | 11.2193 | 11 | 101.9939 | 1.9939 | 0.593 | 0.36987 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M224 | DSIO221028A
Silica, FIL, DA | 00955 | CL151 | FIL | 2021 | 3580055 | 2021-02-05 |  | 11.3218 | 11 | 102.9256 | 2.9256 | 0.593 | 0.5427 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M224 | DSIO221028A
Silica, FIL, DA | 00955 | CL151 | FIL | 2021 | 0400074 | 2021-03-05 |  | 5.9974 | 6.06 | 98.9668 | -1.0332 | 0.392 | -0.15972 | 0.06 | 3121 |  |  |  | mg/L | M222 | DSIO221048A
Silica, FIL, DA | 00955 | CL151 | FIL | 2021 | 0540053 | 2021-05-14 |  | 6.3769 | 6.06 | 105.229 | 5.229 | 0.392 | 0.80837 | 0.06 | 3121 |  |  |  | mg/L | M222 | DSIO221132A
Silica, FIL, DA | 00955 | CL151 | FIL | 2021 | 0620098 | 2021-05-14 |  | 10.9921 | 10.5 | 104.6862 | 4.6862 | 0.525 | 0.93724 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M226 | DSIO221132A
Silica, FIL, DA | 00955 | CL151 | FIL | 2021 | 0760033 | 2021-05-27 |  | 10.4637 | 10.5 | 99.6545 | -0.34552 | 0.525 | -0.069105 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M226 | DSIO221146A
Silica, FIL, DA | 00955 | CL151 | FIL | 2021 | 0970046 | 2021-05-27 |  | 10.1797 | 10.3 | 98.8322 | -1.1678 | 0.574 | -0.20955 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M230 | DSIO221146A
Silica, FIL, DA | 00955 | CL151 | FIL | 2021 | 1110002 | 2021-06-02 |  | 10.1047 | 10.3 | 98.1036 | -1.8964 | 0.574 | -0.3403 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M230 | DSIO221153A
Silica, FIL, DA | 00955 | CL151 | FIL | 2021 | 1250005 | 2021-06-02 |  | 8.1664 | 7.91 | 103.242 | 3.242 | 0.486 | 0.52765 | 0.06 | 3121 |  |  |  | mg/L | M232 | DSIO221153A
Silica, FIL, DA | 00955 | CL151 | FIL | 2021 | 1380135 | 2021-06-02 |  | 7.9423 | 7.91 | 100.4081 | 0.40809 | 0.486 | 0.06642 | 0.06 | 3121 |  |  |  | mg/L | M232 | DSIO221153A
Silica, FIL, DA | 00955 | CL151 | FIL | 2021 | 1540141 | 2021-07-28 |  | 11.6123 | 11 | 105.5663 | 5.5663 | 0.593 | 1.0325 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M224 | DSIO221208A
Silica, FIL, DA | 00955 | CL151 | FIL | 2021 | 1660121 | 2021-08-11 |  | 11.1073 | 11 | 100.9752 | 0.97518 | 0.593 | 0.18089 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M224 | DSIO221217A
Silica, FIL, DA | 00955 | CL151 | FIL | 2021 | 2150047 | 2021-09-09 |  | 5.9787 | 6.06 | 98.6583 | -1.3417 | 0.392 | -0.20742 | 0.06 | 3121 |  |  |  | mg/L | M222 | DSIO221237A
Silica, FIL, DA | 00955 | CL151 | FIL | 2021 | 2290123 | 2021-09-16 |  | 5.8977 | 6.06 | 97.3218 | -2.6782 | 0.392 | -0.41403 | 0.06 | 3121 |  |  |  | mg/L | M222 | DSIO221258A
Silica, FIL, DA | 00955 | CL151 | FIL | 2021 | 2510435 | 2021-09-17 |  | 10.2392 | 10.5 | 97.5159 | -2.4841 | 0.525 | -0.49682 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M226 | DSIO221260A
Silica, FIL, DA | 00955 | CL151 | FIL | 2021 | 2640273 | 2021-10-18 |  | 11.1813 | 10.5 | 106.489 | 6.489 | 0.525 | 1.2978 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M226 | DSIO221291A
Silica, FIL, DA | 00955 | CL151 | FIL | 2022 | 2790036 | 2021-10-18 |  | 10.8967 | 10.3 | 105.7935 | 5.7935 | 0.574 | 1.0396 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M230 | DSIO221291A
Silica, FIL, DA | 00955 | CL151 | FIL | 2022 | 2940008 | 2021-11-03 |  | 10.4479 | 10.3 | 101.4362 | 1.4362 | 0.574 | 0.25772 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M230 | DSIO221305A
Silica, FIL, DA | 00955 | CL151 | FIL | 2022 | 3060205 | 2021-11-24 |  | 8.1569 | 7.91 | 103.121 | 3.121 | 0.486 | 0.50796 | 0.06 | 3121 |  |  |  | mg/L | M232 | DSIO221327A
Silica, FIL, DA | 00955 | CL151 | FIL | 2022 | 3200089 | 2021-12-15 |  | 7.83 | 7.91 | 98.9886 | -1.0114 | 0.486 | -0.16461 | 0.06 | 3121 | Holding time exceeded | See result laboratory comment |  | mg/L | M232 | DSIO221349A
Silica, FIL, DA | 00955 | CL151 | FIL | 2022 | 3410061 | 2021-12-15 |  | 6.75 | 6.53 | 103.3691 | 3.3691 | 0.3265 | 0.67381 | 0.06 | 3121 |  |  |  | mg/L | M236 | DSIO221349A
Silica, FIL, DA | 00955 | CL151 | FIL | 2022 | 3570002 | 2022-01-05 |  | 6.96 | 6.53 | 106.585 | 6.585 | 0.3265 | 1.317 | 0.06 | 3121 |  |  |  | mg/L | M236 | DSIO221356A
Silica, FIL, DA | 00955 | CL151 | FIL | 2022 | 0380066 | 2022-03-03 |  | 11.1 | 11.3 | 98.2301 | -1.7699 | 0.565 | -0.35398 | 0.06 | 3121 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/L | M234 | DSIO222061A
Silica, FIL, DA | 00955 | CL151 | FIL | 2022 | 0480129 | 2022-03-09 |  | 11.5 | 11.3 | 101.7699 | 1.7699 | 0.565 | 0.35398 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M234 | DSIO222063A
Silica, FIL, DA | 00955 | CL151 | FIL | 2022 | 0760099 | 2022-03-29 |  | 10.3 | 10.5 | 98.0952 | -1.9048 | 0.525 | -0.38095 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M226 | DSIO222087A
Silica, FIL, DA | 00955 | CL151 | FIL | 2022 | 0880100 | 2022-04-26 |  | 10.5 | 10.5 | 100 | 0 | 0.525 | 0 | 0.06 | 3121 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/L | M226 | DSIO222116A
Silica, FIL, DA | 00955 | CL151 | FIL | 2022 | 0960121 | 2022-04-26 |  | 10.6 | 10.3 | 102.9126 | 2.9126 | 0.574 | 0.52265 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M230 | DSIO222116A
Silica, FIL, DA | 00955 | CL151 | FIL | 2022 | 1090126 | 2022-04-26 |  | 10.6 | 10.3 | 102.9126 | 2.9126 | 0.574 | 0.52265 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M230 | DSIO222116A
Silica, FIL, DA | 00955 | CL151 | FIL | 2022 | 1230100 | 2022-05-11 |  | 8.04 | 7.91 | 101.6435 | 1.6435 | 0.486 | 0.26749 | 0.06 | 3121 |  |  |  | mg/L | M232 | DSIO222131A
Silica, FIL, DA | 00955 | CL151 | FIL | 2022 | 1380072 | 2022-06-06 |  | 7.97 | 7.91 | 100.7585 | 0.75853 | 0.486 | 0.12346 | 0.06 | 3121 |  |  |  | mg/L | M232 | DSIO222157A
Silica, FIL, DA | 00955 | CL151 | FIL | 2022 | 1580089 | 2022-06-13 |  | 6.86 | 6.53 | 105.0536 | 5.0536 | 0.3265 | 1.0107 | 0.06 | 3121 |  |  |  | mg/L | M236 | DSIO222164A
Silica, FIL, DA | 00955 | CL151 | FIL | 2022 | 2140166 | 2022-08-17 |  | 11.9 | 11.3 | 105.3097 | 5.3097 | 0.565 | 1.0619 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M234 | DSIO222229A
Silica, FIL, DA | 00955 | CL151 | FIL | 2022 | 2280344 | 2022-08-17 |  | 11.4 | 11.3 | 100.885 | 0.88496 | 0.565 | 0.17699 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M234 | DSIO222229A
Silica, FIL, DA | 00955 | CL151 | FIL | 2022 | 2500493 | 2022-09-21 |  | 10.7 | 10.5 | 101.9048 | 1.9048 | 0.525 | 0.38095 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M226 | DSIO222264A
Silica, FIL, DA | 00955 | CL151 | FIL | 2022 | 2630186 | 2022-09-21 |  | 10.5 | 10.5 | 100 | 0 | 0.525 | 0 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M226 | DSIO222264A
Silica, FIL, DA | 00955 | CL151 | FIL | 2023 | 2770116 | 2022-10-21 |  | 10.7 | 10.3 | 103.8835 | 3.8835 | 0.574 | 0.69686 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M230 | DSIO222291A
Silica, FIL, DA | 00955 | CL151 | FIL | 2023 | 2920220 | 2022-10-21 |  | 10.6 | 10.3 | 102.9126 | 2.9126 | 0.574 | 0.52265 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M230 | DSIO222291A
Silica, FIL, DA | 00955 | CL151 | FIL | 2023 | 3060047 | 2022-12-02 |  | 8.1691 | 7.91 | 103.2756 | 3.2756 | 0.486 | 0.53313 | 0.06 | 3121 | Holding time exceeded | See result laboratory comment |  | mg/L | M232 | DSIO222336A
Silica, FIL, DA | 00955 | CL151 | FIL | 2023 | 3200143 | 2022-12-05 |  | 8.0101 | 7.91 | 101.2659 | 1.2659 | 0.486 | 0.20603 | 0.06 | 3121 |  |  |  | mg/L | M232 | DSIO222339A
Silica, FIL, DA | 00955 | CL151 | FIL | 2023 | 3400093 | 2023-01-17 |  | 6.5645 | 6.53 | 100.528 | 0.52802 | 0.3265 | 0.1056 | 0.06 | 3121 | Holding time exceeded | See result laboratory comment |  | mg/L | M236 | DSIO223017A
Silica, FIL, DA | 00955 | CL151 | FIL | 2023 | 3610133 | 2023-01-17 |  | 6.4791 | 6.53 | 99.221 | -0.77902 | 0.3265 | -0.1558 | 0.06 | 3121 | Holding time exceeded | See result laboratory comment |  | mg/L | M236 | DSIO223017A
Silica, FIL, DA | 00955 | CL151 | FIL | 2023 | 0100101 | 2023-01-17 |  | 13.0129 | 13.8 | 94.2966 | -5.7034 | 0.69 | -1.1407 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M240 | DSIO223017A
Silica, FIL, DA | 00955 | CL151 | FIL | 2023 | 0250121 | 2023-02-01 |  | 16.8444 | 13.8 | 122.0607 | 22.0607 | 0.69 | 4.4121 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M240 | DSIO223032A
Silica, FIL, DA | 00955 | CL151 | FIL | 2023 | 0380149 | 2023-02-09 |  | 11.727 | 11.3 | 103.7783 | 3.7783 | 0.565 | 0.75566 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M234 | DSIO223040A
Silica, FIL, DA | 00955 | CL151 | FIL | 2023 | 0590091 | 2023-03-15 |  | 11.5346 | 11.3 | 102.0762 | 2.0762 | 0.565 | 0.41524 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M234 | DSIO223074A
Silica, FIL, DA | 00955 | CL151 | FIL | 2023 | 0670104 | 2023-03-15 |  | 13.5997 | 13.8 | 98.5487 | -1.4513 | 0.69 | -0.29026 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M238 | DSIO223074A
Silica, FIL, DA | 00955 | CL151 | FIL | 2023 | 0800072 | 2023-03-29 |  | 13.1365 | 13.8 | 95.1917 | -4.8083 | 0.69 | -0.96165 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M238 | DSIO223088A
Silica, FIL, DA | 00955 | CL151 | FIL | 2023 | 0940122 | 2023-04-28 |  | 10.3596 | 10.3 | 100.579 | 0.57903 | 0.574 | 0.1039 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M230 | DSIO223118A
Silica, FIL, DA | 00955 | CL151 | FIL | 2023 | 1100087 | 2023-04-28 |  | 10.1611 | 10.3 | 98.6515 | -1.3485 | 0.574 | -0.24199 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M230 | DSIO223118A
Silica, FIL, DA | 00955 | CL151 | FIL | 2023 | 1240208 | 2023-05-19 |  | 7.7041 | 7.91 | 97.3965 | -2.6035 | 0.486 | -0.42374 | 0.06 | 3121 |  |  |  | mg/L | M232 | DSIO223139A
Silica, FIL, DA | 00955 | CL151 | FIL | 2023 | 1360046 | 2023-05-26 |  | 7.9382 | 7.91 | 100.3565 | 0.35651 | 0.486 | 0.058025 | 0.06 | 3121 |  |  |  | mg/L | M232 | DSIO223146A
Silica, FIL, DA | 00955 | CL151 | FIL | 2023 | 1570042 | 2023-06-21 |  | 6.932 | 6.53 | 106.156 | 6.156 | 0.3265 | 1.2312 | 0.06 | 3121 |  |  |  | mg/L | M236 | DSIO223172A
Silica, FIL, DA | 00955 | CL151 | FIL | 2023 | 1730214 | 2023-08-07 |  | 6.4226 | 6.53 | 98.3553 | -1.6447 | 0.3265 | -0.32894 | 0.06 | 3121 | Holding time exceeded | See result laboratory comment |  | mg/L | M236 | DSIO223219A
Silica, FIL, DA | 00955 | CL151 | FIL | 2023 | 1870308 | 2023-08-07 |  | 13.17 | 13.8 | 95.4346 | -4.5654 | 0.69 | -0.91309 | 0.06 | 3121 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/L | M240 | DSIO223219A
Silica, FIL, DA | 00955 | CL151 | FIL | 2023 | 1990165 | 2023-08-07 |  | 13.0003 | 13.8 | 94.2049 | -5.7951 | 0.69 | -1.159 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M240 | DSIO223219A
Silica, FIL, DA | 00955 | CL151 | FIL | 2023 | 2200129 | 2023-08-23 |  | 11.5336 | 11.3 | 102.067 | 2.067 | 0.565 | 0.4134 | 0.06 | 3121 | Sample was diluted |  |  | mg/L | M234 | DSIO223235A