## BBP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2009 | 20092520135 | 2009-10-07 | 0.4524 | <4.0 | 2 | 1784 |  |  |  | ug/L | Blank | No | Fc100709 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2009 | 20092720019 | 2009-10-06 | 0.1071 | <4.0 | 2 | 1784 |  |  |  | ug/L | Blank | No | Fc100609 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20092780079 | 2009-10-09 | 3.575 | E3.6 | 2 | 1784 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | Fc100909 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20101590004 | 2010-06-09 | 1.953 | E1.95 | 1.7 | 1784 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | Fc060910 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20101870064 | 2010-07-14 | 1.763 | E1.76 | 1.7 | 1784 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | Fc071410 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20092870067 | 2009-10-15 | 0.1088 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc101509 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20092920084 | 2009-10-20 | 0.0666 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc102009 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20093000114 | 2009-10-30 | 0.1541 | <3.4 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc102909 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20093070154 | 2009-11-04 | 0.0146 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc110409 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20093130065 | 2009-11-10 | 0.3047 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc111009 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20093200079 | 2009-11-17 | -0.014 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc111709 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20093280005 | 2009-11-30 | 0.3886 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc113009 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20093360009 | 2009-12-07 | 0.6633 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc120709 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20093420007 | 2009-12-10 | 5.549 | 5.55 | 1.7 | 1784 |  |  |  | ug/L | Blank | Yes | Fc121009 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20093480055 | 2009-12-16 | 1.085 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | 09L16l00 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20093560027 | 2009-12-24 | 0.4735 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | 0Fc122409 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20093620044 | 2009-12-30 | 0.1792 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc123009 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20100050003 | 2010-01-05 | 0.0568 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc010610 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20100110087 | 2010-01-12 | 0.0667 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc011310 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20100190095 | 2010-01-19 | 0.1835 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc012010 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20100260067 | 2010-01-28 | 0.0937 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc012710 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20100320027 | 2010-02-03 | 0.016 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc020310 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20100390048 | 2010-02-10 | -0.1028 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc021010 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20100470037 | 2010-02-18 | 0.0057 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc021810 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20100530054 | 2010-03-03 | 0.1471 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc030310 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20100600060 | 2010-03-05 | 1.302 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc030510 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20100680010 | 2010-03-13 | 0.0926 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc031210 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20100750007 | 2010-03-17 | -0.0842 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc031710 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20100850046 | 2010-05-05 | 0.0464 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc050510 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20100880038 | 2010-03-31 | 0.1322 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc033110 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20100950040 | 2010-04-07 | 0.0204 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc040710 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20101020082 | 2010-05-05 | 0.1728 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc050510 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20101090070 | 2010-04-20 | 0.1201 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc042010 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20101180046 | 2010-06-16 | 0.0637 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc061610 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20101240082 | 2010-05-07 | 0.1208 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc050710 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20101310102 | 2010-06-16 | 0.1895 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc061610 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20101380006 | 2010-05-19 | 0.0512 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc051910 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20101440168 | 2010-06-02 | 0.0346 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc060210 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20101530080 | 2010-06-04 | 0.6407 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc060410 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20101660051 | 2010-08-03 | 0.2032 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | FCMS080210 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20101730082 | 2010-07-01 | 0.058 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc070110 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20101790134 | 2010-07-08 | 0.3256 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc070810 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20101930098 | 2010-08-12 | 0.0197 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc081110 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20102000190 | 2010-08-17 | 0.0841 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc081710 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20102080016 | 2010-08-26 | 0.1705 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc082610 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20102140107 | 2010-09-01 | 0.0523 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc090110 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20102230049 | 2010-10-04 | 0.1186 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc100110 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20102290121 | 2010-09-23 | 4.731 | 4.73 | 1.7 | 1784 |  |  |  | ug/L | Blank | Yes | Fc092310 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20102350190 | 2010-09-22 | 0.0033 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc092210 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20102430243 | 2010-09-29 | 0.154 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc092910 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20102510065 | 2010-10-05 | 0.1275 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc100510 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20102570003 | 2010-10-18 | 0.2194 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | FCMS101810 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20102640144 | 2010-11-02 | 0.2696 | <3.40 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc110310 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2010 | 20102700140 | 2010-11-03 | 14.89 | 14.9 | 1.7 | 1784 |  |  |  | ug/L | Blank | Yes | Fc110410 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20103190055 | 2010-11-26 | 3.24 | 3.24 | 1.7 | 1784 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | Fc112610 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20110400064 | 2011-02-10 | 2.743 | 2.74 | 1.7 | 1784 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | Fc021011 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20112500182 | 2011-09-16 | 2.986 | 2.99 | 1.7 | 1784 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | Fc091611 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20112560016 | 2011-09-22 | 1.767 | 1.77 | 1.7 | 1784 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | Fc092111 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20102770098 | 2010-11-04 | 0.344 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc110510 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20102850139 | 2010-11-08 | 0.5314 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc110610 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20102920019 | 2010-11-15 | 0.443 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc111210 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20102990003 | 2010-11-16 | 0.2896 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc111510 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20103060015 | 2010-11-17 | 0.2032 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc111710 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20103120039 | 2010-11-22 | 0.1616 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc111810 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20103260074 | 2010-11-30 | 0.0549 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | FCMS113010 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20103330109 | 2011-01-20 | 0.3854 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc112011 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20103400092 | 2010-12-22 | 1.178 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc122210 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20103470087 | 2010-12-29 | 0.0766 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc122910 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20103540034 | 2010-12-30 | 0.1113 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc123010 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20103610047 | 2011-02-01 | 0.0274 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc020111 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20110030014 | 2011-01-20 | 0.0563 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc112011 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20110110015 | 2011-01-13 | 0.1387 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc011311 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20110180054 | 2011-01-20 | 0.1379 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc112011 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20110240059 | 2011-01-25 | 0.362 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc012511 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20110410100 | 2011-02-11 | 0.2354 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc021111 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20110450030 | 2011-02-15 | 0.1657 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc021511 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20110530110 | 2011-02-25 | 0.1072 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc022411 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20110590074 | 2011-03-02 | 0.4453 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc030111 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20110660027 | 2011-03-09 | 1.072 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc030811 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20110750062 | 2011-03-19 | 0.248 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc031811 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20110800064 | 2011-03-23 | -0.0413 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc032211 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20110870085 | 2011-03-30 | 0.2298 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc032911 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20110950050 | 2011-04-08 | 0.0677 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc040711 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20111010114 | 2011-04-13 | 0.1486 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc041211 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20111080066 | 2011-04-20 | 0.1595 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc042011 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20111150117 | 2011-04-26 | 1.464 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc042611 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20111220082 | 2011-05-03 | 0.0941 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc050311 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20111290050 | 2011-05-31 | 0.0476 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc053111 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20111360141 | 2011-05-17 | 1.268 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc051711 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20111430209 | 2011-05-25 | 0.127 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc052511 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20111510160 | 2011-06-01 | 0.3924 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc060111 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20111570064 | 2011-06-08 | 0.0972 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc060811 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20111640061 | 2011-06-14 | 0.1612 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc061411 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20111710122 | 2011-06-21 | 1.142 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc062111 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20111780155 | 2011-06-28 | 0.3713 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc062811 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20111860065 | 2011-07-06 | 0.152 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc070611 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20111920093 | 2011-07-12 | 0.2573 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc071211 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20112010011 | 2011-07-22 | 0.2409 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc072211 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20112060087 | 2011-07-26 | 0.6291 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc072611 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20112130151 | 2011-08-23 | 0.0557 | <1.7 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc082211 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20112200054 | 2011-08-25 | 0.4248 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc082411 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20112300030 | 2011-09-01 | 0.0717 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc090111 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20112360073 | 2011-09-06 | 0.3033 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc090611 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20112510033 | 2011-09-19 | 0.0632 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc091911 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20112630052 | 2011-10-27 | 0.2154 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc102511 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2011 | 20112690117 | 2011-09-30 | 0.2442 | <1.70 | 1.7 | 1784 |  |  |  | ug/L | Blank | No | Fc092911 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20113250118 | 2011-11-29 | 2.543 | 2.54 | 2.2 | 1784 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | Fc112811 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20112760058 | 2011-10-06 | 0.0906 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc100611 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20112840066 | 2011-10-12 | 0.0311 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc101211 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20112910127 | 2011-10-19 | 0.1395 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc101911 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20112970109 | 2011-10-26 | 0.0056 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc102511 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20113050100 | 2011-11-09 | 0.2179 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc110311 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20113110055 | 2011-12-07 | 40.9 | 40.9 | 2.2 | 1784 |  |  |  | ug/L | Blank | Yes | Fc120711 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20113180155 | 2011-12-02 | 0.2018 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc111511 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20113320111 | 2011-11-29 | 0.1513 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc112911 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20113460133 | 2011-12-14 | 0.6585 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc121411 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20113490083 | 2011-12-19 | 0.4134 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc121911 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20113530135 | 2012-01-17 | 0.0557 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | 1Fc011712 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20113610082 | 2011-12-29 | 0.2352 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc122911 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20120030019 | 2012-01-05 | 0.0422 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc010412 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20120090049 | 2012-01-12 | 0.1123 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc011112 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20120180011 | 2012-01-20 | 0.1162 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc011912 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20120230043 | 2012-01-25 | 0.1153 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc012412 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20120310020 | 2012-02-02 | 0.139 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc020112 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20120370070 | 2012-02-06 | 12.68 | 12.7 | 2.2 | 1784 |  |  |  | ug/L | Blank | Yes | Fc020712 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20120450023 | 2012-02-14 | 0.185 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc021512 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20120530046 | 2012-02-22 | 2.191 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc022312 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20120580052 | 2012-02-27 | 0.2756 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc022812 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20120660072 | 2012-03-08 | 0.1652 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc030912 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20120730082 | 2012-03-13 | 0.6051 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc031412 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20120790082 | 2012-03-19 | 0.1242 | <2.2 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc032012 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20120870036 | 2012-04-01 | 0.076 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc040312 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20120930056 | 2012-04-03 | -0.0411 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc040512 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20121010021 | 2012-04-17 | -0.0988 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc041812 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20121080013 | 2012-04-19 | 0.0791 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc042012 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20121150094 | 2012-04-25 | 0.0537 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc042612 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20121210115 | 2012-04-30 | 0.0125 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc050112 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20121290094 | 2012-05-08 | 0.158 | <2.2 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc050912 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20121370047 | 2012-05-16 | 0.234 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc051712 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20121430074 | 2012-05-22 | 0.5608 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc052312 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20121510033 | 2012-05-30 | 0.0711 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc053112 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20121560116 | 2012-06-04 | 0.2442 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc060212 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20121650049 | 2012-06-17 | -0.1733 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc061912 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20121710005 | 2012-06-20 | 0.111 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc062112 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20121780041 | 2012-06-27 | 0.6775 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc062812 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20121870017 | 2012-07-09 | 0.0423 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc071012 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20121910037 | 2012-07-09 | 0.0881 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc071012 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20121990081 | 2012-07-18 | -0.4661 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc071912 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20122050095 | 2012-07-24 | 0.0299 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc072512 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20122140048 | 2012-08-02 | 0.233 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc080212 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20122190091 | 2012-08-08 | 0.0408 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc080812 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20122280088 | 2012-08-16 | -0.0281 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc081612 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20122350118 | 2012-08-27 | 0.1834 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc082712 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20122410009 | 2012-08-30 | 0.1619 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc083012 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20122490098 | 2012-09-27 | 0.3697 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc092712 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20122550004 | 2012-09-28 | 0.1126 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc092812 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20122690147 | 2012-10-09 | 0.1087 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc100512 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2012 | 20122700105 | 2012-10-10 | 0.2906 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc101012 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20130230096 | 2013-01-24 | 0.1505 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc012413 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20123250057 | 2012-11-26 | 0.6631 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc112612 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20130140063 | 2013-01-15 | 0.1341 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc011513 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20130350026 | 2013-02-07 | 0.07 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc020613 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20131150006 | 2013-05-01 | 0.1627 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | FCMS050113 | MS6
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20130520012 | 2013-02-22 | 0.0855 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc022213 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20130840054 | 2013-03-27 | 0.039 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc032613 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20131270016 | 2013-05-20 | 0.1138 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc052013 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20131220003 | 2013-05-16 | 0.0724 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc051613 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20131350116 | 2013-05-24 | 0.1174 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc052413 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20131090025 | 2013-05-01 | -0.0197 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | FCMS050113 | MS6
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20131640011 | 2013-06-17 | 0.3049 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc061713 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20131770016 | 2013-06-27 | 0.1135 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc062713 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20130770149 | 2013-03-20 | 0.0387 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc031913 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20130700007 | 2013-03-13 | 0.0753 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc031213 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20131970027 | 2013-07-18 | 0.0325 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc071813 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20131550021 | 2013-06-07 | 0.1085 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc060713 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20131500028 | 2013-06-06 | 0.1678 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc060613 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20131120114 | 2013-04-25 | -0.1498 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | FCMS42413 | MS6
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20131900084 | 2013-07-10 | 0.2005 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc071013 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20130630118 | 2013-03-06 | -0.1163 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc030513 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20131430195 | 2013-06-03 | 0.0778 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc053113 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20131830076 | 2013-07-03 | 0.0771 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc070313 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20130930078 | 2013-04-04 | 0.1511 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc040413 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20130570018 | 2013-02-27 | 0.2304 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc022713 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20131700030 | 2013-06-20 | 0.0983 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc062013 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20132120019 | 2013-08-09 | 0.0573 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc080913 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20132190030 | 2013-08-08 | -0.0983 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc080813 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20132040016 | 2013-07-26 | 1.626 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc072613 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20132270017 | 2013-08-19 | 0.02 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc081913 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20132350020 | 2013-08-28 | 0.0618 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc082813 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20132390013 | 2013-09-04 | 0.0488 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc090413 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20132410010 | 2013-09-05 | 0.0963 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc090513 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20132530107 | 2013-09-26 | 0.0839 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc092513 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20132660093 | 2013-09-30 | -0.048 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc093013 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20132730136 | 2013-10-22 | 0.5792 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc102213 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20132600005 | 2013-09-23 | -0.2972 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc092313 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20122750020 | 2012-10-12 | 0.0983 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc101212 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20122830029 | 2012-10-16 | 0.0544 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc101612 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20122900090 | 2012-10-22 | 0.1633 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc102212 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20122980119 | 2012-10-25 | 0.049 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc102512 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20123040114 | 2012-11-05 | 0.257 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc110512 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20123120064 | 2012-11-14 | 0.1131 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc110912 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20123330005 | 2012-11-30 | 0.0424 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc113012 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20123390110 | 2012-12-05 | 0.0093 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc120512 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20123480051 | 2012-12-14 | 0.0715 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc121412 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20123530089 | 2012-12-20 | 0.1173 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc122012 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20123620004 | 2012-12-31 | 0.1412 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc123112 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20130020003 | 2013-01-07 | 0.1277 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc010713 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20130070050 | 2013-01-10 | 0.0669 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc011013 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20130280035 | 2013-01-30 | 0.0504 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc013013 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20130420056 | 2013-02-13 | 0.0127 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc021313 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2013 | 20123200046 | 2012-11-20 | -0.1904 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc112012 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20133030021 | 2013-11-04 | 0.1681 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc110413 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20132970033 | 2013-10-30 | 0.0357 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc103013 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20133170112 | 2013-11-19 | 0.0866 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc111913 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20133360015 | 2013-12-05 | 0.0367 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc120513 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20133300004 | 2013-11-29 | 0.1795 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc112913 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20133430105 | 2013-12-26 | 0.0817 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc122613 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20133090093 | 2013-11-15 | 0.0525 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc111513 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20133500069 | 2013-12-27 | 0.1293 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc122713 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20133580045 | 2014-01-06 | -0.1035 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc010614 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20133230012 | 2013-11-21 | 0.0934 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc112113 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20140070062 | 2014-01-16 | 0.6009 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc011614 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20140210045 | 2014-01-23 | 1.321 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc012314 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20140130044 | 2014-01-22 | 0.0663 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc012214 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20140270191 | 2014-01-29 | 0.0544 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc012914 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20140340019 | 2014-02-19 | 0.0881 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc021914 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20140410008 | 2014-02-21 | 0.1794 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc022114 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20140490014 | 2014-02-25 | 0.0691 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc022514 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20140550046 | 2014-02-27 | 0.0265 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc022714 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20140630115 | 2014-03-06 | 0.1066 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc030614 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20140690018 | 2014-03-14 | -0.0797 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc031414 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20140760027 | 2014-03-20 | 0.1338 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc032014 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20140900031 | 2014-04-04 | 0.1321 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | FC040414 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20140840101 | 2014-04-01 | 0.1021 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc040114 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20140970042 | 2014-04-08 | 0.0348 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc040814 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20141130022 | 2014-05-02 | 0.0207 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc050214 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20141550057 | 2014-07-01 | -0.0198 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc063014 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20141190019 | 2014-05-01 | -0.365 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc050114 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20141400010 | 2014-05-29 | 0.0473 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc052914 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20141620025 | 2014-07-10 | 20.54 | 20.5 | 2.2 | 1784 |  |  |  | ug/L | Blank | Yes | Fc071014 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20141750145 | 2014-07-11 | 0.1098 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc071114 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20141680083 | 2014-07-09 | 0.0255 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc070914 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20141820117 | 2014-07-15 | 23.34 | 23.3 | 2.2 | 1784 |  |  |  | ug/L | Blank | Yes | Fc071514a | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20141890084 | 2014-07-16 | -0.0809 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc071614 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20141470137 | 2014-08-19 | 8.625 | 8.63 | 2.2 | 1784 |  |  |  | ug/L | Blank | Yes | Fc081914 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20141960039 | 2014-08-14 | 0.0336 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc080114 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20142030075 | 2014-08-27 | 4.45 | 4.45 | 2.2 | 1784 |  |  |  | ug/L | Blank | Yes | Fc082714 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20141050001 | 2014-04-17 | 0.0607 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc041714 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20141330198 | 2014-05-16 | 0.0699 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc051514 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20141250081 | 2014-05-09 | -0.0839 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc050714 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20142160066 | 2014-09-18 | -0.1589 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc091814 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20142230072 | 2014-09-23 | 0.1202 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc092314 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20142470061 | 2014-10-17 | 0.0939 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc101714 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20142090216 | 2014-09-10 | 0.0687 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc091014 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20142520026 | 2014-10-28 | 0.0452 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | FCMS102814 | MS6
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20142650101 | 2014-11-20 | 0.1136 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc112014 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20142720096 | 2014-11-28 | 0.0431 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc112814 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2014 | 20142590042 | 2014-11-19 | -0.1213 | <2.20 | 2.2 | 1784 |  |  |  | ug/L | Blank | No | Fc111914 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20142880081 | 2014-12-04 | 0.4454 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc120414 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20142950124 | 2014-12-09 | 0.304 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | FCMS120914 | MS6
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20142790030 | 2014-12-02 | 0.1498 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc120214 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20150050005 | 2015-01-07 | 0.4508 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc010615 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20143080084 | 2014-12-11 | 0.2016 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | FCMS121014 | MS6
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20143560048 | 2015-01-07 | 0.1521 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc010615 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20143630003 | 2015-01-07 | 0.5778 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc010615 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20143300031 | 2014-12-18 | 0.9252 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc121814 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20143010059 | 2014-12-10 | 0.2005 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc121014 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20143160024 | 2014-12-16 | 0.89 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc121614 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20143420016 | 2014-12-24 | 0.4689 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc122414 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20150120020 | 2015-01-13 | 0.2298 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc011315 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20143490032 | 2015-01-05 | -0.0811 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc010215 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20143360072 | 2014-12-24 | 0.04 | <3.0 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc122214 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20150200030 | 2015-01-21 | 0.4178 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc012115 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20150610103 | 2015-03-04 | 0.7198 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc030315 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20150490019 | 2015-02-19 | 0.8133 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc021915 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20150540025 | 2015-02-24 | 0.6252 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc022415 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20150400031 | 2015-02-12 | 0.4516 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc021215 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20150330025 | 2015-02-03 | 0.1842 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc020315 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20150260009 | 2015-01-29 | 0.2638 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc012915 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20143230042 | 2014-12-17 | 1.09 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc121714 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20150690106 | 2015-03-31 | 0.7121 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc033015 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20150770036 | 2015-04-01 | 0.8537 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc040215 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20150850035 | 2015-04-06 | 0.0415 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc040615 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20150900040 | 2015-04-08 | 0.0414 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc040815 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20151050035 | 2015-04-20 | -0.0017 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc042015 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20150970053 | 2015-04-09 | 0.0756 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc040915 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20151730014 | 2015-07-13 | -0.081 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc071315 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20151460097 | 2015-05-29 | 0.023 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc052915 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20151390188 | 2015-05-20 | 0.0724 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc052015 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20152640024 | 2015-10-19 | 25.12 | 25.1 | 3 | 1784 |  |  |  | ug/L | Blank | Yes | Fc101915 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20152230130 | 2015-09-08 | 4.719 | 4.72 | 3 | 1784 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | Fc090815 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20152430091 | 2015-10-08 | 0.7644 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc100715 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20152080063 | 2015-08-21 | 62.99 | 63.0 | 3 | 1784 |  |  |  | ug/L | Blank | Yes | Fc082215 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20151240063 | 2015-05-11 | 0.0962 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc051115 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20151870006 | 2015-07-21 | 0.1367 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc072115 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20152010045 | 2015-08-17 | 0.1958 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc081715 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20151800057 | 2015-07-15 | -0.0038 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc071515 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20151530208 | 2015-06-25 | 0.0152 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc062515 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20151310077 | 2015-05-12 | 0.0547 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc051215 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20151940019 | 2015-08-06 | 10.62 | 10.6 | 3 | 1784 |  |  |  | ug/L | Blank | Yes | Fc080715 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20151660035 | 2015-07-08 | -0.0385 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc070815 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20151620208 | 2015-07-06 | 0.033 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc070615 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20152510006 | 2015-10-14 | 0.1924 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc101415 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20152150071 | 2015-08-31 | 0.2497 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc083115 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20151180069 | 2015-05-05 | -0.1999 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc050415 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20151140026 | 2015-05-01 | 0.0391 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc043015 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20152710068 | 2015-10-22 | 0.3688 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc102215 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20152360153 | 2015-09-22 | 1.174 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | FC092215 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20152590162 | 2015-10-19 | 0.5123 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc101915 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2015 | 20152330003 | 2015-09-17 | 0.9641 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc091615 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20162710100 | 2017-01-04 | 0.16 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17004A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20162640168 | 2016-12-22 | -0.11 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS16357A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20162580013 | 2016-12-13 | 0.19 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS16348B | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20162440122 | 2016-12-02 | 0.13 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS16323A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20152990063 | 2015-11-10 | 3.897 | 3.90 | 3 | 1784 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | Fc111015 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20160530009 | 2016-02-24 | 0.1314 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc022416 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20160190015 | 2016-01-20 | 0.2254 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc012016 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20153630042 | 2015-12-30 | 0.3593 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc123015 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20152920031 | 2015-11-05 | 0.0645 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc110515 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20160950038 | 2016-04-05 | 0.1944 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc040516 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20153140003 | 2015-11-25 | 0.2661 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc112515 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20162520024 | 2016-12-07 | 0.98 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS16342B | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20162360196 | 2016-11-08 | 0.13 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS16313A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20153270009 | 2015-12-03 | 6.453 | 6.45 | 3 | 1784 |  |  |  | ug/L | Blank | Yes | Fc120315 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20161800084 | 2016-07-14 | 0.1148 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc071416 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20161100124 | 2016-05-06 | 0.1868 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc050616 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20161740072 | 2016-07-11 | 1.664 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc071116 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20160320007 | 2016-02-03 | 0.1783 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc020316 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20160470009 | 2016-02-19 | 0.2116 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc021916 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20162230006 | 2016-09-29 | 0.2178 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc093016 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20160050026 | 2016-01-11 | 0.3865 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc011116 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20160250026 | 2016-01-28 | 0.4288 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc012616 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20161520019 | 2016-06-23 | 1.149 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc062316 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20161590158 | 2016-06-28 | 6.085 | 6.09 | 3 | 1784 |  |  |  | ug/L | Blank | Yes | Fc062816 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20160400079 | 2016-02-11 | 0.1749 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc021116 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20160600009 | 2016-03-02 | 0.1859 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc030216 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20161870032 | 2016-08-02 | 0.2991 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc072616 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20162010252 | 2016-08-16 | 0.3548 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc081616 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20161020021 | 2016-04-12 | 0.4616 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc041216 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20153340014 | 2015-12-07 | 0.5749 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc120715 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20161940108 | 2016-08-10 | 1.372 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc081016 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20162290131 | 2016-10-18 | 0.4 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS16292A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20160110006 | 2016-01-12 | 0.0515 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc011216 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20161160088 | 2016-05-09 | 0.1605 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc050916 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20160810061 | 2016-03-29 | 0.1839 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc032916 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20153060027 | 2015-11-19 | 0.2494 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc111715 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20153200033 | 2015-11-30 | 0.2512 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc113015 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20160670011 | 2016-03-09 | 0.5613 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc030916 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20162150200 | 2016-09-27 | 0.2493 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc092716 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20161270012 | 2016-05-17 | 0.2736 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc051716 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20162080227 | 2016-08-22 | 0.2744 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc081916 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20153500158 | 2015-12-18 | 0.2828 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc121815 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20153550008 | 2015-12-29 | 0.3176 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc122915 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20160880036 | 2016-03-31 | 0.3961 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc033016 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20161660154 | 2016-07-05 | 0.6581 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc070116 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20153420012 | 2015-12-09 | 5.387 | 5.39 | 3 | 1784 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | Fc120915 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20152860156 | 2015-10-29 | 6.497 | 6.50 | 3 | 1784 |  |  |  | ug/L | Blank | Yes | Fc102915 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20160740010 | 2016-03-25 | 0.2157 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc032316 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20161230042 | 2016-05-13 | 0.2291 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc051216 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20152780005 | 2015-10-27 | 0.2725 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc102715 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2016 | 20161480186 | 2016-06-23 | 0.345 | <3.00 | 3 | 1784 |  |  |  | ug/L | Blank | No | Fc062316 | MS7
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20163550014 | 2017-03-30 | 1.0392 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17088B | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20170450132 | 2017-04-10 | 3.8128 | 4 | 3 | 1784 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPMS17100B | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20170240072 | 2017-04-04 | 1.9388 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17093C | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20162870007 | 2017-01-10 | 0.54 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17010A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20163410113 | 2017-03-13 | 1.047 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17067A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20170040048 | 2017-04-03 | 1.5456 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17093A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20163480102 | 2017-03-29 | 0.501 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17087B | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20170660119 | 2017-05-01 | 0.2232 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17121B | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20170310055 | 2017-04-04 | 3.0693 | 3 | 3 | 1784 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPMS17094A | MS2
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20163350014 | 2017-03-07 | 0.0843 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17066A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20170540101 | 2017-04-13 | 0.6055 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17103B | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20170380080 | 2017-04-05 | 2.0862 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17094C | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20163200111 | 2017-03-01 | 0.2 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17059A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20170190013 | 2017-04-03 | 2.5516 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17093B | MS2
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20163000006 | 2017-02-18 | 0.4468 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17048B | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20170100058 | 2017-04-03 | 0.4047 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17093A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20163130100 | 2017-02-22 | 0.5172 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17052C | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20163060095 | 2017-02-21 | 0.3466 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17052A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20162940173 | 2017-02-01 | 0.124 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17031A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20162780121 | 2017-01-05 | 0.08 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17005A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20163630046 | 2017-03-31 | 0.5899 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17089A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20170590085 | 2017-04-14 | 0.6495 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17104A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20163270132 | 2017-03-06 | 64.5861 | 65 | 3 | 1784 |  |  |  | ug/L | Blank | Yes | ICPMS17065B | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20171080126 | 2017-05-10 | 0.2186 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17130A | MS2
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20171020114 | 2017-05-11 | 0.369 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17130B | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20170800058 | 2017-05-01 | 0.0845 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17121C | MS2
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20171150174 | 2017-05-18 | 0.6973 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17137A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20170870117 | 2017-05-05 | 0.187 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17124A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20170730100 | 2017-05-10 | 0.4186 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17109A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20170940142 | 2017-06-05 | 0.2479 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17156A | MS2
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20171430155 | 2017-06-01 | 0.4682 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17152B | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20171290229 | 2017-05-26 | 0.1318 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17146A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20171220106 | 2017-05-23 | 0.226 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17143A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20171370202 | 2017-05-31 | 0.1158 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17151A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20171580021 | 2017-07-07 | 0.4867 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17187B | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20171510129 | 2017-07-06 | 0.1952 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17179C | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20171640189 | 2017-07-12 | 0.3167 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17193A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20171710259 | 2017-07-20 | 0.554 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17200A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20171780237 | 2017-08-04 | 0.2196 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17215B | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20171940289 | 2017-08-30 | 0.5198 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17241A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20171990203 | 2017-09-05 | 0.0537 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17244A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20172060162 | 2017-09-18 | 0.5268 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17258A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20172130277 | 2017-09-29 | 0.3548 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17269C | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20172270258 | 2017-10-11 | 0.208 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17284B | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20172410202 | 2017-10-24 | 0.182 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17293A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20172200300 | 2017-10-07 | 0.5207 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17278A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20172340144 | 2017-10-18 | 0.8743 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17290A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20172690265 | 2017-11-17 | 0.1363 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17320A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20172500013 | 2017-11-13 | 0.4097 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17307A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20172620332 | 2017-11-15 | 0.2693 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17318A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2017 | 20172560114 | 2017-11-22 | 0.0322 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17325A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20172910010 | 2017-12-01 | 0.1378 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17333A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20172860215 | 2017-12-01 | 0.3309 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17333A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20172860008 | 2017-12-01 | 0.3519 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17333A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20173050013 | 2017-12-08 | 0.18 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17341A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20172970198 | 2017-12-06 | 0.3524 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17339A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20173110103 | 2017-12-11 | 0.3779 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17342A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20173390114 | 2017-12-15 | 0.4126 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17348A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20173330014 | 2017-12-13 | 0.1521 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17346A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20173530088 | 2017-12-22 | 2.4566 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17355A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20173460062 | 2017-12-19 | 0.1372 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17349A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20180100002 | 2018-01-24 | 0.3088 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18022A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20180170052 | 2018-02-07 | 0.3502 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18025A | MS2
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20180300101 | 2018-02-14 | 0.4184 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18044A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20180240093 | 2018-02-13 | 0.2707 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18040B | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20180440085 | 2018-02-22 | 0.6559 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18052A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20180580106 | 2018-03-09 | 0.6788 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18067A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20180790074 | 2018-03-23 | 0.17 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18081A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20180930110 | 2018-04-05 | 0.1329 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18093A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20180860128 | 2018-03-29 | 0.682 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18087A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20180370081 | 2018-02-16 | 0.1669 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18046A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20181030005 | 2018-04-20 | 0.3985 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18106B | MS2
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20181140180 | 2018-04-30 | 1.9108 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18117A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20181090169 | 2018-04-30 | 0.1536 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18117A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20181220003 | 2018-05-03 | 0.0996 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18122A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20181280131 | 2018-05-11 | 0.5058 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18129A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20173620008 | 2018-01-04 | 0.3169 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18003A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20173260003 | 2017-12-13 | 0.4872 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17346A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20173180148 | 2017-12-12 | 0.2807 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS17345A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20180520081 | 2018-03-02 | 0.1728 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18059A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20180650053 | 2018-03-09 | 0.1003 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18067A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20181350118 | 2018-05-18 | 0.2997 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18135A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20181420240 | 2018-06-05 | 0.6249 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18152A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20181500152 | 2018-06-08 | 0.2046 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18158A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20181570003 | 2018-06-13 | -0.5895 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18163A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20181700188 | 2018-06-22 | 0.6811 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18172A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20181640007 | 2018-06-19 | 0.134 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18166A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20181840201 | 2018-07-09 | 0.5723 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18187A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20181770203 | 2018-07-05 | 0.1043 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18184A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20180730049 | 2018-04-24 | 0.4698 | <3 | 3 | 1784 | Value verified by rerun, same method |  |  | ug/L | Blank | No | ICPMS18109A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20181910200 | 2018-07-12 | 0.1807 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18191A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20182050280 | 2018-08-06 | 0.2018 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18215A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20182000210 | 2018-08-03 | 0.4976 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18214A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20182200014 | 2018-08-17 | 0.3594 | <3 | 3 | 1784 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS18228A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20182260160 | 2018-08-23 | 0.7231 | <3 | 3 | 1784 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS18234A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20182330209 | 2018-08-30 | 0.1183 | <3 | 3 | 1784 | See result laboratory comment | Result determined by alternate method |  | ug/L | Blank | No | ICPMS18241A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20182410004 | 2018-09-05 | 0.5295 | <3 | 3 | 1784 | See result laboratory comment | Result determined by alternate method |  | ug/L | Blank | No | ICPMS18247A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20182490004 | 2018-09-12 | 0.022 | <3 | 3 | 1784 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS18254A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20182610150 | 2018-09-20 | 0.0779 | <3 | 3 | 1784 | See result laboratory comment | Result determined by alternate method |  | ug/L | Blank | No | ICPMS18261A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20182570227 | 2018-09-20 | 0.5872 | <3 | 3 | 1784 | See result laboratory comment | Result determined by alternate method |  | ug/L | Blank | No | ICPMS18261A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20182680154 | 2018-09-28 | 0.5819 | <3 | 3 | 1784 | See result laboratory comment | Result determined by alternate method |  | ug/L | Blank | No | ICPMS18270A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2018 | 20182120172 | 2018-08-08 | 0.9337 | <3 | 3 | 1784 |  |  |  | ug/L | Blank | No | ICPMS18219A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2019 | 20182830108 | 2018-10-12 | 0.2583 | <3 | 3 | 1784 | See result laboratory comment | Result determined by alternate method |  | ug/L | Blank | No | ICPMS18284A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2019 | 20182890069 | 2018-10-23 | 0.0868 | <3 | 3 | 1784 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS18288A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2019 | 20183030079 | 2018-10-31 | 0.1959 | <3 | 3 | 1784 | See result laboratory comment | Result determined by alternate method |  | ug/L | Blank | No | ICPMS18304A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2019 | 20182960214 | 2018-10-24 | 0.2637 | <3 | 3 | 1784 | See result laboratory comment | Result determined by alternate method |  | ug/L | Blank | No | ICPMS18296A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2019 | 20183100202 | 2018-11-20 | 0.1977 | <3 | 3 | 1784 | See result laboratory comment | Result determined by alternate method |  | ug/L | Blank | No | ICPMS18319A | MS2
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2019 | 20183180143 | 2018-11-27 | 0.1157 | <3 | 3 | 1784 | See result laboratory comment | Result determined by alternate method |  | ug/L | Blank | No | ICPMS18327A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2019 | 20183310070 | 2018-12-04 | -0.0368 | <3 | 3 | 1784 | See result laboratory comment | Result determined by alternate method |  | ug/L | Blank | No | ICPMS18334A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2019 | 20183450154 | 2018-12-18 | 0.2097 | <3 | 3 | 1784 | See result laboratory comment | Result determined by alternate method |  | ug/L | Blank | No | ICPMS18347A | MS1
Aluminum, fltd, ICP-MS | 01106 | PLM43 | FIL | 2019 | 20183400011 | 2018-12-13 | 0.6183 | <3 | 3 | 1784 | See result laboratory comment | Result determined by alternate method |  | ug/L | Blank | No | ICPMS18346A | MS1