## BBP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2009 | 20092430151 | 2009-10-05 | 0.3889 | <6.0 | 3 | 2372 |  |  |  | ug/L | Blank | No | TCMS100509 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2009 | 20092520138 | 2009-10-07 | -0.1818 | <6.0 | 3 | 2372 |  |  |  | ug/L | Blank | No | TCMS100709 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2009 | 20092570054 | 2009-10-20 | 0.0769 | <6.0 | 3 | 2372 |  |  |  | ug/L | Blank | No | TCMS102009 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2009 | 20092640027 | 2009-10-08 | 0.0592 | <6.0 | 3 | 2372 |  |  |  | ug/L | Blank | No | TCMS100709 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2009 | 20092720008 | 2009-10-15 | 0.6124 | <6.0 | 3 | 2372 |  |  |  | ug/L | Blank | No | TCMS101409 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20092920086 | 2009-11-17 | 3.262 | E3.26 | 2.8 | 2372 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS111609 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20101440167 | 2010-06-30 | 3.777 | E3.78 | 2.8 | 2372 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS063010 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20102230050 | 2010-08-31 | 4.091 | E4.09 | 2.8 | 2372 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS083110 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20092780080 | 2009-11-16 | 0.0206 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS111609 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20092870065 | 2009-11-04 | 0.516 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS110409 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20093000117 | 2009-11-17 | -0.0039 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS111609 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20093070196 | 2009-11-18 | 0.252 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS111709 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20093130063 | 2009-11-23 | 2.418 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS112309 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20093200061 | 2009-11-24 | 0.3543 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS112309 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20093280014 | 2009-12-08 | 1.796 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS120709 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20093360005 | 2009-12-09 | 0.0766 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS120909 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20093420006 | 2009-12-16 | 0.392 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS121609 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20093480052 | 2009-12-17 | 0.5045 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS121609 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20093560030 | 2009-12-30 | 0.2396 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS123009 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20093620043 | 2009-12-31 | 0.5882 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS123009 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20100050002 | 2010-01-11 | 0.4965 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS011110 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20100110086 | 2010-01-19 | 0.4032 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS011910 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20100190096 | 2010-01-25 | 0.0802 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS012510 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20100260068 | 2010-02-08 | 2.669 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS020810 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20100320030 | 2010-02-10 | 0.0866 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS021010 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20100390046 | 2010-02-17 | 0.6841 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS021710 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20100470036 | 2010-02-22 | 0.0714 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS022210 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20100530052 | 2010-03-01 | 0.8374 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS030110 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20100600063 | 2010-03-10 | 0.7862 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS031010 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20100680011 | 2010-03-15 | 0.2302 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS031510 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20100750004 | 2010-04-01 | 0.8753 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS040110 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20100850045 | 2010-04-14 | 0.2261 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS041310 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20100880036 | 2010-04-07 | 0.2229 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS040610 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20100950039 | 2010-04-14 | 0.0851 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS041310 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20101020085 | 2010-04-22 | 2.302 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS042010 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20101090071 | 2010-04-29 | 0.0105 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS042910 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20101170100 | 2010-05-13 | 1.679 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS051210 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20101240085 | 2010-06-08 | -0.0424 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS060810 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20101310099 | 2010-06-09 | 0.1986 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS060910 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20101380008 | 2010-06-10 | 0.6452 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS060910 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20101530087 | 2010-07-06 | 0.385 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS070610 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20101590003 | 2010-07-07 | 0.4501 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS070610 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20101660052 | 2010-07-08 | 0.8575 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS070810 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20101730081 | 2010-07-09 | 0.281 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS070810 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20101790135 | 2010-08-02 | 0.2958 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS080210 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20101870067 | 2010-08-03 | 1.526 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS080210 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20101930100 | 2010-08-03 | 0.6667 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS080310 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20102000196 | 2010-08-03 | 0.0841 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS080310 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20102080017 | 2010-08-17 | 0.6132 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS081610 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20102140108 | 2010-08-19 | 1.165 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS081810 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20102290120 | 2010-09-08 | 1.619 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS090710 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20102350192 | 2010-09-09 | 0.8867 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS090710 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20102430248 | 2010-09-29 | 0.3057 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS092910 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20102510069 | 2010-10-05 | 0.3737 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS100410 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20102570001 | 2010-10-05 | 0.2065 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS100410 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20102640145 | 2010-10-12 | 0.2679 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS101210 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2010 | 20102700139 | 2010-10-12 | -0.1572 | <5.60 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS101210 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20110800062 | 2011-03-23 | 3.697 | 3.70 | 2.8 | 2372 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS032311 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20102770097 | 2010-10-19 | 0.9617 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS101810 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20102850136 | 2010-11-09 | 0.4088 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS110810 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20102920018 | 2010-11-17 | 0.721 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS111610 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20102990004 | 2010-12-01 | 0.0934 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS113010 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20103060014 | 2010-12-01 | 0.3528 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS113010 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20103120038 | 2010-12-01 | 0.2601 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS113010 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20103190057 | 2010-12-01 | 1.743 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS113010 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20103260073 | 2010-12-02 | 0.5839 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS120210 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20103330103 | 2010-12-02 | 0.1825 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS120210 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20103400091 | 2010-12-16 | -0.0329 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS121510 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20103470089 | 2010-12-17 | -0.0947 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS121510 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20103540036 | 2010-12-28 | -0.1095 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS122710 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20103610045 | 2011-01-05 | 0.4817 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS010511 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20110030016 | 2011-01-12 | 0.0909 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS011211 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20110110010 | 2011-01-20 | 1.17 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS011911 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20110180056 | 2011-02-09 | 1.327 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS020911 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20110240060 | 2011-02-10 | 0.1282 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS021011 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20110400066 | 2011-02-17 | 0.1561 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS021611 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20110410101 | 2011-02-17 | 0.0051 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS021611 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20110450032 | 2011-02-24 | 1.108 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS022411 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20110530109 | 2011-03-01 | 0.5986 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS022811 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20110590076 | 2011-03-11 | 0.243 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS030911 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20110660028 | 2011-03-16 | 0.1702 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS031611 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20110750060 | 2011-03-21 | 0.3405 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS032111 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20110870086 | 2011-04-05 | 1.369 | <2.8 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS040411 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20110950048 | 2011-04-13 | 0.347 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS041311 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20111010113 | 2011-04-14 | 0.3518 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS041311 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20111080068 | 2011-04-25 | 0.1878 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS042511 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20111150116 | 2011-04-27 | 0.1555 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS042711 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20111220080 | 2011-05-05 | 0.0198 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS050511 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20111290051 | 2011-05-12 | 0.3123 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS051111 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20111360140 | 2011-05-24 | 0.0311 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS052311 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20111430211 | 2011-06-14 | 0.0093 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS061311 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20111510157 | 2011-06-14 | -1.714 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS061311 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20111570066 | 2011-06-22 | 1.058 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS062111 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20111640063 | 2011-06-28 | 0.2603 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS062311 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20111710120 | 2011-07-08 | 0.5176 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS070711 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20111780153 | 2011-07-12 | 0.3234 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS071211 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20111860064 | 2011-07-14 | 0.1656 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS071211 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20111920094 | 2011-07-26 | 0.1739 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS072511 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20112010009 | 2011-07-28 | 0.6146 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS072711 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20112060089 | 2011-08-03 | 0.0317 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS080211 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20112130150 | 2011-08-05 | 0.3533 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS080411 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20112200063 | 2011-08-18 | 0.3944 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS081711 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20112300032 | 2011-08-25 | 0.2998 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS082511 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20112360072 | 2011-08-31 | 1.392 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS083111 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20112500179 | 2011-10-05 | 0.1377 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS100411 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20112510032 | 2011-10-06 | 0.3391 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS100611 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20112560018 | 2011-10-07 | 0.3626 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS100611 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20112630055 | 2011-10-11 | 0.2027 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS101111 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2011 | 20112690116 | 2011-10-12 | 0.1305 | <2.80 | 2.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS101111 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20113110053 | 2011-11-30 | 4.076 | 4.08 | 3.8 | 2372 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS113011 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20112760060 | 2011-10-12 | 0.0337 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS101111 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20112840069 | 2011-11-08 | 18.56 | 18.6 | 3.8 | 2372 |  |  |  | ug/L | Blank | Yes | TCMS110711 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20112910129 | 2011-11-22 | 0.1965 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS112211 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20112970112 | 2011-11-23 | 0.2002 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS112211 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20113050096 | 2011-11-29 | 0.283 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS112811 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20113180160 | 2011-12-09 | 0.5676 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS120811 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20113250117 | 2011-12-12 | 0.1362 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS121211 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20113320112 | 2011-12-13 | 0.3219 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS121211 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20113460135 | 2011-12-19 | 0.2578 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS121911 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20113490079 | 2012-01-09 | 0.4516 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS010912 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20113530134 | 2012-01-10 | 0.2195 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS011012 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20113610084 | 2012-01-12 | 0.2194 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS011112 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20120030020 | 2012-01-12 | 0.2225 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS011112 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20120090050 | 2012-01-18 | 1.018 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS011812 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20120180009 | 2012-01-23 | 0.471 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS012312 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20120230044 | 2012-01-25 | 2.318 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS012512 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20120310018 | 2012-02-08 | 0.1426 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS020712 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20120370071 | 2012-02-15 | 0.4029 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS021512 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20120450026 | 2012-02-22 | 0.5037 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS022212 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20120530048 | 2012-02-28 | 0.2527 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS022812 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20120580054 | 2012-03-06 | 0.1236 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS030612 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20120660068 | 2012-03-14 | 0.8191 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS031312 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20120730085 | 2012-03-23 | 2.207 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS032212 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20120790077 | 2012-03-28 | 0.6757 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS032812 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20120870040 | 2012-04-02 | 0.4308 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS040212 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20120930052 | 2012-04-06 | 0.3024 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS040512 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20121010022 | 2012-04-18 | 0.2227 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS041812 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20121080015 | 2012-04-30 | 0.4115 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS043012 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20121150093 | 2012-04-30 | 2.162 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS043012 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20121210116 | 2012-05-16 | 0.2491 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS051612 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20121290089 | 2012-05-15 | 1.305 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS51412B | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20121370043 | 2012-05-29 | 0.2887 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS052912 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20121430075 | 2012-05-30 | 0.121 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS052912B | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20121510035 | 2012-06-14 | 0.2292 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS061212 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20121560115 | 2012-06-20 | 0.6566 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS061912 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20121650050 | 2012-06-29 | 0.5014 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS062812 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20121710004 | 2012-07-04 | 2.522 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS070212 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20121780038 | 2012-07-04 | 3.448 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS070212 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20121870015 | 2012-07-25 | -0.1169 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS072512 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20121910039 | 2012-08-01 | 38.24 | 38.2 | 3.8 | 2372 |  |  |  | ug/L | Blank | Yes | TCMS080112 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20121990076 | 2012-07-31 | -0.0061 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS073012 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20122050096 | 2012-08-02 | 0.1969 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS080112 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20122140045 | 2012-08-13 | 0.4643 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS081312 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20122190094 | 2012-08-14 | -0.2442 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS081312 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20122280084 | 2012-08-23 | 0.386 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS082212 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20122350117 | 2012-08-30 | 0.2732 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS083012 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20122400102 | 2012-09-05 | 0.3995 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS090512 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20122490100 | 2012-09-13 | 0.1882 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS091212 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20122550005 | 2012-09-18 | 0.2447 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS091712 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20122690148 | 2012-10-04 | 0.2267 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS100312 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2012 | 20122700103 | 2012-10-04 | 0.626 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS100312 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20123120063 | 2012-11-21 | 0.0607 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS112112 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20123480049 | 2012-12-20 | 0.5153 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS121912 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20123330002 | 2012-12-03 | 1.412 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS120312 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20130570016 | 2013-03-06 | 0.3884 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS030513 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20131220004 | 2013-05-16 | 0.0817 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS051513 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20130930076 | 2013-04-11 | 4.694 | 4.69 | 3.8 | 2372 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS041113 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20131120116 | 2013-05-15 | -0.0491 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS051513 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20131430171 | 2013-06-04 | 0.0886 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS053013 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20131270015 | 2013-06-04 | 0.6059 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS060413 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20131500022 | 2013-06-17 | 1.222 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS061713 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20131090024 | 2013-05-15 | 0.1977 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS051513 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20130840048 | 2013-04-03 | 1.245 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS040313 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20130770150 | 2013-03-27 | 1.197 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS032513 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20131640003 | 2013-06-20 | 0.0803 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS061913 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20131770015 | 2013-07-09 | 0.289 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS070813 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20130520013 | 2013-02-27 | 0.447 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS022713 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20131550019 | 2013-06-18 | -0.0152 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS061713 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20130700008 | 2013-03-26 | 0.2859 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS032513 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20131700032 | 2013-07-08 | 0.4343 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS070813 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20130630115 | 2013-03-07 | 1.908 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS030713 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20131150010 | 2013-05-15 | 1.901 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS051513 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20131350128 | 2013-05-29 | 1.391 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS052813 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20131830079 | 2013-08-08 | 1.169 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS080713 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20131900082 | 2013-08-12 | 0.0807 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS081213 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20131970029 | 2013-08-19 | 0.002 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS081913 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20132040024 | 2013-08-20 | -0.1027 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS081913 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20132120023 | 2013-09-09 | 0.4439 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS090913 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20132180183 | 2013-11-12 | 3.681 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS111213 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20132350022 | 2013-11-21 | 0.2759 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS112113 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20132390014 | 2013-11-22 | 0.4432 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS112113 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20132270019 | 2013-12-10 | -0.061 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS121013 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20132410008 | 2013-11-26 | 0.2851 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS112613 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20132530104 | 2013-12-03 | 0.2442 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS120313 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20132660101 | 2013-12-12 | 3.808 | 3.81 | 3.8 | 2372 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS121213 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20132600008 | 2013-12-12 | 6.346 | 6.35 | 3.8 | 2372 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS121213 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20132730129 | 2013-12-06 | 0.939 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS120513 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20130020002 | 2013-01-09 | 0.185 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS010913 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20130230091 | 2013-01-30 | 5.495 | 5.50 | 3.8 | 2372 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS013013 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20122750019 | 2012-10-10 | 0.2764 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS101012 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20122830030 | 2012-11-01 | 0.2222 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS102912 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20122900091 | 2012-11-05 | 0.2536 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS110512 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20122980118 | 2012-11-06 | 0.3733 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS110612 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20123040115 | 2012-11-07 | 0.1901 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS110612 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20123200048 | 2012-11-21 | 0.1341 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS112112 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20123250058 | 2012-11-29 | 0.5782 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS112812 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20123390109 | 2012-12-11 | 0.1921 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS121112 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20123530087 | 2013-01-02 | -0.0042 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS010213 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20123620003 | 2013-01-09 | 0.1904 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS010913 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20130070049 | 2013-01-14 | 0.7191 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS011413 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20130140064 | 2013-01-22 | 0.6093 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS012213 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20130280034 | 2013-02-06 | 0.1739 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS020613 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20130350027 | 2013-02-14 | 0.0747 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS021413 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2013 | 20130420059 | 2013-02-22 | 0.1228 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS022013 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20133030026 | 2013-12-30 | -0.3034 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS123013 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20132970029 | 2013-12-16 | 0.8441 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS121613 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20133360014 | 2014-01-13 | 4.073 | 4.07 | 3.8 | 2372 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS011314 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20133230011 | 2014-01-09 | 1.361 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS010914 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20133300009 | 2014-01-13 | 0.8678 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS011314 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20133090094 | 2014-01-07 | 0.1472 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS010714 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20133170109 | 2014-01-07 | -0.1589 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS010714 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20133500072 | 2014-01-16 | 0.0285 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS011414 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20140270192 | 2014-02-04 | 0.5986 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS020314 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20140210044 | 2014-02-03 | 0.7187 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS020314 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20133430106 | 2014-01-15 | 0.2144 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS011414 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20133580047 | 2014-01-21 | 1.084 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS012114 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20140340018 | 2014-02-06 | 0.9398 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS020614 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20140410012 | 2014-02-18 | 0.8542 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS021814 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20140490011 | 2014-02-26 | 1.411 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS022614 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20140070059 | 2014-01-21 | 0.3159 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS012114 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20140130046 | 2014-01-21 | 0.0211 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS012114 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20140630113 | 2014-03-19 | 0.8851 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS031914 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20140690019 | 2014-03-20 | -0.016 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS031914 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20140760037 | 2014-03-31 | 0.6527 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS033114 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20140840100 | 2014-04-01 | 0.1113 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS033114 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20140900030 | 2014-04-11 | 0.8165 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS040914 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20140970041 | 2014-04-22 | 0.5656 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS042114 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20141190023 | 2014-05-01 | 1.193 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS050114 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20141330197 | 2014-05-21 | 0.0638 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS052014 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20141400006 | 2014-05-30 | 2.229 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS052914 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20141250079 | 2014-05-15 | -0.047 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS051314 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20141550059 | 2014-06-16 | 0.9408 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS061614 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20141130018 | 2014-05-01 | 0.6524 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS050114 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20141620028 | 2014-06-23 | 2.54 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS062314 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20141960038 | 2014-07-29 | 0.4331 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS072814 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20141750148 | 2014-07-02 | 0.3284 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS070214 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20141890086 | 2014-07-24 | -0.2206 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS072214 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20141050004 | 2014-04-22 | 0.3958 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS042114 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20140550044 | 2014-03-04 | -0.1588 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS030414 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20141820116 | 2014-07-24 | 0.3839 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS072214 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20142160067 | 2014-08-14 | 2.436 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS081314 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20142090219 | 2014-08-13 | 0.2606 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS081314 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20142230074 | 2014-08-19 | 0.3105 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS081914 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20142590044 | 2014-09-29 | -0.0047 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS092914 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20142720094 | 2014-10-08 | 0.2849 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS100814 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20142470059 | 2014-09-16 | 0.7017 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS091514 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20141680084 | 2014-06-30 | 1.007 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS063014 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20142030073 | 2014-07-31 | 0.6683 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS073014 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20141470141 | 2014-06-05 | 0.5218 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS060414 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20142520025 | 2014-09-22 | 0.5966 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS092214 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2014 | 20142650105 | 2014-10-01 | 0.2828 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS100114 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20142950118 | 2014-11-13 | 1.567 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS111314 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20142880083 | 2014-11-04 | 0.5241 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS110314 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20143230039 | 2014-12-01 | 0.4306 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS120114 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20143300033 | 2014-12-03 | 1.108 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS120314 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20143080080 | 2014-11-18 | -0.1543 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS111714 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20143010060 | 2014-11-17 | 0.8497 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS111714 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20143160023 | 2014-11-20 | 0.2427 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS112014 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20143560047 | 2015-01-07 | 1.062 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS010715 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20143490025 | 2014-12-18 | 0.4788 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS121814 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20143420017 | 2014-12-17 | 0.6208 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS121614 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20150050012 | 2015-01-14 | 0.7322 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS011415 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20143360075 | 2014-12-16 | 0.7145 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS121614 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20143630004 | 2015-01-07 | 0.7949 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS010715 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20150120018 | 2015-01-26 | 1.295 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS012615 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20150200032 | 2015-01-27 | 0.8008 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS012615 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20150260010 | 2015-02-09 | 0.2689 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS020915 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20150400030 | 2015-02-18 | 0.9729 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS021815 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20150330023 | 2015-02-11 | 0.8603 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS021115 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20150490022 | 2015-02-25 | 1.095 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS022515 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20142790029 | 2014-10-15 | 0.9469 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS101414 | MS7
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20150690103 | 2015-03-18 | -0.0376 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS031615 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20150610102 | 2015-03-27 | -0.712 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS032615 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20150540027 | 2015-03-27 | -0.4745 | <3.8 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS032615 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20150970055 | 2015-04-16 | -1.222 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS041415 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20150900042 | 2015-04-11 | -1.57 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS041015 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20150850037 | 2015-04-10 | -1.615 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS041015 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20150770035 | 2015-04-07 | 4.145 | 4.15 | 3.8 | 2372 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS033115 | MS6
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM48 | UNF | 2015 | 20151050032 | 2015-04-23 | -0.6481 | <3.80 | 3.8 | 2372 |  |  |  | ug/L | Blank | No | TCMS042215 | MS6