## BBP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20183180144 | 2019-02-06 | 0.2921 | <3 | 3 | 3434 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS19036B | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20183530007 | 2019-02-05 | 0.318 | <3 | 3 | 3434 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS19035A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20183100204 | 2019-02-05 | 0.422 | <3 | 3 | 3434 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS19035A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20190430214 | 2019-03-12 | 0.2242 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19071B | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20190290117 | 2019-02-25 | 0.1564 | <3 | 3 | 3434 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS19051B | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20190360208 | 2019-03-11 | 0.595 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19070A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20190570195 | 2019-04-08 | 0.6068 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19098A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20190640122 | 2019-04-16 | 0.0947 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19105A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20190520016 | 2019-03-29 | 1.0406 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19087B | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20190720010 | 2019-04-16 | 0.1125 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19105A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20190780109 | 2019-04-26 | 0.493 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19114A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20190860017 | 2019-04-30 | 0.3974 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19119B | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20190920103 | 2019-04-30 | 0.5792 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19119B | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20183310072 | 2019-02-13 | 0.72 | <3 | 3 | 3434 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS19042A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20191300191 | 2019-06-06 | 0.0879 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19157A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20191130141 | 2019-05-06 | 0.4906 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19122B | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20191200096 | 2019-06-06 | 0.1613 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19157A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20191550210 | 2019-06-26 | 0.4089 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19175B | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20191070144 | 2019-05-06 | 0.5625 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19122B | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20190990205 | 2019-05-06 | 0.0008 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19122B | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20191350012 | 2019-06-06 | -0.1201 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19157A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20191690168 | 2019-07-02 | 0.3941 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19183B | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20191620189 | 2019-07-02 | 0.4316 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19183B | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20191760230 | 2019-07-03 | 0.3108 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19184B | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20191410240 | 2019-06-11 | 0.3185 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19158A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20191490089 | 2019-06-24 | 0.2831 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19169A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20191830147 | 2019-08-02 | 0.3383 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19214A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20191900118 | 2019-08-19 | 0.184 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19231B | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20192000011 | 2019-08-19 | 0.1292 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19231B | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20192050070 | 2019-08-19 | 0.6767 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19231B | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20192110139 | 2019-08-27 | 0.3287 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19238A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20192180195 | 2019-08-29 | 0.5279 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19239B | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20192250189 | 2019-09-04 | 0.534 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19247A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20192320243 | 2019-09-09 | 0.1948 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19252A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20192390251 | 2019-09-23 | 0.1575 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19266A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20192470196 | 2019-09-23 | 0.3579 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19266A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20192530108 | 2019-10-01 | 0.3083 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19274A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20192600335 | 2019-10-02 | 0.1441 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19275B | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2019 | 20192670168 | 2019-12-03 | 0.423 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19322A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20192810093 | 2019-12-10 | 0.0914 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19338A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20192890227 | 2019-12-12 | 0.4802 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19344B | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20192950176 | 2019-12-16 | 0.312 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19347B | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20193030012 | 2019-12-18 | 0.281 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19350A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20193090149 | 2019-12-30 | 0.7704 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19364A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20193170130 | 2019-12-30 | 0.5951 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19364A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20193230159 | 2019-12-30 | 0.6496 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS19364A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20193310012 | 2019-12-30 | 0.5334 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19364A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20193370112 | 2020-01-10 | 0.7033 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20010A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20193440278 | 2020-01-10 | 0.7039 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20010A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20193510012 | 2020-01-10 | 0.8325 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20010A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20193600027 | 2020-01-21 | 1.1206 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20021A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20193650127 | 2020-01-21 | 0.6224 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20021A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20200070049 | 2020-01-21 | 0.121 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20021A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20200150006 | 2020-01-21 | 1.0546 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20021A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20200220087 | 2020-02-03 | 0.6128 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20031A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20200280079 | 2020-02-12 | 0.0798 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20043A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20200350117 | 2020-02-12 | 0.5437 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20043A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20200420083 | 2020-03-03 | 1.575 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20063B | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20200500100 | 2020-03-04 | 2.266 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20064A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20200560055 | 2020-03-04 | 1.6639 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20064A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20200630077 | 2020-03-18 | 0.763 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20076A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20200700087 | 2020-04-20 | 1.0422 | <3 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20111B | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20200770101 | 2020-04-22 | 0.9121 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20113B | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20200840011 | 2020-04-22 | 1.1603 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20113B | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20200910074 | 2020-04-22 | 1.7844 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20113B | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20200980033 | 2020-04-23 | 1.1664 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20114A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20201060060 | 2020-04-23 | 1.0667 | <3 | 3 | 3434 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20114A | MS2
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20201260093 | 2020-08-26 | 0.4623 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20238B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20201550018 | 2020-06-30 | 0.655 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20182B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20201610146 | 2020-06-30 | 1.4605 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20182B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20201680166 | 2020-08-27 | 0.7749 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20240A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20201750082 | 2020-08-27 | 0.477 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20240A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20201890165 | 2020-09-02 | 0.5921 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20245B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20201960120 | 2020-09-03 | 1.2811 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20247B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20202040006 | 2020-09-03 | 0.6095 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20247B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20202110018 | 2020-09-17 | 1.359 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20260A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20202170015 | 2020-09-17 | 0.2806 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20260A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20202240076 | 2020-09-17 | 0.2961 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20260A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20202320075 | 2020-09-24 | 0.2071 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20276A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20202390010 | 2020-09-29 | 0.6121 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20273A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20202530033 | 2020-10-05 | 0.8398 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20279B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20202590124 | 2020-10-08 | 0.7876 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20281B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20202670160 | 2020-10-08 | 0.929 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20281B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2020 | 20202740033 | 2020-10-22 | 0.8703 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20296B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20202810034 | 2020-10-22 | 0.4856 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20296B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20202870023 | 2020-12-29 | 0.3702 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS20350A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20202950003 | 2021-01-13 | 0.3934 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21013B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20203010138 | 2021-01-13 | 0.4436 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21013B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20203080094 | 2021-01-13 | 0.8704 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21013B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20203150087 | 2021-01-15 | 0.1543 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21015A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20203230007 | 2021-01-26 | 0.8663 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21026B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20203300030 | 2021-02-02 | 1.3225 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21033A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20203440026 | 2021-01-29 | 0.2743 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21028B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20203530092 | 2021-03-04 | 0.6587 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21055A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20203580041 | 2021-03-04 | 1.1865 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21055A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20203640026 | 2021-03-04 | 0.3333 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21055A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20210050012 | 2021-03-04 | 3.0482 | 3.0 | 3 | 3434 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPMS21055A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20210120044 | 2021-03-04 | 1.0154 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21055A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20210210038 | 2021-01-26 | 0.5184 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21026A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20210270014 | 2021-03-26 | 0.3679 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21077A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20210330093 | 2021-04-20 | 0.1928 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21110A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20210400060 | 2021-05-04 | 0.423 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21124A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20210480018 | 2021-05-04 | 0.3283 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21124A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20210540043 | 2021-05-11 | 0.4736 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21131A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20210620148 | 2021-05-13 | 0.2496 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21132B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20210690059 | 2021-05-13 | 0.4965 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21132B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20210760031 | 2021-05-14 | 0.4908 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21134A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20210830009 | 2021-05-14 | 0.3319 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21134A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20210970026 | 2021-05-18 | 3.5619 | 3.6 | 3 | 3434 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPMS21138A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20211030195 | 2021-05-05 | 0.7238 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21125A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20211100007 | 2021-05-26 | 0.8387 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21145B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20211180009 | 2021-06-10 | 0.3175 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21159B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20211250023 | 2021-06-16 | 0.5189 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21167B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20211320140 | 2021-06-29 | 0.4392 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21180B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20211380009 | 2021-07-01 | 0.2529 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21182B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20211460018 | 2021-07-09 | 0.465 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21188B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20211600013 | 2021-07-23 | 0.3954 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21200B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20211660072 | 2021-07-28 | 0.4289 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21209B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20211730227 | 2021-08-06 | 1.5747 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21218A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20211800179 | 2021-08-31 | 1.4076 | <6.0 | 3 | 3434 | Sample was diluted |  |  | ug/L | Blank | No | ICPMS21232A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20211880191 | 2021-08-10 | 0.2754 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21222B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20211940180 | 2021-08-16 | 1.6194 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21228B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20212020191 | 2021-08-18 | 0.9973 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21230A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20212080104 | 2021-08-18 | 1.6411 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21230A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20212150074 | 2021-08-30 | 1.3764 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21242B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20212220202 | 2021-09-22 | 1.2971 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21258B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20212290229 | 2021-09-24 | 0.9261 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21267A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20212360125 | 2021-10-01 | -0.5273 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21273A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20212520226 | 2021-10-14 | 0.9545 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21287B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20212580246 | 2021-10-19 | 1.013 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21292A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20212640288 | 2021-11-02 | 0.6079 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21295B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2021 | 20212720116 | 2021-10-28 | -0.0044 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21300B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20212790010 | 2021-11-22 | -0.5422 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21308B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20212860197 | 2021-12-14 | 1.0762 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21340B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20212940171 | 2021-12-15 | 0.5142 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21349B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20212990152 | 2022-01-03 | 1.8151 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21356B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20213060227 | 2022-01-03 | 1.0524 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS21356B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20213130195 | 2022-01-05 | 0.339 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22005A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20213200068 | 2022-01-05 | 0.6065 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22005A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20213270269 | 2022-01-26 | 0.8575 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22026B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20213410085 | 2022-01-26 | 0.764 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22026B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20213480149 | 2022-03-30 | 0.9537 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22089B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20213550407 | 2022-01-27 | 0.3504 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22027C
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20213620339 | 2022-01-29 | 0.395 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22027D
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20220040079 | 2022-03-30 | 0.5391 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22089B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20220110080 | 2022-03-30 | 0.7016 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22089B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20220190108 | 2022-03-01 | 1.2968 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22060A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20220260174 | 2022-03-15 | 0.5971 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22073B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20220390077 | 2022-04-12 | 1.7063 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22097B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20220470005 | 2022-04-12 | 0.1463 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22097B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20220540131 | 2022-04-19 | 1.0921 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22088B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20220600063 | 2022-04-19 | 0.3469 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22088B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20220670056 | 2022-04-19 | 0.5101 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22088B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20221300147 | 2022-06-14 | 0.5681 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22157B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20221370158 | 2022-06-23 | 0.8459 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22174A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20221090223 | 2022-06-24 | 0.7722 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22175A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20221160195 | 2022-05-25 | 0.8111 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22144A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20221580135 | 2022-07-21 | 0.9472 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22202A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20221230098 | 2022-05-25 | 0.1602 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22144A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20221730303 | 2022-07-27 | 1.5432 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22208B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20221790224 | 2022-07-27 | 3.5388 | 3.5 | 3 | 3434 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPMS22208B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20221440247 | 2022-06-27 | 0.6858 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22178A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20222000012 | 2022-08-04 | 0.3637 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22215B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20221870179 | 2022-08-02 | 0.2738 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22214B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20221660340 | 2022-07-25 | 1.1823 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22203B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20220810121 | 2022-05-09 | 0.8943 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22129A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20220760098 | 2022-05-09 | 1.0724 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22129A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20220880104 | 2022-05-09 | 0.5821 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22129A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20220950118 | 2022-05-16 | 0.8163 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22136A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20221020007 | 2022-05-16 | 0.2119 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22136A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20221930237 | 2022-08-03 | 0.8535 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22215B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20222070165 | 2022-08-08 | 0.6389 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22220A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20222140172 | 2022-08-08 | 0.5463 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22220A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20222210261 | 2022-08-18 | 1.0562 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22229B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20222280350 | 2022-08-26 | 3.0087 | 3.0 | 3 | 3434 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPMS22238A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20222560152 | 2022-09-27 | 0.8861 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22269A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20222360014 | 2022-09-20 | 1.1563 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22263B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20222500471 | 2022-10-04 | 1.6823 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22277A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20222630193 | 2022-10-04 | 2.313 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22277A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2022 | 20222700275 | 2022-10-25 | 0.3649 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22298B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20222770160 | 2022-10-25 | 0.1827 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22298B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20222850175 | 2022-10-27 | 0.8839 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22300A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20222910104 | 2022-10-27 | 1.0177 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22300A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20222980104 | 2022-11-01 | 2.2308 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22305B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20223540179 | 2023-01-03 | 0.2915 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23003B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20223620075 | 2023-01-09 | 0.0911 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23009A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20223330060 | 2023-02-01 | 1.1467 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23032A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20223260134 | 2023-02-01 | 10.1309 | 10.13 | 3 | 3434 | Value verified by rerun, same method |  |  | ug/L | Blank | Yes | ICPMS23032A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20223400102 | 2023-02-01 | 0.3353 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23032A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20223120114 | 2022-11-16 | 0.1601 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS22320A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20230380134 | 2023-02-17 | 0.8045 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23048A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20223190123 | 2023-01-27 | 0.8377 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23027A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20230040144 | 2023-02-14 | 0.7033 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23045A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20230100087 | 2023-02-14 | 0.4802 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23045A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20230180008 | 2023-02-14 | 1.0277 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23045A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20230450138 | 2023-02-21 | 0.325 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23052A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20230540068 | 2023-03-15 | 0.2915 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23074A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20230590146 | 2023-03-15 | 1.5144 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23074A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20230730129 | 2023-03-21 | 0.791 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23080A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20230660139 | 2023-03-15 | 0.6628 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23074A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20230800079 | 2023-03-30 | 0.3023 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23089B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20230870167 | 2023-04-25 | -0.0456 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23114B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20223480162 | 2023-02-09 | 1.568 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23040A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20230240108 | 2023-02-17 | 0.1554 | <3.0 | 3 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23048A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20231150182 | 2023-05-01 | 0.1523 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23121B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20231230165 | 2023-05-19 | 1.691 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23139A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20231290209 | 2023-05-19 | 2.7249 | 2.7 | 2 | 3434 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPMS23139A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20231090168 | 2023-05-01 | -0.0055 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23121B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20231360037 | 2023-05-24 | 0.3272 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23144C
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20230940128 | 2023-04-27 | 1.5405 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23117A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20231010260 | 2023-04-27 | 0.1709 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23117A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20231440113 | 2023-06-09 | 0.4193 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23160A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20231720087 | 2023-06-28 | 0.6832 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23179A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20231640213 | 2023-06-26 | 0.8566 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23177B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20231570081 | 2023-06-14 | 1.1632 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23164A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20231790082 | 2023-07-06 | 0.2943 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23187B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20231860111 | 2023-07-17 | 0.5671 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23198A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20231980034 | 2023-07-28 | -0.302 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23208B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20232120078 | 2023-08-08 | 0.1712 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23219A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20232050061 | 2023-08-03 | 0.1797 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23215A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20232260029 | 2023-09-07 | -0.029 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23250A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20232190038 | 2023-08-31 | -0.0335 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23241B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20232350101 | 2023-09-26 | 0.1801 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23269A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20232480088 | 2023-10-03 | 1.8983 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23276A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20232560115 | 2023-10-04 | 0.3535 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23277A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20232410129 | 2023-10-03 | 0.7055 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23276A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20232610260 | 2023-10-04 | 0.2061 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23277A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2023 | 20232680187 | 2023-10-04 | 0.0223 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23277A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20232760049 | 2023-11-28 | 0.1555 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23332A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20232840061 | 2023-10-26 | 0.0696 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23299B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20233250139 | 2023-12-19 | 2.4143 | 2.4 | 2 | 3434 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPMS23353A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20233330055 | 2023-12-20 | -0.1377 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23354A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20233400091 | 2023-12-20 | 0.5478 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23354A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20232910048 | 2023-12-06 | -0.299 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23340A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20233470270 | 2024-01-29 | 0.225 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24025A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20233190006 | 2023-11-28 | -0.938 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23332A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20240370129 | 2024-02-23 | 0.3817 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24053A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20240440064 | 2024-03-06 | 0.5204 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24065A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20232980001 | 2023-12-15 | -0.0139 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23346A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20233120066 | 2023-12-19 | 0.4705 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS23353A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20233550085 | 2024-01-18 | -0.2669 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24010A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20233620053 | 2024-01-29 | 0.3962 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24025A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20240030064 | 2024-01-29 | 0.9301 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24025A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20240090031 | 2024-01-23 | 0.7045 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24022A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20240170014 | 2024-02-16 | 0.9821 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24047A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20240520103 | 2024-03-11 | 0.5784 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24071A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20240580144 | 2024-03-27 | 0.3397 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24086B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20240660033 | 2024-03-27 | 0.468 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24086B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20240720119 | 2024-04-23 | 0.4965 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24113A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20240790098 | 2024-04-23 | -0.0055 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24113A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20240880020 | 2024-04-23 | -0.0957 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24113A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20240250078 | 2024-02-27 | 0.34 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24057B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20240930075 | 2024-04-29 | -0.114 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24115A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20241000101 | 2024-05-07 | 0.3709 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24127A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20241070237 | 2024-05-08 | 0.4163 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24129A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20241140098 | 2024-05-17 | 0.465 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24137A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20241280120 | 2024-06-18 | 0.6894 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24163A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20241360052 | 2024-06-26 | -0.21 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24177A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20241420095 | 2024-06-28 | -0.1525 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24180A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20241630106 | 2024-07-15 | 0.3059 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24192A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20241720056 | 2024-07-18 | 0.4618 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24200A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20241570084 | 2024-07-15 | 0.1843 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24192A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20241500149 | 2024-07-09 | 0.2077 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24190A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20241900012 | 2024-09-24 | -0.2287 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24267B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20242040009 | 2024-09-19 | 0.1221 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24260A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20241770103 | 2024-08-12 | -0.0772 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24222A
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20242110062 | 2024-09-20 | 1.146 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24264C
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20242180103 | 2024-09-20 | 0.9286 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24264C
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20242250106 | 2024-09-24 | 0.1567 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24267B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20242540030 | 2024-09-24 | 0.1491 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24267B
Aluminum, unfltd, ICP-MS, recov | 01105 | PLM77 | UNF | 2024 | 20242320034 | 2024-09-19 | 0.5815 | <2.0 | 2 | 3434 |  |  |  | ug/L | Blank | No | ICPMS24260A