## BBP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20093000103 | 2010-03-23 | 0.16 | E0.16 | 0.09 | 3142 | Below the reporting level but at or above the detection level | Result determined by alternate method | See result laboratory comment | ug/L | Blank | Yes | As032310 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20093070189 | 2010-03-23 | 0.2 | 0.2 | 0.09 | 3142 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | Yes | As032310 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20093130053 | 2010-03-23 | 0.16 | E0.16 | 0.09 | 3142 | Below the reporting level but at or above the detection level | Result determined by alternate method | See result laboratory comment | ug/L | Blank | Yes | As032310 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20093200085 | 2010-03-23 | 0.16 | E0.16 | 0.09 | 3142 | Below the reporting level but at or above the detection level | Result determined by alternate method | See result laboratory comment | ug/L | Blank | Yes | As032310 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20093280009 | 2010-03-23 | 0.13 | E0.13 | 0.09 | 3142 | Below the reporting level but at or above the detection level | Result determined by alternate method | See result laboratory comment | ug/L | Blank | Yes | As032310 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20093360002 | 2010-03-23 | 0.14 | E0.14 | 0.09 | 3142 | Below the reporting level but at or above the detection level | Result determined by alternate method | See result laboratory comment | ug/L | Blank | Yes | As032310 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20093420011 | 2010-03-23 | 0.08 | <0.18 | 0.09 | 3142 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | As032310 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20093480048 | 2010-03-23 | 0.11 | E0.11 | 0.09 | 3142 | Below the reporting level but at or above the detection level | Result determined by alternate method | See result laboratory comment | ug/L | Blank | Yes | As032310 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20093560022 | 2010-03-23 | 0.19 | 0.19 | 0.09 | 3142 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | Yes | As032310 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20093620041 | 2010-03-23 | 0.11 | E0.11 | 0.09 | 3142 | Below the reporting level but at or above the detection level | Result determined by alternate method | See result laboratory comment | ug/L | Blank | Yes | As032310 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20100050007 | 2010-03-23 | 0.21 | E0.21 | 0.14 | 3142 | Below the reporting level but at or above the detection level | Result determined by alternate method | See result laboratory comment | ug/L | Blank | Yes | As032310 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20100110089 | 2010-03-23 | 0.23 | E0.23 | 0.14 | 3142 | Below the reporting level but at or above the detection level | Result determined by alternate method | See result laboratory comment | ug/L | Blank | Yes | As032310 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20100190108 | 2010-03-23 | 0.75 | 0.75 | 0.14 | 3142 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | Yes | As032310 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20100260075 | 2010-03-23 | 0.56 | 0.56 | 0.14 | 3142 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | Yes | As032310 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20100320014 | 2010-03-23 | 0.54 | 0.54 | 0.14 | 3142 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | Yes | As032310 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20100750017 | 2010-05-17 | 0.19 | E0.19 | 0.14 | 3142 | Below the reporting level but at or above the detection level | Result determined by alternate method | See result laboratory comment | ug/L | Blank | Yes | As040810 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20101020066 | 2010-05-17 | 0.26 | E0.26 | 0.14 | 3142 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | As040810 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20101240092 | 2010-05-17 | 0.16 | E0.16 | 0.14 | 3142 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | As040810 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20101310112 | 2010-05-17 | 0.17 | E0.17 | 0.14 | 3142 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | As040810 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20102570007 | 2011-01-05 | 0.0545 | <1.6 | 0.8 | 3142 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | As010511 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20102640132 | 2011-01-05 | 0.064 | <1.6 | 0.8 | 3142 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | As010511 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20100850056 | 2010-05-17 | 0.12 | <0.28 | 0.14 | 3142 |  |  |  | ug/L | Blank | No | As040810 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20100880048 | 2010-05-17 | 0.34 | 0.34 | 0.14 | 3142 |  |  |  | ug/L | Blank | Yes | As040810 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20100950032 | 2010-05-17 | 0.33 | 0.33 | 0.14 | 3142 |  |  |  | ug/L | Blank | Yes | As040810 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20101090076 | 2010-05-17 | 0.33 | 0.33 | 0.14 | 3142 |  |  |  | ug/L | Blank | Yes | As040810 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20101170099 | 2010-05-17 | 0.32 | 0.32 | 0.14 | 3142 |  |  |  | ug/L | Blank | Yes | As040810 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20102510074 | 2011-01-05 | 0 | <1.6 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As010511 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20102350175 | 2011-01-05 | 1.6 | <1.6 | 0.8 | 3142 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | As010511 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20102430255 | 2011-01-05 | 1.6 | <1.6 | 0.8 | 3142 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | As010511 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20102700148 | 2011-01-05 | 1.6 | <1.6 | 0.8 | 3142 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | As010511 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20101450017 | 2010-07-08 | 0.6 | <0.6 | 0.14 | 3142 |  |  |  | ug/L | Blank | No | S1730061110 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20101530076 | 2010-07-09 | 0.6 | <0.6 | 0.14 | 3142 |  |  |  | ug/L | Blank | No | S173006111 | MS4
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2010 | 20101590018 | 2010-07-09 | 0.6 | <0.6 | 0.14 | 3142 |  |  |  | ug/L | Blank | No | S173006111 | MS4
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20110110002 | 2011-01-18 | 0 | <1.6 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As011811 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20110180040 | 2011-02-23 | 0.0401 | <1.6 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As021811 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20110240044 | 2011-02-23 | 0.129 | <1.6 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As021811 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20110400047 | 2011-02-23 | 0.082 | <1.6 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As021811 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20110530095 | 2011-03-14 | 0.070514 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As031411 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20110590062 | 2011-03-14 | 0.0095 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As031411 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20110660015 | 2011-03-14 | 0.0281 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As031411 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20110750086 | 2011-03-31 | 0.0587 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As032511 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20110800044 | 2011-03-31 | 0.1086 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As032511 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20110870071 | 2011-03-31 | 0 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As032511 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20110950032 | 2011-04-12 | 0.0782 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As041211 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20111010099 | 2011-04-12 | 0.0103 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As041211 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20111080051 | 2011-04-21 | 0.0048 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As042111 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20111150124 | 2011-05-13 | 0 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As051311 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20111220064 | 2011-05-13 | 0.1641 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As051311 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20111290033 | 2011-05-13 | 0 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As051311 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20111360134 | 2011-05-27 | 0.006 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As052711 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20111430190 | 2011-05-27 | 0.009 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As052711 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20111510137 | 2011-06-10 | 0.0546 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As061011 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20111570056 | 2011-06-10 | 0.012 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As061011 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20111640050 | 2011-06-30 | 0.0065 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As063011 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20111710128 | 2011-06-30 | 0.1003 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As063011 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20111780150 | 2011-06-30 | 0.0641 | <1.6 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As063011 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20111860055 | 2011-07-22 | 0.0325 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As072111 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20111920086 | 2011-07-22 | 0.0106 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As072111 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20112010008 | 2011-07-22 | 0.0219 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As072111 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20112060081 | 2011-09-06 | 0.002 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As090111 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20112130138 | 2011-09-06 | 0.0091 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As090111 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20112200067 | 2011-09-07 | 0.0029 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As090711 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20112300023 | 2011-09-07 | 0.0063 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As090711 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20112360075 | 2011-09-08 | 0.0262 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As090811 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20112500190 | 2011-09-16 | 0.0051 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As091611 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20112510043 | 2011-09-16 | 0.0102 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As091611 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20112560009 | 2011-09-16 | 0.0112 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As091611 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20112630049 | 2011-10-21 | 0.0191 | <1.60 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As101411 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20112690108 | 2011-10-21 | 0.16 | <1.6 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As101411 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20110410080 | 2011-02-23 | 1.6 | <1.6 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As021811 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2011 | 20110450018 | 2011-02-23 | 1.6 | <1.6 | 0.8 | 3142 |  |  |  | ug/L | Blank | No | As021811 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20112760048 | 2011-10-21 | 0.0701 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As101411 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20112840049 | 2011-10-21 | 0.0064 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As101411 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20112910141 | 2011-10-21 | 0.0151 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As101411 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20112970103 | 2011-11-21 | 0.0089 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As111811 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20113050107 | 2011-11-21 | 0.0128 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As111811 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20113110039 | 2011-11-21 | 0.0127 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As111811 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20113180168 | 2011-11-21 | 0.0122 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As111811 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20113250110 | 2011-12-28 | 0.0149 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As122711 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20113320101 | 2011-12-28 | 0.0577 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As122711 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20113460113 | 2011-12-30 | 0.0531 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | as12291 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20113490071 | 2011-12-30 | 0.0117 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | as12291 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20113530114 | 2011-12-30 | 0.0133 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | as12291 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20113610075 | 2011-12-30 | 0.0039 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | as12291 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20120030032 | 2012-02-06 | 0.0116 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As020612 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20120090038 | 2012-02-15 | 0.008 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | tes | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20120180018 | 2012-02-15 | 0.02 | <0.4 |  | 3142 |  |  |  | ug/L | Blank | No | tes | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20120230035 | 2012-02-06 | 0.05 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As020612 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20120310026 | 2012-02-06 | 0.006 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As020612 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20120370075 | 2012-02-06 | 0.028 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As020612 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20120440091 | 2012-03-12 | 0.015 | <0.4 |  | 3142 |  |  |  | ug/L | Blank | No | As030912 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20120530051 | 2012-03-12 | 0.018 | <0.4 |  | 3142 |  |  |  | ug/L | Blank | No | As030912 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20120580044 | 2012-03-12 | 0.012 | <0.4 |  | 3142 |  |  |  | ug/L | Blank | No | As030912 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20120660062 | 2012-03-12 | 0.007 | <0.4 |  | 3142 |  |  |  | ug/L | Blank | No | As030912 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20120730095 | 2012-04-12 | 0.0033 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As041212 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20120790080 | 2012-04-12 | 0.009 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As041212 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20120870029 | 2012-04-12 | 0.0039 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As041212 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20120930069 | 2012-04-12 | 0.0354 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As041212 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20121010007 | 2012-04-12 | 0.0023 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As041212 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20121080007 | 2012-05-18 | 0.012 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As051812 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20121150086 | 2012-05-18 | 0.0034 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As051812 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20121210100 | 2012-05-18 | 0.0131 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As051812 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20121290071 | 2012-05-18 | 0.0052 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As051812 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20121370056 | 2012-05-18 | 0.0021 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As051812 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20121430012 | 2012-06-07 | 0.023 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As060712 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20121510039 | 2012-06-07 | 0.055 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As060712 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20121560113 | 2012-06-07 | 0.0613 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As060712 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20121650040 | 2012-06-21 | 0.0204 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As062112 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20121710001 | 2012-07-06 | 0.0153 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As070512 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20121780046 | 2012-07-06 | 0.0336 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As070512 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20121870004 | 2012-07-06 | 0.0219 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As070512 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20121910044 | 2012-07-27 | 0.0098 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As072712 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20121990067 | 2012-07-27 | 0.0069 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As072712 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20122050087 | 2012-07-27 | 0.0073 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As072712 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20122140038 | 2012-08-10 | 0.026 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As081012 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20122190081 | 2012-08-10 | 0.0239 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As081012 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20122280066 | 2012-10-12 | 0.028 | <0.4 |  | 3142 |  |  |  | ug/L | Blank | No | As100512 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20122400105 | 2012-10-12 | 0.0082 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As100512 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20122490090 | 2012-10-19 | 0.1439 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As101912 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20122550011 | 2012-10-19 | 0.0115 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As101912 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20122690155 | 2012-10-19 | 0.0414 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As101912 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20122700099 | 2012-10-19 | 0.0173 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As101912 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2012 | 20122350177 | 2012-10-12 | 0.0177 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As100512 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20131900093 | 2013-07-11 | 0.0433 | <0.4 |  | 3142 |  |  |  | ug/L | Blank | No | As071113 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20130070060 | 2013-01-18 | 0.0074 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As011713 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20123620001 | 2013-01-18 | 0.0055 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As011713 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20123480057 | 2013-01-18 | 0.0122 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As011713 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20123040121 | 2012-11-19 | 0.00626 | <0.4 |  | 3142 |  |  |  | ug/L | Blank | No | As110912 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20130420065 | 2013-03-15 | 0 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As031513 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20130930085 | 2013-05-13 | 0.0004 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As050613 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20131120121 | 2013-05-13 | 0.0054 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As050613 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20131090002 | 2013-05-13 | 0.0251 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As050613 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20130630129 | 2013-03-15 | 0 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As031513 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20130570005 | 2013-03-15 | 0 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As031513 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20131270003 | 2013-05-31 | 0.046 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As053113 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20131220001 | 2013-05-31 | 0.009 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As053113 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20131500015 | 2013-06-07 | 0.0059 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As060713 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20131430190 | 2013-06-07 | 0.0106 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As060713 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20131550033 | 2013-06-07 | 0.0037 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As060713 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20131700045 | 2013-06-24 | 0.001 | <0.4 |  | 3142 |  |  |  | ug/L | Blank | No | As062113 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20131830061 | 2013-07-11 | 0.0131 | <0.4 |  | 3142 |  |  |  | ug/L | Blank | No | As071113 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20131770024 | 2013-07-05 | 0.0538 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As070513 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20131350124 | 2013-06-07 | 0.0694 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As060713 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20130520002 | 2013-03-15 | 0 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As031513 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20132040006 | 2013-07-25 | 0.0209 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As072513 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20130840045 | 2013-04-01 | 0.00128 | <0.4 |  | 3142 |  |  |  | ug/L | Blank | No | As032913 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20131150011 | 2013-05-31 | 0.013 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As053113 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20131970023 | 2013-07-25 | 0.0015 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As072513 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20131640002 | 2013-06-24 | 0.038 | <0.4 |  | 3142 |  |  |  | ug/L | Blank | No | As062113 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20130770161 | 2013-04-01 | 0.00837 | <0.4 |  | 3142 |  |  |  | ug/L | Blank | No | As032913 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20130700016 | 2013-03-15 | 0 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As031513 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20132180152 | 2013-08-14 | 0.0563 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As081413 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20132120014 | 2013-08-14 | 0.0979 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As081413 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20132270001 | 2013-08-26 | 0.0066 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As082613 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20132350012 | 2013-08-26 | 0.1622 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As082613 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20132410002 | 2013-09-03 | 0.001 | <0.4 |  | 3142 |  |  |  | ug/L | Blank | No | As090313 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20132390001 | 2013-09-03 | 0.0135 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As090313 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20132530101 | 2013-09-20 | 0.0171 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As092013 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20132600002 | 2013-09-20 | 0.0231 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As092013 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20132660094 | 2013-10-25 | 0.0957 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As102413 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20132730127 | 2013-11-26 | 0.0035 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As112613 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20122750014 | 2012-10-19 | 0.007 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As101912 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20122830038 | 2012-10-19 | 0.0037 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As101912 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20122900084 | 2012-10-19 | 0.0042 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As101912 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20122980130 | 2012-11-19 | 0.071 | <0.4 |  | 3142 |  |  |  | ug/L | Blank | No | As110912 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20123120072 | 2012-11-19 | 0.016 | <0.4 |  | 3142 |  |  |  | ug/L | Blank | No | As110912 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20123200057 | 2012-11-30 | 0.0047 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As113012 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20123250052 | 2012-11-30 | 0.0073 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As113012 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20123330014 | 2012-11-30 | 0 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As113012 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20130140076 | 2013-01-18 | 0.0063 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As011713 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20123390103 | 2012-12-10 | 0.0377 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As120612 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20123530097 | 2013-01-18 | 0.0049 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As011713 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20130020015 | 2013-01-18 | 0.0069 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As011713 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20130230089 | 2013-02-08 | 0 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As020813 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20130280027 | 2013-02-08 | 0.0152 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As020813 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2013 | 20130350017 | 2013-02-08 | 0.0174 | <0.40 |  | 3142 |  |  |  | ug/L | Blank | No | As020813 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20133090088 | 2013-11-26 | 0 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As112613 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20133170103 | 2013-11-26 | 0.0098 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As112613 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20133500075 | 2014-01-02 | 0.0408 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As010214 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20133300002 | 2014-01-02 | 0.0038 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As010214 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20133430115 | 2014-01-02 | 0.0332 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As010214 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20133360020 | 2014-01-02 | 0.0039 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As010214 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20140070055 | 2014-01-08 | 0.0212 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As010814 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20133230002 | 2013-11-26 | 0.0121 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As112613 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20132970058 | 2013-10-31 | 0.0085 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As103113 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20133030116 | 2013-11-26 | 0.0262 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As112613 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20133580048 | 2014-01-08 | 0.0335 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As010814 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20140130054 | 2014-01-31 | 0.0115 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As013114 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20140270188 | 2014-01-31 | 0.0196 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As013114 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20140410004 | 2014-03-05 | 0.0176 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As030514 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20140340028 | 2014-03-05 | 0.0282 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As030514 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20140490002 | 2014-03-05 | 0.0097 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As030514 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20140630128 | 2014-03-05 | 0.0161 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As030514 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20140210041 | 2014-01-31 | 0.0114 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As013114 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20140550051 | 2014-03-05 | 0.0019 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As030514 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20140690025 | 2014-03-19 | 0.0207 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As031914 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20140760033 | 2014-03-19 | 0.0279 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As031914 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20140840090 | 2014-04-10 | 0.0091 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As041014 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20140900035 | 2014-04-10 | 0.0082 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As041014 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20140970037 | 2014-04-10 | 0.0115 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As041014 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20141250092 | 2014-05-09 | 0.0364 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As050814 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20141330190 | 2014-05-31 | 0.0111 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As053014 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20141050015 | 2014-05-09 | 0.0292 | <0.2 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As050814 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20141190009 | 2014-05-09 | 0.0171 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As050814 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20141400003 | 2014-07-10 | 0.0161 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | AS071014 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20141470148 | 2014-07-10 | 0.0659 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | AS071014 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20141550049 | 2014-07-17 | 0.0686 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As071714 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20141620001 | 2014-07-17 | 0.0374 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As071714 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20141750137 | 2014-08-18 | 0.0083 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As081514 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20141680079 | 2014-08-18 | 0.037 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As081514 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20141890078 | 2014-09-15 | 0.0458 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As091514 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20141820107 | 2014-09-12 | 0.0041 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As091114 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20141960044 | 2014-09-15 | 0.0879 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As091514 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20142030081 | 2014-09-15 | 0.0616 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As091514 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20141130007 | 2014-05-09 | 0.0177 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As050814 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20142090209 | 2014-10-06 | 0.0056 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As092414 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20142160059 | 2014-10-06 | 0.0073 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As092414 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20142230086 | 2014-10-20 | 0.0099 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As102014 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20142650109 | 2014-11-24 | 0.042 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As111914 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20142720106 | 2014-11-24 | 0.0667 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As111914 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20142590051 | 2014-11-24 | 0.0335 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As111914 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20142520032 | 2014-11-24 | 0.0559 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As111914 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2014 | 20142470049 | 2014-11-24 | 0.0208 | <0.2 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As111814 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20142790021 | 2014-11-24 | 0.0064 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As111914 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20142950127 | 2014-12-22 | 0.0134 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As122214 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20143300041 | 2014-12-22 | 0.0014 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As122214 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20143080074 | 2014-12-22 | 0.0203 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As122214 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20143010066 | 2014-12-22 | 0.0214 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As122214 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20143490034 | 2014-12-22 | 0.0319 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As122214 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20143420024 | 2014-12-22 | 0.0073 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As122214 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20143360078 | 2014-12-22 | 0.0307 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As122214 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20143160032 | 2014-12-22 | 0.0294 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As122214 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20142880074 | 2014-12-12 | 0.0166 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As121114 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20150050016 | 2015-01-23 | 0.0046 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As012315 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20150120029 | 2015-01-23 | 0.034 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As012315 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20143630016 | 2015-01-23 | 0.0232 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As012315 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20143560050 | 2015-01-23 | 0.0216 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As012315 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20150200022 | 2015-01-23 | 0.0388 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As012315 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20150330015 | 2015-02-25 | 0.0231 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As022515 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20143230050 | 2014-12-22 | 0.0066 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As122214 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20150400023 | 2015-02-25 | 0.0116 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As022515 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20150540034 | 2015-02-25 | 0.0234 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As022515 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20150490030 | 2015-02-25 | 0 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As022515 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20150260013 | 2015-02-25 | 0.0219 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As022515 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20150900034 | 2015-04-09 | 0.0166 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As040915 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20150690099 | 2015-04-09 | 0.0188 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As040915 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20150970075 | 2015-04-09 | 0.0294 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As040915 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20150610096 | 2015-04-09 | 0.0107 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As040915 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20150850042 | 2015-04-09 | 0.0136 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As040915 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20151180079 | 2015-05-08 | 0.0042 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As050715 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20152080057 | 2015-08-20 | 0.0339 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As082015 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20151730024 | 2015-07-01 | 0.0138 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As062615 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20152150077 | 2015-08-27 | 0.0148 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As082715 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20152230135 | 2015-08-27 | 0.0374 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As082715 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20152360164 | 2015-10-05 | 0.0146 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As100515 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20151660028 | 2015-07-01 | 0.0281 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As062615 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20151310083 | 2015-07-01 | 0.0342 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As062615 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20152710064 | 2015-10-30 | 0.0018 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As103015 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20151870003 | 2015-07-29 | 0.0182 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As072315 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20152010043 | 2015-08-20 | 0.0206 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As082015 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20151460106 | 2015-07-01 | 0.023 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As062615 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20151140038 | 2015-05-08 | 0.0085 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As050715 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20151620214 | 2015-07-01 | 0.0577 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As062615 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20151940031 | 2015-07-29 | 0.0052 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As072315 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20151240070 | 2015-05-08 | 0.0096 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As050715 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20152430100 | 2015-10-05 | 0.0123 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As100515 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20151530123 | 2015-07-01 | 0.0127 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As062615 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20152510014 | 2015-10-05 | 0.0318 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As100515 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20152330021 | 2015-10-05 | 0.0077 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As100515 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20151050030 | 2015-05-08 | 0.0143 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As050715 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20150770044 | 2015-05-08 | 0.0185 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As050715 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20151800047 | 2015-07-29 | 0.032 | <0.2 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As072315 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20152590166 | 2015-10-05 | 0.008 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As100515 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20152640019 | 2015-10-05 | 0.0106 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As100515 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2015 | 20151390194 | 2015-07-01 | 0.031 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As062615 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20152920028 | 2015-12-14 | 0.0098 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As121415 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20162010259 | 2016-08-30 | 0.0286 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As083016 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20162290124 | 2016-08-29 | 0.0304 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As082916 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20162230001 | 2016-08-29 | 0.0481 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As082916 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20161870036 | 2016-08-26 | 0.1711 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As081916 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20153500163 | 2016-01-22 | 0 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As012216 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20160320004 | 2016-03-10 | 0.0098 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As031016 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20161660166 | 2016-08-04 | 0.0107 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As070816 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20162440118 | 2016-10-05 | 0.0262 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As092916 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20160470008 | 2016-03-10 | 0.0297 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As031016 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20153340021 | 2015-12-14 | 0.0368 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As121415 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20160400075 | 2016-03-10 | 0.04 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As031016 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20161270003 | 2016-05-24 | 0.0011 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As052416 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20152860151 | 2015-10-30 | 0.0066 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As103015 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20153550002 | 2016-01-22 | 0.0129 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As012216 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20161230050 | 2016-05-24 | 0.0135 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As052416 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20153420018 | 2015-12-14 | 0.0147 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As121415 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20161160094 | 2016-05-24 | 0.0173 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As052416 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20160530016 | 2016-03-10 | 0.0226 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As031016 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20153140007 | 2015-12-14 | 0.0274 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As121415 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20153270017 | 2015-12-14 | 0.0525 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As121415 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20161940103 | 2016-08-26 | 0.0685 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As081916 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20162710095 | 2016-10-05 | 0.0074 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As092916 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20161100120 | 2016-05-24 | 0.0187 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As052416 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20160050034 | 2016-01-22 | 0.0248 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As012216 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20162150195 | 2016-08-29 | 0.0336 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As082916 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20161480192 | 2016-06-13 | 0.0357 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As061316 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20161590150 | 2016-08-04 | 0.0408 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As070816 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20160670005 | 2016-03-10 | 0.0412 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As031016 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20160190010 | 2016-01-22 | 0.0534 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As012216 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20162520015 | 2016-10-05 | 0.0593 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As092916 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20162640174 | 2016-10-05 | 0.1096 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As092916 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20152990070 | 2015-10-30 | 0.0119 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As103015 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20160810069 | 2016-04-13 | 0.0414 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As041316 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20153060035 | 2015-12-14 | 0.0183 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As121415 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20160110015 | 2016-01-22 | 0.0242 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As012216 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20153200026 | 2015-12-14 | 0.0272 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As121415 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20160740005 | 2016-04-13 | 0.0488 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As041316 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20162080226 | 2016-08-26 | 6.0036 | 6.00 | 0.2 | 3142 |  |  |  | ug/L | Blank | Yes | As081916 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20160880034 | 2016-04-13 | 0.0053 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As041316 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20160950047 | 2016-04-13 | 0.0142 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As041316 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20161740076 | 2016-08-26 | 0.0732 | <0.2 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As081916 | MS5
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20160600021 | 2016-03-10 | 0.0056 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As031016 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20161020028 | 2016-04-13 | 0.0093 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As041316 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20162580009 | 2016-10-05 | 0.0148 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As092916 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20153630053 | 2016-01-22 | 0.0167 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As012216 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20160250033 | 2016-03-10 | 0.0221 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As031016 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20162360192 | 2016-08-30 | 0.0294 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As083016 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20152780017 | 2015-10-30 | 0.0341 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As103015 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20161520026 | 2016-06-13 | 0.0412 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As061316 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2016 | 20161800079 | 2016-08-26 | 0.0643 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As081916 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20162870003 | 2016-12-07 | 0.2003 | 0.20 | 0.2 | 3142 | Value extrapolated at low end | Below the reporting level but at or above the detection level |  | ug/L | Blank | Yes | As111816 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20163060091 | 2016-12-07 | 0 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As111816 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20163410121 | 2016-12-08 | 0.0235 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As120816 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20170040052 | 2017-01-12 | 0.0584 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As010917 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20163630042 | 2017-01-12 | 0.0556 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As010917 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20163130095 | 2016-12-07 | 0.0169 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As111816 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20171150176 | 2017-05-03 | 0.0165 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As050317 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20171020109 | 2017-05-03 | 0.0097 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As050317 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20170450127 | 2017-03-09 | 0.0254 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As030917 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20162940168 | 2016-12-07 | 0.0357 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As111816 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20170800054 | 2017-03-30 | 0.0861 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As033017 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20163200108 | 2016-12-07 | 0.0204 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As111816 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20170240068 | 2017-02-09 | 0.0303 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As020917 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20170730095 | 2017-03-30 | 0.124 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As033017 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20170540114 | 2017-03-09 | 0.0382 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As030917 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20170870113 | 2017-03-30 | 0.0524 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As033017 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20170590080 | 2017-03-09 | 0.0401 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As030917 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20170660128 | 2017-03-09 | 0.051 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As030917 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20170380075 | 2017-02-09 | 0 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As020917 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20163550007 | 2017-01-12 | 0.0546 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As010917 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20163270128 | 2016-12-08 | 0.0202 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As120816 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20163000002 | 2016-12-07 | 0.0367 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As111816 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20162780117 | 2016-12-07 | 0.022 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As111816 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20170190008 | 2017-02-09 | 0.0069 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As020917 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20163350009 | 2016-12-08 | 0.0036 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As120816 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20171430150 | 2017-05-25 | 0.0155 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | AS052517 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20171290225 | 2017-05-25 | 0.0107 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | AS052517 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20170310051 | 2017-02-09 | 0.0293 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As020917 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20163480097 | 2017-01-12 | 0.0373 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As010917 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20170100066 | 2017-01-12 | 0.088 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As020917 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20171710250 | 2017-06-22 | 0.0296 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | AS062117 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20171580013 | 2017-06-22 | 0.0273 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | AS062117 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20171940284 | 2017-07-26 | 0.0504 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As072617 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20172060171 | 2017-07-26 | 0.2089 | 0.21 | 0.2 | 3142 | Value extrapolated at low end | Below the reporting level but at or above the detection level |  | ug/L | Blank | Yes | As072617 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20172200306 | 2017-09-01 | 0.1682 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As170901 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20172340140 | 2017-09-01 | 0.0584 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As170901 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20172500015 | 2017-10-04 | 0.0309 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As100417 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2017 | 20172620328 | 2017-10-04 | 0.0216 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As100417 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2018 | 20172860211 | 2017-11-21 | 0.0501 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As112117 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2018 | 20173110107 | 2017-11-21 | 0.0193 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As112117 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2018 | 20173390110 | 2017-12-12 | 0.0426 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As121217 | 1
Arsenite [AS (III)], IC-ICP-MS | 62452 | PLM16 | FIL | 2018 | 20173260011 | 2017-12-12 | 0.0316 | <0.20 | 0.2 | 3142 |  |  |  | ug/L | Blank | No | As121217 | 1