## BBP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2009 | 20092720003 | 2009-10-23 | -0.073 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730102309 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20101660057 | 2010-07-28 | 0.11 | <0.8 | 0.4 | 2734 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | rerun1 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20101730084 | 2010-07-28 | 0.57 | E0.57 | 0.4 | 2734 | Below the reporting level but at or above the detection level | Result determined by alternate method | See result laboratory comment | ug/L | Blank | Yes | rerun1 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20101790115 | 2010-07-28 | -0.08 | <0.8 | 0.4 | 2734 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | rerun1 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20101870075 | 2010-07-28 | -0.07 | <0.8 | 0.4 | 2734 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | rerun1 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20101930090 | 2010-07-28 | -0.06 | <0.8 | 0.4 | 2734 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | rerun1 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20102000186 | 2010-08-10 | 0.078 | <0.8 | 0.4 | 2734 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | S1730080710 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20092780088 | 2009-10-23 | -0.083 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730102309 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20092870057 | 2009-10-23 | 0.059 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730102309 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20092920090 | 2009-10-23 | -0.054 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730102309 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20100390053 | 2010-07-21 | 0.28 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730072110 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20100470031 | 2010-07-21 | 0.297 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730072110 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20100530044 | 2010-07-21 | 0.28 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730072110 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20100680106 | 2010-07-21 | 0.272 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730072110 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20100600053 | 2010-07-21 | 0.278 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730072110 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20101380016 | 2010-07-27 | 0.023 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S173007261A | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20102080002 | 2010-08-10 | 0.053 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730080710 | MS4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20102140095 | 2010-08-13 | 0.353 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730081310 | ms4
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20102230016 | 2010-12-14 | 0.19 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730081910 | MS5
Arsenite [AS (III)], IC-ICP-MS (w/org) | 62452 | PLM35 | FIL | 2010 | 20102290196 | 2010-12-14 | 0.16 | <0.8 | 0.4 | 2734 |  |  |  | ug/L | Blank | No | S1730081910 | MS5