## BBP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2009 | 20092430151 | 2009-10-05 | 0.1256 | E0.13 | 0.1 | 3123 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS100509 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2009 | 20092520138 | 2009-10-07 | 0.0333 | <0.20 | 0.1 | 3123 |  |  |  | ug/L | Blank | No | TCMS100709 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2009 | 20092570054 | 2009-10-20 | 0.0467 | <0.20 | 0.1 | 3123 |  |  |  | ug/L | Blank | No | TCMS102009 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2009 | 20092640027 | 2009-10-08 | 0.0686 | <0.20 | 0.1 | 3123 |  |  |  | ug/L | Blank | No | TCMS100709 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2009 | 20092720008 | 2009-10-15 | 0.0277 | <0.20 | 0.1 | 3123 |  |  |  | ug/L | Blank | No | TCMS101409 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20093480052 | 2009-12-17 | 0.0907 | E0.091 | 0.09 | 3123 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS121609 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20100110086 | 2010-01-19 | 0.0944 | E0.094 | 0.09 | 3123 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS011910 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20100390046 | 2010-02-17 | 0.0985 | E0.099 | 0.09 | 3123 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS021710 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20101590003 | 2010-07-07 | 0.1388 | E0.139 | 0.09 | 3123 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS070610 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20102350192 | 2010-09-09 | 0.1 | E0.100 | 0.09 | 3123 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS090710 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20102430248 | 2010-09-29 | 0.1203 | E0.120 | 0.09 | 3123 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS092910 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20092780080 | 2009-11-02 | 0.0862 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS110209 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20092870065 | 2009-11-04 | 0.0018 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS110409 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20092920086 | 2009-11-05 | 0.0615 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS110409 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20093000117 | 2009-11-05 | 0.0299 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS110509 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20093070196 | 2009-11-18 | 0.0236 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS111709 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20093130063 | 2009-11-23 | -0.0024 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS112309 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20093200061 | 2009-11-24 | 0.0598 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS112309 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20093280014 | 2009-12-08 | 0.0482 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS120709 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20093360005 | 2009-12-09 | 0.0378 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS120909 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20093420006 | 2009-12-16 | 0.0409 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS121609 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20093560030 | 2009-12-30 | 0.0196 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS123009 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20093620043 | 2009-12-31 | 0.0054 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS123009 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20100050002 | 2010-01-11 | 0.0224 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS011110 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20100190096 | 2010-01-25 | -0.006 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS012510 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20100260068 | 2010-02-08 | 0.0064 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS020810 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20100320030 | 2010-02-10 | 0.0684 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS021010 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20100470036 | 2010-02-22 | 0.0106 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS022210 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20100530052 | 2010-03-01 | 0.0298 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS030110 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20100600063 | 2010-03-10 | 0.0353 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS031010 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20100680011 | 2010-03-15 | 0.0254 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS031510 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20100750004 | 2010-04-01 | 0.0245 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS040110 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20100850045 | 2010-04-06 | -0.009 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS040610 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20100880036 | 2010-04-07 | 0.0686 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS040610 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20100950039 | 2010-04-14 | 0.0026 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS041310 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20101020085 | 2010-04-22 | 0.0219 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS042010 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20101090071 | 2010-04-29 | 0.0464 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS042910 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20101170100 | 2010-05-13 | 0.0185 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS051210 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20101240085 | 2010-06-25 | -0.0502 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS062410 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20101310099 | 2010-06-09 | -0.0008 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS060910 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20101380008 | 2010-06-10 | 0.0775 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS060910 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20101440167 | 2010-06-30 | 0.0694 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS063010 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20101530087 | 2010-07-06 | -0.2009 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS070610 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20101660052 | 2010-07-08 | 0.0642 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS070810 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20101730081 | 2010-07-09 | 0.2843 | 0.284 | 0.09 | 3123 |  |  |  | ug/L | Blank | Yes | TCMS070810 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20101790135 | 2010-08-06 | 0.0046 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS080510 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20101870067 | 2010-08-03 | -0.0539 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS080210 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20101930100 | 2010-10-04 | -0.022 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS100410 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20102000196 | 2010-08-12 | 0.0329 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS081010 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20102080017 | 2010-08-17 | 0.0173 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS081610 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20102140108 | 2010-08-19 | -0.039 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS081810 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20102230050 | 2010-08-25 | 0.0059 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS082510 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20102290120 | 2010-09-08 | 0.0157 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS090710 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20102510069 | 2010-10-05 | 0.0721 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS100410 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20102570001 | 2010-10-05 | 0.0208 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS100410 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20102640145 | 2010-10-12 | 0.3891 | 0.389 | 0.09 | 3123 |  |  |  | ug/L | Blank | Yes | TCMS101210 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2010 | 20102700139 | 2010-10-12 | 0.0721 | <0.180 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS101210 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20102850136 | 2010-11-09 | 0.1475 | 0.148 | 0.09 | 3123 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS110810 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20103120038 | 2010-12-01 | 0.0971 | 0.097 | 0.09 | 3123 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS113010 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20103610045 | 2011-01-05 | 0.0936 | 0.094 | 0.09 | 3123 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS010511 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20110030016 | 2011-01-12 | 0.1108 | 0.111 | 0.09 | 3123 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS011211 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20110180056 | 2011-02-09 | 0.0978 | 0.098 | 0.09 | 3123 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS020911 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20110450032 | 2011-02-24 | 0.167 | 0.167 | 0.09 | 3123 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS022411 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20110530109 | 2011-04-05 | 0.0948 | 0.095 | 0.09 | 3123 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | TCMS040511 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20102770097 | 2010-10-19 | 0.0849 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS101810 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20102920018 | 2010-11-17 | 0.0546 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS111610 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20102990004 | 2011-01-12 | -0.0076 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS011211 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20103060014 | 2010-12-01 | 0.0481 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS113010 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20103190057 | 2011-01-19 | 0.0608 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS011911 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20103260073 | 2010-12-10 | 0.0209 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS120710 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20103330103 | 2010-12-02 | 0.0061 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS120210 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20103400091 | 2010-12-16 | 0.0669 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS121510 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20103470089 | 2010-12-17 | 0.0407 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS121510 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20103540036 | 2011-02-09 | -0.0112 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS020911 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20110110010 | 2011-01-20 | 0.0329 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS011911 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20110240060 | 2011-02-10 | 0.0062 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS021011 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20110400066 | 2011-02-17 | 0.0559 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS021611 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20110410101 | 2011-02-17 | 0.0346 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS021611 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20110590076 | 2011-04-05 | 0.0726 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS040511 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20110660028 | 2011-03-16 | 0.0897 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS031611 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20110750060 | 2011-03-23 | 0.0437 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS032311 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20110800062 | 2011-03-23 | -0.0589 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS032311 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20110870086 | 2011-04-05 | 0.0341 | <0.09 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS040411 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20110950048 | 2011-04-13 | 0.026 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS041311 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20111010113 | 2011-04-14 | 0.0093 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS041311 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20111080068 | 2011-04-25 | 0.0022 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS042511 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20111150116 | 2011-04-27 | 0.0243 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS042711 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20111220080 | 2011-05-05 | 0.0258 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS050511 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20111290051 | 2011-05-12 | 0.0045 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS051111 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20111360140 | 2011-05-24 | 0.0738 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS052311 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20111430211 | 2011-06-14 | 0.0498 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS061311 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20111510157 | 2011-06-14 | 0.0469 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS061311 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20111570066 | 2011-06-22 | 0.0349 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS062111 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20111640063 | 2011-06-28 | 0.0613 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS062311 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20111710120 | 2011-07-13 | 0.0181 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS071211 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20111780153 | 2011-07-12 | -0.019 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS071211 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20111860064 | 2011-07-14 | 0.047 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS071211 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20111920094 | 2011-07-26 | 0.0144 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS072511 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20112010009 | 2011-07-28 | 0.0012 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS072711 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20112060089 | 2011-08-03 | 0.0178 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS080211 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20112130150 | 2011-08-05 | 0.042 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS080411 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20112200063 | 2011-08-18 | 0.008 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS081711 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20112300032 | 2011-08-25 | -0.0048 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS082511 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20112360072 | 2011-08-31 | 0.0105 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS083111 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20112500179 | 2011-10-05 | 0.0071 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS100411 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20112510032 | 2011-10-06 | -0.0231 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS100611 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20112560018 | 2011-10-07 | 0.0126 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS100611 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20112630055 | 2011-10-11 | -0.0517 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS101111 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2011 | 20112690116 | 2011-10-12 | 0.0454 | <0.090 | 0.09 | 3123 |  |  |  | ug/L | Blank | No | TCMS101111 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20112760060 | 2011-10-12 | 0.0161 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS101111 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20112840069 | 2011-10-28 | 0.1632 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS102711 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20112910129 | 2011-11-22 | 0.0579 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS112211 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20112970112 | 2011-11-23 | 0.0682 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS112211 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20113050096 | 2011-12-08 | 0.0575 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS120811 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20113110053 | 2011-11-30 | -0.0318 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS113011 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20113180160 | 2011-12-09 | 0.0479 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS120811 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20113250117 | 2011-12-12 | 0.0401 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS121211 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20113320112 | 2011-12-13 | 0.0279 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS121211 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20113460135 | 2011-12-19 | 0.0916 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS121911 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20113490079 | 2012-01-09 | 0.0194 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS010912 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20113530134 | 2012-01-10 | 0.0399 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS011012 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20113610084 | 2012-01-12 | -0.0104 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS011112 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20120030020 | 2012-01-12 | 0.0165 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS011112 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20120090050 | 2012-01-18 | 0.0555 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS011812 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20120180009 | 2012-01-23 | -0.0185 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS012312 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20120230044 | 2012-01-25 | -0.0094 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS012512 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20120310018 | 2012-02-08 | 0.039 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS020712 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20120370071 | 2012-02-15 | -0.0319 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS021512 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20120450026 | 2012-02-22 | -0.0231 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS022212 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20120530048 | 2012-02-28 | 0.0516 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS022812 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20120580054 | 2012-03-06 | 0.0288 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS030612 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20120660068 | 2012-03-14 | -0.0035 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS031312 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20120730085 | 2012-03-23 | 0.0882 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS032212 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20120790077 | 2012-03-28 | 0.0156 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS032812 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20120870040 | 2012-04-02 | 0.052 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS040212 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20120930052 | 2012-04-06 | 0.0042 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS040512 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20121010022 | 2012-04-18 | 0.1594 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS041812 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20121080015 | 2012-04-30 | 0.0836 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS043012 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20121150093 | 2012-04-30 | 0.0143 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS043012 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20121210116 | 2012-05-16 | 0.0323 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS051612 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20121290089 | 2012-05-15 | 0.0102 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS51412B | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20121370043 | 2012-05-29 | -0.0261 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS052912 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20121430075 | 2012-05-30 | 0.0112 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS052912B | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20121510035 | 2012-06-14 | 0.0496 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS061212 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20121560115 | 2012-06-20 | 0.0002 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS061912 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20121650050 | 2012-06-29 | -0.0379 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS062812 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20121710004 | 2012-07-04 | -0.0793 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS070212 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20121780038 | 2012-07-04 | -0.0358 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS070212 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20121870015 | 2012-07-25 | 0.0309 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS072512 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20121910039 | 2012-07-25 | 0.0169 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS072512 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20121990076 | 2012-07-31 | 0.0087 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS073012 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20122050096 | 2012-08-02 | 0.0191 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS080112 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20122140045 | 2012-08-13 | 0.0236 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS081312 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20122190094 | 2012-08-14 | 0.0315 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS081312 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20122280084 | 2012-08-23 | -0.0351 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS082212 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20122350117 | 2012-08-30 | 0.0309 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS083012 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20122400102 | 2012-09-05 | -0.0105 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS090512 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20122490100 | 2012-09-13 | 0.0514 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS091212 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20122550005 | 2012-09-18 | 0.0339 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS091712 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20122690148 | 2012-10-04 | 0.0414 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS100312 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2012 | 20122700103 | 2012-10-04 | 0.0077 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS100312 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20130020002 | 2013-01-09 | 0.0043 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS010913 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20130070049 | 2013-01-14 | 0.0029 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS011413 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20123330002 | 2012-12-03 | -0.0561 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS120312 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20130230091 | 2013-01-30 | 0.1385 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS013013 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20123620003 | 2013-01-09 | 0.0921 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS010913 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20130420059 | 2013-02-22 | -0.0813 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS022013 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20130520013 | 2013-02-27 | -0.0056 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS022713 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20130840048 | 2013-04-03 | 0.0054 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS040313 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20130630115 | 2013-03-07 | 0.0292 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS030713 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20130570016 | 2013-03-06 | -0.0054 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS030513 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20131090024 | 2013-05-15 | -0.029 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS051513 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20131220004 | 2013-05-16 | 0.1322 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS051513 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20130930076 | 2013-04-11 | 0.0368 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS041113 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20131270015 | 2013-06-04 | 0.0885 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS060413 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20131120116 | 2013-05-15 | -0.0165 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS051513 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20131150010 | 2013-05-15 | -0.0231 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS051513 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20130700008 | 2013-03-26 | -0.0102 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS032513 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20131640003 | 2013-06-20 | -0.0033 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS061913 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20131550019 | 2013-06-18 | 0.0441 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS061713 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20131770015 | 2013-07-09 | -0.0165 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS070813 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20131350128 | 2013-05-29 | 0.0575 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS052813 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20131500022 | 2013-06-17 | 0.0394 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS061713 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20130770150 | 2013-03-27 | 0.0021 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS032513 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20131430171 | 2013-06-04 | 0.0134 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS053013 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20131700032 | 2013-07-08 | 0.0095 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS070813 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20131830079 | 2013-08-08 | 0.0544 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS080713 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20131900082 | 2013-08-12 | 0.0214 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS081213 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20131970029 | 2013-08-19 | 0.0002 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS081913 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20132040024 | 2013-08-20 | 0.0498 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS081913 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20132120023 | 2013-09-09 | 0.0082 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS090913 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20132180183 | 2013-11-12 | -0.0599 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS111213 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20132730129 | 2013-12-06 | -0.013 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS120513 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20132270019 | 2013-11-19 | 0.0027 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS111813 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20132390014 | 2013-11-22 | 0.003 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS112113 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20132530104 | 2013-12-03 | 0.0384 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS120313 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20132410008 | 2013-11-26 | 0.0296 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS112613 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20132660101 | 2013-12-05 | 0.0476 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS120413 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20132350022 | 2013-11-21 | -0.0166 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS112113 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20132600008 | 2013-12-04 | 0.004 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS120413 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20130140064 | 2013-01-22 | 0.0267 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS012213 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20122750019 | 2012-10-10 | -0.0213 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS101012 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20122830030 | 2012-11-01 | -0.026 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS102912 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20122900091 | 2012-11-05 | 0.032 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS110512 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20122980118 | 2012-11-06 | 0.0869 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS110612 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20123040115 | 2012-11-07 | 0.0867 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS110612 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20123120063 | 2012-11-21 | 0.0659 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS112112 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20123200048 | 2012-11-21 | 0.0572 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS112112 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20123250058 | 2012-11-29 | 0.0254 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS112812 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20123390109 | 2012-12-11 | 0.0014 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS121112 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20123480049 | 2012-12-20 | 0.0542 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS121912 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20123530087 | 2013-01-02 | -0.0054 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS010213 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20130280034 | 2013-02-06 | -0.0302 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS020613 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2013 | 20130350027 | 2013-02-14 | -0.0212 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS021413 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20133030026 | 2013-12-30 | 0.0463 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS123013 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20132970029 | 2013-12-16 | 0.0137 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS121613 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20133360014 | 2014-01-13 | 0.0365 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS011314 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20133230011 | 2014-01-09 | -0.0013 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS010914 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20140130046 | 2014-01-21 | -0.0127 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS012114 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20140070059 | 2014-01-21 | 0.0098 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS012114 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20140270192 | 2014-02-04 | 0.0408 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS020314 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20133580047 | 2014-01-21 | 0.0399 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS012114 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20133430106 | 2014-01-15 | -0.0309 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS011414 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20140410012 | 2014-02-18 | -0.0159 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS021814 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20140550044 | 2014-03-04 | -0.0055 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS030414 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20140210044 | 2014-02-03 | -0.0277 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS020314 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20133300009 | 2014-01-13 | 0.0361 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS011314 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20140490011 | 2014-02-26 | -0.0094 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS022614 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20133090094 | 2014-01-07 | 0.0001 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS010714 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20133170109 | 2014-01-07 | 0.0288 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS010714 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20140340018 | 2014-02-06 | -0.0193 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS020614 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20133500072 | 2014-01-16 | 0.0337 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS011414 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20140630113 | 2014-03-19 | -0.0056 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS031914 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20140690019 | 2014-03-20 | -0.0063 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS031914 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20140760037 | 2014-03-31 | 0.0263 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS033114 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20140840100 | 2014-04-16 | -0.0118 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS041614 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20140970041 | 2014-04-22 | 0.0208 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS042114 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20140900030 | 2014-04-11 | -0.0545 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS040914 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20141050004 | 2014-04-22 | -0.0247 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS042114 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20141620028 | 2014-06-23 | -0.0193 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS062314 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20141470141 | 2014-06-05 | 0.0533 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS060414 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20141550059 | 2014-06-16 | -0.0122 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS061614 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20141190023 | 2014-05-01 | 0.0609 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS050114 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20141400006 | 2014-05-30 | 0.0076 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS052914 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20141130018 | 2014-05-14 | 0.1209 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS051414 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20141250079 | 2014-05-15 | -0.0042 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS051314 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20141820116 | 2014-07-24 | 0.0447 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS072214 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20141750148 | 2014-07-02 | 0.0216 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS070214 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20141890086 | 2014-07-24 | 0.0053 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS072214 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20141960038 | 2014-07-29 | -0.0071 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS072814 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20142160067 | 2014-08-14 | 0.0179 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS081314 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20142090219 | 2014-08-13 | 0.0209 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS081314 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20142230074 | 2014-08-19 | -0.0415 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS081914 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20141330197 | 2014-05-21 | 0.0122 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS052014 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20142720094 | 2014-10-08 | 0.0306 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS100814 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20142030073 | 2014-07-31 | 0.1956 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS073014 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20141680084 | 2014-06-30 | 0.0754 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS063014 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20142520025 | 2014-09-22 | 0.0562 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS092214 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20142470059 | 2014-09-16 | -0.0078 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS091514 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20142650105 | 2014-10-01 | 0.034 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS100114 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2014 | 20142590044 | 2014-09-29 | 0.0158 | <0.280 | 0.28 | 3123 |  |  |  | ug/L | Blank | No | TCMS092914 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20142790029 | 2014-10-15 | 0.0273 | <0.200 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS101414 | MS7
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20142880083 | 2014-11-04 | -0.0586 | <0.200 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS110314 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20142950118 | 2014-11-13 | -0.0255 | <0.200 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS111314 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20143230039 | 2014-12-01 | 0.0009 | <0.200 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS120114 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20143300033 | 2014-12-03 | -0.022 | <0.200 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS120314 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20143080080 | 2014-11-18 | -0.0195 | <0.200 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS111714 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20143160023 | 2014-11-20 | 0.0327 | <0.200 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS112014 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20143360075 | 2014-12-16 | 0.0366 | <0.200 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS121614 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20143630004 | 2015-01-07 | 0.0327 | <0.200 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS010715 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20143420017 | 2014-12-17 | -0.0243 | <0.200 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS121614 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20143490025 | 2014-12-18 | 0.0499 | <0.200 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS121814 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20143560047 | 2015-01-07 | 0.0268 | <0.200 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS010715 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20143010060 | 2014-11-17 | -0.0485 | <0.200 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS111714 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20150050012 | 2015-01-14 | 0.0496 | <0.200 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS011415 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20150120018 | 2015-01-26 | 0.0738 | <0.200 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS012615 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20150200032 | 2015-01-27 | -0.0235 | <0.200 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS012615 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20150400030 | 2015-02-18 | -0.0099 | <0.200 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS021815 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20150330023 | 2015-02-11 | 0.0498 | <0.200 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS021115 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20150260010 | 2015-02-09 | -0.018 | <0.200 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS020915 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20150490022 | 2015-02-25 | 0.0193 | <0.200 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS022515 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20150610102 | 2015-03-27 | -0.043 | <0.200 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS032615 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20150690103 | 2015-03-27 | -0.0553 | <0.200 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS032615 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20150540027 | 2015-03-27 | -0.0629 | <0.2 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS032615 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20150900042 | 2015-04-11 | 0.0075 | <0.200 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS041015 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20150770035 | 2015-04-07 | -0.0077 | <0.200 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS033115 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20150850037 | 2015-04-10 | 0.0085 | <0.200 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS041015 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20150970055 | 2015-04-16 | -0.0351 | <0.200 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS041415 | MS6
Arsenic, unfltd, cICP-MS, recov | 01002 | PLM11 | UNF | 2015 | 20151050032 | 2015-04-23 | 0.0453 | <0.200 | 0.2 | 3123 |  |  |  | ug/L | Blank | No | TCMS042215 | MS6