## BBP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2017 | 20172690269 | 2017-10-05 | 0.149 | <0.23 | 0.23 | 2630 | Result determined by alternate method | See result laboratory comment |  | mg/L | Blank | No | DOC17277 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20172860021 | 2017-10-16 | 0.1249 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC17289 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20172860219 | 2017-10-17 | 0.121 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC17289 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20172910013 | 2017-10-24 | 0.1672 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC17293 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20173050021 | 2017-11-02 | 0.0952 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC17306 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20173180154 | 2017-11-18 | 0.1114 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC17321 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20172970206 | 2017-10-30 | 0.1305 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC17303 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20173260008 | 2017-11-28 | 0.1551 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC17332 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20173390098 | 2017-12-15 | 0.00846 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC17348 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20173330019 | 2017-12-18 | 0.00092 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC17352 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20173460066 | 2017-12-19 | 0.00031 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC17352 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20173530091 | 2017-12-29 | 0.03089 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC17361 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20173620012 | 2018-01-11 | 0.05706 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18010 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20180100007 | 2018-01-12 | -0.162 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18010 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20180240095 | 2018-01-27 | 0.1691 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18025 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20180170056 | 2018-01-26 | 0.1365 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18025 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20173110113 | 2017-11-10 | 0.1374 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC17313 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20180300105 | 2018-02-06 | 0.07193 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18031 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20180370085 | 2018-02-13 | 0.1055 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18039 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20180440088 | 2018-02-23 | 0.06334 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18051 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20180520085 | 2018-02-27 | 0.2131 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18057 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20180580109 | 2018-03-02 | 0.06406 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18060 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20180650061 | 2018-03-09 | 0.0138 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18066 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20180790082 | 2018-03-24 | 0.01004 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18081 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20180860139 | 2018-03-30 | 0.07742 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18089 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20180730057 | 2018-03-23 | 0.00044 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18079 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20180930117 | 2018-04-06 | -0.03226 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18092 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20181090176 | 2018-04-27 | 0.1563 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18111 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20181140184 | 2018-05-01 | 0.09116 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18119 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20181220011 | 2018-05-04 | 0.124 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18122 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20181280135 | 2018-05-10 | 0.0975 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18127 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20181030009 | 2018-04-20 | 0.1236 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18106 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20181350120 | 2018-05-17 | 0.1009 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18133 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20181500156 | 2018-06-06 | 0.09183 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18152 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20181420248 | 2018-06-08 | 0.0912 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18156 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20181640004 | 2018-06-19 | 0.1799 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18164 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20181570010 | 2018-06-12 | 0.1892 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18160 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20181770213 | 2018-07-03 | 0.1537 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18183 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20181840208 | 2018-07-07 | 0.2196 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18185 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20181700185 | 2018-06-23 | 0.1425 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18170 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20181910204 | 2018-07-17 | 0.12 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18197 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20182050284 | 2018-07-31 | 0.1248 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18207 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20182120182 | 2018-08-04 | 0.106 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18213 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20182000214 | 2018-07-25 | 0.1208 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18201 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20182200004 | 2018-08-13 | 0.1504 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18222 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20182260168 | 2018-08-22 | 0.1762 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18232 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20182330213 | 2018-08-28 | 0.1377 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18235 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20182410008 | 2018-09-04 | 0.1091 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18249 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20182490008 | 2018-09-14 | 0.0722 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18257 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20182610154 | 2018-09-28 | 0.08887 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18269 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20182570231 | 2018-09-28 | 0.1083 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18268 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2018 | 20182680162 | 2018-11-01 | 0.2177 | <0.23 | 0.23 | 2630 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | DOC304PD | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20191620194 | 2019-06-15 | 0.08141 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19163 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20182890073 | 2018-11-05 | 0.1173 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18309 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20182960218 | 2018-11-06 | 0.1485 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18309 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20182760026 | 2018-11-08 | 0.1542 | <0.23 | 0.23 | 2630 | Holding time exceeded |  |  | mg/L | Blank | No | DOC18311 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20183100205 | 2018-11-28 | 0.1271 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18330 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20183030083 | 2018-11-27 | 0.1917 | <0.23 | 0.23 | 2630 | Holding time exceeded |  |  | mg/L | Blank | No | DOC18324 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20183180146 | 2018-11-30 | 0.1489 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18330 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20183310074 | 2018-12-01 | 0.2146 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18331 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20183400015 | 2018-12-17 | 0.1122 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18348 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20183450158 | 2018-12-19 | 0.2506 | 0.25 | 0.23 | 2630 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | DOC18348 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20190360209 | 2019-02-09 | 0.08395 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19039 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20190290119 | 2019-01-31 | 0.2315 | 0.23 | 0.23 | 2630 | Value extrapolated at low end | Below the reporting level but at or above the detection level |  | mg/L | Blank | Yes | DOC19029 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20190430209 | 2019-02-16 | 0.1855 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19043 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20182830117 | 2018-11-01 | 0.1821 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC18299 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20190520018 | 2019-02-23 | 1.598 | 1.60 | 0.23 | 2630 |  |  |  | mg/L | Blank | Yes | DOC19050 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20190570197 | 2019-03-06 | 0.01129 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19059 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20190720012 | 2019-03-18 | 0.03871 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19077 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20190640124 | 2019-03-12 | -0.00294 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19070 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20190860019 | 2019-04-04 | 0.02976 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19094 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20191070146 | 2019-04-24 | 0.03203 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19109 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20190990207 | 2019-04-10 | 0.1144 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19100 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20191130143 | 2019-04-29 | 0.1184 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19114 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20191200098 | 2019-05-09 | 0.09999 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19126 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20191300199 | 2019-05-18 | 0.05628 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19136 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20191350014 | 2019-05-22 | 0.04864 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19138 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20191490093 | 2019-06-01 | 0.1067 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19152 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20191410234 | 2019-05-31 | 0.07195 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19148 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20191550204 | 2019-06-24 | 0.1078 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19172 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20191760240 | 2019-07-09 | 0.0961 | <0.23 | 0.23 | 2630 | Improper preservation |  |  | mg/L | Blank | No | DOC19188 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20191690179 | 2019-06-21 | 0.2206 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19170 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20191830158 | 2019-07-16 | 0.09036 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19196 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20191900128 | 2019-07-17 | 0.1536 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19196 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20192000004 | 2019-07-27 | 0.1363 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19206 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20192050075 | 2019-07-30 | 0.04253 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19207 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20192110147 | 2019-08-15 | 0.08426 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19213 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20192180206 | 2019-08-21 | 0.1697 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19232 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20192250200 | 2019-09-09 | 0.1964 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19252 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20192320254 | 2019-09-06 | 0.1225 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19247 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20192390261 | 2019-09-10 | 0.1807 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19252 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20192470206 | 2019-09-16 | 0.1677 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19259 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20192530116 | 2019-09-18 | 0.1409 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19261 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20192600345 | 2019-09-24 | 0.1674 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19262 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2019 | 20192670178 | 2019-09-28 | 0.1915 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19269 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20192810106 | 2019-10-10 | 0.1366 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19282 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20192890239 | 2019-10-24 | 0.1796 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19291 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20193030014 | 2019-11-01 | 0.1879 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19304 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20193090161 | 2019-11-07 | 0.1871 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19310 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20193170118 | 2019-11-15 | 0.1525 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19317 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20193230172 | 2019-11-26 | 0.1539 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19325 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20193310022 | 2019-12-03 | 0.1381 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19336 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20193370114 | 2019-12-07 | 0.13 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19340 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20193440279 | 2019-12-11 | 0.05736 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19345 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20193510014 | 2019-12-19 | 0.1364 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19350 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20193600039 | 2020-01-02 | 0.1669 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19365 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20193650138 | 2020-01-02 | 0.1037 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC19365 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20200070059 | 2020-01-15 | 0.113 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC20015 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20200150008 | 2020-01-22 | 0.1528 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC20022 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20200220095 | 2020-01-28 | 0.1483 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC20028 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20200280080 | 2020-02-04 | 0.1013 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC20036 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20200350119 | 2020-02-10 | 0.09963 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC20041 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20200420094 | 2020-02-20 | 0.1997 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC20049 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20200500102 | 2020-03-09 | 0.1644 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC20069 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20200560068 | 2020-03-04 | 0.0969 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC20062 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20200630079 | 2020-03-14 | 0.1468 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC20072 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20200700100 | 2020-03-14 | 0.1205 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC20073 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20200770103 | 2020-03-27 | 0.1027 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC20086 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20200840022 | 2020-03-28 | 0.05916 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC20087 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20200910076 | 2020-04-04 | 0.1052 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC20093 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20200980036 | 2020-04-16 | 0.1465 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC20103 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20201060072 | 2020-05-07 | 0.07923 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC20125 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20201260096 | 2020-05-14 | 0.1285 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20148A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20201550024 | 2020-06-15 | 0.1085 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20167A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20201610149 | 2020-06-18 | 0.106 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20168A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20192950187 | 2019-10-24 | 4.739 | 4.74 | 0.23 | 2630 |  |  |  | mg/L | Blank | Yes | DOC19295 | DOC
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20201680173 | 2020-06-18 | 0.1797 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20169A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20201750084 | 2020-06-26 | 0.1828 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20175A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20201890167 | 2020-07-14 | 0.1572 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20195A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20201960117 | 2020-07-17 | 0.1734 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20197A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20202040008 | 2020-08-06 | 0.175 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20218A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20202110023 | 2020-08-05 | 0.0983 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20217A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20202170017 | 2020-08-07 | 0.2063 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20218A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20202240078 | 2020-08-14 | 0.1473 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20226A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20202320078 | 2020-08-24 | 0.1735 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20234A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20202390013 | 2020-09-01 | 0.131 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20245A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20202530046 | 2020-09-15 | 0.1362 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20259A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20202590134 | 2020-09-19 | 0.187 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20260A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20202670168 | 2020-09-28 | 0.1281 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20269A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2020 | 20202740045 | 2020-10-02 | 0.193 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20275A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20202810046 | 2020-10-14 | 0.1567 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20283A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20202870024 | 2020-10-20 | 0.1809 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20288A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20202950014 | 2020-10-26 | 0.2246 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20297A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20203010139 | 2020-10-30 | 0.211 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20302A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20203080096 | 2020-11-07 | 0.1468 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20310A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20203150089 | 2020-11-18 | 0.1189 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20317A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20203230013 | 2020-11-24 | 0.1902 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20325A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20203300035 | 2020-12-02 | 0.2097 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20330A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20203440029 | 2020-12-22 | 0.2128 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20356A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20203530095 | 2020-12-24 | 0.2244 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20357A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20203580044 | 2020-12-30 | 0.1509 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20364A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20203640033 | 2020-12-30 | 0.1587 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__20364A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20210050014 | 2021-01-08 | 0.1161 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21006A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20210120045 | 2021-01-15 | 0.1516 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21012A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20210210044 | 2021-01-23 | 0.1059 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21021A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20210270026 | 2021-01-29 | 0.1403 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21027A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20210330094 | 2021-02-05 | 0.1043 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21035A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20210400063 | 2021-02-12 | 0.1378 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21040A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20210480028 | 2021-02-25 | 0.138 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21053A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20210540045 | 2021-02-25 | 0.1321 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21053A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20210620151 | 2021-03-11 | 0.1866 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21067A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20210690069 | 2021-03-17 | 0.1337 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21075A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20210760021 | 2021-03-20 | 0.1101 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21076A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20210830012 | 2021-03-30 | 0.08596 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21084A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20210970028 | 2021-04-15 | 0.09442 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21102A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20211030192 | 2021-04-28 | 0.1178 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21112A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20211100008 | 2021-04-29 | 0.08671 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21118B
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20211180012 | 2021-05-04 | 0.0957 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21123B
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20211250034 | 2021-05-10 | 0.1473 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21130A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20211320152 | 2021-05-17 | 0.0616 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21137A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20211380011 | 2021-05-21 | 0.1142 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21140A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20211460030 | 2021-06-01 | 0.143 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21152A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20211600014 | 2021-06-10 | 0.141 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21161A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20211660083 | 2021-06-23 | 0.1192 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21168A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20211730240 | 2021-06-25 | 0.07812 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21176A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20211800190 | 2021-07-13 | 0.1644 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21193A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20211880202 | 2021-07-15 | 0.06617 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21194A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20211940181 | 2021-07-16 | 0.1461 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21195A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20212020198 | 2021-07-28 | 0.1316 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21207A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20212080114 | 2021-08-03 | 0.1383 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21214A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20212150085 | 2021-08-11 | 0.1212 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21222A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20212220195 | 2021-08-17 | 0.1374 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21228A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20212290217 | 2021-08-19 | 0.07735 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21230A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20212360136 | 2021-08-26 | 0.1336 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21236A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20212520227 | 2021-09-15 | 0.1678 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21257A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20212580248 | 2021-09-22 | 0.1163 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21264A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20212640283 | 2021-10-05 | 0.1247 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21277A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2021 | 20212720120 | 2021-10-13 | 0.1248 | <0.23 | 0.23 | 2630 | Improper preservation | See result laboratory comment |  | mg/L | Blank | No | DOC__21285A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20212790031 | 2021-10-14 | 0.1426 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21285A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20212860207 | 2021-10-20 | 0.1233 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21292A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20212940173 | 2021-10-29 | 0.1296 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21300A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20212990161 | 2021-11-02 | 0.1054 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21305A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20213060216 | 2021-11-11 | 0.2018 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21313A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20213130197 | 2021-11-17 | 0.1433 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21319A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20213200084 | 2021-12-02 | 0.1579 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21334A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20213270284 | 2021-12-13 | 0.1896 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21347A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20213410087 | 2021-12-14 | 0.08079 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21347A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20213480155 | 2021-12-21 | 0.1333 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21354A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20213550411 | 2021-12-29 | 0.09071 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__21361A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20213620349 | 2022-01-10 | 0.1472 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22005A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20220040090 | 2022-01-11 | 0.1219 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22005A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20220110090 | 2022-01-20 | 0.1368 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22019A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20220190109 | 2022-02-07 | 0.237 | 0.24 | 0.23 | 2630 | Value extrapolated at low end | Below the reporting level but at or above the detection level |  | mg/L | Blank | Yes | DOC__22038A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20220390083 | 2022-02-16 | 0.1694 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22045A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20220540133 | 2022-03-02 | 0.1602 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22059A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20220600072 | 2022-03-09 | 0.1437 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22067A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20220670066 | 2022-03-16 | 0.1514 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22074A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20220760110 | 2022-03-25 | 0.1417 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22082A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20220810129 | 2022-03-28 | 0.1114 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22087A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20220880112 | 2022-04-06 | 0.1253 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22095A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20220950124 | 2022-04-14 | -0.07571 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22102A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20221020008 | 2022-04-20 | 0.1154 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22109A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20221160201 | 2022-05-03 | 0.1174 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22122A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20221090235 | 2022-04-28 | 5.931 | 5.931 | 0.23 | 2630 |  |  |  | mg/L | Blank | Yes | DOC__22116A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20220470015 | 2022-03-01 | 0.1662 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22059A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20220260175 | 2022-02-09 | 0.2211 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22038A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20221230113 | 2022-05-05 | 0.1335 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22125A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20221300143 | 2022-05-14 | 0.1774 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22133A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20221440254 | 2022-05-28 | 0.1133 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22146A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20221370160 | 2022-05-21 | 0.1444 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22139A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20221580142 | 2022-06-22 | 0.1841 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22172A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20221730307 | 2022-07-01 | 0.1925 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22180A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20221660345 | 2022-06-28 | 0.1165 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22178A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20221790232 | 2022-07-09 | 0.2198 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22189A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20221870184 | 2022-07-19 | 0.2234 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22196A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20222000013 | 2022-07-27 | 0.1178 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22206A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20221930243 | 2022-07-22 | 0.09715 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22201A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20222140181 | 2022-08-06 | 0.1204 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22217A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20222070172 | 2022-08-04 | 0.08131 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22214A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20222210263 | 2022-08-12 | 0.1641 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22223A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20222280362 | 2022-08-19 | 0.1296 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22231A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20222360019 | 2022-08-27 | 0.1599 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22237A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20222560155 | 2022-09-15 | 0.1092 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22257A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20222500475 | 2022-09-14 | 0.2189 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22256A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20222630199 | 2022-09-22 | 0.1717 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22264A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2022 | 20222700280 | 2022-09-29 | 0.2143 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22270A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20222770165 | 2022-10-06 | 0.1082 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22278A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20222850180 | 2022-10-21 | 0.1683 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22291A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20222910113 | 2022-10-22 | 0.2787 | 0.28 | 0.23 | 2630 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | DOC__22291A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20223120121 | 2022-11-11 | 0.1042 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22313B
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20222980108 | 2022-10-29 | 0.2445 | 0.24 | 0.23 | 2630 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | DOC__22301A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20223190128 | 2022-11-16 | 0.1809 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22318A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20223260139 | 2022-11-26 | 0.1247 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22323A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20223330067 | 2022-11-30 | 0.1716 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22333A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20223400103 | 2022-12-08 | 0.1854 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22342A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20223480166 | 2022-12-16 | 0.1257 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22349A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20223540187 | 2022-12-22 | 0.155 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__22354A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20223620077 | 2022-12-28 | 0.2677 | 0.27 | 0.23 | 2630 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | DOC__22356A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20230040149 | 2023-01-07 | 0.09842 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23004A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20230100090 | 2023-01-13 | 0.1319 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23013A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20230180014 | 2023-01-20 | 0.08795 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23018A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20230240110 | 2023-02-01 | 0.1448 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23031A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20230380136 | 2023-02-09 | 0.08066 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23038A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20230540071 | 2023-02-24 | 0.02947 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23054A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20230450144 | 2023-02-17 | 0.07689 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23047A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20230590151 | 2023-03-03 | 0.05233 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23061A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20230660146 | 2023-03-09 | 0.1196 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23067A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20230730134 | 2023-03-17 | 0.06116 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23075A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20230800087 | 2023-03-24 | 0.08474 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23081A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20230870170 | 2023-03-30 | 0.1172 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23088A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20230940137 | 2023-04-07 | 0.1658 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23096A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20231010264 | 2023-04-14 | 0.06875 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23104A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20231150184 | 2023-04-28 | 0.1128 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23116A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20231090170 | 2023-04-25 | 0.08814 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23109A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20231290214 | 2023-05-12 | 0.3311 | 0.33 | 0.23 | 2630 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | DOC__23132A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20231360038 | 2023-05-17 | 0.1736 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23136A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20231440117 | 2023-05-26 | 0.2092 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23146A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20231230171 | 2023-05-05 | 0.1122 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23125A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20231570087 | 2023-06-08 | 0.2128 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23159A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20231640216 | 2023-06-15 | 0.1935 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23164A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20231720089 | 2023-06-23 | 0.1716 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23174A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20231790086 | 2023-07-04 | 0.1057 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23184A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20231860113 | 2023-07-08 | 0.1903 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23188A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20231980036 | 2023-07-25 | 0.09987 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23205A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20232050062 | 2023-07-27 | 0.2277 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23207A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20232120084 | 2023-08-02 | 0.121 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23212A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20232190043 | 2023-08-09 | 0.1798 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23221A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20232260037 | 2023-08-16 | 0.1517 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23227A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20232350109 | 2023-08-28 | 0.2057 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23240A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20232410137 | 2023-09-01 | 0.1999 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23243A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20232480096 | 2023-09-08 | 0.2031 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23250A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20232560110 | 2023-09-16 | 0.2686 | 0.27 | 0.23 | 2630 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | DOC__23258A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20232610265 | 2023-09-20 | 0.176 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23262A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2023 | 20232680191 | 2023-09-28 | 0.08787 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23270A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20232760046 | 2023-10-06 | 0.1785 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23278A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20232840068 | 2023-10-18 | 0.1906 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23291A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20232910052 | 2023-10-27 | 0.3684 | 0.37 | 0.23 | 2630 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | DOC__23300A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20232980008 | 2023-10-28 | 0.1866 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23300A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20233190013 | 2023-11-21 | 0.2572 | 0.26 | 0.23 | 2630 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | DOC__23324A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20233250147 | 2023-12-05 | 0.1318 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23338A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20233330062 | 2023-12-06 | 0.1756 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23338A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20233400099 | 2023-12-09 | 0.1581 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23342A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20233470277 | 2023-12-15 | 0.1807 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23348A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20233550093 | 2023-12-29 | 0.1719 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23362A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20240030069 | 2024-01-09 | 0.1636 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__24008A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20233620060 | 2023-12-30 | 0.1795 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23362A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20240090024 | 2024-01-17 | 0.1632 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__24016A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20240170022 | 2024-01-18 | 0.1372 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__24016A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20240250085 | 2024-01-27 | 0.1458 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__24026A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20240370137 | 2024-02-14 | 0.1318 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__24044A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20240440071 | 2024-02-20 | 0.117 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__24051A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20240520111 | 2024-02-27 | 0.1936 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24057A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20240580151 | 2024-03-08 | 0.1054 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24065A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20240660041 | 2024-03-14 | 0.1081 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24073A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20240720120 | 2024-03-19 | 0.1251 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24078A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20240790106 | 2024-03-22 | 0.1185 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24081A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20240880026 | 2024-04-03 | 0.1537 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24093A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20233120068 | 2023-11-16 | 0.1772 | <0.23 | 0.23 | 2630 |  |  |  | mg/L | Blank | No | DOC__23319A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20240930083 | 2024-04-10 | 0.1047 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24100A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20241000098 | 2024-04-10 | 0.1539 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24100A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20241070245 | 2024-04-18 | 0.1019 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24108A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20241140105 | 2024-04-26 | 0.06767 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24115A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20241280128 | 2024-05-10 | 0.2975 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24129A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20241360058 | 2024-05-21 | 0.09839 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24138A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20241420103 | 2024-05-29 | 0.1492 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24149A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20241500156 | 2024-06-03 | 0.1194 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24155A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20241570092 | 2024-06-08 | 0.1648 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24158A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20241630113 | 2024-06-15 | 0.1611 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24166A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20241720064 | 2024-06-25 | 0.1568 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24176A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20241770110 | 2024-06-28 | 0.2449 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24178A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20241900019 | 2024-07-12 | 0.1996 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24193A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20241970124 | 2024-07-20 | 0.2308 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24200A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20242040012 | 2024-07-27 | 0.1964 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24206A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20242110069 | 2024-08-05 | 0.1305 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24214A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20242180111 | 2024-08-08 | 0.1448 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24220A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20242250111 | 2024-08-22 | 0.135 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24228A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20242320042 | 2024-08-27 | 0.1817 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24239A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20242390058 | 2024-08-31 | 0.1164 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24243A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20242540038 | 2024-09-16 | 0.1808 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24260A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20242600038 | 2024-09-21 | 0.1201 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24264A
Dissolved Organic Carbon (DOC), fltd, Glass Fiber, HTCO, ACD | 00681 | CMB16 | FIL | 2024 | 20242670047 | 2024-09-26 | 0.1063 | <0.30 | 0.3 | 2630 |  |  |  | mg/L | Blank | No | DOC__24269A