## BBP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20152430092 | 2015-09-25 | 0.349 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15267C | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20150970056 | 2015-05-28 | 3.315 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15148A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20151940021 | 2015-08-03 | 0.324 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15215C | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20152590161 | 2015-10-02 | 1.206 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15274A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20152360154 | 2015-09-21 | 1.352 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15264A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20150900043 | 2015-05-27 | 1.611 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15131A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20151240061 | 2015-06-10 | -0.681 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15159C | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20152510007 | 2015-09-29 | 0.224 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15272B | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20151180068 | 2015-06-09 | 0.599 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15156A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20152640021 | 2015-10-02 | 1.883 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15274A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20151140030 | 2015-05-30 | 2.502 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15149A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20151390187 | 2015-06-11 | -0.163 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15162E | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20152150069 | 2015-09-01 | -0.512 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15243A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20152230125 | 2015-09-03 | 0.715 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15246D | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20151620207 | 2015-06-30 | 1.192 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15181A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20151800046 | 2015-07-31 | 2.632 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15212A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20151730011 | 2015-07-02 | 0.68 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15182B | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20151870010 | 2015-08-03 | 0.719 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15215C | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20151530206 | 2015-06-16 | 1.841 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15167D | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20150850036 | 2015-05-27 | -1.225 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15131A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20151310079 | 2015-06-10 | 0.974 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15159C | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20152330001 | 2015-09-17 | 1.006 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15258A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20151660042 | 2015-07-02 | 1.637 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15182B | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20152710071 | 2015-10-14 | 0.73 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15287A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20152080060 | 2015-08-28 | 2.985 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15239A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20151050033 | 2015-05-29 | 3.142 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15149A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20152010048 | 2015-08-03 | 0.205 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15215C | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 20151460099 | 2015-06-11 | 0.39 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15162E | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20162640170 | 2016-12-03 | 1.275 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE16337B | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20162360198 | 2016-11-30 | 1.199 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE16335A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20162440124 | 2016-12-01 | 0.86 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE16336A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20162520019 | 2016-12-02 | 1.205 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE16337A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20162580016 | 2016-12-02 | 1.239 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE16337A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20161800085 | 2016-08-12 | 0.276 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE16225A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20161870027 | 2016-08-18 | 0.936 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE16231A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20161590160 | 2016-06-29 | -0.119 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16181A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20161270011 | 2016-06-23 | 0.212 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16174A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20152990064 | 2015-11-10 | 0.901 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15314A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20153200034 | 2015-12-02 | 1.377 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15336A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20153420009 | 2016-01-20 | 19.51 | 19.5 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | Yes | ICPOE16020A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20160110004 | 2016-02-02 | 57.49 | 57.5 | 4.6 | 3514 | Value verified by rerun, same method | See result laboratory comment |  | ug/L | Blank | Yes | ICPOE16033A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20153550010 | 2015-12-31 | 14.96 | E15.0 | 4.6 | 3514 | Analyte detected in laboratory blank | See result laboratory comment |  | ug/L | Blank | Yes | ICPOE15365A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20160250022 | 2016-02-02 | -0.47 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16033A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20161230039 | 2016-05-19 | 1.016 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16139B | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20160740009 | 2016-03-22 | 1.407 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16081B | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20160880038 | 2016-04-15 | 1.649 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16103A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20160470012 | 2016-03-07 | 2.049 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16067A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20153340015 | 2015-12-31 | 3.212 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15365A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20160600016 | 2016-03-10 | 0.891 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16069A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20160050028 | 2016-01-20 | 18.68 | 18.7 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | Yes | ICPOE16020A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20162150201 | 2016-08-22 | 0.387 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE16235A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20161940111 | 2016-08-18 | 0.553 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE16231A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20161160087 | 2016-05-18 | -0.99 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16139B | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20153140002 | 2015-12-02 | 0.367 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15336A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20153630044 | 2016-01-20 | 2.764 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16020A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20162010250 | 2016-08-22 | 0.242 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE16235A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20162080230 | 2016-08-26 | 0.825 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE16239A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20153500159 | 2015-12-31 | 30.77 | E30.8 | 4.6 | 3514 | Analyte detected in laboratory blank | See result laboratory comment |  | ug/L | Blank | Yes | ICPOE15365A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20162230010 | 2016-08-23 | 6.961 | 6.96 | 4.6 | 3514 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPOE16236B | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20161100122 | 2016-04-25 | -0.389 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16116A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20153060029 | 2015-12-02 | 0.88 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15336A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20152860155 | 2015-10-23 | 1.215 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15295A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20160400078 | 2016-03-07 | 4.589 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16067A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20161740074 | 2016-08-12 | 5.116 | 5.12 | 4.6 | 3514 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPOE16225A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20160810060 | 2016-04-05 | -0.002 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16095A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20152780004 | 2015-10-14 | -0.126 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15287A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20161520022 | 2016-06-09 | -0.762 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16161B | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20153270007 | 2015-12-03 | -1.027 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE15337A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20160670010 | 2016-03-21 | 0.298 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16081B | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20160530011 | 2016-03-10 | 0.447 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16069A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20160950040 | 2016-04-15 | 1.541 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16103A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20161020022 | 2016-04-19 | 1.682 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16109B | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20162290130 | 2016-08-26 | 12.09 | 12.1 | 4.6 | 3514 |  |  |  | ug/L | Blank | Yes | ICPOE16239A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20161480184 | 2016-06-09 | -0.01 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16161B | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20160190013 | 2016-02-02 | -0.698 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16033A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20160320006 | 2016-02-16 | -0.915 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16047A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20161660161 | 2016-06-29 | 0.238 | <4.6 | 4.6 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE16181A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20152920034 | 2015-11-10 | 27.16 | 27.2 | 4.6 | 3514 | Value verified by rerun, same method | See result laboratory comment |  | ug/L | Blank | Yes | ICPOE15314A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 20162710102 | 2016-12-03 | 1.443 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE16337B | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20170540102 | 2017-03-15 | 0.738 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17073B | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20171020115 | 2017-04-20 | 0.534 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17110A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20170040055 | 2017-01-25 | -0.58 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17023A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20163200113 | 2016-12-07 | 0.734 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE16342A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20170660122 | 2017-03-22 | -0.703 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17081A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20170590086 | 2017-03-17 | 0.95 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17075A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20170310058 | 2017-02-16 | 0.875 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17046A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20162940171 | 2016-12-06 | 0.999 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE16341A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20163350016 | 2016-12-07 | 2.77 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE16342A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20170100055 | 2017-01-25 | -0.398 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17023A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20163060097 | 2016-12-06 | 0.19 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE16341A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20170800060 | 2017-03-28 | 0.247 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17087A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20170450133 | 2017-03-03 | 0.493 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17059A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20170870120 | 2017-04-10 | 1.24 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17100A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20162780123 | 2016-12-05 | -0.047 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE16340A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20162870009 | 2016-12-05 | 0.06 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE16340A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20163410116 | 2016-12-19 | 1.21 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE16354A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20163130101 | 2016-12-06 | 0.69 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE16341A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20163480100 | 2016-12-22 | 0.868 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE16357A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20163000008 | 2016-12-06 | 0.435 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE16341A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20170730102 | 2017-03-28 | 1.334 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17087A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20163630048 | 2017-01-25 | -0.438 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17023A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20170240073 | 2017-01-31 | 0.62 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17031A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20170190015 | 2017-01-31 | 0.778 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17031A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20170940144 | 2017-04-11 | 0.22 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17101A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20170380081 | 2017-02-16 | 0.521 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17046A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20163270134 | 2016-12-07 | 24.57 | 24.6 | 4.6 | 3514 |  |  |  | ug/L | Blank | Yes | ICPOE16342A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20171080128 | 2017-04-26 | 0.763 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17116A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20171510131 | 2017-06-19 | 0.802 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17166A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20171370204 | 2017-05-31 | 0.341 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17151C | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20171150172 | 2017-05-22 | 0.64 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17139A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20163550013 | 2017-01-05 | 0.476 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17005B | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20171290232 | 2017-05-31 | 2.437 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17151C | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20171220107 | 2017-05-22 | 1.804 | <4.60 | 4.6 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17139A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20171430153 | 2017-06-14 | -0.154 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17163A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20171640191 | 2017-06-23 | 0.568 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17174A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20171580023 | 2017-06-23 | 0.599 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17174A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20171710258 | 2017-07-03 | 0.294 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17181A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20171780240 | 2017-07-10 | 1.07 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17191A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20171940291 | 2017-07-21 | 0.755 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17202A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20171990205 | 2017-07-28 | 1.29 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17209A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20172200302 | 2017-08-21 | 0.422 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17233A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20172130264 | 2017-08-16 | 0.963 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17228A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20172060164 | 2017-08-07 | 2.445 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17219A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20172270260 | 2017-08-25 | 1.008 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17237A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20172410204 | 2017-09-15 | -0.532 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17257A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20172500014 | 2017-09-15 | 1.14 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17257A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20172340147 | 2017-09-06 | 0.848 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17244A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20172620334 | 2017-10-03 | 0.856 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17276A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20172690266 | 2017-10-17 | -0.707 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17290A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 20172560117 | 2017-10-02 | 1.458 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17275A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20172860218 | 2017-10-20 | 1.15 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17293A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20172860009 | 2017-10-20 | 1.3 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17293A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20172910011 | 2017-10-31 | 0.655 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17304A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20173050016 | 2017-11-14 | 1.457 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17317A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20172970199 | 2017-10-31 | 1.203 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17304A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20173110104 | 2017-11-16 | -0.313 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17320A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20173180149 | 2017-11-29 | 1.699 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17333A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20173260004 | 2017-12-12 | 3.379 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17340B | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20173330015 | 2017-12-12 | 1.813 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17340B | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20173530087 | 2018-01-16 | 0.924 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18016A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20180100003 | 2018-01-19 | 0.909 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18019A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20180170055 | 2018-01-30 | 2.512 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18030A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20173620011 | 2018-01-16 | 3.508 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18016A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20180240092 | 2018-02-22 | 0.683 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18053A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20180300104 | 2018-02-22 | 0.243 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18053A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20180370084 | 2018-02-22 | 2.435 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18053A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20180520084 | 2018-03-20 | 0.642 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18079A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20180650056 | 2018-04-02 | 0.427 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18092A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20180580107 | 2018-03-21 | 2.807 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18080A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20180790077 | 2018-04-18 | 0.913 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18108A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20173390115 | 2017-12-12 | 1.897 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17340B | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20173460065 | 2018-01-02 | 0.964 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE17363A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20180440087 | 2018-03-13 | 2.275 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18071A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20180930113 | 2018-05-08 | 0.298 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18128A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20181090172 | 2018-05-17 | 0.894 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18134A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20180730052 | 2018-04-18 | 3.077 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18108A | ICP1
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20181140183 | 2018-05-17 | 0.94 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18134A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20181030008 | 2018-05-08 | 1.712 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18128A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20180860130 | 2018-05-07 | 0.653 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18127A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20181350119 | 2018-07-05 | 0.616 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18186A | ICP4
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20181220008 | 2018-06-29 | 0.285 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18180A | ICP4
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20181280134 | 2018-06-29 | 1.081 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18180B | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20181640010 | 2018-07-10 | 0.351 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18191A | ICP4
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20181570006 | 2018-07-09 | 1.089 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18190A | ICP4
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20181500155 | 2018-07-09 | 0.403 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18190A | ICP4
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20181770206 | 2018-07-25 | -0.02 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18206A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20181700191 | 2018-07-10 | 0.982 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18191A | ICP4
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20181420243 | 2018-07-05 | 1.173 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18186A | ICP4
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20181840202 | 2018-08-08 | 0.181 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18220A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20182000213 | 2018-08-09 | 1.868 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18221B | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20182120175 | 2018-08-23 | 0.593 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18235B | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20182200017 | 2018-08-23 | 0.466 | <10 | 10 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE18235B | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20181910203 | 2018-08-08 | 0.126 | <10 | 10 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE18220A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20182050283 | 2018-08-22 | 0.673 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18234A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20182330212 | 2018-09-13 | 0.08 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18255A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20182260163 | 2018-09-10 | 1.468 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18253A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20182410007 | 2018-09-17 | 0.956 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18260A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20182610153 | 2018-09-25 | 0.638 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18268A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20182570230 | 2018-10-11 | 2.764 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18284A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20182490007 | 2018-09-25 | 0.824 | <10 | 10 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE18268A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2018 | 20182680157 | 2018-10-23 | 4.39 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18295A | ICP4
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20182760025 | 2018-10-23 | 0.189 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18295A | ICP4
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20182960217 | 2018-11-14 | 0.331 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18318A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20182890072 | 2018-10-24 | 0.147 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18297A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20182830107 | 2018-10-24 | 0.351 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18297A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20183030082 | 2018-12-04 | 0.451 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18334B | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20183180145 | 2018-12-07 | 0.379 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18341A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20183100203 | 2018-12-04 | 1.112 | <10 | 10 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE18334B | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20183310073 | 2018-12-10 | 0.449 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE18344B | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20183450157 | 2019-02-01 | 1.387 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19032A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20183530008 | 2019-02-01 | 1.236 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19032A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20183400014 | 2019-02-01 | 0.928 | <10 | 10 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19032A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20190360207 | 2019-04-03 | 0.362 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19093C | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20190290118 | 2019-04-03 | 0.477 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19093C | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20190520017 | 2019-04-18 | 0.532 | <10 | 10 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19108A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20190430213 | 2019-04-16 | 0.709 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19105A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20190640123 | 2019-04-19 | 0.742 | <10 | 10 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19109A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20190570196 | 2019-04-18 | 255.7 | 256 | 10 | 3514 |  |  |  | ug/L | Blank | Yes | ICPOE19108A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20190720011 | 2019-04-25 | 0.776 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19115A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20190780110 | 2019-04-25 | 0.172 | <10 | 10 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19115A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20190920104 | 2019-05-09 | 0.669 | <10 | 10 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19129B | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20190860018 | 2019-04-26 | 0.719 | <10 | 10 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19116A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20191130142 | 2019-05-10 | 1.316 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19130A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20191070145 | 2019-05-10 | 0.858 | <10 | 10 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19130A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20190990206 | 2019-05-09 | 1.446 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19129B | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20191300190 | 2019-06-04 | 0.845 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19151A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20191410241 | 2019-06-05 | 0.611 | <10 | 10 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19156B | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20191200097 | 2019-06-04 | 0.253 | <10 | 10 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19151A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20191350013 | 2019-06-04 | 0.696 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19151A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20191490088 | 2019-06-18 | 0.273 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19169A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20191550211 | 2019-06-20 | 0.927 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19171A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20191690169 | 2019-06-28 | 0.224 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19179A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20191620190 | 2019-06-28 | 2.485 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19179A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20191760231 | 2019-06-28 | -0.172 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19179A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20191830149 | 2019-08-01 | 0.68 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19213B | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20191900119 | 2019-07-31 | 0.362 | <10 | 10 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19212A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20192000012 | 2019-07-31 | 0.856 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19212A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20192050071 | 2019-09-16 | -0.081 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19259A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20192110140 | 2019-09-16 | 0.331 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19259A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20192180194 | 2019-09-17 | 0.597 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19260A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20192250190 | 2019-09-16 | 0.827 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19259A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20192320244 | 2019-09-18 | 0.762 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19261B | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20192390252 | 2019-09-19 | 0.498 | <10 | 10 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19262B | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20192470195 | 2019-10-25 | 0.375 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19297B | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20192530107 | 2019-10-25 | 0.438 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19297B | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20192600334 | 2019-10-28 | 0.521 | <5.0 | 5 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19301A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 20192670169 | 2019-11-06 | 0.456 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19310A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20192810094 | 2019-11-07 | 0.07 | <5.0 | 5 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19311B | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20192890228 | 2019-11-12 | 0.594 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19316A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20192950177 | 2019-11-12 | 0.754 | <5.0 | 5 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19316A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20193030013 | 2019-11-25 | 0.571 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19329B | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20193090148 | 2019-12-04 | 1.142 | <5.0 | 5 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE19338A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20193170131 | 2019-12-04 | 1.502 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE19338A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20193230160 | 2020-01-10 | 0.319 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20010B | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20193310011 | 2020-01-14 | 0.338 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20014A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20193370113 | 2020-01-14 | 0.249 | <5.0 | 5 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE20014A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20193440277 | 2020-01-23 | 0.562 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20023A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20193510011 | 2020-01-23 | 0.738 | <5.0 | 5 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE20023A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20193600029 | 2020-01-14 | 0.345 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20014A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20193650128 | 2020-01-14 | 0.636 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20014A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20200070050 | 2020-01-28 | 0.199 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20028A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20200150007 | 2020-02-06 | 5.875 | 5.9 | 5 | 3514 | Below the reporting level but at or above the detection level | See result laboratory comment |  | ug/L | Blank | Yes | ICPOE20037A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20200220089 | 2020-02-06 | 0.944 | <5.0 | 5 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE20037A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20200280078 | 2020-02-06 | 0.85 | <5.0 | 5 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE20037A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20200350116 | 2020-02-18 | 0.585 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20049A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20200420084 | 2020-02-26 | 0.396 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20057B | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20200500101 | 2020-03-04 | 1.247 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20064A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20200560056 | 2020-03-04 | 0.536 | <5.0 | 5 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE20064A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20200630078 | 2020-03-19 | 0.225 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20079A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20200700088 | 2020-03-19 | 0.098 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20079A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20200770102 | 2020-04-07 | 1.104 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20098A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20200840010 | 2020-04-07 | 0.487 | <5.0 | 5 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE20098A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20200910073 | 2020-04-07 | 0.795 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20098A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20200980034 | 2020-04-22 | 0.7 | <5.0 | 5 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE20113A | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20201060061 | 2020-04-27 | 0.541 | <5.0 | 5 | 3514 | See result laboratory comment |  |  | ug/L | Blank | No | ICPOE20118B | ICP3
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20201260094 | 2020-06-01 | 0.498 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20153A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20201550019 | 2020-07-16 | 1.068 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20198A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20201610147 | 2020-07-20 | 0.731 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20202A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20201680167 | 2020-07-16 | 0.764 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20198A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20201750081 | 2020-07-21 | 1.96 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20203A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20201890166 | 2020-07-27 | 2.703 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20209A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20201960122 | 2020-08-19 | 0.883 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20232A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20202040007 | 2020-08-19 | 1.308 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20232A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20202110017 | 2020-08-24 | 2.525 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20237A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20202170016 | 2020-08-21 | 1.084 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20234A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20202240077 | 2020-08-27 | 1.024 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20248B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20202320076 | 2020-09-02 | 0.742 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20246A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20202390009 | 2020-09-10 | 0.908 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20254A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20202530034 | 2020-10-14 | 2.434 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20288B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20202590126 | 2020-09-29 | 1.092 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20273B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20202670161 | 2020-10-13 | 0.889 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20287B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 20202740034 | 2020-10-14 | 1.815 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20288B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20202810033 | 2020-10-19 | 1.686 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20293A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20202870022 | 2020-10-19 | 1.812 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20293A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20202950004 | 2020-11-12 | 0.807 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20317A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20203010137 | 2020-11-13 | 1.472 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20318A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20203080095 | 2020-11-13 | 0.635 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20318A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20203150088 | 2020-11-25 | 3.55 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE20330A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20203230008 | 2020-11-25 | 6.017 | 6.02 | 5 | 3514 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPOE20330A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20203300031 | 2021-01-14 | 0.94 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21014A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20203440027 | 2021-01-22 | 0.739 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21019A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20203530091 | 2021-01-22 | 0.744 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21019A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20203580042 | 2021-01-14 | 3.106 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21014A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20203640027 | 2021-01-14 | 1.993 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21014A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20210050013 | 2021-01-14 | 6.408 | 6.41 | 5 | 3514 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPOE21014A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20210120043 | 2021-01-26 | 1.913 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21026A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20210210037 | 2021-01-26 | 0.304 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21026A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20210270015 | 2021-02-17 | 0.434 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21048A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20210330092 | 2021-03-04 | 0.218 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21063A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20210400061 | 2021-03-04 | 0.246 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21063A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20210480017 | 2021-03-11 | 0.416 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21070A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20210540044 | 2021-03-11 | 0.78 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21070A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20210620149 | 2021-03-19 | 0.247 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21078A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20210690060 | 2021-03-29 | 1.036 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21088A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20210760030 | 2021-04-19 | 0.612 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21109C
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20210830008 | 2021-03-29 | 1.064 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21088A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20210970025 | 2021-05-05 | 0.535 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21125B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20211030196 | 2021-06-10 | 0.415 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21168A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20211100006 | 2021-05-04 | 0.32 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21124A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20211180010 | 2021-06-08 | 0.817 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21159B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20211250024 | 2021-06-15 | 0.509 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21165C
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20211320141 | 2021-06-08 | 0.6 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21159B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20211380010 | 2021-06-23 | 0.317 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21173B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20211460019 | 2021-06-24 | 0.789 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21174B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20211600012 | 2021-07-01 | 0.326 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21182A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20211660073 | 2021-07-01 | 0.568 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21182A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20211730228 | 2021-07-06 | 0.325 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21187B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20211800179 | 2021-08-02 | 0.498 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21214B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20211800180 | 2021-08-02 | 0.626 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21214B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20211880192 | 2021-08-03 | 0.365 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21215A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20211940186 | 2021-08-03 | 1.022 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21215B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20212020190 | 2021-08-11 | 0.468 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21223A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20212080105 | 2021-08-12 | 1.9 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21224B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20212150075 | 2021-08-11 | 1.137 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21223A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20212220201 | 2021-09-09 | 0.498 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21251A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20212290230 | 2021-09-14 | 0.152 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21256A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20212360126 | 2021-09-20 | -0.013 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21258A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20212520225 | 2021-10-05 | 1.037 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21278A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20212580247 | 2021-10-06 | 2.351 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21279A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20212640287 | 2021-10-18 | 0.186 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21291A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 20212720117 | 2021-10-19 | 0.606 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21292A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20212790009 | 2021-10-18 | 0.108 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21291A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20212860198 | 2021-10-27 | 1.043 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21300A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20212940172 | 2021-11-01 | 0.939 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21305A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20212990151 | 2021-11-10 | 6.206 | 6.21 | 5 | 3514 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPOE21314B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20213060226 | 2021-11-24 | 0.218 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21328A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20213130196 | 2021-11-24 | 0.423 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21328A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20213200069 | 2021-11-24 | 0.337 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21328A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20213270270 | 2021-12-27 | 0.792 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21361A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20213410086 | 2021-12-27 | 0.673 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21361A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20213480151 | 2021-12-28 | 0.292 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE21362A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20213550406 | 2022-01-25 | 1.113 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22025A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20213620338 | 2022-01-26 | 0.228 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22026A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20220040080 | 2022-01-26 | 4.092 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22026B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20220110081 | 2022-01-25 | 0.528 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22025A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20220190107 | 2022-02-15 | 0.957 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22046A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20220260173 | 2022-02-15 | 0.138 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22046A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20220470006 | 2022-03-04 | 0.256 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22063A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20220540130 | 2022-03-04 | 0.015 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22063A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20220600062 | 2022-03-16 | 0.159 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22075A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20220670055 | 2022-03-16 | 0.077 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22075A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20220760097 | 2022-04-07 | 0.765 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22097A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20220810120 | 2022-04-07 | 0.157 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22097A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20220880105 | 2022-04-18 | 1.737 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22108B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20220950117 | 2022-04-18 | 0.66 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22108B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20221020006 | 2022-04-18 | 1.053 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22108B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20220390076 | 2022-03-03 | 0.325 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22056A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20221160196 | 2022-05-12 | 1.298 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22132A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20221090222 | 2022-05-04 | 0.885 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22124A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20221230099 | 2022-05-12 | 0.637 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22132A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20221300148 | 2022-05-24 | 2.421 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22143A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20221370159 | 2022-05-25 | 1.058 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22145A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20221580134 | 2022-07-12 | 0.617 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22193A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20221730302 | 2022-07-20 | 5.025 | 5.03 | 5 | 3514 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPOE22201A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20221790225 | 2022-07-20 | 1.088 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22201A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20221440246 | 2022-07-12 | 1.734 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22193A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20221870178 | 2022-07-14 | 1.391 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22195A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20222140171 | 2022-08-09 | 3.913 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22221A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20222070164 | 2022-08-09 | 3.508 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22221A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20221660339 | 2022-07-15 | 1.328 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22196B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20221930238 | 2022-07-20 | 0.892 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22201A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20222000011 | 2022-08-09 | 1.351 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22221A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20222360013 | 2022-09-06 | 4.866 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22244A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20222280349 | 2022-08-30 | 2.329 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22241A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20222560153 | 2022-09-27 | 1.648 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22269B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20222500470 | 2022-09-21 | 1.272 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22264A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20222630192 | 2022-10-04 | 1.446 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22277A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20222210262 | 2022-09-08 | 2.061 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22250B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 20222700276 | 2022-10-17 | 0.854 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22290A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20222770159 | 2022-10-17 | 0.363 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22290A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20222850176 | 2022-10-24 | 0.898 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22297A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20222910105 | 2022-11-03 | 0.905 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22307A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20222980103 | 2022-11-03 | 0.894 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22307A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20223120115 | 2022-11-23 | 0.665 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22327B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20223540180 | 2022-12-30 | 0.981 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22364B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20223620076 | 2023-01-10 | 1.776 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23010A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20223260135 | 2022-12-14 | 1.287 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22348B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20223330061 | 2022-12-14 | 2.048 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22348B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20223400101 | 2022-12-14 | 1.26 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22348B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20230380133 | 2023-02-16 | 0.933 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23047A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20223190124 | 2022-11-23 | 1.083 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22327B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20230040145 | 2023-02-10 | 1.021 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23040A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20230100088 | 2023-02-13 | 1.024 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23044A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20230180007 | 2023-02-13 | 1.083 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23044A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20230590147 | 2023-03-16 | 4.52 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23073A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20230660140 | 2023-03-16 | 2.146 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23073A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20230240109 | 2023-02-13 | 1.769 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23044A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20230450139 | 2023-03-22 | 1.235 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23081A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20230540069 | 2023-03-16 | 1.68 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23073A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20230730130 | 2023-03-22 | 2.64 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23081A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20230870168 | 2023-05-02 | 1.436 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23122B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20231010259 | 2023-05-02 | 1.002 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23122B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20231090169 | 2023-05-03 | 0.989 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23123B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20231150181 | 2023-05-04 | 1.399 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23124B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20223480161 | 2022-12-22 | 1.151 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE22355B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20230800080 | 2023-03-30 | 0.601 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23089A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20231230164 | 2023-05-11 | 0.659 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23130B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20231290210 | 2023-05-25 | 1.105 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23143B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20231360036 | 2023-05-25 | 1.617 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23143B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20231440112 | 2023-06-01 | 1.323 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23152A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20231790081 | 2023-07-06 | 1.688 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23186C
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20231570082 | 2023-06-13 | 1.389 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23163A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20231640212 | 2023-06-23 | 1.399 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23166A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20231720088 | 2023-06-29 | 1.308 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23179B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20231860112 | 2023-07-13 | 1.112 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23194A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20230940127 | 2023-05-02 | 1.066 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23122B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20231980035 | 2023-07-28 | 1.378 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23209B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20232050060 | 2023-08-04 | 1.412 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23215B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20232120079 | 2023-08-04 | 1.148 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23215B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20232190039 | 2023-08-15 | 0.366 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23227B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20232260030 | 2023-08-30 | 0.755 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23235A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20232350102 | 2023-09-14 | 1.156 | <5.0 | 5 | 3514 | Lab control sample (LCS) recovery outside of range or criteria |  |  | ug/L | Blank | No | ICPOE23257B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20232410130 | 2023-09-14 | 0.306 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23257B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20232560114 | 2023-09-20 | -0.163 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23263A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20232480089 | 2023-09-15 | 0.664 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23258A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20232610261 | 2023-09-26 | 0.823 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23269A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 20232680188 | 2023-10-04 | 1.021 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23277A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20232840062 | 2023-11-01 | 0.767 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23305A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20232980002 | 2023-11-07 | 1.197 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23311A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20232760050 | 2023-10-17 | 1.211 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23290A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20233120065 | 2023-11-16 | 2.351 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23320B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20233190007 | 2023-11-24 | 5.994 | 5.99 | 5 | 3514 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPOE23328A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20233250140 | 2023-12-11 | 1.834 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23345A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20233330056 | 2023-12-11 | 0.507 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23345A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20233400092 | 2023-12-11 | 1.522 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23345A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20233550086 | 2024-01-02 | 0.986 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24002B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20240090032 | 2024-01-22 | 0.717 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24019A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20232910047 | 2023-10-24 | 0.408 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23296A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20233470271 | 2023-12-21 | 0.829 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE23355A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20233620054 | 2024-01-22 | 0.982 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24019A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20240030065 | 2024-01-22 | 0.115 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24019A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20240170015 | 2024-02-05 | 0.077 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24036A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20240370130 | 2024-02-15 | 1.046 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24046A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20240580145 | 2024-03-19 | 0.026 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24078A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20240660034 | 2024-03-27 | 2.206 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24087B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20241000102 | 2024-06-12 | 1.613 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24164A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20241070238 | 2024-05-17 | 0.506 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24127A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20240250079 | 2024-03-07 | 0.565 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24067A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20240520104 | 2024-03-07 | 0.766 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24067A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20240440065 | 2024-03-07 | 0.658 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24067A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20240720118 | 2024-04-19 | 0.559 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24110B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20240790099 | 2024-05-04 | 0.17 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24123A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20240880019 | 2024-04-19 | 1.179 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24110A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20240930076 | 2024-05-04 | 0.232 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24123A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20241140099 | 2024-05-17 | 0.887 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24127A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20241280121 | 2024-05-30 | 0.019 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24151A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20241360053 | 2024-05-30 | 0.439 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24151A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20241420096 | 2024-06-13 | 0.446 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24165B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20241500150 | 2024-06-13 | 1.099 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24165B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20241570085 | 2024-06-12 | 0.795 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24164A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20241720057 | 2024-08-16 | 1.561 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24229C
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20241630107 | 2024-08-14 | 0.659 | <5.0 | 5 | 3514 | Lab control sample (LCS) recovery outside of range or criteria |  |  | ug/L | Blank | No | ICPOE24226A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20241770104 | 2024-08-16 | 0.642 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24229C
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20241970118 | 2024-09-06 | 4.685 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24240B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20242040010 | 2024-09-06 | 1.711 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24240B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20242320035 | 2024-09-20 | 0.863 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24264A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20242390052 | 2024-09-20 | 0.414 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24264A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20242180104 | 2024-09-19 | 3.044 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24242A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 20242110063 | 2024-09-06 | 2.24 | <5.0 | 5 | 3514 |  |  |  | ug/L | Blank | No | ICPOE24240B