## BBP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2015 | 20152330002 | 2015-09-17 | -0.01 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS091515 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2015 | 20152230126 | 2015-09-11 | 0.0122 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS091015 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2015 | 20151310080 | 2015-06-08 | 0.0165 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS060615 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2015 | 20151530209 | 2015-06-12 | 0.0316 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS061115 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2015 | 20151730013 | 2015-07-23 | 0.0077 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS072215 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2015 | 20151460095 | 2015-06-12 | 0.0927 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS061115 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2015 | 20151180071 | 2015-05-12 | -0.0018 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS051115 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2015 | 20152150072 | 2015-08-31 | -0.0038 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS083115 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2015 | 20152590159 | 2015-10-01 | 0.0062 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS093015 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2015 | 20152360155 | 2015-09-18 | 0.0138 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS091815 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2015 | 20151390186 | 2015-06-12 | -0.0549 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS061115 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2015 | 20152430090 | 2015-09-30 | 0.0197 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS093015 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2015 | 20152510008 | 2015-09-29 | 0.0224 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS092915 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2015 | 20151660036 | 2015-07-20 | 0.0368 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS072015 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2015 | 20151800054 | 2015-08-13 | -0.0053 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS081315 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2015 | 20151140025 | 2015-05-01 | 0.0036 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS043015 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2015 | 20152710069 | 2015-10-13 | 0.0465 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS101315 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2015 | 20151240062 | 2015-06-27 | -0.0032 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TC062615 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2015 | 20151940020 | 2015-08-13 | -0.0229 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS081215 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2015 | 20152010044 | 2015-09-02 | 0.044 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS090115 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2015 | 20152640023 | 2015-10-01 | 0.056 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS093015 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2015 | 20151620219 | 2015-07-30 | -0.0152 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS072915 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2015 | 20151870012 | 2015-08-12 | 0.0489 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS081115 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2015 | 20152080064 | 2015-08-25 | 0.0821 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS082415 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20162710101 | 2016-11-28 | 0.01 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS16333A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20161520021 | 2016-06-29 | -0.0007 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TC062916 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20160880037 | 2016-04-21 | -0.0173 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCME042116 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20161230038 | 2016-05-23 | -0.0186 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TC052316 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20153500156 | 2016-01-04 | 0.009 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS010416 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20160110007 | 2016-01-21 | 0.1658 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS012116 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20162010253 | 2016-08-19 | -0.0089 | <0.220 | 0.22 | 3418 |  |  |  | ug/L | Blank | No | TC081916 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20161870030 | 2016-08-17 | 0.0091 | <0.220 | 0.22 | 3418 |  |  |  | ug/L | Blank | No | TC081616 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20162520023 | 2016-10-13 | 0 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS16287A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20152920033 | 2015-11-04 | -0.0072 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS110415 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20161020023 | 2016-04-26 | -0.0104 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS042616 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20160950039 | 2016-04-21 | -0.022 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCME042116 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20160530012 | 2016-04-08 | 0.002 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS040816 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20161590159 | 2016-06-30 | 0.0093 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TC062916 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20162360199 | 2016-10-07 | 0.01 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS16281B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20161660162 | 2016-07-20 | -0.0029 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TC071116b | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20161740075 | 2016-07-25 | -0.0056 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TC071416 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20160670012 | 2016-04-13 | -0.0064 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS041416 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20152860154 | 2015-10-22 | -0.0114 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS102015 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20160050027 | 2016-01-20 | 0.0126 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS012016 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20160470013 | 2016-04-01 | 0.0993 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS033116 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20162080229 | 2016-08-19 | -0.0089 | <0.220 | 0.22 | 3418 |  |  |  | ug/L | Blank | No | TC081916 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20160810059 | 2016-04-21 | -0.0174 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCME042116 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20153140008 | 2015-11-20 | 0.0079 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS111915 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20160400077 | 2016-04-01 | 0.0311 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS033116 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20153200029 | 2015-12-10 | 0.1217 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS120915 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20162580015 | 2016-11-09 | -0.01 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS16291B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20162640169 | 2016-10-25 | 0.01 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS16299A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20162440125 | 2016-10-11 | 0.03 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS16285A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20160740008 | 2016-04-13 | -0.0029 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS041416 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20153550009 | 2016-01-05 | 0.0388 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS010416 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20161940110 | 2016-08-19 | -0.0148 | <0.220 | 0.22 | 3418 |  |  |  | ug/L | Blank | No | TC081916 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20161100121 | 2016-04-26 | -0.0003 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS042616 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20152990062 | 2015-11-05 | -0.0049 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS110415 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20153270013 | 2015-12-18 | 0.0029 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS121715 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20153340013 | 2015-12-21 | 0.1372 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS122115 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20160320005 | 2016-02-17 | -0.006 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS021716 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20161160086 | 2016-04-28 | -0.0064 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS042816 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20161800086 | 2016-07-25 | -0.0121 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TC071416 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20152780003 | 2015-10-14 | -0.0154 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS101315 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20161270010 | 2016-05-23 | -0.025 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TC052316 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20153420013 | 2015-12-21 | 0.0129 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS122115 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20153060028 | 2015-11-10 | 0.0328 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS110915 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20162150202 | 2016-09-02 | -0.0095 | <0.220 | 0.22 | 3418 |  |  |  | ug/L | Blank | No | TC083116 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20162230007 | 2016-09-26 | 0.0013 | <0.220 | 0.22 | 3418 |  |  |  | ug/L | Blank | No | 091916 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20162290132 | 2016-10-07 | 0.01 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS16281B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20161480185 | 2016-06-23 | -0.012 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TC062316 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20160600010 | 2016-04-12 | -0.0174 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS041216 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20160250025 | 2016-02-05 | 0.0039 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS020416 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20160190014 | 2016-02-04 | 0.0545 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS020416 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2016 | 20153630043 | 2016-01-05 | 0.185 | <0.22 | 0.22 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | TCMS010416 | MS6
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20163550019 | 2017-01-31 | 0 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17031B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20163350015 | 2016-12-08 | 0 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS16343A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20170800061 | 2017-03-28 | -0.0221 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17087A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20170540105 | 2017-03-27 | -0.009 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17086A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20170590087 | 2017-03-27 | -0.0086 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17086A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20170450134 | 2017-02-27 | -0.0117 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17058A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20170310057 | 2017-02-27 | -0.028 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17058A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20170040050 | 2017-02-21 | -0.0049 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17052B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20170100059 | 2017-02-22 | -0.0069 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17053A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20163200112 | 2016-12-07 | 0 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS16342A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20162940175 | 2016-11-30 | 0.01 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS16335A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20163060098 | 2016-12-05 | 0 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS16340A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20170380082 | 2017-02-27 | -0.0241 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17058A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20170240074 | 2017-02-22 | -0.0005 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17053A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20163480101 | 2017-01-31 | 0 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17031B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20170190014 | 2017-02-22 | -0.0058 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17053A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20163000009 | 2016-12-05 | 0 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS16340A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20163630049 | 2017-02-21 | -0.0065 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17052B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20163270135 | 2016-12-08 | 0 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS16343A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20163130102 | 2016-12-07 | -0.01 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS16342A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20162780124 | 2016-11-29 | 0 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS16334B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20170730101 | 2017-03-28 | -0.025 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17087A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20170660121 | 2017-03-28 | -0.0274 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17087A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20163410115 | 2017-01-31 | 0 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17031B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20171080129 | 2017-05-09 | -0.0036 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17129A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20162870010 | 2016-11-29 | 0 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS16334B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20171020116 | 2017-05-09 | -0.0096 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17129A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20171150171 | 2017-05-09 | -0.0148 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17129A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20170870121 | 2017-05-23 | -0.0461 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17143B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20170940145 | 2017-05-23 | -0.0219 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17143B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20171370204 | 2017-06-20 | 0.004 | <0.15 | 0.15 | 3418 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS17171A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20171430153 | 2017-06-22 | 0.0035 | <0.15 | 0.15 | 3418 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS17172C | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20171220107 | 2017-06-19 | -0.0335 | <0.15 | 0.15 | 3418 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS17170A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20171510131 | 2017-06-23 | 0.0024 | <0.15 | 0.15 | 3418 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS17174A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20171220108 | 2017-06-19 | -0.0336 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17170A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20171510130 | 2017-06-23 | -0.0001 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17174A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20171290232 | 2017-06-20 | 0.0064 | <0.15 | 0.15 | 3418 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS17171A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20171150172 | 2017-06-19 | -0.0334 | <0.15 | 0.15 | 3418 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS17170A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20171290231 | 2017-06-20 | 0.0021 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17171A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20171370205 | 2017-06-20 | 0.0116 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17171A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20171580016 | 2017-06-28 | -0.0005 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17179A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20171580023 | 2017-06-28 | -0.0034 | <0.15 | 0.15 | 3418 | Result determined by alternate method | See result laboratory comment |  | ug/L | Blank | No | ICPMS17179A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2017 | 20171430152 | 2017-06-22 | 0.0066 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17172C | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20173390116 | 2018-01-03 | 0.0213 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18003B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20173330013 | 2017-12-27 | 0.0005 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17361A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20173260002 | 2017-12-27 | -0.003 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS17361A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20173460064 | 2018-01-04 | -0.0222 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18004A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20173530086 | 2018-01-05 | -0.0022 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18004A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20173620010 | 2018-01-10 | -0.0085 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18010B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20180100001 | 2018-01-25 | -0.0628 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18024B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20180170054 | 2018-02-01 | 0.012 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18032A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20180300103 | 2018-02-21 | -0.0041 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18051B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20180240091 | 2018-02-21 | -0.0038 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18051B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20180440086 | 2018-03-06 | -0.0191 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18060A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20180520083 | 2018-03-13 | -0.0259 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18071A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20180580108 | 2018-03-13 | -0.0192 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18071A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20180650055 | 2018-03-21 | 0.0007 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18079A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20180730051 | 2018-03-28 | -0.0135 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18086B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20180790076 | 2018-04-04 | -0.0033 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18093B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20180860131 | 2018-04-30 | -0.0179 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18120B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20180370083 | 2018-02-21 | -0.0048 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18051B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20181090171 | 2018-05-07 | -0.0131 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18127A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20181030007 | 2018-05-01 | 0.0004 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18121B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20181140182 | 2018-05-07 | -0.0194 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18127A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20181220005 | 2018-05-23 | -0.017 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18143A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20180930112 | 2018-05-01 | -0.001 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18121B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20181280133 | 2018-05-23 | -0.0178 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18143A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20181350134 | 2018-06-06 | 0.0023 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18157B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20181420242 | 2018-06-08 | -0.0271 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18158B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20181500154 | 2018-06-18 | -0.0117 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18169A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20181640009 | 2018-07-16 | 0.0084 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18193B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20181770205 | 2018-07-19 | 0.0008 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18198A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20181570005 | 2018-07-16 | 0.0118 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18193B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20181700190 | 2018-07-19 | 0.0032 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18198A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20181910202 | 2018-07-25 | -0.001 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS18201A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20181840203 | 2018-07-25 | -0.0002 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18201A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20182050282 | 2018-08-03 | -0.0188 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18215B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20182120174 | 2018-08-13 | 0.0013 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18225B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20182000212 | 2018-08-03 | -0.016 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18215B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20182200016 | 2018-08-21 | -0.0082 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS18233A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20182330211 | 2018-08-28 | -0.0064 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18240A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20182410006 | 2018-09-12 | -0.0026 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18253B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20182260162 | 2018-08-28 | 0.0074 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18240A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20182490006 | 2018-09-18 | 0.0012 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS18261B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20182610152 | 2018-10-03 | -0.021 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18271B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20182680156 | 2018-10-12 | -0.0147 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18284B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2018 | 20182570229 | 2018-10-03 | -0.0165 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18271B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20182830106 | 2018-10-29 | -0.0988 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18299B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20182890071 | 2018-10-29 | -0.103 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS18299B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20182960216 | 2018-11-26 | -0.01 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18324A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20183030081 | 2018-11-28 | -0.035 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS18331A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20183530007 | 2019-02-04 | 0.0076 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS19035A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20183100204 | 2019-02-04 | 0.0063 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS19035A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20183180144 | 2019-02-06 | -0.0124 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS19036B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20190430214 | 2019-03-12 | -0.0042 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19071B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20190290117 | 2019-02-25 | 0.0042 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS19051B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20190360208 | 2019-03-11 | -0.0183 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS19070A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20190520016 | 2019-03-29 | -0.0146 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19087B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20190720010 | 2019-04-16 | -0.0045 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19105A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20190570195 | 2019-04-08 | 0.0005 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19098A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20190640122 | 2019-04-16 | -0.0044 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19105A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20190780109 | 2019-04-26 | 0.0039 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19114A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20190920103 | 2019-04-30 | -0.0432 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19119B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20190860017 | 2019-04-30 | -0.0315 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19119B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20183400013 | 2019-02-20 | 0.0157 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19045B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20183310072 | 2019-02-11 | 0.0052 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19042A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20183450156 | 2019-02-20 | 0.0099 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS19045B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20191350012 | 2019-06-06 | -0.0326 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS19157A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20191070144 | 2019-05-06 | -0.0233 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19122B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20190990205 | 2019-05-06 | -0.0195 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19122B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20191200096 | 2019-06-06 | -0.0352 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19157A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20191550210 | 2019-06-26 | -0.0244 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS19175B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20191130141 | 2019-05-06 | -0.0231 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS19122B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20191300191 | 2019-06-06 | -0.031 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19157A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20191620189 | 2019-07-02 | 0.0088 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS19183B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20191690168 | 2019-07-02 | 0.0093 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS19183B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20191410240 | 2019-06-11 | 0.0018 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS19158A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20191490089 | 2019-06-24 | -0.0403 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS19169A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20191760230 | 2019-07-03 | -0.0125 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS19184B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20191830147 | 2019-08-02 | -0.0117 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19214A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20191900118 | 2019-08-19 | 0.0095 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19231B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20192000011 | 2019-08-19 | 0.0083 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19231B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20192050070 | 2019-08-19 | -0.0003 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS19231B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20192110139 | 2019-08-27 | 0.0023 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS19238A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20192180195 | 2019-08-29 | -0.019 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS19239B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20192250189 | 2019-09-04 | -0.0047 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS19247A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20192320243 | 2019-09-09 | -0.0137 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS19252A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20192390251 | 2019-09-23 | -0.0007 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS19266A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20192470196 | 2019-09-23 | 0.0035 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19266A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20192530108 | 2019-10-01 | 0.0011 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19274A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20192600335 | 2019-10-02 | -0.0014 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19275B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2019 | 20192670168 | 2019-12-03 | 0.0091 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS19322A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20192810093 | 2019-12-10 | -0.0057 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19338A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20192890227 | 2019-12-12 | -0.0051 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19344B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20192950176 | 2019-12-16 | -0.0692 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19347B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20193030012 | 2019-12-18 | -0.0221 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19350A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20193090149 | 2019-12-30 | -0.0337 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19364A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20193170130 | 2019-12-30 | -0.0192 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19364A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20193230159 | 2019-12-30 | -0.0314 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS19364A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20193310012 | 2019-12-30 | -0.0291 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS19364A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20193370112 | 2020-01-10 | -0.0163 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20010A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20193440278 | 2020-01-10 | -0.0123 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS20010A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20193510012 | 2020-01-10 | -0.0183 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20010A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20193600027 | 2020-01-21 | -0.0161 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20021A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20193650127 | 2020-01-21 | -0.0152 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20021A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20200070049 | 2020-01-21 | -0.0048 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20021A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20200150006 | 2020-01-21 | -0.0113 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20021A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20200220087 | 2020-02-03 | -0.0151 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20031A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20200280079 | 2020-02-12 | -0.004 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20043A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20200350117 | 2020-02-12 | -0.0004 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20043A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20200420083 | 2020-03-03 | -0.0119 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS20063B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20200500100 | 2020-03-04 | -0.009 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20064A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20200560055 | 2020-03-04 | -0.0085 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20064A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20200630077 | 2020-03-18 | -0.0033 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20076A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20200700087 | 2020-04-20 | -0.0202 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS20111B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20200770101 | 2020-04-22 | -0.0207 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20113B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20200840011 | 2020-04-22 | -0.0267 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20113B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20200910074 | 2020-04-22 | -0.0222 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20113B | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20200980033 | 2020-04-23 | 0.0013 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20114A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20201060060 | 2020-04-23 | 0.0013 | <0.15 | 0.15 | 3418 | See result laboratory comment |  |  | ug/L | Blank | No | ICPMS20114A | MS2
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20201260093 | 2020-08-26 | -0.0201 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS20238B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20201550018 | 2020-06-30 | -0.0058 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS20182B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20201610146 | 2020-06-30 | 0.0437 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS20182B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20201680166 | 2020-08-27 | -0.0124 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS20240A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20201750082 | 2020-08-27 | -0.0156 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS20240A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20201890165 | 2020-09-02 | -0.0576 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS20245B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20201960120 | 2020-09-03 | -0.0163 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS20247B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20202040006 | 2020-09-03 | -0.0177 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS20247B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20202110018 | 2020-09-17 | -0.0146 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS20260A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20202170015 | 2020-09-17 | -0.0171 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS20260A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20202240076 | 2020-09-17 | -0.0168 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS20260A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20202320075 | 2020-09-24 | -0.0082 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS20276A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20202390010 | 2020-09-29 | 0.0017 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS20273A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20202530033 | 2020-10-05 | -0.0231 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS20279B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20202590124 | 2020-10-08 | 0.0005 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS20281B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20202670160 | 2020-10-08 | -0.0059 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS20281B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2020 | 20202740033 | 2020-10-22 | -0.0656 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS20296B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20202810034 | 2020-10-22 | -0.0626 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS20296B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20202870023 | 2020-12-29 | -0.0557 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS20350A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20202950003 | 2021-01-13 | -0.015 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21013B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20203010138 | 2021-01-13 | -0.0202 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21013B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20203080094 | 2021-01-13 | -0.0175 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21013B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20203150087 | 2021-01-15 | -0.0142 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21015A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20203230007 | 2021-01-26 | 0.0024 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21026B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20203300030 | 2021-02-02 | -0.0076 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21033A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20203440026 | 2021-01-29 | 0.0033 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21028B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20203530092 | 2021-03-04 | -0.0051 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21055A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20203580041 | 2021-03-04 | -0.008 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21055A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20203640026 | 2021-03-04 | -0.0098 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21055A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20210050012 | 2021-03-04 | -0.0085 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21055A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20210120044 | 2021-03-04 | -0.0096 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21055A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20210210038 | 2021-01-26 | -0.0245 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21026A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20210270014 | 2021-03-26 | -0.0012 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21077A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20210330093 | 2021-05-07 | 0.008 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21126A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20210400060 | 2021-05-04 | -0.0075 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21124A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20210480018 | 2021-05-04 | -0.0171 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21124A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20210540043 | 2021-05-11 | -0.0075 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21131A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20210620148 | 2021-05-13 | 0.007 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21132B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20210690059 | 2021-05-13 | 0.0007 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21132B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20210760031 | 2021-05-21 | -0.008 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21140A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20210830009 | 2021-05-21 | -0.0111 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21140A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20210970026 | 2021-05-18 | -0.0025 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21138A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20211030195 | 2021-05-05 | -0.0139 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21125A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20211100007 | 2021-05-26 | 0.0006 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21145B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20211180009 | 2021-06-10 | -0.0023 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21159B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20211250023 | 2021-06-16 | 0.0006 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21167B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20211320140 | 2021-06-29 | -0.0014 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21180B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20211380009 | 2021-07-30 | -0.007 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21207B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20211460018 | 2021-07-09 | -0.0419 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21188B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20211600013 | 2021-07-23 | -0.0016 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21200B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20211660072 | 2021-07-28 | 0.006 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21209B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20211730227 | 2021-08-06 | -0.0176 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21218A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20211800179 | 2021-08-10 | -0.0002 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21222B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20211880191 | 2021-08-10 | -0.0007 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21222B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20211940180 | 2021-08-16 | 0.0131 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21228B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20212020191 | 2021-08-18 | 0.005 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21230A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20212080104 | 2021-08-18 | 0 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21230A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20212150074 | 2021-08-30 | -0.0022 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21242B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20212220202 | 2021-09-22 | -0.0004 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21258B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20212290229 | 2021-09-24 | -0.0067 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21267A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20212360125 | 2021-10-01 | -0.0217 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21273A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20212520226 | 2021-10-14 | 0.0205 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21287B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20212580246 | 2021-10-19 | -0.0111 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21292A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20212640288 | 2021-11-02 | -0.0024 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21295B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2021 | 20212720116 | 2021-10-28 | 0.0013 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21300B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20212790010 | 2021-11-22 | 0.0062 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21308B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20212860197 | 2021-12-14 | 0.0119 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21340B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20212940171 | 2021-12-15 | 0.0007 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21349B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20212990152 | 2022-01-03 | -0.0116 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21356B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20213060227 | 2022-01-03 | -0.0118 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS21356B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20213130195 | 2022-01-05 | 0.0076 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22005A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20213200068 | 2022-01-05 | 0.0006 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22005A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20213270269 | 2022-01-14 | 0.0005 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22014B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20213410085 | 2022-01-14 | 0.0048 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22014B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20213480149 | 2022-01-20 | 0.007 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22011B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20213550407 | 2022-01-27 | 0.0017 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22027C
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20220040079 | 2022-02-16 | -0.0094 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22047B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20220110080 | 2022-02-16 | -0.0102 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22047B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20220190108 | 2022-03-01 | -0.0079 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22060A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20220260174 | 2022-03-15 | 0.0059 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22073B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20220390077 | 2022-03-17 | -0.0194 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22076B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20220470005 | 2022-04-12 | 0.0082 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22097B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20220540131 | 2022-04-19 | -0.0209 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22088B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20220600063 | 2022-04-19 | -0.0071 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22088B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20220670056 | 2022-04-19 | -0.0222 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22088B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20213620339 | 2022-01-29 | 0.0028 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22027D
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20221300147 | 2022-06-14 | 0.0372 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22157B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20221370158 | 2022-06-23 | -0.0068 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22174A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20221160195 | 2022-05-25 | 0.0084 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22144A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20221090223 | 2022-06-24 | -0.0094 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22175A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20221580135 | 2022-07-21 | -0.0071 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22202A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20221230098 | 2022-05-25 | -0.022 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22144A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20221730303 | 2022-07-27 | -0.0137 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22208B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20221790224 | 2022-07-27 | -0.0172 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22208B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20221440247 | 2022-06-27 | -0.0077 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22178A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20222000012 | 2022-08-04 | 0.0037 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22215B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20221870179 | 2022-08-02 | -0.0041 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22214B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20221660340 | 2022-07-25 | 0.0184 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22203B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20220810121 | 2022-05-09 | -0.0029 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22129A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20220760098 | 2022-05-09 | -0.0653 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22129A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20221020007 | 2022-05-16 | -0.0222 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22136A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20220950118 | 2022-05-16 | -0.0209 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22136A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20220880104 | 2022-05-09 | 0.0019 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22129A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20221930237 | 2022-08-16 | -0.0181 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22228A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20222070165 | 2022-08-08 | -0.005 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22220A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20222140172 | 2022-08-08 | -0.0176 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22220A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20222210261 | 2022-08-18 | -0.017 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22229B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20222280350 | 2022-08-26 | -0.0202 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22238A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20222560152 | 2022-09-27 | -0.0117 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22269A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20222360014 | 2022-09-28 | 0.0149 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22270B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20222500471 | 2022-10-04 | -0.0056 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22277A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20222630193 | 2022-10-04 | -0.01 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22277A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2022 | 20222700275 | 2022-10-25 | 0.0012 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22298B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20222770160 | 2022-10-25 | 0.0006 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22298B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20222850175 | 2022-10-27 | -0.071 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22300A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20222910104 | 2022-10-27 | -0.0721 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22300A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20222980104 | 2022-11-01 | 0.016 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22305B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20223540179 | 2023-01-03 | 0.0045 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23003B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20223620075 | 2023-01-09 | -0.0046 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23009A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20223260134 | 2023-02-01 | -0.0051 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23032A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20223330060 | 2023-02-01 | -0.0096 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23032A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20223400102 | 2023-02-01 | -0.0097 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23032A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20223480162 | 2023-02-09 | -0.0003 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23040A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20223120114 | 2022-11-16 | -0.0263 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS22320A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20230380134 | 2023-02-17 | -0.003 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23048A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20223190123 | 2023-01-27 | -0.0003 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23027A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20230040144 | 2023-02-14 | 0.0072 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23045A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20230100087 | 2023-02-14 | -0.0042 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23045A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20230180008 | 2023-02-14 | -0.0006 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23045A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20230540068 | 2023-03-15 | -0.0107 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23074A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20230590146 | 2023-03-15 | 0.008 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23074A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20230730129 | 2023-03-21 | 0.0003 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23080A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20230660139 | 2023-03-15 | 0.0008 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23074A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20230800079 | 2023-03-30 | -0.0058 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23089B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20230870167 | 2023-04-25 | -0.0003 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23114B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20230450138 | 2023-02-21 | -0.0131 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23052A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20231150182 | 2023-05-01 | -0.0038 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23121B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20231230165 | 2023-05-19 | -0.0002 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23139A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20231290209 | 2023-05-19 | 0.2995 | 0.30 | 0.15 | 3418 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPMS23139A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20230940128 | 2023-04-27 | -0.0136 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23117A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20231090168 | 2023-05-01 | 0.0012 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23121B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20231360037 | 2023-05-24 | -0.0046 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23144C
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20231440113 | 2023-06-09 | -0.0202 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23160A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20231720087 | 2023-06-28 | -0.0181 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23179A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20231640213 | 2023-06-26 | 0.0106 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23177B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20230240108 | 2023-02-17 | 0.0105 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23048A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20231010260 | 2023-04-27 | -0.0011 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23117A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20231570081 | 2023-06-14 | -0.0211 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23164A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20231790082 | 2023-07-06 | 0.0024 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23187B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20231860111 | 2023-07-17 | -0.0078 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23198A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20231980034 | 2023-07-28 | -0.0256 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23208B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20232120078 | 2023-08-08 | -0.0042 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23219A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20232050061 | 2023-08-03 | -0.0334 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23215A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20232260029 | 2023-09-07 | 0.0108 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23250A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20232190038 | 2023-09-19 | -0.0349 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23262A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20232350101 | 2023-09-26 | -0.013 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23269A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20232480088 | 2023-10-03 | -0.0471 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23276A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20232560115 | 2023-10-04 | -0.0023 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23277A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20232410129 | 2023-10-03 | -0.044 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23276A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20232610260 | 2023-10-04 | 0.0003 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23277A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2023 | 20232680187 | 2023-10-04 | -0.0033 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23277A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20232760049 | 2023-11-28 | 0.0216 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23332A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20232840061 | 2023-10-26 | 0.0043 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23299B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20233250139 | 2023-12-19 | 0.0251 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23353A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20233330055 | 2023-12-20 | 0.0025 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23354A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20233400091 | 2023-12-20 | 0.026 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23354A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20232910048 | 2023-12-06 | -0.0108 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23340A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20233470270 | 2024-01-29 | 0.0022 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24025A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20233190006 | 2023-11-28 | -0.0087 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23332A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20240370129 | 2024-02-23 | 0.0045 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24053A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20240440064 | 2024-03-06 | 0.0044 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24065A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20232980001 | 2023-12-15 | -0.0051 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23346A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20233120066 | 2023-12-19 | 0 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS23353A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20233550085 | 2024-01-18 | 0.0061 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24010A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20233620053 | 2024-01-29 | 0.0068 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24025A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20240030064 | 2024-01-29 | 0.0016 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24025A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20240090031 | 2024-01-23 | -0.0021 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24022A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20240170014 | 2024-02-16 | 0.0049 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24047A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20240250078 | 2024-02-27 | 0.0057 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24057B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20240520103 | 2024-03-11 | 0.002 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24071A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20240580144 | 2024-03-27 | -0.0021 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24086B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20240660033 | 2024-03-27 | -0.0044 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24086B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20240720119 | 2024-04-23 | 0.0089 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24113A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20240790098 | 2024-04-23 | 0.0057 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24113A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20240880020 | 2024-04-23 | 0.0036 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24113A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20240930075 | 2024-04-29 | 0.0144 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24115A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20241000101 | 2024-05-07 | 0.0064 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24127A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20241070237 | 2024-05-08 | 0.0018 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24129A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20241140098 | 2024-05-17 | 0.0084 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24137A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20241280120 | 2024-06-18 | 0.0181 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24163A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20241360052 | 2024-06-26 | 0.0064 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24177A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20241630106 | 2024-07-15 | 0.0073 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24192A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20241420095 | 2024-06-28 | 0.0058 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24180A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20241720056 | 2024-07-18 | 0.0141 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24200A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20241570084 | 2024-07-15 | 0.0127 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24192A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20241500149 | 2024-07-09 | 0.0058 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24190A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20241900012 | 2024-09-24 | 0.0018 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24267B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20242040009 | 2024-09-19 | 0.0064 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24260A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20241770103 | 2024-08-12 | 0.0081 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24222A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20242110062 | 2024-09-20 | 0.006 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24264C
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20241970117 | 2024-09-11 | 0.0033 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24253A
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20242180103 | 2024-09-20 | 0.0042 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24264C
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20242250106 | 2024-09-24 | 0.0024 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24267B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20242540030 | 2024-09-24 | -0.0004 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24267B
Lithium, unfltd, ICP-MS, recov | 01132 | PLM78 | UNF | 2024 | 20242320034 | 2024-09-19 | 0.0075 | <0.15 | 0.15 | 3418 |  |  |  | ug/L | Blank | No | ICPMS24260A