## BBP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2009 | 20092640052 | 2009-10-21 | 0.547 | <2.0 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE09287A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2009 | 20092720018 | 2009-11-12 | -0.533 | <2.0 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE09314A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20092780078 | 2009-11-12 | 0.893 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE09314A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20092870060 | 2009-11-12 | -0.618 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE09314A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20092920085 | 2009-11-25 | 0.956 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE09328B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20093000116 | 2009-12-03 | 0.124 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE09337A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20093070155 | 2009-12-16 | 0.958 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE09344A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20093130071 | 2010-01-05 | 0.365 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE09357A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20093200078 | 2010-01-11 | 0.151 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10005B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20093280010 | 2010-01-20 | 0.736 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10019B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20093360008 | 2010-01-20 | 0.431 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10019B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20093420002 | 2010-01-22 | -0.13 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10020B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20093480053 | 2010-01-22 | 0.32 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10020B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20093560028 | 2010-01-26 | -0.251 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10026A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20093620027 | 2010-01-26 | -0.297 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10026A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20100050016 | 2010-01-26 | -0.849 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10026A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20100110088 | 2010-02-03 | -0.143 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10034A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20100190097 | 2010-02-03 | -0.047 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10034A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20100260069 | 2010-02-05 | -0.252 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10036B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20100320028 | 2010-02-11 | 0.649 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10042A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20100390044 | 2010-02-19 | -0.043 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10049B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20100470038 | 2010-02-25 | 0.125 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10056A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20100530053 | 2010-03-08 | -0.229 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10067B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20100600062 | 2010-03-11 | -0.619 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10070A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20100680101 | 2010-03-30 | 0.208 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10088B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20100750005 | 2010-04-06 | -0.385 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10096B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20100850044 | 2010-04-23 | -0.224 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10113B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20100880037 | 2010-04-23 | 0.402 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10113B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20100950038 | 2010-04-23 | -0.5 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10113B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20101020083 | 2010-05-07 | 0.938 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10125B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20101090068 | 2010-05-14 | 0.359 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10134A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20101170074 | 2010-05-18 | 0.373 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10138A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20101240087 | 2010-06-03 | -0.893 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10153A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20101310108 | 2010-06-15 | -0.118 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10165B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20101380009 | 2010-06-15 | -0.049 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10165B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20101450012 | 2010-06-22 | 0.558 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10172B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20101530078 | 2010-06-24 | 0.409 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10174A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20101590010 | 2010-06-29 | -0.769 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10180B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20101660068 | 2010-07-16 | -0.436 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10197A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20101730074 | 2010-07-22 | -0.366 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10202B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20101790133 | 2010-07-28 | 0.355 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10208B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20101870070 | 2010-07-28 | 0.891 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10208B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20101930099 | 2010-08-10 | -0.579 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10221B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20102000198 | 2010-08-17 | -0.492 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10229B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20102080008 | 2010-08-19 | 0.011 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10230B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20102140109 | 2010-08-25 | -0.233 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10237B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20102230042 | 2010-09-08 | 0.307 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10251B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20102290119 | 2010-09-16 | -0.674 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10256C | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20102350194 | 2010-09-20 | -0.86 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10260A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20102430244 | 2010-10-05 | 0.216 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10277B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20102510067 | 2010-10-13 | 0.891 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10285B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20102570002 | 2010-10-19 | 0.377 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10291B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20102640141 | 2010-10-22 | -0.282 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10295A | ICP2
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2010 | 20102700151 | 2010-10-28 | 0.442 | <2.00 | 1 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10301B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20102770096 | 2010-10-28 | -0.957 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10301B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20102850140 | 2010-11-02 | -0.298 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10306A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20102920012 | 2010-11-17 | -1.437 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10320B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20102990022 | 2010-12-10 | -0.566 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10342B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20103060012 | 2010-11-29 | -0.164 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10333A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20103120036 | 2010-12-10 | -0.507 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10342B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20103190056 | 2010-12-10 | 0.436 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10342B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20103260072 | 2010-12-17 | -0.418 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE10350A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20103330107 | 2011-01-12 | 0 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11011B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20103400093 | 2011-01-04 | -1.034 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11003B | ICP2
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20103470088 | 2011-01-12 | -0.317 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11011B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20103540037 | 2011-01-20 | -0.503 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11018B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20103610046 | 2011-01-20 | -0.871 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11018B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20110030017 | 2011-02-03 | -0.187 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11034A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20110110011 | 2011-02-03 | -0.568 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11034A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20110180055 | 2011-02-03 | -0.09 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11034A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20110240061 | 2011-02-08 | 0.486 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11039B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20110400065 | 2011-02-22 | -0.755 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11053B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20110410102 | 2011-02-22 | 0.02 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11053B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20110450031 | 2011-03-01 | 0.184 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11059B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20110530107 | 2011-03-08 | -0.657 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11067A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20110590075 | 2011-03-10 | 0.27 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11069A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20110660029 | 2011-03-24 | -0.711 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11083A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20110750061 | 2011-04-07 | 0.905 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11089B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20110800063 | 2011-04-13 | 0.397 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11103B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20110870087 | 2011-04-15 | 0.35 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11104A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20110950049 | 2011-04-22 | 0.734 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11111B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20111010112 | 2011-04-28 | -0.172 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11117B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20111080069 | 2011-05-16 | 0.607 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11133B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20111150118 | 2011-05-26 | 1.101 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11143B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20111220079 | 2011-05-31 | 0.057 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11151B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20111290052 | 2011-05-31 | -0.61 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11151B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20111360131 | 2011-06-03 | 0.595 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11152A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20111430210 | 2011-06-17 | 0.144 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11166B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20111510156 | 2011-07-06 | 0.408 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11187B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20111570065 | 2011-07-06 | 1.026 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11187B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20111640062 | 2011-07-14 | 0.099 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11193A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20111710119 | 2011-07-18 | 0.135 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11199A | ICP2
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20111780152 | 2011-07-29 | 0.382 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11203B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20111860067 | 2011-08-03 | 0.294 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11213B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20111920092 | 2011-08-11 | -0.065 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11222B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20112010010 | 2011-08-16 | 0.812 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11228B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20112060090 | 2011-08-19 | 0.164 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11230B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20112130149 | 2011-08-24 | 0.391 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11235C | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20112200057 | 2011-08-24 | 0.335 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11235C | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20112300031 | 2011-09-14 | -0.448 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11256A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20112360067 | 2011-09-22 | -0.951 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11264B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20112500183 | 2011-10-12 | 0.417 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11280B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20112510031 | 2011-10-12 | 0.559 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11280B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20112560017 | 2011-10-24 | 0.06 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11286A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20112630054 | 2011-10-24 | -0.154 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11286A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2011 | 20112690114 | 2011-10-25 | 0.536 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11293B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20113050101 | 2011-11-15 | 1.734 | 1.73 | 1.4 | 2364 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPOE11319A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20120310022 | 2012-03-02 | 1.419 | 1.42 | 1.4 | 2364 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPOE12061B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20120370066 | 2012-03-02 | 1.45 | 1.45 | 1.4 | 2364 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPOE12061B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20112760059 | 2011-10-27 | 0.025 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11299A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20112840068 | 2011-11-07 | -1.503 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11311A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20112910121 | 2011-11-07 | 0.219 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11311A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20112970111 | 2011-11-15 | 0.111 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11319A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20113110054 | 2011-11-22 | 0.41 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11326B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20113180156 | 2011-12-07 | 0.326 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11340A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20113250116 | 2011-12-20 | 0.787 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE11354A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20113320113 | 2012-01-06 | 0.915 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12004C | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20113460134 | 2012-01-26 | -0.629 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12019A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20113490077 | 2012-01-26 | -0.677 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12019A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20113530133 | 2012-02-02 | 0.978 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12032B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20113610083 | 2012-02-02 | -0.947 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12032B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20120030015 | 2012-02-02 | -0.285 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12032B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20120090046 | 2012-02-14 | 0.152 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12044B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20120180001 | 2012-02-28 | -0.127 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12055B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20120230041 | 2012-02-28 | 0.536 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12055B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20120450025 | 2012-03-09 | 0.937 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12066B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20120530047 | 2012-03-21 | -0.413 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12079B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20120580053 | 2012-03-27 | -0.046 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12083B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20120660067 | 2012-03-29 | -0.584 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12087A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20120730089 | 2012-04-03 | 0.226 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12093B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20120790078 | 2012-04-10 | 1.096 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12096A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20120870042 | 2012-04-17 | -0.615 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12107A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20120930054 | 2012-04-23 | 0.42 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12111A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20121010023 | 2012-04-27 | 0.471 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12117B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20121080018 | 2012-05-11 | 0.862 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12132B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20121150099 | 2012-05-15 | 0.166 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12135B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20121210119 | 2012-05-18 | 0.196 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12137A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20121290083 | 2012-05-24 | 0.428 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12144B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20121370044 | 2012-06-13 | 0.35 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12156C | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20121430018 | 2012-06-20 | -1.038 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12166B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20121510028 | 2012-07-06 | 0.255 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12184A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20121560120 | 2012-07-16 | -0.394 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12191C | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20121650051 | 2012-07-18 | 0.569 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12198B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20121710009 | 2012-07-27 | -0.673 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12201B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20121780043 | 2012-08-01 | 0.756 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12208C | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20121870013 | 2012-08-07 | -0.241 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12219B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20121910030 | 2012-08-07 | -0.381 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12219B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20121990070 | 2012-08-10 | 0.286 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12221B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20122050097 | 2012-08-14 | -0.228 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12227A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20122140046 | 2012-08-17 | -0.291 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12230B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20122190093 | 2012-09-05 | 0.878 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12248B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20122280089 | 2012-09-12 | -0.432 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12256A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20122350099 | 2012-09-21 | -0.153 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12263A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20122410008 | 2012-10-02 | 0.545 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12269A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20122550003 | 2012-10-25 | -0.188 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12297A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20122690146 | 2012-11-01 | -0.543 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12303B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20122700104 | 2012-11-01 | -0.288 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12303B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2012 | 20122490093 | 2012-10-23 | -0.637 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12290B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20122900092 | 2012-11-14 | 0.57 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12318A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20122980117 | 2012-11-20 | -0.262 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12325B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20130350022 | 2013-03-06 | -0.205 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13059B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20123330004 | 2012-12-06 | 0.09 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12341A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20130930077 | 2013-04-25 | 0.022 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13109B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20130770156 | 2013-04-09 | -0.825 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13091A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20130520015 | 2013-03-21 | 0.426 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13077B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20130840052 | 2013-04-16 | -0.187 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13105B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20130630114 | 2013-03-26 | 0.631 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13080B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20131120115 | 2013-05-10 | 0.337 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13129A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20131220005 | 2013-06-11 | 0.143 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13151A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20131150005 | 2013-05-10 | -0.073 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13129A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20131430194 | 2013-06-20 | 0.113 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13165A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20131350126 | 2013-06-20 | 0.168 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13165A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20131550018 | 2013-07-12 | 0.673 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13189B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20130700010 | 2013-04-02 | -0.526 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13086B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20130570015 | 2013-03-26 | -0.036 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13080B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20131500027 | 2013-07-03 | 0.685 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13179B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20131090022 | 2013-05-10 | 0.44 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13129A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20131700031 | 2013-08-08 | 1.103 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13220B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20131900085 | 2013-08-29 | 0.572 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13235B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20131770017 | 2013-08-19 | -1.387 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13227C | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20131830072 | 2013-08-29 | 0.233 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13235B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20131640010 | 2013-07-29 | -0.044 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13206B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20131270012 | 2013-06-11 | -0.52 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13151A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20131970035 | 2013-09-19 | -1.117 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13260B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20132120024 | 2013-10-23 | 0.201 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13294B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20132180182 | 2013-11-15 | -0.191 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13318A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20132350016 | 2013-11-22 | 0.438 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13325A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20132530108 | 2013-12-12 | -0.052 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13346A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20132410006 | 2013-11-29 | 0.567 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13329A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20132660092 | 2014-02-10 | 0.057 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14041B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20132730131 | 2014-02-07 | -0.326 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14038A | ICP2
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20132600006 | 2014-02-10 | -0.51 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14041B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20132040017 | 2013-09-25 | 1.024 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13268B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20132390010 | 2013-11-29 | -0.069 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13329A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20132270016 | 2013-11-04 | -0.815 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13304B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20123200047 | 2012-12-03 | 2.747 | 2.75 | 1.4 | 2364 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPOE12338A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20130230093 | 2013-02-20 | 1.721 | 1.72 | 1.4 | 2364 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPOE13045B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20130280031 | 2013-02-20 | 1.694 | 1.69 | 1.4 | 2364 | Below the reporting level but at or above the detection level |  |  | ug/L | Blank | Yes | ICPOE13045B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20122750016 | 2012-11-08 | -0.527 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12310B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20122830027 | 2012-11-08 | -0.484 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12310B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20123040113 | 2012-11-26 | 0.615 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12331B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20123120065 | 2012-11-26 | 0.101 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12331B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20123250054 | 2012-12-05 | 0.515 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12340B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20123390111 | 2012-12-27 | 0.288 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE12361A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20123480050 | 2013-01-03 | 0.594 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13002B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20123530088 | 2013-01-03 | -0.35 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13002B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20123620005 | 2013-01-10 | -0.42 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13009B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20130020008 | 2013-01-10 | -0.047 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13009B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20130070051 | 2013-01-22 | 0.543 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13022B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20130140067 | 2013-01-22 | 0.022 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13022B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2013 | 20130420057 | 2013-03-06 | -0.465 | <1.40 | 1.4 | 2364 |  |  |  | ug/L | Blank | No | ICPOE13059B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20132970031 | 2014-02-10 | 0.426 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14041B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20133430103 | 2014-02-14 | 0.17 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14045A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20133500071 | 2014-02-14 | 0.023 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14045A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20133170113 | 2014-02-12 | 0.278 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14043B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20133230013 | 2014-02-12 | -0.284 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14043B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20133090091 | 2014-02-12 | 0.359 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14043B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20140210046 | 2014-02-25 | -0.622 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14055B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20133300011 | 2014-02-13 | -0.167 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14044A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20133360016 | 2014-02-13 | -0.124 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14044A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20140130045 | 2014-02-25 | -0.677 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14055B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20140410013 | 2014-02-25 | 0.111 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14055B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20133030020 | 2014-02-11 | 0.268 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14041C | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20140340021 | 2014-02-25 | -0.608 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14055B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20140270190 | 2014-02-25 | -0.853 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14055B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20140490013 | 2014-03-05 | -0.527 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14057A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20140550043 | 2014-03-06 | -0.571 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14064B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20140070060 | 2014-02-25 | 0.215 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14050B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20133580046 | 2014-02-24 | -0.795 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14050B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20140690020 | 2014-03-19 | -0.128 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14078B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20140630116 | 2014-03-19 | -0.866 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14078B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20140760038 | 2014-03-26 | -0.452 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14084B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20140840104 | 2014-03-31 | -0.187 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14087B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20141400015 | 2014-06-13 | 0.716 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14163C | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20141050005 | 2014-04-23 | -0.314 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14112B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20141620026 | 2014-07-01 | 0.804 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14181B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20140970033 | 2014-04-23 | 0.143 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14112B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20141330199 | 2014-06-24 | -0.774 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14170B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20141470139 | 2014-06-26 | 0.394 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14177C | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20140900024 | 2014-04-23 | 0.871 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14112B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20141190028 | 2014-05-06 | -0.284 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14126A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20141680074 | 2014-07-14 | 0.581 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14191A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20141750146 | 2014-07-15 | 0.615 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14196B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20141890087 | 2014-07-25 | 0.914 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14206B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20141820114 | 2014-07-21 | 1.086 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14199A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20141250078 | 2014-06-24 | 0.138 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14170B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20141960040 | 2014-07-30 | 0.141 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14211B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20142030072 | 2014-08-27 | 0.055 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14224B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20142230073 | 2014-09-24 | 0.208 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14260A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20141130025 | 2014-05-06 | 0.395 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14126A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20141550063 | 2014-06-26 | 0.497 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14177C | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20142090215 | 2014-09-17 | -0.364 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14245C | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20142160064 | 2014-09-18 | 0.572 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14245C | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20142520028 | 2014-10-27 | 1.312 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14296B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20142470060 | 2014-10-15 | 0.14 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14288A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20142590043 | 2014-11-04 | -1.236 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14302B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20142650103 | 2014-11-04 | -1.077 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14302B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2014 | 20142720097 | 2014-11-04 | -1.368 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14302B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2015 | 20142950123 | 2014-11-06 | -1.028 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14309C | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2015 | 20142880082 | 2014-11-06 | -0.662 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14309C | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2015 | 20142790027 | 2014-11-05 | -0.011 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14309B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2015 | 20143160026 | 2014-11-21 | 0.037 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14324B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2015 | 20143010058 | 2014-11-19 | 0.81 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14316A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2015 | 20143230041 | 2014-12-03 | -0.202 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14336B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2015 | 20143300032 | 2014-12-03 | -0.201 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14336B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2015 | 20143360071 | 2014-12-11 | -0.008 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14345B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2015 | 20143420014 | 2014-12-12 | 0.596 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14346B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2015 | 20150050017 | 2015-01-15 | 0.78 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE15013A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2015 | 20150400026 | 2015-02-25 | 0.491 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE15055A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2015 | 20143630009 | 2015-01-15 | 0.467 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE15013A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2015 | 20150330019 | 2015-02-25 | -0.047 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE15055A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2015 | 20143490029 | 2014-12-29 | -0.029 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14358A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2015 | 20150490020 | 2015-02-27 | -0.452 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE15058A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2015 | 20150120021 | 2015-01-28 | -0.162 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE15027A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2015 | 20150200033 | 2015-01-28 | 0.202 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE15027A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2015 | 20143560042 | 2015-01-15 | 0.726 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE15013A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2015 | 20150260011 | 2015-02-10 | -0.147 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE15040B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2015 | 20150540028 | 2015-03-12 | 0.309 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE15063A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2015 | 20143080082 | 2014-11-21 | 0.323 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE14324B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2015 | 20150690100 | 2015-03-24 | 0.219 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE15082B | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2015 | 20150770032 | 2015-03-27 | -0.305 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE15085A | ICP1
Molybdenum, unfltd, ICP-OES, recov | 01062 | PLA15 | UNF | 2015 | 20150610100 | 2015-03-23 | -0.158 | <1.70 | 1.7 | 2364 |  |  |  | ug/L | Blank | No | ICPOE15082B | ICP1