## BBP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2009 | 20092720011 | 2009-10-09 | 0.004 | <0.04 | 0.02 | 2188 |  |  |  | mg/L as N | Blank | No | NUTA282A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2015 | 20152150081 | 2015-08-20 | 0.009 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA232A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2015 | 20152010054 | 2015-08-20 | 0.01 | <0.020 | 0.02 | 2188 | Holding time exceeded |  |  | mg/L | Blank | No | NUTA232A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2015 | 20152640031 | 2015-10-23 | 0.002 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA275A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2015 | 20152510015 | 2015-09-25 | 0.005 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA268A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2015 | 20151870013 | 2015-07-15 | 0.006 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA196A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2015 | 20151240056 | 2015-05-08 | 0.016 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA128A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2015 | 20151620206 | 2015-06-25 | 0.017 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA175A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2015 | 20152590168 | 2015-10-23 | 0 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA275A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2015 | 20151310072 | 2015-05-19 | 0.008 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA134A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2015 | 20151660033 | 2015-06-25 | 0.012 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA175A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2015 | 20152330023 | 2015-08-24 | 0.005 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA236A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2015 | 20152360161 | 2015-09-03 | -0.005 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA246A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2015 | 20151730017 | 2015-06-25 | 0.002 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA175A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2015 | 20152080071 | 2015-08-20 | 0.009 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA232A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2015 | 20152710074 | 2015-10-23 | -0.004 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA275A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2015 | 20151800056 | 2015-07-15 | -0.005 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA196A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2015 | 20151460122 | 2015-06-05 | 0.001 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA156A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2015 | 20151530197 | 2015-06-05 | 0.003 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA156A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2015 | 20152430087 | 2015-09-03 | -0.002 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA246A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2015 | 20151390199 | 2015-05-22 | 0 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA142A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2015 | 20151940026 | 2015-07-15 | 0.002 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA196A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2015 | 20152230123 | 2015-08-20 | 0.006 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA232A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20160110012 | 2016-01-14 | -0.008 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA014A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20152920041 | 2015-10-30 | -0.001 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA303A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20162150194 | 2016-08-15 | -0.003 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA228A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20161270015 | 2016-05-11 | -0.004 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA130A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20162290136 | 2016-09-02 | -0.007 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA245A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20160250029 | 2016-02-10 | -0.01 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA041A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20161520029 | 2016-06-29 | -0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA180A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20153060024 | 2015-11-06 | -0.004 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA310A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20160810071 | 2016-04-06 | 0 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA096A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20153550014 | 2016-01-14 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA014A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20161230047 | 2016-05-11 | -0.003 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA130A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20162080237 | 2016-07-29 | -0.003 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA211A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20162440129 | 2016-09-02 | -0.003 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA245A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20160530019 | 2016-03-10 | -0.006 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA070A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20161940115 | 2016-07-22 | -0.007 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA204A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20161870038 | 2016-07-06 | 0.001 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA188A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20153420008 | 2015-12-18 | 0.002 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA351A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20152780015 | 2015-10-30 | 0.012 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA303A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20162710093 | 2016-10-06 | 0.008 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA280A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20160880041 | 2016-04-06 | -0.004 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA096A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20160950050 | 2016-04-06 | -0.007 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA096A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20161160095 | 2016-05-11 | -0.014 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA130A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20162360202 | 2016-09-02 | 0 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA245A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20160740016 | 2016-04-01 | 0.007 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA091A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20161590161 | 2016-06-29 | -0.005 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA180A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20161660157 | 2016-06-29 | -0.005 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA180A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20160050037 | 2016-01-14 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA014A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20162640178 | 2016-10-06 | 0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA280A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20160670017 | 2016-03-10 | -0.004 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA070A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20161480203 | 2016-05-31 | 0.001 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA148A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20161020031 | 2016-04-18 | 0.003 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA109A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20153140001 | 2015-12-01 | 0.005 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA327A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20153270005 | 2015-12-02 | 0.008 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA336A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20153630051 | 2016-01-14 | -0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA014A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20162010261 | 2016-07-22 | -0.003 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA204A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20153340010 | 2015-12-02 | 0.002 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA336A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20153200028 | 2015-12-02 | 0.011 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA336A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20160400086 | 2016-03-07 | 0.006 | <0 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA060A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20161740080 | 2016-06-29 | -0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA180A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20162580021 | 2016-10-04 | -0.004 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA274A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20160320014 | 2016-02-10 | -0.01 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA041A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20161100131 | 2016-05-11 | -0.01 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA130A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20153500167 | 2015-12-18 | 0.004 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA351A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20160470018 | 2016-03-07 | -0.001 | <0 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA060A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20161800089 | 2016-07-06 | -0.001 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA188A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20160600020 | 2016-03-10 | -0.003 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA070A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20160190020 | 2016-02-10 | -0.005 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA041A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20162520021 | 2016-09-22 | -0.017 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA263A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20152860162 | 2015-10-30 | 0.002 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA303A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20152990071 | 2015-10-30 | 0.007 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA303A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2016 | 20162230012 | 2016-08-15 | 0.008 | <0.020 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA228A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20163550016 | 2016-12-23 | 0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA358A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20171080133 | 2017-04-26 | 0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA116A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20170660129 | 2017-03-28 | 0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA086A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20170730106 | 2017-03-28 | 0.005 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA086A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20170380086 | 2017-03-02 | 0.009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA061A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20171020123 | 2017-04-26 | 0.005 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA116A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20170240079 | 2017-02-03 | -0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA034A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20163130106 | 2016-11-29 | 0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA334A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20170040058 | 2017-02-03 | 0.03 | 0.03 | 0.02 | 2188 | Holding time exceeded | Below the reporting level but at or above the detection level |  | mg/L | Blank | Yes | NUTA034A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20170590091 | 2017-03-03 | 0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA062A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20163630053 | 2017-02-03 | 0.005 | <0.02 | 0.02 | 2188 | Holding time exceeded |  |  | mg/L | Blank | No | NUTA034A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20170190019 | 2017-02-03 | 0.006 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA034A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20163480107 | 2016-12-23 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA358A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20163350019 | 2016-12-09 | -0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA344A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20163200164 | 2016-12-09 | -0.004 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA344A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20163270139 | 2016-12-09 | -0.004 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA344A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20170450138 | 2017-03-02 | 0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA061A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20170310063 | 2017-02-03 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA034A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20170100063 | 2017-02-03 | 0.013 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA034A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20170940137 | 2017-04-17 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA101A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20163410110 | 2016-12-09 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA344A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20170800064 | 2017-03-28 | 0.006 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA086A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20162870014 | 2016-10-20 | -0.008 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA293A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20163000015 | 2016-11-09 | -0.017 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA313A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20163060101 | 2016-11-09 | -0.019 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA313A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20162940179 | 2016-11-09 | -0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA313A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20162780127 | 2016-10-06 | 0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA280A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20171220099 | 2017-05-18 | 0.05 | 0.05 | 0.02 | 2188 |  |  |  | mg/L | Blank | Yes | NUTA130A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20171290236 | 2017-05-18 | -0.01 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA130A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20171370212 | 2017-05-18 | -0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA137A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20171430158 | 2017-06-14 | -0.012 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA163A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20171510135 | 2017-06-16 | -0.012 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA165A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20171150169 | 2017-04-26 | 0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA116A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20170540109 | 2017-03-02 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA061A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20170870128 | 2017-04-17 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA101A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20171580026 | 2017-06-16 | -0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA165A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20171640182 | 2017-07-03 | -0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA180A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20171710253 | 2017-07-03 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA180A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20171780231 | 2017-07-03 | -0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA180A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20171940296 | 2017-08-18 | -0.009 | <0.02 | 0.02 | 2188 | Holding time exceeded |  |  | mg/L | Blank | No | NUTA226A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20172060177 | 2017-08-18 | -0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA226A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20172130267 | 2017-08-18 | -0.005 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA226A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20172200307 | 2017-08-18 | -0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA226A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20171990209 | 2017-08-18 | -0.002 | <0.02 | 0.02 | 2188 | Holding time exceeded |  |  | mg/L | Blank | No | NUTA226A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20172270265 | 2017-08-18 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA230A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20172500012 | 2017-09-18 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA261A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20172410196 | 2017-09-18 | -0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA261A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20172340152 | 2017-09-18 | -0.006 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA261A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20172560121 | 2017-09-18 | 0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA261B | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20172690272 | 2017-09-29 | -0.01 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA272A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2017 | 20172620340 | 2017-09-29 | -0.009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA272A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20172970210 | 2017-11-06 | -0.004 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA306A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20173050018 | 2017-11-06 | -0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA306A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20172860223 | 2017-11-06 | -0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA306A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20173110108 | 2017-11-14 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA318A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20172860010 | 2017-11-06 | 0.003 | <0.02 | 0.02 | 2188 | Holding time exceeded |  |  | mg/L | Blank | No | NUTA306A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20172910020 | 2017-11-27 | -0.027 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA331A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20173180151 | 2017-12-07 | -0.014 | <0.04 | 0.02 | 2188 | Sample was diluted |  |  | mg/L | Blank | No | NUTA339A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20173330024 | 2017-12-07 | -0.008 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA339A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20173260015 | 2017-11-27 | -0.01 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA331A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20173390117 | 2017-12-07 | -0.01 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA339A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20173460073 | 2017-12-14 | -0.011 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA348A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20173530095 | 2017-12-28 | -0.005 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA362A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20173620015 | 2018-01-05 | -0.006 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA005A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20180170060 | 2018-01-25 | 0.012 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA025B | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20180240098 | 2018-01-25 | 0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA025B | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20180300109 | 2018-02-12 | -0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA043A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20180440096 | 2018-02-21 | -0.006 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA052A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20180520087 | 2018-03-02 | -0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA064A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20180580113 | 2018-03-02 | -0.006 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA064A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20180650050 | 2018-03-09 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA068A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20180730060 | 2018-03-16 | -0.014 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA075A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20180860133 | 2018-04-04 | -0.008 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA094A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20180790084 | 2018-04-04 | 0.006 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA094A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20180930120 | 2018-04-04 | -0.016 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA094A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20181030013 | 2018-04-19 | -0.011 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA109A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20181140190 | 2018-05-03 | -0.01 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA123A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20180370087 | 2018-02-12 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA043A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20181090179 | 2018-05-03 | 0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA123A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20180100012 | 2018-01-16 | -0.011 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA016A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20181220009 | 2018-05-03 | -0.005 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA123A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20181350125 | 2018-05-22 | 0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA142A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20181420251 | 2018-05-29 | -0.009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA149A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20181500159 | 2018-06-08 | -0.011 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA159A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20181570014 | 2018-06-08 | -0.012 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA159A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20181640017 | 2018-06-15 | -0.012 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA166A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20181770207 | 2018-06-28 | -0.021 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA178A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20181700193 | 2018-06-28 | -0.018 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA178A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20181840198 | 2018-07-11 | -0.013 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA192A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20181910209 | 2018-07-11 | -0.011 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA192A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20182050287 | 2018-08-14 | -0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA226A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20182000221 | 2018-07-20 | -0.024 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA201A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20182120177 | 2018-08-14 | -0.004 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA226A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20182200020 | 2018-08-14 | -0.019 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA226A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20182260159 | 2018-08-17 | -0.008 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA228A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20182330218 | 2018-08-24 | -0.023 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA236A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20181280141 | 2018-05-15 | -0.116 | <0.20 | 0.02 | 2188 | Sample was diluted | Value verified by rerun, same method |  | mg/L | Blank | No | NUTA135A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20182410012 | 2018-09-11 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA254A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20182490018 | 2018-09-11 | -0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA254A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20182570235 | 2018-09-19 | 0.01 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA262A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20182610161 | 2018-09-19 | 0.006 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA262A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2018 | 20182680153 | 2018-09-28 | -0.013 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA271A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20182760018 | 2018-10-12 | -0.024 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA285A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20182830111 | 2018-10-12 | -0.026 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA285A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20183100210 | 2018-11-19 | -0.014 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA323A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20183030073 | 2018-11-06 | -0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA310A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20183180149 | 2018-11-19 | -0.025 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA323A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20183310079 | 2018-12-07 | -0.026 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA341A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20182960225 | 2018-10-25 | -0.029 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA298A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20183450149 | 2018-12-19 | -0.035 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA353A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20183530015 | 2019-02-05 | -0.009 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA036A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20190290126 | 2019-02-05 | -0.006 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA036A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20183400022 | 2018-12-07 | -0.033 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA341A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20190360214 | 2019-02-12 | -0.012 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA042A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20190430204 | 2019-02-14 | -0.017 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA045A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20190520024 | 2019-02-27 | -0.014 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA058A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20190570204 | 2019-02-27 | -0.009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA058A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20190720002 | 2019-03-28 | -0.005 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA085A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20190780117 | 2019-03-28 | 0.009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA085A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20190640127 | 2019-03-28 | 0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA085A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20190860010 | 2019-03-28 | -0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA085A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20190920108 | 2019-04-18 | -0.009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA106A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20190990213 | 2019-04-18 | -0.027 | <0.02 | 0.02 | 2188 | Sample was warm when received |  |  | mg/L | Blank | No | NUTA106A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20191070153 | 2019-04-18 | -0.013 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA106A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20191200088 | 2019-05-20 | -0.011 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA140A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20191130150 | 2019-05-20 | -0.006 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA140A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20191300195 | 2019-05-22 | -0.008 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA142A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20191350018 | 2019-05-22 | -0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA142B | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20191410243 | 2019-05-22 | -0.008 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA142B | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20191550197 | 2019-06-10 | 0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA161A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20191490081 | 2019-06-10 | 0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA161A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20191900122 | 2019-07-12 | -0.011 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA192A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20191690173 | 2019-07-03 | 0.005 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA184A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20191620199 | 2019-07-03 | -0.004 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA184A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20191830152 | 2019-07-03 | 0.011 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA184A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20191760234 | 2019-07-03 | 0.004 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA184A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20192000014 | 2019-07-29 | -0.016 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA210A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20192050074 | 2019-07-29 | -0.016 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA210A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20192110142 | 2019-08-27 | -0.006 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA226A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20192180198 | 2019-08-27 | -0.022 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA226A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20192250192 | 2019-08-29 | -0.009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA239A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20192320245 | 2019-08-29 | -0.012 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA240A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20192390254 | 2019-08-29 | -0.014 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA240A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20192470197 | 2019-11-07 | -0.026 | <0.02 | 0.02 | 2188 | Holding time exceeded |  |  | mg/L | Blank | No | NUTA260A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20192530112 | 2019-11-07 | -0.023 | <0.02 | 0.02 | 2188 | Holding time exceeded |  |  | mg/L | Blank | No | NUTA260A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20192600336 | 2019-11-07 | -0.017 | <0.02 | 0.02 | 2188 | Holding time exceeded |  |  | mg/L | Blank | No | NUTA260A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20192670171 | 2019-11-07 | -0.023 | <0.02 | 0.02 | 2188 | Holding time exceeded |  |  | mg/L | Blank | No | NUTA260A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 20182890077 | 2018-10-25 | -0.033 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA298A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20192810101 | 2019-11-01 | 0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA304A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20192890232 | 2019-11-01 | -0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA304A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20192950179 | 2019-11-01 | -0.009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA305A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20193030020 | 2019-11-01 | -0.016 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA305A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20193090152 | 2019-11-29 | 0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA333A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20193170126 | 2019-11-29 | -0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA333A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20193230163 | 2019-11-29 | -0.004 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA333B | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20193310014 | 2019-12-17 | -0.022 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA346A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20193370120 | 2019-12-17 | -0.01 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA346A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20193440286 | 2019-12-17 | -0.02 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA350A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20193510006 | 2020-01-28 | -0.007 | <0.02 | 0.02 | 2188 | Holding time exceeded |  |  | mg/L | Blank | No | NUTA015A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20193600032 | 2020-01-28 | -0.01 | <0.02 | 0.02 | 2188 | Holding time exceeded |  |  | mg/L | Blank | No | NUTA015A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20193650130 | 2020-01-28 | -0.008 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA015A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20200070052 | 2020-01-28 | -0.013 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA015A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20200150014 | 2020-01-28 | -0.011 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA028A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20200220099 | 2020-01-28 | 0.019 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA028A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20200280086 | 2020-02-18 | 0.021 | 0.02 | 0.02 | 2188 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | NUTA049A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20200350112 | 2020-02-18 | 0.013 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA049A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20200420085 | 2020-02-18 | -0.004 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA049B | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20200500110 | 2020-03-11 | -0.008 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA069A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20200560059 | 2020-03-11 | -0.005 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA069A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20200630086 | 2020-03-11 | -0.016 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA069A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20200700091 | 2020-03-11 | -0.024 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA071A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20200770111 | 2020-03-23 | -0.01 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA083A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20200840014 | 2020-03-26 | -0.011 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA085A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20200910068 | 2020-04-13 | 0.004 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA099A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20200980027 | 2020-04-13 | -0.004 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA099A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20201060065 | 2020-05-07 | -0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA127A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20201190093 | 2020-05-07 | -0.004 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA127A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20201260089 | 2020-05-07 | -0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA127A | KJA
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20201330122 | 2020-05-28 | 0.008 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_20148A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20201470025 | 2020-05-29 | -0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_20150A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20201550022 | 2020-07-08 | -0.002 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_20183A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20201610143 | 2020-07-08 | -0.011 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_20190A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20201680171 | 2020-07-08 | -0.013 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_20190A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20201750077 | 2020-07-08 | -0.005 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_20190A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20201960125 | 2020-08-27 | -0.003 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_20198A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20202040014 | 2020-08-27 | -0.004 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_20239A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20202110014 | 2020-08-27 | 0.002 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_20239A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20202170022 | 2020-08-27 | -0.004 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_20239A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20202240088 | 2020-08-27 | -0.027 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_20239B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20202320070 | 2020-08-27 | -0.014 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_20239C
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20202390005 | 2020-08-27 | -0.013 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_20239C
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20202530037 | 2020-09-25 | 0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_20269A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20202590129 | 2020-09-25 | -0.01 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_20269B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20202670158 | 2020-09-25 | -0.006 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_20269B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20202740038 | 2020-11-10 | -0.007 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_20290A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 20201890173 | 2020-07-08 | 0.064146 | 0.06 | 0.02 | 2188 |  |  |  | mg/L | Blank | Yes | NUTA_20190A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20202810038 | 2020-11-10 | -0.007 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_20290A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20202870031 | 2020-11-10 | -0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_20290A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20202950005 | 2020-11-10 | -0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_20290A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20203010146 | 2020-11-10 | -0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_20290A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20203080103 | 2020-12-11 | -0.006 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_20345A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20203150096 | 2020-12-11 | 0.001 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_20345B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20203230010 | 2020-12-17 | 0 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_20351A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20203300034 | 2020-12-11 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_20345B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20203440020 | 2020-12-17 | -0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_20351A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20203530088 | 2021-01-11 | 0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21011A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20203580036 | 2021-01-11 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21011A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20203640023 | 2021-01-11 | -0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21011A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20210050020 | 2021-01-11 | -0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21011A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20210120052 | 2021-02-17 | 0.001 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_21048A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20210210034 | 2021-02-16 | 0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21039A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20210270019 | 2021-02-16 | 0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21039A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20210330100 | 2021-02-16 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21039A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20210400072 | 2021-02-16 | -0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21042A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20210480020 | 2021-03-04 | -0.006 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21063A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20210540051 | 2021-03-04 | -0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21063A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20210620143 | 2021-03-04 | -0.008 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21063A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20210690062 | 2021-03-11 | -0.01 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21069A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20210760025 | 2021-03-24 | -0.012 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21081A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20210830004 | 2021-03-25 | -0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21083A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20210970020 | 2021-04-13 | -0.025 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21103B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20211030186 | 2021-05-14 | -0.001 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_21133A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20211100017 | 2021-05-14 | 0.031 | 0.03 | 0.02 | 2188 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | NUTA_21133B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20211180005 | 2021-05-14 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21133B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20211250025 | 2021-05-14 | 0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21133B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20211320145 | 2021-05-18 | 0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21137A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20211380017 | 2021-06-11 | 0.012 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21152A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20211460023 | 2021-06-11 | 0.028 | 0.03 | 0.02 | 2188 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | NUTA_21152A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20211600020 | 2021-06-11 | 0.005 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21161A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20211660075 | 2021-08-06 | 0.019 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_21215A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20211730231 | 2021-08-06 | 0.012 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_21215A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20211800182 | 2021-08-06 | 0.005 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_21215A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20211880193 | 2021-08-06 | 0.006 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_21215A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20211940185 | 2021-08-06 | 0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21215B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20212020197 | 2021-08-06 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21215B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20212080107 | 2021-08-06 | 0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21215B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20212150076 | 2021-08-23 | -0.006 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21235A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20212220184 | 2021-08-23 | -0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21232A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20212290224 | 2021-08-23 | 0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21232A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20212360128 | 2021-09-01 | -0.006 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21244A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20212520232 | 2021-09-30 | -0.009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21272A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20212580255 | 2021-09-30 | -0.009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21272C
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20212640274 | 2021-09-30 | -0.009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21272C
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 20212720123 | 2021-10-01 | -0.009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21273C
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20212790018 | 2021-10-20 | 0.022 | 0.02 | 0.02 | 2188 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | NUTA_21291A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20212860196 | 2021-10-21 | -0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21291B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20212940178 | 2021-11-04 | 0.019 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21307A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20212990154 | 2021-11-04 | 0.0096 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21307A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20213130204 | 2021-11-19 | 0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21321A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20213270275 | 2021-12-07 | -0.009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21340A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20213410094 | 2021-12-21 | -0.0043 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21354A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20213480152 | 2021-12-21 | -0.0053 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21354A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20213550416 | 2022-01-04 | -0.017 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22004A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20220040075 | 2022-01-20 | -0.0089 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22013A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20213620342 | 2022-01-04 | -0.015 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22004A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20220110083 | 2022-01-20 | -0.0122 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22013A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20220190114 | 2022-01-31 | -0.0057 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22025A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20220260181 | 2022-02-15 | -0.0042 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22039A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20220390078 | 2022-02-15 | -0.0056 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22046A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20220470022 | 2022-02-22 | -0.0132 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22048A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20220540138 | 2022-03-09 | -0.0119 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22063A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20220600066 | 2022-03-09 | -0.0102 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22063A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20220670063 | 2022-03-29 | -0.0028 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22087A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20220760102 | 2022-03-29 | -0.0081 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22087A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20220810125 | 2022-03-29 | -0.0097 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22087A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20220880103 | 2022-04-20 | -0.015 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22110A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20220950123 | 2022-04-20 | -0.014 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22110A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20213060203 | 2021-11-19 | -0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21321A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20213200073 | 2021-11-23 | 0.004 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21321B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20221020015 | 2022-05-02 | -0.0007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22116A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20221230108 | 2022-05-11 | 0.0112 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22131A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20221370166 | 2022-06-03 | 0.011 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22146A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20221440250 | 2022-06-03 | 0.005 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22146B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20221090226 | 2022-05-02 | 0.0009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22116A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20221790228 | 2022-07-29 | 0.011 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_22209A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20221730298 | 2022-06-24 | -0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22174A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20221300139 | 2022-05-11 | 0.0073 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22131B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20221580137 | 2022-06-24 | 0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22174A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20221660342 | 2022-06-24 | -0.004 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22174A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20221870181 | 2022-07-29 | 0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22209A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20221930248 | 2022-08-04 | 0.0018 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22215A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20222000020 | 2022-08-04 | 0.0033 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22215A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20222070167 | 2022-08-04 | -0.0019 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22215A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20222210268 | 2022-08-29 | -0.0009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22237A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20222360016 | 2022-09-22 | -0.006 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_22265A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20222700278 | 2022-09-29 | -0.004 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22271A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20222140175 | 2022-08-25 | -0.0021 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22236A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20222280353 | 2022-08-29 | -0.0136 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22241A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20222560165 | 2022-09-22 | 0.028 | 0.03 | 0.02 | 2188 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | NUTA_22265A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20222630195 | 2022-09-29 | -0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22271A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 20222500482 | 2022-09-22 | -0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22265A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20223120118 | 2022-11-09 | -0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22313A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20222980106 | 2022-11-03 | -0.004 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22300A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20223190133 | 2022-11-29 | 0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22332A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20223260143 | 2022-11-30 | -0.004 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22334A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20223330064 | 2022-11-30 | -0.005 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22334A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20223400112 | 2022-12-09 | 0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22343A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20230180011 | 2023-01-23 | 0.008 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23017A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20230040155 | 2023-01-06 | 0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23006A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20230100099 | 2023-01-23 | 0.006 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23017A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20230240117 | 2023-02-16 | 0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23046A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20230380144 | 2023-02-16 | -0.01 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23046A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20230450149 | 2023-02-16 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23046B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20222910107 | 2022-11-03 | -0.005 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22300A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20230590156 | 2023-03-09 | 0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23068A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20230540083 | 2023-03-09 | 0.015 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23054A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20230660142 | 2023-03-09 | 0.006 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23068A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20223480165 | 2022-12-16 | 0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22350A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20223620083 | 2023-01-23 | 0.009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23017A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20223540182 | 2023-01-06 | 0.005 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23006A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20230730140 | 2023-03-23 | 0.011 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23081A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20230800084 | 2023-03-23 | 0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23081A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20230870174 | 2023-03-31 | -0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23090A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20222850184 | 2022-10-17 | -0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22290A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20230940133 | 2023-04-12 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23101A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20231150177 | 2023-04-27 | -0.006 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23111A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20231090176 | 2023-04-27 | -0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23111A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20222770162 | 2022-10-17 | -0.01 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22290A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20231290212 | 2023-05-23 | -0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23132A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20231010262 | 2023-04-12 | 0.014 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23101A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20231230167 | 2023-05-05 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23125A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20231440115 | 2023-06-12 | 0.008 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23156A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20231860120 | 2023-07-13 | -0.009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23193A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20232050051 | 2023-08-04 | -0.012 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23215A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20231720096 | 2023-06-26 | -0.004 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23172A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20231360044 | 2023-05-23 | -0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23142A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20232190040 | 2023-08-15 | -0.01 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23227A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20232120083 | 2023-08-04 | -0.024 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23215A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20231790090 | 2023-06-29 | -0.011 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23179A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20231570084 | 2023-06-12 | -0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23156A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20231640214 | 2023-06-20 | -0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23171A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20232350100 | 2023-08-30 | -0.006 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23241A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20232560112 | 2023-09-14 | -0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23251A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20232480090 | 2023-09-14 | -0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23251A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20232680190 | 2023-09-29 | -0.012 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23269A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20231980043 | 2023-08-03 | -0.014 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23213A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20232260033 | 2023-08-15 | -0.01 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23227A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20232610266 | 2023-09-26 | -0.006 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23268A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 20232410132 | 2023-08-30 | -0.011 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23241A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20232840064 | 2023-10-12 | -0.009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23285A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20232910050 | 2023-10-26 | -0.016 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23296A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20232980004 | 2023-10-26 | -0.013 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23296A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20232760053 | 2023-10-06 | 0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23278A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20233330058 | 2023-12-07 | 0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23332A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20233400093 | 2023-12-07 | -0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23332A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20233120070 | 2023-11-14 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23318A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20233190009 | 2023-11-22 | 0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23326A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20233250141 | 2023-11-22 | -0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23326A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20233620056 | 2024-01-12 | -0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_24012A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20233470273 | 2023-12-20 | -0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23353A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20233550087 | 2024-01-12 | -0.01 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_24012A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20240170016 | 2024-01-23 | -0.013 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_24022A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20240030071 | 2024-01-17 | -0.01 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_24017A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20240250081 | 2024-02-23 | 0 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_24054A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20240090021 | 2024-01-17 | 0.046 | 0.05 | 0.02 | 2188 |  |  |  | mg/L | Blank | Yes | NUTA_24017A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20240370131 | 2024-02-23 | 0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_24054A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20240440067 | 2024-02-23 | -0.008 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_24054B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20240580147 | 2024-05-04 | -0.002 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_24123B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20241000100 | 2024-06-06 | 0.009 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_24156B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20240880022 | 2024-06-12 | 0.009 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_24156A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20241140101 | 2024-06-06 | 0.031 | 0.03 | 0.02 | 2188 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L | Blank | Yes | NUTA_24156B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20241070239 | 2024-06-06 | 0.019 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_24156B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20240930077 | 2024-06-03 | 0.025 | 0.03 | 0.02 | 2188 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L | Blank | Yes | NUTA_24123D
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20240660035 | 2024-06-26 | 0.008 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_24176A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20240720116 | 2024-06-26 | 0.012 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_24176A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20240520105 | 2024-05-04 | 0.011 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_24123B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20240790100 | 2024-06-12 | 0.01 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_24156A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20241280122 | 2024-06-25 | 0.009 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_24135A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20241360057 | 2024-07-09 | 0.011 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_24176C
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20241420101 | 2024-07-17 | 0.009 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_24183B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20241500152 | 2024-07-19 | -0.01 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_24183D
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20241570086 | 2024-07-19 | -0.014 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_24183E
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20241630109 | 2024-08-27 | -0.003 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_24201B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20241720058 | 2024-08-27 | 0.03 | 0.03 | 0.02 | 2188 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L | Blank | Yes | NUTA_24201B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20242040017 | 2024-08-20 | 0.008 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_24226A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20242110065 | 2024-08-20 | 0.005 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_24226A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20242250110 | 2024-09-12 | 0.015 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_24226B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20241900015 | 2024-08-16 | -0.001 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_24201C
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20241970120 | 2024-08-16 | 0.01 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_24201C
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20242180105 | 2024-08-16 | -0.009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_24201C
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20242320036 | 2024-09-13 | 0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_24239A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20242390056 | 2024-09-13 | 0.004 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_24239A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 20241770106 | 2024-09-13 | 0.001 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_24239A