## BBP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20100190102 | 2010-01-21 | 0.029 | E0.029 | 0.02 | 1975 | Below the reporting level but at or above the detection level |  |  | mg/L as N | Blank | Yes | NUTC021A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20092780071 | 2009-10-06 | -0.001 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC279B | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20092870073 | 2009-10-15 | 0.004 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC288A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20092920096 | 2009-10-21 | 0.012 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC294A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20093000106 | 2009-11-03 | 0.008 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC307A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20093070201 | 2009-11-06 | 0.006 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC310A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20093130061 | 2009-11-12 | 0.018 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC316A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20093200062 | 2009-11-23 | 0.001 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC324A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20093280015 | 2009-11-25 | 0.008 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC329A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20093350070 | 2009-12-03 | -0.003 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC336A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20093420004 | 2009-12-09 | 0.004 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC343B | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20093480064 | 2009-12-16 | 0.007 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC350A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20093560033 | 2009-12-24 | 0.011 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC358A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20093620042 | 2010-01-04 | 0.01 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC004A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20100050014 | 2010-01-06 | 0.008 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC006A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20100110099 | 2010-01-12 | 0.004 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC012A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20100260065 | 2010-01-27 | 0.013 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC027A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20100320023 | 2010-02-04 | 0.01 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC035A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20100390038 | 2010-02-10 | 0.001 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC041A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20100470025 | 2010-02-23 | 0.006 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC053A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20100530048 | 2010-02-23 | 0.007 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC054A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20100600067 | 2010-03-02 | 0 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC061A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20100680014 | 2010-03-10 | 0.013 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC069A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20100750002 | 2010-03-17 | 0.006 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC076A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20100850066 | 2010-03-29 | 0.011 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC088A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20100880044 | 2010-04-01 | 0.004 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC091A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20100950036 | 2010-04-06 | 0.007 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC096A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20101020075 | 2010-04-20 | 0.009 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC110A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20101090063 | 2010-04-22 | 0.009 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC112B | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20101180043 | 2010-04-29 | 0.009 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC119A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20101240080 | 2010-05-05 | 0.015 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC125A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20101310098 | 2010-05-12 | 0.01 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC132A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20101380021 | 2010-05-24 | 0.013 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC144A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20101440165 | 2010-05-25 | 0.008 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC145B | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20101530090 | 2010-06-04 | 0.01 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC155C | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20101590005 | 2010-06-09 | 0.008 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC160A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20101660061 | 2010-06-16 | 0.014 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC167A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20101730068 | 2010-06-24 | 0.004 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC175A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20101790124 | 2010-06-30 | 0.009 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC181A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20101870059 | 2010-07-07 | 0.002 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC188A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20101930104 | 2010-07-13 | 0.011 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC194A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20102000188 | 2010-07-20 | 0.014 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC201A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20102080005 | 2010-07-29 | -0.006 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC209A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20102140090 | 2010-08-03 | 0.012 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC215A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20102230041 | 2010-08-12 | 0.01 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC224A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20102290049 | 2010-08-18 | 0.011 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC230A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20102350196 | 2010-08-24 | 0.008 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC236A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20102430249 | 2010-09-01 | 0.005 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC244A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20102510062 | 2010-09-09 | 0.006 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC252A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20102570015 | 2010-09-15 | 0.003 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC258A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20102640136 | 2010-09-22 | 0.005 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC265A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2010 | 20102700152 | 2010-10-04 | 0.008 | <0.04 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC277B | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20110750067 | 2011-03-22 | 0.022 | 0.022 | 0.02 | 1975 | Value extrapolated at low end | Below the reporting level but at or above the detection level |  | mg/L | Blank | Yes | NUTC081A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20111360146 | 2011-05-20 | 0.02 | 0.02 | 0.02 | 1975 | Value extrapolated at low end | Below the reporting level but at or above the detection level |  | mg/L | Blank | No | NUTC140B | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20112060094 | 2011-08-09 | 0.022 | 0.022 | 0.02 | 1975 | Value extrapolated at low end | Below the reporting level but at or above the detection level |  | mg/L | Blank | Yes | NUTC221A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20102770110 | 2010-10-05 | 0.004 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC278B | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20102850132 | 2010-10-13 | 0.005 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC286A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20102920006 | 2010-10-21 | 0.011 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC294A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20102990006 | 2010-10-28 | 0.007 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC301A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20103060008 | 2010-11-03 | 0.014 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC307A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20103120026 | 2010-11-15 | 0.014 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC319A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20103190064 | 2010-11-16 | 0.015 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC320B | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20103260065 | 2010-11-23 | 0.002 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC327A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20103330099 | 2010-11-30 | 0.003 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC334B | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20103400086 | 2010-12-09 | 0.005 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC343A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20103470078 | 2010-12-16 | 0.012 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC350A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20103540047 | 2010-12-23 | 0.012 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC357A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20103610054 | 2011-01-03 | 0.017 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC003A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20110030021 | 2011-01-07 | 0.008 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC007A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20110110016 | 2011-01-18 | 0.002 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC018A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20110180057 | 2011-01-21 | 0.009 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC021A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20110240065 | 2011-01-27 | 0.008 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC027A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20110400069 | 2011-02-11 | 0.011 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC042A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20110410098 | 2011-02-11 | 0.007 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC042B | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20110450036 | 2011-02-16 | 0.013 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC047A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20110530105 | 2011-02-23 | 0.011 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC056B | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20110590070 | 2011-03-02 | 0.012 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC061A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20110660032 | 2011-03-09 | -0.002 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC068A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20110800059 | 2011-03-24 | 0.011 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC083B | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20110870089 | 2011-03-31 | 0.006 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC090A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20110950054 | 2011-04-08 | 0.01 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC098A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20111010118 | 2011-04-13 | 0.019 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC103B | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20111080073 | 2011-04-20 | 0.009 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC110A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20111150114 | 2011-04-27 | 0.018 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC117B
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20111220086 | 2011-05-10 | 0.013 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC130A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20111290046 | 2011-05-17 | 0.005 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC137A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20111430203 | 2011-05-25 | 0.014 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC145A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20111510151 | 2011-06-06 | 0.011 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC157A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20111570061 | 2011-06-09 | 0.012 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC160A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20111640067 | 2011-06-17 | 0.016 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC168A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20111710111 | 2011-07-05 | 0.007 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC186A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20111780166 | 2011-07-14 | 0.009 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC195A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20111860062 | 2011-07-18 | 0.008 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC199A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20111920099 | 2011-07-22 | 0.01 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC203A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20112010020 | 2011-08-02 | 0.006 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC214A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20112130154 | 2011-08-11 | 0.015 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC223A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20112200051 | 2011-08-19 | 0.011 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC231A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20112300036 | 2011-08-30 | 0.015 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC242B | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20112360063 | 2011-09-09 | 0.002 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC252A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20112500188 | 2011-09-26 | 0.014 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC269A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20112510037 | 2011-09-26 | 0.012 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC269A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20112560021 | 2011-09-30 | 0.014 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC273A | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20112630061 | 2011-10-03 | 0.005 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC276B | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2011 | 20112690123 | 2011-10-04 | 0.014 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC277B | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2012 | 20112760061 | 2011-10-11 | 0.017 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC284B | 4CH
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | 2012 | 20112840071 | 2011-10-12 | 0.011 | <0.02 | 0.02 | 1975 |  |  |  | mg/L | Blank | No | NUTC285A | 4CH