## BBP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2009 | 20092570049 | 2009-10-06 | 0.0138 | E0.014 | 0.008 | 1979 | Below the reporting level but at or above the detection level |  |  | mg/L as N | Blank | Yes | NTLL273A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2009 | 20092640026 | 2009-10-20 | 0.0003 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL276A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2009 | 20092720011 | 2009-10-20 | 0.0006 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL289A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20100390038 | 2010-02-24 | 0.0085 | E0.0085 | 0.008 | 1979 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | NTLL048A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20092780071 | 2009-10-27 | 0.0004 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL289B | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20092870073 | 2009-11-02 | 0.0019 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL289C | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20092920096 | 2009-11-03 | 0.0028 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL293A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20093000106 | 2009-11-16 | 0.0069 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL306A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20093070201 | 2009-11-17 | 0.0049 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL307A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20093130061 | 2009-12-01 | 0.0008 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL322A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20093200062 | 2009-12-01 | -0.0006 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL322A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20093280015 | 2009-12-16 | -0.0006 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL331A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20093350070 | 2009-12-16 | -0.0003 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL331A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20093420004 | 2009-12-17 | 0.0007 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL349A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20093480064 | 2009-12-31 | 0.0003 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL351A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20093560033 | 2010-01-13 | -0.0006 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL364B | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20093620042 | 2010-01-13 | -0.0001 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL364B | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20100050014 | 2010-01-13 | -0.0002 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL364B | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20100110099 | 2010-01-13 | 0.0002 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL364B | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20100190102 | 2010-02-09 | 0.0023 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL027A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20100260065 | 2010-02-09 | 0.0012 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL027A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20100320023 | 2010-02-17 | -0.0019 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL033A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20100470025 | 2010-02-24 | 0.0049 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL048A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20100530048 | 2010-02-25 | 0.0016 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL055A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20100600067 | 2010-03-17 | -0.0019 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL069A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20100680014 | 2010-03-25 | 0.0018 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL069B | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20100750002 | 2010-03-29 | -0.0007 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL076A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20100850066 | 2010-04-08 | -0.0004 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL097A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20100880044 | 2010-04-08 | -0.0006 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL097A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20100950036 | 2010-04-20 | 0.0019 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL098A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20101020075 | 2010-04-29 | 0.0053 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL109A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20101090063 | 2010-05-12 | 0.0024 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL118A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20101180043 | 2010-05-20 | 0.0036 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL119A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20101240080 | 2010-05-25 | 0.0023 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL131A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20101310098 | 2010-05-26 | 0.0049 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL132A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20101380021 | 2010-06-01 | 0.0025 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL139A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20101440165 | 2010-06-23 | 0.0033 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL145B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20101530090 | 2010-07-02 | 0.0023 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL174A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20101590005 | 2010-07-07 | 0.0018 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL182A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20101660061 | 2010-07-08 | 0.0036 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL182C | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20101730068 | 2010-07-15 | 0.0027 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL183A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20101790124 | 2010-07-21 | 0.002 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL184A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20101870059 | 2010-07-22 | 0.0031 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL201A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20101930104 | 2010-07-28 | 0.0072 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL201B | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20102000188 | 2010-07-29 | 0.0036 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL203A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20102080005 | 2010-08-16 | 0.0021 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL223A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20102140090 | 2010-08-18 | 0.0036 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL224A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20102230041 | 2010-08-19 | 0.004 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL226A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20102290049 | 2010-08-24 | 0.0069 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL229A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20102350196 | 2010-09-17 | 0.0019 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL236B | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20102430249 | 2010-09-21 | 0.006 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL259A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20102510062 | 2010-09-21 | 0.0013 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL259B | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20102570015 | 2010-10-07 | 0.0016 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL264A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20102640136 | 2010-10-07 | 0.0017 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL278A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 20102700152 | 2010-10-28 | 0.0027 | <0.016 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL280A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20102770110 | 2010-10-28 | 0.0008 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL280A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20102850132 | 2010-11-02 | 0.0005 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL301A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20102920006 | 2010-11-02 | 0.0015 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL302A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20102990006 | 2010-11-17 | 0.0008 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL305A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20103060008 | 2010-11-23 | 0.0015 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL312A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20103120026 | 2010-11-23 | 0.001 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL312A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20103190064 | 2010-12-08 | 0.001 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL327A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20103260065 | 2010-12-13 | -0.0005 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL328A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20103330099 | 2010-12-16 | 0.0018 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL341A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20103400086 | 2010-12-16 | 0.0019 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL341A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20103470078 | 2010-12-28 | 0.0023 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL350A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20103540047 | 2011-01-13 | 0.0003 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL361A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20103610054 | 2011-01-20 | 0.0026 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL010A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20110030021 | 2011-01-20 | 0.0015 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL010A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20110110016 | 2011-02-02 | 0.0033 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL014A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20110180057 | 2011-02-09 | 0.0034 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL020A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20110240065 | 2011-02-17 | 0.0028 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL033A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20110400069 | 2011-02-24 | -0.0021 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL047A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20110410098 | 2011-02-24 | -0.0013 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL047A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20110450036 | 2011-02-28 | -0.0005 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL048A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20110530105 | 2011-02-25 | -0.0017 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL056A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20110590070 | 2011-03-07 | -0.0002 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL066A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20110660032 | 2011-03-21 | -0.005 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL080A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20110750067 | 2011-03-21 | -0.004 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL080A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20110800059 | 2011-03-29 | 0 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL088A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20110870089 | 2011-03-29 | 0 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL088A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20110950054 | 2011-04-06 | 0 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL096A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20111010118 | 2011-04-12 | 0.002 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL102A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20111080073 | 2011-04-19 | 0.001 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL109B | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20111150114 | 2011-04-26 | 0 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL116A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20111220086 | 2011-05-04 | 0 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL124A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20111290046 | 2011-05-23 | 0.001 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL143A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20111360146 | 2011-05-23 | 0.002 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL143B | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20111430203 | 2011-06-07 | 0.001 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL158A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20111510151 | 2011-06-09 | 0.002 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL160A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20111570061 | 2011-06-13 | 0.001 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL164A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20111640067 | 2011-06-17 | 0.002 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL168A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20111710111 | 2011-06-23 | 0.001 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL174A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20111780166 | 2011-06-30 | 0.002 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL181B | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20111860062 | 2011-07-06 | 0.004 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL187A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20111920099 | 2011-07-12 | 0.002 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL193A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20112010020 | 2011-07-22 | 0.007 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL203C | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20112060094 | 2011-08-03 | -0.001 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL215A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20112130154 | 2011-08-03 | 0 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL215B | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20112200051 | 2011-08-09 | 0.002 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL221A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20112300036 | 2011-08-22 | 0.002 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL234A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20112360063 | 2011-08-30 | 0.001 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL242A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20112500188 | 2011-09-09 | 0.002 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL252B | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20112510037 | 2011-09-09 | 0.003 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL252B | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20112560021 | 2011-09-15 | 0.002 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL258A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20112630061 | 2011-09-27 | 0.001 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL270A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 20112690123 | 2011-09-27 | 0.003 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL270B | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2012 | 20112760061 | 2011-10-05 | 0.001 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL278A | LLN
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2012 | 20112840071 | 2011-10-13 | 0.002 | <0.008 | 0.008 | 1979 |  |  |  | mg/L | Blank | No | NTLL286A | LLN