## BBP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2009 | 20092570047 | 2009-10-07 | -0.007 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP278A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2009 | 20092640045 | 2009-10-07 | -0.003 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP278A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2009 | 20092720021 | 2009-10-07 | 0 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP278A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20092780069 | 2009-10-22 | 0.003 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP294A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20092870072 | 2009-10-22 | 0.002 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP294A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20092920099 | 2009-10-22 | -0.001 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP294A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20093000108 | 2009-11-19 | -0.002 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP321A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20093070203 | 2009-11-19 | -0.005 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP321A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20093130060 | 2009-11-19 | -0.004 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP321A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20093200089 | 2009-11-19 | -0.005 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP321A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20093280016 | 2009-12-11 | -0.002 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP343A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20093350069 | 2009-12-11 | -0.004 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP343A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20093420008 | 2009-12-11 | -0.005 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP343A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20093480065 | 2009-12-22 | -0.001 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP355A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20093560035 | 2010-01-20 | -0.001 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP019A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20093620045 | 2010-01-20 | 0.002 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP019A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20100050015 | 2010-01-20 | -0.002 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP019A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20100110097 | 2010-01-20 | -0.003 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP019A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20100190104 | 2010-02-05 | 0 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP033A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20100260064 | 2010-02-05 | -0.002 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP033A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20100320021 | 2010-02-05 | -0.002 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP033A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20100390037 | 2010-02-18 | 0 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP047A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20100470026 | 2010-02-24 | -0.007 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP054A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20100530047 | 2010-02-24 | -0.008 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP054A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20100600068 | 2010-03-05 | 0.001 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP063A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20100680015 | 2010-03-16 | 0 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP074A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20100750001 | 2010-04-01 | 0.003 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP089A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20100850063 | 2010-04-01 | 0.002 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP089A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20100880050 | 2010-04-01 | 0 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP089A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20100950035 | 2010-04-15 | -0.001 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP102A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20101020074 | 2010-05-05 | 0.004 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP123A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20101090060 | 2010-05-05 | 0.004 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP123A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20101180040 | 2010-05-05 | 0.003 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP123A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20101240078 | 2010-05-20 | -0.001 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP137A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20101310096 | 2010-05-20 | -0.001 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP137A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20101380022 | 2010-06-09 | -0.002 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP155A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20101450016 | 2010-06-09 | 0.004 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP155A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20101530121 | 2010-06-09 | -0.001 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP155A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20101590013 | 2010-07-01 | -0.001 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP179A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20101660063 | 2010-07-01 | -0.004 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP179A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20101730069 | 2010-07-01 | 0 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP179A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20101790122 | 2010-07-20 | 0.004 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP196A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20101870061 | 2010-07-20 | -0.001 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP196A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20101930105 | 2010-07-20 | -0.001 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP196A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20102000187 | 2010-07-29 | -0.002 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP208A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20102080018 | 2010-08-04 | 0.003 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP211A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20102140089 | 2010-08-12 | 0 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP223A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20102230039 | 2010-09-01 | 0.006 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP239A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20102290051 | 2010-09-01 | 0.001 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP239A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20102350198 | 2010-09-01 | -0.002 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP239A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20102430251 | 2010-09-16 | 0.007 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP253A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20102510060 | 2010-09-16 | 0.001 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP253A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20102570022 | 2010-09-29 | 0.003 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP270A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20102640135 | 2010-09-29 | 0 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP270A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2010 | 20102700153 | 2010-10-14 | -0.002 | <0.02 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP285A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20110660030 | 2011-03-14 | 0.01 | 0.01 | 0.01 | 2758 | Value extrapolated at low end | Below the reporting level but at or above the detection level |  | mg/L as P | Blank | No | PANP069A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20111860061 | 2011-07-14 | 0.01 | 0.01 | 0.01 | 2758 | Value extrapolated at low end | Below the reporting level but at or above the detection level |  | mg/L | Blank | No | PANP192A
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20102770103 | 2010-10-14 | -0.003 | <0.01 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP285A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20102850131 | 2010-10-27 | -0.008 | <0.01 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP298A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20102920007 | 2010-10-27 | -0.01 | <0.01 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP298A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20102990005 | 2010-11-18 | -0.008 | <0.01 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP319A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20103060009 | 2010-11-18 | -0.008 | <0.01 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP319A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20103120027 | 2010-11-18 | -0.008 | <0.01 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP319A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20103190067 | 2010-12-09 | 0.002 | <0.01 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP340A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20103260066 | 2010-12-09 | 0.002 | <0.01 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP340A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20103330098 | 2010-12-09 | 0.001 | <0.01 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP340A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20103400083 | 2010-12-21 | 0 | <0.01 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP354A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20103470075 | 2010-12-21 | 0.001 | <0.01 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP354A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20103540045 | 2011-01-14 | -0.003 | <0.01 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP013A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20103610055 | 2011-01-14 | -0.006 | <0.01 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP013A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20110030022 | 2011-01-14 | -0.007 | <0.01 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP013A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20110110017 | 2011-01-14 | -0.006 | <0.01 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP013A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20110180058 | 2011-01-28 | 0.003 | <0.01 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP027A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20110240064 | 2011-01-28 | -0.001 | <0.01 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP027A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20110400068 | 2011-03-02 | 0.005 | <0.01 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP053A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20110410097 | 2011-03-02 | 0.005 | <0.01 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP053A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20110450035 | 2011-03-02 | 0.003 | <0.01 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP053A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20110530104 | 2011-03-04 | -0.003 | <0.01 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP059A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20110590069 | 2011-03-04 | -0.004 | <0.01 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP059A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20110750069 | 2011-03-23 | -0.002 | <0.01 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP080A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20110800058 | 2011-03-23 | -0.002 | <0.01 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP080A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20110870091 | 2011-04-06 | -0.002 | <0.0100 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP091A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20110950055 | 2011-04-13 | 0.002 | <0.0100 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP102A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20111010119 | 2011-04-13 | 0.001 | <0.0100 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP102A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20111080074 | 2011-04-26 | 0.005 | <0.0100 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP112A | ALK
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20111150112 | 2011-04-29 | -0.022 | <0.0100 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP116A
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20111220084 | 2011-05-12 | 0.005 | <0.01 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP131A
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20111290045 | 2011-05-12 | 0.004 | <0.01 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP131A
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20111360139 | 2011-05-31 | 0.004 | <0.0100 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP144A
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20111430201 | 2011-05-31 | 0.005 | <0.0100 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP144A
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20111510148 | 2011-06-13 | -0.004 | <0.0100 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP160A
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20111570060 | 2011-06-13 | -0.003 | <0.0100 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP160A
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20111640065 | 2011-06-17 | -0.001 | <0.0100 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP165A
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20111710110 | 2011-06-24 | 0.003 | <0.0100 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP174A
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20111780163 | 2011-07-14 | 0.008 | <0.0100 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP192A
Phosphorus as P, fltd, CFA | 00666 | CL062 | FIL | 2011 | 20111920101 | 2011-07-14 | 0.006 | <0.0100 | 0.01 | 2758 |  |  |  | mg/L | Blank | No | PANP192A