## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Lab Value | Expected Conc. | % Recov | % Bias | # of QCUs | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 1070070 | 2015-05-30 | 172 | 165.8 | 103.7394 | 3.7394 | 0.58782 |  | 3514 | See result laboratory comment |  |  | ug/L | 25213-75211 | ICPOE15149A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 1210015 | 2015-06-10 | 169.3 | 165.8 | 102.111 | 2.111 | 0.33183 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 25213-75211 | ICPOE15159C
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 0970040 | 2015-05-28 | 374.4 | 375 | 99.84 | -0.16 | -0.029755 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75213-25DIW | ICPOE15148A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 1040074 | 2015-05-30 | 388.6 | 375 | 103.6267 | 3.6267 | 0.67446 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75213-25DIW | ICPOE15149A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 1110128 | 2015-05-30 | 392.5 | 375 | 104.6667 | 4.6667 | 0.86787 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75213-25DIW | ICPOE15149A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 1190149 | 2015-06-10 | 389 | 375 | 103.7333 | 3.7333 | 0.69429 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75213-25DIW | ICPOE15156A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 1030094 | 2015-05-30 | 125.4 | 118.5 | 105.8228 | 5.8228 | 0.82407 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75209-25DIW | ICPOE15149A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 1180081 | 2015-06-10 | 125.7 | 118.5 | 106.0759 | 6.0759 | 0.8599 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75209-25DIW | ICPOE15156A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 1530191 | 2015-06-16 | 417.3 | 414.5 | 100.6755 | 0.67551 | 0.12739 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 25209-75213 | ICPOE15167D
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 1620202 | 2015-07-01 | 434.4 | 414.5 | 104.801 | 4.801 | 0.90536 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 25209-75213 | ICPOE15181A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 1690079 | 2015-07-02 | 420.2 | 414.5 | 101.3752 | 1.3752 | 0.25932 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 25209-75213 | ICPOE15182B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 1740040 | 2015-07-03 | 414.3 | 414.5 | 99.9517 | -0.048251 | -0.0090991 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 25209-75213 | ICPOE15182B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 1610001 | 2015-07-01 | 42.59 | 40.8 | 104.3873 | 4.3873 | 0.37282 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75211-25DIW | ICPOE15181A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 1730008 | 2015-07-03 | 43.49 | 40.8 | 106.5931 | 6.5931 | 0.56028 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75211-25DIW | ICPOE15182B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 1670047 | 2015-07-02 | 381.4 | 375 | 101.7067 | 1.7067 | 0.31739 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75213-25DIW | ICPOE15182B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 1770059 | 2015-07-31 | 389.4 | 375 | 103.84 | 3.84 | 0.71413 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75213-25DIW | ICPOE15212A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 2160027 | 2015-09-01 | 171 | 165.8 | 103.1363 | 3.1363 | 0.49301 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 25213-75211 | ICPOE15243A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 2230088 | 2015-09-03 | 171.2 | 165.8 | 103.2569 | 3.2569 | 0.51197 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 25213-75211 | ICPOE15246D
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 2320208 | 2015-09-12 | 171.1 | 165.8 | 103.1966 | 3.1966 | 0.50249 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 25213-75211 | ICPOE15252D
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 2370156 | 2015-09-21 | 170.1 | 165.8 | 102.5935 | 2.5935 | 0.40768 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 25213-75211 | ICPOE15264A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 2190001 | 2015-09-01 | 139 | 132.1 | 105.2233 | 5.2233 | 0.76681 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 25211-75209 | ICPOE15243A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 2330121 | 2015-09-18 | 136 | 132.1 | 102.9523 | 2.9523 | 0.43342 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 25211-75209 | ICPOE15258A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 2300001 | 2015-09-17 | 423.2 | 414.5 | 102.0989 | 2.0989 | 0.39581 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 25209-75213 | ICPOE15258A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 2430086 | 2015-09-26 | 432.4 | 414.5 | 104.3185 | 4.3185 | 0.81437 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 25209-75213 | ICPOE15267C
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 1350073 | 2015-06-11 | 142.6 | 132.1 | 107.9485 | 7.9485 | 1.1669 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 25211-75209 | ICPOE15159C
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 1490088 | 2015-06-12 | 135.8 | 132.1 | 102.8009 | 2.8009 | 0.41119 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 25211-75209 | ICPOE15162E
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 1250072 | 2015-06-10 | 118.4 | 118.5 | 99.9156 | -0.084388 | -0.011943 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75209-25DIW | ICPOE15159C
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 1320072 | 2015-06-10 | 125.2 | 118.5 | 105.654 | 5.654 | 0.80018 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75209-25DIW | ICPOE15159C
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 1390152 | 2015-06-12 | 122.5 | 118.5 | 103.3755 | 3.3755 | 0.47772 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75209-25DIW | ICPOE15162E
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 1470117 | 2015-06-12 | 121.8 | 118.5 | 102.7848 | 2.7848 | 0.39412 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75209-25DIW | ICPOE15162E
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 1310024 | 2015-06-10 | 434.7 | 414.5 | 104.8733 | 4.8733 | 0.91901 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 25209-75213 | ICPOE15159C
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 1460100 | 2015-06-12 | 420.7 | 414.5 | 101.4958 | 1.4958 | 0.28207 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 25209-75213 | ICPOE15162E
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 0850095 | 2015-06-09 | 135.4 | 132.1 | 102.4981 | 2.4981 | 0.36674 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 25211-75209 | ICPOE15156A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 2450075 | 2015-09-26 | 139.1 | 132.1 | 105.299 | 5.299 | 0.77793 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 25211-75209 | ICPOE15267C
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 2520011 | 2015-10-02 | 136.4 | 132.1 | 103.2551 | 3.2551 | 0.47787 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 25211-75209 | ICPOE15274A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 2580072 | 2015-10-02 | 135.6 | 132.1 | 102.6495 | 2.6495 | 0.38896 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 25211-75209 | ICPOE15274A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 2660032 | 2015-10-14 | 134.7 | 132.1 | 101.9682 | 1.9682 | 0.28894 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 25211-75209 | ICPOE15287A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 0840083 | 2015-06-12 | 380.4 | 375 | 101.44 | 1.44 | 0.2678 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75213-25DIW | ICPOE15163A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 2510002 | 2015-10-02 | 384.6 | 375 | 102.56 | 2.56 | 0.47609 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75213-25DIW | ICPOE15274A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 2610001 | 2015-10-03 | 389.4 | 375 | 103.84 | 3.84 | 0.71413 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75213-25DIW | ICPOE15274A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 0900120 | 2015-05-28 | 47.22 | 40.8 | 115.7353 | 15.7353 | 1.3372 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75211-25DIW | ICPOE15131A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 2580002 | 2015-10-02 | 43.28 | 40.8 | 106.0784 | 6.0784 | 0.51654 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75211-25DIW | ICPOE15274A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 2710062 | 2015-10-15 | 41.65 | 40.8 | 102.0833 | 2.0833 | 0.17704 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75211-25DIW | ICPOE15287A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 1880123 | 2015-08-03 | 42.08 | 40.8 | 103.1373 | 3.1373 | 0.2666 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75211-25DIW | ICPOE15215C
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 1950024 | 2015-08-04 | 43.96 | 40.8 | 107.7451 | 7.7451 | 0.65817 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75211-25DIW | ICPOE15215C
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 2030112 | 2015-08-18 | 41.05 | 40.8 | 100.6127 | 0.61275 | 0.05207 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75211-25DIW | ICPOE15229C
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 2090021 | 2015-08-26 | 42.06 | 40.8 | 103.0882 | 3.0882 | 0.26243 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75211-25DIW | ICPOE15236C
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 1910076 | 2015-08-04 | 168.1 | 165.8 | 101.3872 | 1.3872 | 0.21806 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 25213-75211 | ICPOE15215C
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 2050099 | 2015-08-25 | 169.5 | 165.8 | 102.2316 | 2.2316 | 0.3508 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 25213-75211 | ICPOE15236C
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 2010039 | 2015-08-17 | 121.2 | 118.5 | 102.2785 | 2.2785 | 0.32246 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75209-25DIW | ICPOE15229C
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2015 | 2150036 | 2015-09-01 | 122.2 | 118.5 | 103.1224 | 3.1224 | 0.44189 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75209-25DIW | ICPOE15243A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 2890004 | 2015-11-07 | 59.63 | 54.1 | 110.2218 | 10.2218 | 1.5666 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | T217 | ICPOE15308A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 3030023 | 2015-12-02 | 58.01 | 54.1 | 107.2274 | 7.2274 | 1.1076 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | T217 | ICPOE15336A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 1100108 | 2016-04-25 | 55.75 | 54.1 | 103.0499 | 3.0499 | 0.46742 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | T217 | ICPOE16116A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 1200078 | 2016-06-23 | 58.11 | 54.1 | 107.4122 | 7.4122 | 1.136 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | T217 | ICPOE16174A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 2860107 | 2015-10-24 | 376.7 | 375 | 100.4533 | 0.45333 | 0.084307 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75213-25DIW | ICPOE15295A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 2990059 | 2015-11-12 | 397 | 375 | 105.8667 | 5.8667 | 1.091 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75213-25DIW | ICPOE15314A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 1020033 | 2016-04-20 | 391 | 375 | 104.2667 | 4.2667 | 0.79348 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | 75213-25DIW | ICPOE16109B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 1160085 | 2016-09-12 | 384.7 | 375 | 102.5867 | 2.5867 | 0.48105 | 4.6 | 3514 | Result determined by alternate method | See result laboratory comment |  | µg/L | 75213-25DIW | ICPOE16256A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 1620234 | 2016-08-18 | 99.05 | 86 | 115.1744 | 15.1744 | 1.9333 | 4.6 | 3514 | Result determined by alternate method | See result laboratory comment |  | µg/L | T215 | ICPOE16231A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 1760254 | 2016-08-19 | 89.96 | 86 | 104.6047 | 4.6047 | 0.58667 | 4.6 | 3514 |  |  |  | µg/L | T215 | ICPOE16232B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 1740082 | 2016-08-12 | 58.03 | 54.4 | 106.6728 | 6.6728 | 0.86635 | 4.6 | 3514 |  |  |  | µg/L | T211 | ICPOE16225A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 1870014 | 2016-08-18 | 56.4 | 54.4 | 103.6765 | 3.6765 | 0.47733 | 4.6 | 3514 |  |  |  | µg/L | T211 | ICPOE16231A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 2210021 | 2016-09-13 | 162.2 | 158 | 102.6582 | 2.6582 | 0.42 | 4.6 | 3514 |  |  |  | µg/L | T209 | ICPOE16256A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 2350041 | 2016-11-30 | 164.6 | 158 | 104.1772 | 4.1772 | 0.66 | 4.6 | 3514 |  |  |  | µg/L | T209 | ICPOE16335A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 2280044 | 2016-11-28 | 352.3 | 349 | 100.9456 | 0.94556 | 0.14103 | 4.6 | 3514 |  |  |  | µg/L | T219 | ICPOE16333A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 2440086 | 2016-12-01 | 355.1 | 349 | 101.7479 | 1.7479 | 0.26068 | 4.6 | 3514 |  |  |  | µg/L | T219 | ICPOE16336A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 3200021 | 2015-12-03 | 161.1 | 158 | 101.962 | 1.962 | 0.31 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | T209 | ICPOE15336A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 3340003 | 2015-12-31 | 162.5 | 158 | 102.8481 | 2.8481 | 0.45 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | T209 | ICPOE15365A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 1380005 | 2016-08-08 | 168.5 | 158 | 106.6456 | 6.6456 | 1.05 | 4.6 | 3514 | Result determined by alternate method | See result laboratory comment |  | µg/L | T209 | ICPOE16216C
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 1480195 | 2016-06-10 | 164.2 | 158 | 103.9241 | 3.9241 | 0.62 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | T209 | ICPOE16161B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 3140014 | 2015-12-02 | 349.2 | 349 | 100.0573 | 0.057307 | 0.008547 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | T219 | ICPOE15336A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 3270016 | 2015-12-04 | 352.7 | 349 | 101.0602 | 1.0602 | 0.15812 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | T219 | ICPOE15337A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 1270017 | 2016-06-23 | 362 | 349 | 103.7249 | 3.7249 | 0.55556 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | T219 | ICPOE16174A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 1450037 | 2016-06-09 | 353.9 | 349 | 101.404 | 1.404 | 0.2094 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | T219 | ICPOE16161B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 0360140 | 2016-02-16 | 161.8 | 158 | 102.4051 | 2.4051 | 0.38 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | T209 | ICPOE16047A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 0500013 | 2016-03-08 | 161.1 | 158 | 101.962 | 1.962 | 0.31 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | T209 | ICPOE16067A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 0080060 | 2016-01-20 | 60.52 | 54.1 | 111.8669 | 11.8669 | 1.8187 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | T217 | ICPOE16020A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 0220021 | 2016-02-02 | 58 | 54.1 | 107.2089 | 7.2089 | 1.1048 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | T217 | ICPOE16033A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 0740017 | 2016-04-05 | 60.84 | 54.4 | 111.8382 | 11.8382 | 1.537 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | T211 | ICPOE16095A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 0880042 | 2016-04-15 | 57.87 | 54.4 | 106.3787 | 6.3787 | 0.82816 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | T211 | ICPOE16103A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 2570067 | 2016-12-02 | 56.58 | 54.4 | 104.0074 | 4.0074 | 0.52029 | 4.6 | 3514 |  |  |  | µg/L | T211 | ICPOE16337A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 2710001 | 2016-12-03 | 57.44 | 54.4 | 105.5882 | 5.5882 | 0.72554 | 4.6 | 3514 |  |  |  | µg/L | T211 | ICPOE16337B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 0780004 | 2016-04-05 | 92.02 | 86 | 107 | 7 | 0.89185 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | T215 | ICPOE16095A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 0920001 | 2016-04-15 | 86.25 | 86 | 100.2907 | 0.2907 | 0.037037 | 4.6 | 3514 | See result laboratory comment |  |  | µg/L | T215 | ICPOE16103A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 2600135 | 2016-12-03 | 86.88 | 86 | 101.0233 | 1.0233 | 0.13037 | 4.6 | 3514 |  |  |  | µg/L | T215 | ICPOE16337B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 2740113 | 2016-12-05 | 88.89 | 86 | 103.3605 | 3.3605 | 0.42815 | 4.6 | 3514 |  |  |  | µg/L | T215 | ICPOE16340A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 3490011 | 2015-12-31 | 96.93 | 86 | 112.7093 | 12.7093 | 1.6193 | 4.6 | 3514 | Analyte detected in laboratory blank | See result laboratory comment |  | µg/L | T215 | ICPOE15365A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 3630062 | 2016-01-20 | 105.7 | 86 | 122.907 | 22.907 | 2.9185 | 4.6 | 3514 | Value verified by rerun, same method | See result laboratory comment |  | µg/L | T215 | ICPOE16020A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 1900148 | 2016-09-08 | 52.09 | 54.1 | 96.2847 | -3.7153 | -0.56941 | 4.6 | 3514 | Sample was diluted |  |  | µg/L | T217 | ICPOE16252A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 2040161 | 2016-11-29 | 53.47 | 54.1 | 98.8355 | -1.1645 | -0.17847 | 4.6 | 3514 | Analyte detected in laboratory blank |  |  | µg/L | T217 | ICPOE16334A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 2000017 | 2016-08-22 | 412.9 | 375 | 110.1067 | 10.1067 | 1.8796 | 4.6 | 3514 |  |  |  | µg/L | 75213-25DIW | ICPOE16235A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2016 | 2140006 | 2016-08-22 | 403.1 | 375 | 107.4933 | 7.4933 | 1.3935 | 4.6 | 3514 |  |  |  | µg/L | 75213-25DIW | ICPOE16235A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 2880016 | 2016-12-05 | 51.21 | 54.1 | 94.658 | -5.342 | -0.8187 | 4.6 | 3514 |  |  |  | µg/L | T217 | ICPOE16340A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 3020132 | 2016-12-06 | 50.49 | 54.1 | 93.3272 | -6.6728 | -1.0227 | 4.6 | 3514 |  |  |  | µg/L | T217 | ICPOE16341A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 1040168 | 2017-04-26 | 50.78 | 54.1 | 93.8632 | -6.1368 | -0.94051 | 4.6 | 3514 |  |  |  | µg/L | T217 | ICPOE17116A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 1180066 | 2017-05-22 | 50.86 | 54.1 | 94.0111 | -5.9889 | -0.91785 | 4.6 | 3514 |  |  |  | µg/L | T217 | ICPOE17139A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 2850006 | 2016-12-05 | 326.3 | 328 | 99.4817 | -0.51829 | -0.10366 | 4.6 | 3514 |  |  |  | µg/L | T221 | ICPOE16340A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 2980006 | 2016-12-06 | 328.6 | 328 | 100.1829 | 0.18293 | 0.036585 | 4.6 | 3514 |  |  |  | µg/L | T221 | ICPOE16341A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 1010341 | 2017-04-20 | 331.8 | 328 | 101.1585 | 1.1585 | 0.23171 | 4.6 | 3514 |  |  |  | µg/L | T221 | ICPOE17110A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 1140023 | 2017-05-22 | 332.5 | 328 | 101.372 | 1.372 | 0.27439 | 4.6 | 3514 |  |  |  | µg/L | T221 | ICPOE17139A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 1600150 | 2017-06-23 | 89.16 | 86 | 103.6744 | 3.6744 | 0.46815 | 10 | 3514 |  |  |  | µg/L | T215 | ICPOE17174A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 1740149 | 2017-07-05 | 85.9 | 86 | 99.8837 | -0.11628 | -0.014815 | 10 | 3514 |  |  |  | µg/L | T215 | ICPOE17184A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 1700056 | 2017-07-03 | 56.38 | 54.4 | 103.6397 | 3.6397 | 0.396 | 10 | 3514 |  |  |  | µg/L | T211 | ICPOE17181A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 1810233 | 2017-07-11 | 57.42 | 54.4 | 105.5515 | 5.5515 | 0.604 | 10 | 3514 |  |  |  | µg/L | T211 | ICPOE17192B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 2260060 | 2017-08-25 | 383.1 | 369 | 103.8211 | 3.8211 | 0.76216 | 10 | 3514 |  |  |  | µg/L | T223 | ICPOE17237A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 2400046 | 2017-09-07 | 383.5 | 369 | 103.9295 | 3.9295 | 0.78378 | 10 | 3514 |  |  |  | µg/L | T223 | ICPOE17250A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 2300179 | 2017-09-06 | 346.5 | 349 | 99.2837 | -0.71633 | -0.10684 | 10 | 3514 |  |  |  | µg/L | T219 | ICPOE17244A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 2440274 | 2017-09-15 | 340.1 | 349 | 97.4499 | -2.5501 | -0.38034 | 10 | 3514 |  |  |  | µg/L | T219 | ICPOE17257A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 3270001 | 2016-12-07 | 375.4 | 369 | 101.7344 | 1.7344 | 0.34595 | 4.6 | 3514 |  |  |  | µg/L | T223 | ICPOE16342A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 3400001 | 2016-12-19 | 371.7 | 369 | 100.7317 | 0.73171 | 0.14595 | 4.6 | 3514 |  |  |  | µg/L | T223 | ICPOE16354A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 1320085 | 2017-05-31 | 374.3 | 369 | 101.4363 | 1.4363 | 0.28649 | 10 | 3514 |  |  |  | µg/L | T223 | ICPOE17151C
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 1460137 | 2017-06-14 | 371.9 | 369 | 100.7859 | 0.78591 | 0.15676 | 10 | 3514 |  |  |  | µg/L | T223 | ICPOE17163A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 3190001 | 2016-12-07 | 351.4 | 349 | 100.6877 | 0.68768 | 0.10256 | 4.6 | 3514 |  |  |  | µg/L | T219 | ICPOE16342A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 3350024 | 2016-12-07 | 345.5 | 349 | 98.9971 | -1.0029 | -0.14957 | 4.6 | 3514 |  |  |  | µg/L | T219 | ICPOE16342A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 1280011 | 2017-05-30 | 338.7 | 349 | 97.0487 | -2.9513 | -0.44017 | 10 | 3514 |  |  |  | µg/L | T219 | ICPOE17150A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 1420031 | 2017-06-01 | 353.3 | 349 | 101.2321 | 1.2321 | 0.18376 | 10 | 3514 |  |  |  | µg/L | T219 | ICPOE17152A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 0370012 | 2017-02-16 | 367.6 | 369 | 99.6206 | -0.3794 | -0.075676 | 4.6 | 3514 |  |  |  | µg/L | T223 | ICPOE17046A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 0480085 | 2017-03-03 | 380.6 | 369 | 103.1436 | 3.1436 | 0.62703 | 4.6 | 3514 |  |  |  | µg/L | T223 | ICPOE17059A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 0060077 | 2017-01-25 | 50.34 | 54.1 | 93.0499 | -6.9501 | -1.0652 | 4.6 | 3514 |  |  |  | µg/L | T217 | ICPOE17023A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 0230026 | 2017-01-31 | 49.84 | 54.1 | 92.1257 | -7.8743 | -1.2068 | 4.6 | 3514 |  |  |  | µg/L | T217 | ICPOE17031A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 0720004 | 2017-03-22 | 56.69 | 54.4 | 104.2096 | 4.2096 | 0.54654 | 4.6 | 3514 |  |  |  | µg/L | T211 | ICPOE17081A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 0860004 | 2017-04-10 | 56.17 | 54.4 | 103.2537 | 3.2537 | 0.42243 | 4.6 | 3514 |  |  |  | µg/L | T211 | ICPOE17100A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 2550107 | 2017-10-03 | 51.89 | 54.4 | 95.386 | -4.614 | -0.502 | 10 | 3514 |  |  |  | µg/L | T211 | ICPOE17275A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 2680027 | 2017-10-17 | 53.51 | 54.4 | 98.364 | -1.636 | -0.178 | 10 | 3514 |  |  |  | µg/L | T211 | ICPOE17290A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 0790001 | 2017-03-28 | 88.63 | 86 | 103.0581 | 3.0581 | 0.38963 | 4.6 | 3514 |  |  |  | µg/L | T215 | ICPOE17087A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 0900189 | 2017-04-11 | 89.65 | 86 | 104.2442 | 4.2442 | 0.54074 | 4.6 | 3514 |  |  |  | µg/L | T215 | ICPOE17101A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 2580248 | 2017-10-03 | 88.33 | 86 | 102.7093 | 2.7093 | 0.34519 | 10 | 3514 |  |  |  | µg/L | T215 | ICPOE17276A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 2750013 | 2017-10-17 | 83.44 | 86 | 97.0233 | -2.9767 | -0.37926 | 10 | 3514 |  |  |  | µg/L | T215 | ICPOE17290A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 3440102 | 2016-12-19 | 96.5 | 86 | 112.2093 | 12.2093 | 1.5556 | 4.6 | 3514 |  |  |  | µg/L | T215 | ICPOE16354A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 3580162 | 2017-01-25 | 83.36 | 86 | 96.9302 | -3.0698 | -0.39111 | 4.6 | 3514 |  |  |  | µg/L | T215 | ICPOE17023A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 1920148 | 2017-07-21 | 51 | 54.1 | 94.2699 | -5.7301 | -0.62 | 10 | 3514 |  |  |  | µg/L | T217 | ICPOE17202A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 2020036 | 2017-07-28 | 50.64 | 54.1 | 93.6044 | -6.3956 | -0.692 | 10 | 3514 |  |  |  | µg/L | T217 | ICPOE17209A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 1980032 | 2017-07-21 | 339 | 328 | 103.3537 | 3.3537 | 0.67073 | 10 | 3514 |  |  |  | µg/L | T221 | ICPOE17202A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2017 | 2120001 | 2017-08-15 | 333.6 | 328 | 101.7073 | 1.7073 | 0.34146 | 10 | 3514 |  |  |  | µg/L | T221 | ICPOE17222A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 2840110 | 2018-10-24 | 841.3 | 847 | 99.327 | -0.67296 | -0.12206 | 10 | 3514 |  |  |  | µg/L | T229 | ICPOE18297A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 2980089 | 2018-11-14 | 853.3 | 847 | 100.7438 | 0.7438 | 0.1349 | 10 | 3514 |  |  |  | µg/L | T229 | ICPOE18318A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 1010104 | 2019-05-10 | 845.8 | 847 | 99.8583 | -0.14168 | -0.025696 | 10 | 3514 |  |  |  | µg/L | T229 | ICPOE19129B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 1150183 | 2019-05-10 | 859.6 | 847 | 101.4876 | 1.4876 | 0.26981 | 10 | 3514 |  |  |  | µg/L | T229 | ICPOE19129B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 2960210 | 2018-11-13 | 330.6 | 328 | 100.7927 | 0.79268 | 0.15854 | 10 | 3514 |  |  |  | µg/L | T221 | ICPOE18317A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 0990225 | 2019-05-10 | 321.9 | 328 | 98.1402 | -1.8598 | -0.37195 | 10 | 3514 |  |  |  | µg/L | T221 | ICPOE19129B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 1130094 | 2019-05-10 | 332.7 | 328 | 101.4329 | 1.4329 | 0.28659 | 10 | 3514 |  |  |  | µg/L | T221 | ICPOE19130A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 1580172 | 2019-06-28 | 330.4 | 330 | 100.1212 | 0.12121 | 0.024242 | 10 | 3514 |  |  |  | µg/L | T227 | ICPOE19179A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 1720211 | 2019-07-31 | 336.5 | 330 | 101.9697 | 1.9697 | 0.39394 | 10 | 3514 | See result laboratory comment |  |  | µg/L | T227 | ICPOE19212A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 1640208 | 2019-06-28 | 37.71 | 38.8 | 97.1907 | -2.8093 | -0.16718 | 10 | 3514 |  |  |  | µg/L | T225 | ICPOE19179A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 1780228 | 2019-07-31 | 40.65 | 38.8 | 104.768 | 4.768 | 0.28374 | 10 | 3514 |  |  |  | µg/L | T225 | ICPOE19212A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 2250170 | 2019-09-16 | 379.3 | 369 | 102.7913 | 2.7913 | 0.55676 | 10 | 3514 |  |  |  | µg/L | T223 | ICPOE19259A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 2390201 | 2019-09-19 | 373.6 | 369 | 101.2466 | 1.2466 | 0.24865 | 10 | 3514 |  |  |  | µg/L | T223 | ICPOE19262B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 2270232 | 2019-09-18 | 251.1 | 253 | 99.249 | -0.75099 | -0.1502 | 10 | 3514 | See result laboratory comment |  |  | µg/L | T231 | ICPOE19261B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 2410096 | 2019-09-19 | 258 | 253 | 101.9763 | 1.9763 | 0.39526 | 10 | 3514 |  |  |  | µg/L | T231 | ICPOE19262B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 3250018 | 2018-12-10 | 383.9 | 369 | 104.0379 | 4.0379 | 0.80541 | 10 | 3514 |  |  |  | µg/L | T223 | ICPOE18344B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 3330149 | 2018-12-20 | 367.4 | 369 | 99.5664 | -0.4336 | -0.086486 | 10 | 3514 |  |  |  | µg/L | T223 | ICPOE18354A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 1360140 | 2019-06-05 | 372.8 | 369 | 101.0298 | 1.0298 | 0.20541 | 10 | 3514 |  |  |  | µg/L | T223 | ICPOE19156B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 1550158 | 2019-06-20 | 376.4 | 369 | 102.0054 | 2.0054 | 0.4 | 10 | 3514 | See result laboratory comment |  |  | µg/L | T223 | ICPOE19171A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 3130082 | 2018-12-07 | 249.8 | 253 | 98.7352 | -1.2648 | -0.25296 | 10 | 3514 |  |  |  | µg/L | T231 | ICPOE18341A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 3310047 | 2018-12-10 | 258.2 | 253 | 102.0553 | 2.0553 | 0.41107 | 10 | 3514 |  |  |  | µg/L | T231 | ICPOE18344B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 1300189 | 2019-06-04 | 258.7 | 253 | 102.253 | 2.253 | 0.45059 | 10 | 3514 | See result laboratory comment |  |  | µg/L | T231 | ICPOE19151A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 1480032 | 2019-06-18 | 256.9 | 253 | 101.5415 | 1.5415 | 0.3083 | 10 | 3514 |  |  |  | µg/L | T231 | ICPOE19169A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 0570185 | 2019-04-18 | 369.4 | 369 | 100.1084 | 0.1084 | 0.021622 | 10 | 3514 | See result laboratory comment |  |  | µg/L | T223 | ICPOE19108A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 0720017 | 2019-04-25 | 41.75 | 38.8 | 107.6031 | 7.6031 | 0.45245 | 10 | 3514 | See result laboratory comment |  |  | µg/L | T225 | ICPOE19115A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 0860001 | 2019-04-26 | 39.17 | 38.8 | 100.9536 | 0.95361 | 0.056748 | 10 | 3514 | See result laboratory comment |  |  | µg/L | T225 | ICPOE19116A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 2530046 | 2019-10-25 | 39.41 | 38.8 | 101.5722 | 1.5722 | 0.093558 | 5 | 3514 |  |  |  | µg/L | T225 | ICPOE19297B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 2670167 | 2019-11-06 | 38.7 | 38.8 | 99.7423 | -0.25773 | -0.015337 | 5 | 3514 |  |  |  | µg/L | T225 | ICPOE19310A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 0730066 | 2019-04-25 | 331.8 | 330 | 100.5455 | 0.54545 | 0.10909 | 10 | 3514 |  |  |  | µg/L | T227 | ICPOE19115A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 0870141 | 2019-04-26 | 327.6 | 330 | 99.2727 | -0.72727 | -0.14545 | 10 | 3514 |  |  |  | µg/L | T227 | ICPOE19116A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 2560157 | 2019-10-25 | 339.2 | 330 | 102.7879 | 2.7879 | 0.55758 | 5 | 3514 |  |  |  | µg/L | T227 | ICPOE19297B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 2690146 | 2019-11-06 | 330.2 | 330 | 100.0606 | 0.060606 | 0.012121 | 5 | 3514 |  |  |  | µg/L | T227 | ICPOE19310A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 3410266 | 2019-02-01 | 337.4 | 330 | 102.2424 | 2.2424 | 0.44848 | 10 | 3514 |  |  |  | µg/L | T227 | ICPOE19032A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 3550315 | 2019-02-08 | 327.1 | 330 | 99.1212 | -0.87879 | -0.17576 | 10 | 3514 |  |  |  | µg/L | T227 | ICPOE19039B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 1890001 | 2019-08-01 | 859.4 | 847 | 101.464 | 1.464 | 0.26552 | 10 | 3514 | See result laboratory comment |  |  | µg/L | T229 | ICPOE19213B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 2050047 | 2019-09-16 | 855.5 | 847 | 101.0035 | 1.0035 | 0.18201 | 10 | 3514 |  |  |  | µg/L | T229 | ICPOE19259A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 1930194 | 2019-08-07 | 332.5 | 328 | 101.372 | 1.372 | 0.27439 | 10 | 3514 |  |  |  | µg/L | T221 | ICPOE19219A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2019 | 2060244 | 2019-09-16 | 333.4 | 328 | 101.6463 | 1.6463 | 0.32927 | 10 | 3514 |  |  |  | µg/L | T221 | ICPOE19259A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 2910179 | 2019-11-12 | 824.6 | 847 | 97.3554 | -2.6446 | -0.47966 | 5 | 3514 |  |  |  | µg/L | T229 | ICPOE19316A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 3040164 | 2019-12-04 | 854 | 847 | 100.8264 | 0.82645 | 0.14989 | 5 | 3514 |  |  |  | µg/L | T229 | ICPOE19338A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 1070055 | 2020-05-05 | 823 | 847 | 97.1665 | -2.8335 | -0.51392 | 5 | 3514 |  |  |  | µg/L | T229 | ICPOE20126B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 2840134 | 2019-11-08 | 281.7 | 279 | 100.9677 | 0.96774 | 0.19355 | 5 | 3514 |  |  |  | µg/L | T233 | ICPOE19312A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 3030024 | 2019-11-25 | 280.8 | 279 | 100.6452 | 0.64516 | 0.12903 | 5 | 3514 |  |  |  | µg/L | T233 | ICPOE19329B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 1040011 | 2020-04-27 | 274.2 | 279 | 98.2796 | -1.7204 | -0.34409 | 5 | 3514 | See result laboratory comment |  |  | µg/L | T233 | ICPOE20118B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 1150060 | 2020-05-07 | 276.8 | 279 | 99.2115 | -0.78853 | -0.15771 | 5 | 3514 | See result laboratory comment |  |  | µg/L | T233 | ICPOE20128B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 1570002 | 2020-07-16 | 335.6 | 330 | 101.697 | 1.697 | 0.33939 | 5 | 3514 |  |  |  | µg/L | T227 | ICPOE20198A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 1710162 | 2020-07-21 | 331.2 | 330 | 100.3636 | 0.36364 | 0.072727 | 5 | 3514 |  |  |  | µg/L | T227 | ICPOE20203A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 1630146 | 2020-07-20 | 47.25 | 38.8 | 121.7784 | 21.7784 | 1.296 | 5 | 3514 |  |  |  | µg/L | T225 | ICPOE20202A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 1770247 | 2020-07-17 | 42.61 | 38.8 | 109.8196 | 9.8196 | 0.58436 | 5 | 3514 |  |  |  | µg/L | T225 | ICPOE20198A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 2200219 | 2020-08-27 | 713.3 | 696 | 102.4856 | 2.4856 | 0.49713 | 5 | 3514 |  |  |  | µg/L | T235 | ICPOE20248B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 2390033 | 2020-09-10 | 705.8 | 696 | 101.408 | 1.408 | 0.28161 | 5 | 3514 |  |  |  | µg/L | T235 | ICPOE20254A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 2260121 | 2020-08-27 | 255.5 | 253 | 100.9881 | 0.98814 | 0.19763 | 5 | 3514 |  |  |  | µg/L | T231 | ICPOE20248B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 2400049 | 2020-09-10 | 255.4 | 253 | 100.9486 | 0.94862 | 0.18972 | 5 | 3514 |  |  |  | µg/L | T231 | ICPOE20254A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 3180077 | 2019-12-04 | 704.5 | 696 | 101.2213 | 1.2213 | 0.24425 | 5 | 3514 |  |  |  | µg/L | T235 | ICPOE19338A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 3370104 | 2020-01-14 | 688.2 | 696 | 98.8793 | -1.1207 | -0.22414 | 5 | 3514 |  |  |  | µg/L | T235 | ICPOE20014A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 3120135 | 2019-12-04 | 254 | 253 | 100.3953 | 0.39526 | 0.079051 | 5 | 3514 |  |  |  | µg/L | T231 | ICPOE19338A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 3260057 | 2020-01-14 | 250.8 | 253 | 99.1304 | -0.86957 | -0.17391 | 5 | 3514 |  |  |  | µg/L | T231 | ICPOE20014A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 1290023 | 2020-06-01 | 254.4 | 253 | 100.5534 | 0.55336 | 0.11067 | 5 | 3514 |  |  |  | µg/L | T231 | ICPOE20153A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 1470041 | 2020-06-15 | 253 | 253 | 100 | 0 | 0 | 5 | 3514 |  |  |  | µg/L | T231 | ICPOE20167B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 0420074 | 2020-02-26 | 673.3 | 696 | 96.7385 | -3.2615 | -0.6523 | 5 | 3514 |  |  |  | µg/L | T235 | ICPOE20057B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 0560054 | 2020-03-05 | 709.1 | 696 | 101.8822 | 1.8822 | 0.37644 | 5 | 3514 | See result laboratory comment |  |  | µg/L | T235 | ICPOE20064A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 0150016 | 2020-02-06 | 827.9 | 847 | 97.745 | -2.255 | -0.40899 | 5 | 3514 |  |  |  | µg/L | T229 | ICPOE20037A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 0280068 | 2020-02-06 | 849.8 | 847 | 100.3306 | 0.33058 | 0.059957 | 5 | 3514 |  |  |  | µg/L | T229 | ICPOE20037A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 0700086 | 2020-03-19 | 37.37 | 38.8 | 96.3144 | -3.6856 | -0.21933 | 5 | 3514 |  |  |  | µg/L | T225 | ICPOE20079A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 0840025 | 2020-04-08 | 39.17 | 38.8 | 100.9536 | 0.95361 | 0.056748 | 5 | 3514 |  |  |  | µg/L | T225 | ICPOE20098A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 2550049 | 2020-09-29 | 41 | 38.8 | 105.6701 | 5.6701 | 0.33742 | 5 | 3514 |  |  |  | µg/L | T225 | ICPOE20273B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 2690022 | 2020-10-14 | 39.77 | 38.8 | 102.5 | 2.5 | 0.14877 | 5 | 3514 |  |  |  | µg/L | T225 | ICPOE20288B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 0730160 | 2020-04-16 | 345.6 | 330 | 104.7273 | 4.7273 | 0.94545 | 5 | 3514 |  |  |  | µg/L | T227 | ICPOE20107A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 0860002 | 2020-04-08 | 337.4 | 330 | 102.2424 | 2.2424 | 0.44848 | 5 | 3514 | See result laboratory comment |  |  | µg/L | T227 | ICPOE20098A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 2610177 | 2020-09-29 | 337 | 330 | 102.1212 | 2.1212 | 0.42424 | 5 | 3514 |  |  |  | µg/L | T227 | ICPOE20273B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 2750113 | 2020-10-14 | 325.7 | 330 | 98.697 | -1.303 | -0.26061 | 5 | 3514 |  |  |  | µg/L | T227 | ICPOE20288B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 3400073 | 2020-01-14 | 324.1 | 330 | 98.2121 | -1.7879 | -0.35758 | 5 | 3514 |  |  |  | µg/L | T227 | ICPOE20014A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 3600047 | 2020-01-15 | 327.8 | 330 | 99.3333 | -0.66667 | -0.13333 | 5 | 3514 |  |  |  | µg/L | T227 | ICPOE20014A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 1920105 | 2020-07-27 | 860.4 | 847 | 101.5821 | 1.5821 | 0.28694 | 5 | 3514 |  |  |  | µg/L | T229 | ICPOE20209A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 2110156 | 2020-08-24 | 865.1 | 847 | 102.137 | 2.137 | 0.38758 | 5 | 3514 |  |  |  | µg/L | T229 | ICPOE20237A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 1980098 | 2020-08-19 | 283.4 | 279 | 101.5771 | 1.5771 | 0.31541 | 5 | 3514 |  |  |  | µg/L | T233 | ICPOE20232A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2020 | 2130182 | 2020-08-21 | 279 | 279 | 100 | 0 | 0 | 5 | 3514 |  |  |  | µg/L | T233 | ICPOE20234A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 2890051 | 2020-11-13 | 841.9 | 847 | 99.3979 | -0.60213 | -0.10921 | 5 | 3514 |  |  |  | µg/L | T229 | ICPOE20318A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 3030155 | 2020-11-13 | 833.5 | 847 | 98.4061 | -1.5939 | -0.28908 | 5 | 3514 |  |  |  | µg/L | T229 | ICPOE20318A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 1050215 | 2021-06-10 | 841.9 | 847 | 99.3979 | -0.60213 | -0.10921 | 5 | 3514 |  |  |  | µg/L | T229 | ICPOE21168A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 1190108 | 2021-08-02 | 792.3 | 847 | 93.5419 | -6.4581 | -1.1713 | 5 | 3514 |  |  |  | µg/L | T229 | ICPOE21214B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 2830130 | 2020-10-19 | 281.2 | 279 | 100.7885 | 0.78853 | 0.15771 | 5 | 3514 |  |  |  | µg/L | T233 | ICPOE20293A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 2970237 | 2020-11-12 | 278.2 | 279 | 99.7133 | -0.28674 | -0.057348 | 5 | 3514 |  |  |  | µg/L | T233 | ICPOE20317A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 1030140 | 2021-06-10 | 275.6 | 279 | 98.7814 | -1.2186 | -0.24373 | 5 | 3514 |  |  |  | µg/L | T233 | ICPOE21168A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 1180043 | 2021-06-08 | 271.2 | 279 | 97.2043 | -2.7957 | -0.55914 | 5 | 3514 |  |  |  | µg/L | T233 | ICPOE21159B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 1600034 | 2021-07-01 | 85.53 | 93.7 | 91.2807 | -8.7193 | -0.91489 | 5 | 3514 |  |  |  | µg/L | T239 | ICPOE21182A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 1730215 | 2021-07-07 | 89.29 | 93.7 | 95.2935 | -4.7065 | -0.49384 | 5 | 3514 |  |  |  | µg/L | T239 | ICPOE21187B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 1610180 | 2021-07-01 | 587.3 | 620 | 94.7258 | -5.2742 | -1.0548 | 5 | 3514 |  |  |  | µg/L | T237 | ICPOE21182A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 1750331 | 2021-08-02 | 593.7 | 620 | 95.7581 | -4.2419 | -0.84839 | 5 | 3514 |  |  |  | µg/L | T237 | ICPOE21214B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 2180158 | 2021-09-09 | 701.2 | 696 | 100.7471 | 0.74713 | 0.14943 | 5 | 3514 |  |  |  | µg/L | T235 | ICPOE21251A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 2320154 | 2021-09-15 | 700.3 | 696 | 100.6178 | 0.61782 | 0.12356 | 5 | 3514 |  |  |  | µg/L | T235 | ICPOE21256A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 2240199 | 2021-09-14 | 250.8 | 253 | 99.1304 | -0.86957 | -0.17391 | 5 | 3514 |  |  |  | µg/L | T231 | ICPOE21256A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 2380347 | 2021-09-20 | 255 | 253 | 100.7905 | 0.79051 | 0.1581 | 5 | 3514 |  |  |  | µg/L | T231 | ICPOE21258A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 3180093 | 2020-11-25 | 689.7 | 696 | 99.0948 | -0.90517 | -0.18103 | 5 | 3514 |  |  |  | µg/L | T235 | ICPOE20330A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 3350002 | 2021-01-14 | 705.4 | 696 | 101.3506 | 1.3506 | 0.27011 | 5 | 3514 |  |  |  | µg/L | T235 | ICPOE21014A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 1330238 | 2021-06-09 | 703.1 | 696 | 101.0201 | 1.0201 | 0.20402 | 5 | 3514 |  |  |  | µg/L | T235 | ICPOE21159B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 1530099 | 2021-06-28 | 680.9 | 696 | 97.8305 | -2.1695 | -0.43391 | 5 | 3514 |  |  |  | µg/L | T235 | ICPOE21179B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 3110060 | 2020-11-13 | 251.8 | 253 | 99.5257 | -0.47431 | -0.094862 | 5 | 3514 |  |  |  | µg/L | T231 | ICPOE20317A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 3250099 | 2021-01-14 | 250.8 | 253 | 99.1304 | -0.86957 | -0.17391 | 5 | 3514 |  |  |  | µg/L | T231 | ICPOE21014A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 1300058 | 2021-06-09 | 255.9 | 253 | 101.1462 | 1.1462 | 0.22925 | 5 | 3514 |  |  |  | µg/L | T231 | ICPOE21159B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 1440087 | 2021-06-24 | 255.3 | 253 | 100.9091 | 0.90909 | 0.18182 | 5 | 3514 |  |  |  | µg/L | T231 | ICPOE21174B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 0480041 | 2021-03-11 | 674.8 | 696 | 96.954 | -3.046 | -0.6092 | 5 | 3514 |  |  |  | µg/L | T235 | ICPOE21070A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 0620101 | 2021-03-19 | 641.8 | 696 | 92.2126 | -7.7874 | -1.5575 | 5 | 3514 |  |  |  | µg/L | T235 | ICPOE21078A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 0120029 | 2021-01-26 | 863.5 | 847 | 101.9481 | 1.9481 | 0.35332 | 5 | 3514 |  |  |  | µg/L | T229 | ICPOE21026A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 0270013 | 2021-02-17 | 817.3 | 847 | 96.4935 | -3.5065 | -0.63597 | 5 | 3514 |  |  |  | µg/L | T229 | ICPOE21048A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 0680060 | 2021-03-19 | 620 | 620 | 100 | 0 | 0 | 5 | 3514 |  |  |  | µg/L | T237 | ICPOE21078A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 0820065 | 2021-03-29 | 638.5 | 620 | 102.9839 | 2.9839 | 0.59677 | 5 | 3514 |  |  |  | µg/L | T237 | ICPOE21088A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 2580240 | 2021-10-06 | 626.3 | 620 | 101.0161 | 1.0161 | 0.20323 | 5 | 3514 |  |  |  | µg/L | T237 | ICPOE21279A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 2670211 | 2021-10-19 | 623.3 | 620 | 100.5323 | 0.53226 | 0.10645 | 5 | 3514 |  |  |  | µg/L | T237 | ICPOE21292A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 0690089 | 2021-03-29 | 83.41 | 93.7 | 89.0181 | -10.9819 | -1.1523 | 5 | 3514 |  |  |  | µg/L | T239 | ICPOE21088A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 0840105 | 2021-05-04 | 81.92 | 93.7 | 87.428 | -12.572 | -1.3191 | 5 | 3514 |  |  |  | µg/L | T239 | ICPOE21124A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 2590007 | 2021-10-06 | 92.03 | 93.7 | 98.2177 | -1.7823 | -0.18701 | 5 | 3514 |  |  |  | µg/L | T239 | ICPOE21279A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 2790033 | 2021-10-18 | 92.55 | 93.7 | 98.7727 | -1.2273 | -0.12878 | 5 | 3514 |  |  |  | µg/L | T239 | ICPOE21291A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 3460123 | 2021-01-22 | 90.24 | 93.7 | 96.3074 | -3.6926 | -0.38746 | 5 | 3514 |  |  |  | µg/L | T239 | ICPOE21019A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 3640039 | 2021-01-14 | 107 | 93.7 | 114.1942 | 14.1942 | 1.4894 | 5 | 3514 |  |  |  | µg/L | T239 | ICPOE21014A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 1900156 | 2021-08-03 | 824 | 847 | 97.2845 | -2.7155 | -0.49251 | 5 | 3514 |  |  |  | µg/L | T229 | ICPOE21215B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 2040240 | 2021-08-12 | 863.4 | 847 | 101.9362 | 1.9362 | 0.35118 | 5 | 3514 |  |  |  | µg/L | T229 | ICPOE21224B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 1960203 | 2021-08-06 | 239.4 | 279 | 85.8065 | -14.1935 | -2.8387 | 5 | 3514 |  |  |  | µg/L | T233 | ICPOE21218A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2021 | 2100162 | 2021-08-12 | 279.1 | 279 | 100.0358 | 0.035842 | 0.0071685 | 5 | 3514 |  |  |  | µg/L | T233 | ICPOE21224B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 2940003 | 2021-11-01 | 235 | 232 | 101.2931 | 1.2931 | 0.2459 | 5 | 3514 |  |  |  | µg/L | T241 | ICPOE21305A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 3010097 | 2021-11-10 | 236.2 | 232 | 101.8103 | 1.8103 | 0.34426 | 5 | 3514 |  |  |  | µg/L | T241 | ICPOE21314B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 1040104 | 2022-05-04 | 246.2 | 232 | 106.1207 | 6.1207 | 1.1639 | 5 | 3514 |  |  |  | µg/L | T241 | ICPOE22124A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 1180144 | 2022-05-12 | 243 | 232 | 104.7414 | 4.7414 | 0.90164 | 5 | 3514 |  |  |  | µg/L | T241 | ICPOE22132A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 2860149 | 2021-11-24 | 284.1 | 279 | 101.828 | 1.828 | 0.36559 | 5 | 3514 |  |  |  | µg/L | T233 | ICPOE21328A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 2990148 | 2021-11-10 | 280.3 | 279 | 100.4659 | 0.46595 | 0.09319 | 5 | 3514 |  |  |  | µg/L | T233 | ICPOE21314B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 0980188 | 2022-04-19 | 289.7 | 279 | 103.8351 | 3.8351 | 0.76703 | 5 | 3514 |  |  |  | µg/L | T233 | ICPOE22108B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 1160192 | 2022-05-12 | 288.7 | 279 | 103.4767 | 3.4767 | 0.69534 | 5 | 3514 |  |  |  | µg/L | T233 | ICPOE22132A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 1660163 | 2022-07-15 | 90.05 | 93.7 | 96.1046 | -3.8954 | -0.40873 | 5 | 3514 |  |  |  | µg/L | T239 | ICPOE22196B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 1750117 | 2022-07-20 | 93.1 | 93.7 | 99.3597 | -0.64034 | -0.067189 | 5 | 3514 |  |  |  | µg/L | T239 | ICPOE22201A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 1670121 | 2022-07-16 | 640.9 | 620 | 103.371 | 3.371 | 0.67419 | 5 | 3514 |  |  |  | µg/L | T237 | ICPOE22196B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 1810186 | 2022-07-14 | 636 | 620 | 102.5806 | 2.5806 | 0.51613 | 5 | 3514 |  |  |  | µg/L | T237 | ICPOE22195A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 2220143 | 2022-09-30 | 720.3 | 696 | 103.4914 | 3.4914 | 0.69828 | 5 | 3514 |  |  |  | µg/L | T235 | ICPOE22272A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 2350173 | 2022-09-06 | 708.3 | 696 | 101.7672 | 1.7672 | 0.35345 | 5 | 3514 |  |  |  | µg/L | T235 | ICPOE22244A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 2230331 | 2022-09-12 | 608.1 | 641 | 94.8674 | -5.1326 | -1.0265 | 5 | 3514 |  |  |  | µg/L | T243 | ICPOE22251B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 2370216 | 2022-09-08 | 629.7 | 641 | 98.2371 | -1.7629 | -0.35257 | 5 | 3514 |  |  |  | µg/L | T243 | ICPOE22250B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 3190109 | 2021-11-24 | 706.9 | 696 | 101.5661 | 1.5661 | 0.31322 | 5 | 3514 |  |  |  | µg/L | T235 | ICPOE21328A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 3340035 | 2021-12-27 | 704 | 696 | 101.1494 | 1.1494 | 0.22989 | 5 | 3514 |  |  |  | µg/L | T235 | ICPOE21361A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 1370139 | 2022-05-25 | 717.6 | 696 | 103.1034 | 3.1034 | 0.62069 | 5 | 3514 |  |  |  | µg/L | T235 | ICPOE22145A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 1520233 | 2022-07-13 | 702 | 696 | 100.8621 | 0.86207 | 0.17241 | 5 | 3514 |  |  |  | µg/L | T235 | ICPOE22193A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 3090005 | 2021-11-24 | 4137 | 641 | 645.3978 | 545.3978 | 109.0796 | 5 | 3514 |  |  |  | µg/L | T243 | ICPOE21328A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 3260007 | 2021-12-27 | 641.2 | 641 | 100.0312 | 0.031201 | 0.0062402 | 5 | 3514 |  |  |  | µg/L | T243 | ICPOE21361A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 1300129 | 2022-05-24 | 633.6 | 641 | 98.8456 | -1.1544 | -0.23089 | 5 | 3514 |  |  |  | µg/L | T243 | ICPOE22143A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 1450287 | 2022-07-12 | 649.5 | 641 | 101.3261 | 1.3261 | 0.26521 | 5 | 3514 |  |  |  | µg/L | T243 | ICPOE22193A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 0470184 | 2022-03-04 | 700.8 | 696 | 100.6897 | 0.68966 | 0.13793 | 5 | 3514 |  |  |  | µg/L | T235 | ICPOE22063A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 0600064 | 2022-03-16 | 709 | 696 | 101.8678 | 1.8678 | 0.37356 | 5 | 3514 |  |  |  | µg/L | T235 | ICPOE22075A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 0110077 | 2022-02-15 | 242.9 | 232 | 104.6983 | 4.6983 | 0.89344 | 5 | 3514 | Value verified by rerun, same method |  |  | µg/L | T241 | ICPOE22046A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 0260159 | 2022-02-15 | 244 | 232 | 105.1724 | 5.1724 | 0.98361 | 5 | 3514 |  |  |  | µg/L | T241 | ICPOE22046A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 0810117 | 2022-04-07 | 643.5 | 620 | 103.7903 | 3.7903 | 0.75806 | 5 | 3514 |  |  |  | µg/L | T237 | ICPOE22097A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 0950119 | 2022-04-19 | 639.5 | 620 | 103.1452 | 3.1452 | 0.62903 | 5 | 3514 |  |  |  | µg/L | T237 | ICPOE22108B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 2560120 | 2022-09-27 | 638.2 | 620 | 102.9355 | 2.9355 | 0.5871 | 5 | 3514 |  |  |  | µg/L | T237 | ICPOE22269B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 2700272 | 2022-10-17 | 625.4 | 620 | 100.871 | 0.87097 | 0.17419 | 5 | 3514 |  |  |  | µg/L | T237 | ICPOE22290A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 0690225 | 2022-04-07 | 88.55 | 93.7 | 94.5037 | -5.4963 | -0.57671 | 5 | 3514 |  |  |  | µg/L | T239 | ICPOE22097A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 0830133 | 2022-04-07 | 96.08 | 93.7 | 102.54 | 2.54 | 0.26652 | 5 | 3514 |  |  |  | µg/L | T239 | ICPOE22097A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 2580151 | 2022-09-27 | 89.84 | 93.7 | 95.8805 | -4.1195 | -0.43225 | 5 | 3514 |  |  |  | µg/L | T239 | ICPOE22269B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 2720122 | 2022-10-17 | 88.72 | 93.7 | 94.6852 | -5.3148 | -0.55767 | 5 | 3514 |  |  |  | µg/L | T239 | ICPOE22290A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 3440003 | 2021-12-28 | 91.81 | 93.7 | 97.9829 | -2.0171 | -0.21165 | 5 | 3514 |  |  |  | µg/L | T239 | ICPOE21362A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 3630121 | 2022-01-26 | 94.75 | 93.7 | 101.1206 | 1.1206 | 0.11758 | 5 | 3514 |  |  |  | µg/L | T239 | ICPOE22026A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 1920046 | 2022-07-15 | 234 | 232 | 100.8621 | 0.86207 | 0.16393 | 5 | 3514 |  |  |  | µg/L | T241 | ICPOE22195A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 2070158 | 2022-08-09 | 247.9 | 232 | 106.8534 | 6.8534 | 1.3033 | 5 | 3514 |  |  |  | µg/L | T241 | ICPOE22221A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 1950118 | 2022-07-27 | 279.6 | 279 | 100.2151 | 0.21505 | 0.043011 | 5 | 3514 |  |  |  | µg/L | T233 | ICPOE22208A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2022 | 2090180 | 2022-08-09 | 287.6 | 279 | 103.0824 | 3.0824 | 0.61649 | 5 | 3514 |  |  |  | µg/L | T233 | ICPOE22221A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 2910100 | 2022-11-03 | 232.3 | 232 | 100.1293 | 0.12931 | 0.02459 | 5 | 3514 |  |  |  | µg/L | T241 | ICPOE22307A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 3000166 | 2022-11-03 | 236.1 | 232 | 101.7672 | 1.7672 | 0.33607 | 5 | 3514 |  |  |  | µg/L | T241 | ICPOE22307A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 1090191 | 2023-05-03 | 234.1 | 232 | 100.9052 | 0.90517 | 0.17213 | 5 | 3514 |  |  |  | µg/L | T241 | ICPOE23123B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 1230175 | 2023-05-11 | 228.6 | 232 | 98.5345 | -1.4655 | -0.27869 | 5 | 3514 |  |  |  | µg/L | T241 | ICPOE23130B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 2850200 | 2022-10-25 | 370.4 | 377 | 98.2493 | -1.7507 | -0.34197 | 5 | 3514 |  |  |  | µg/L | T245 | ICPOE22297A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 2980100 | 2022-11-03 | 374.9 | 377 | 99.443 | -0.55703 | -0.10881 | 5 | 3514 |  |  |  | µg/L | T245 | ICPOE22307A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 1010253 | 2023-05-03 | 373.4 | 377 | 99.0451 | -0.95491 | -0.18653 | 5 | 3514 |  |  |  | µg/L | T245 | ICPOE23122B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 1160089 | 2023-05-03 | 388.5 | 377 | 103.0504 | 3.0504 | 0.59585 | 5 | 3514 |  |  |  | µg/L | T245 | ICPOE23123B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 1640229 | 2023-06-23 | 91.8 | 93.7 | 97.9723 | -2.0277 | -0.21277 | 5 | 3514 |  |  |  | µg/L | T239 | ICPOE23166A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 1800090 | 2023-07-06 | 91.07 | 93.7 | 97.1932 | -2.8068 | -0.29451 | 5 | 3514 |  |  |  | µg/L | T239 | ICPOE23186C
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 1660193 | 2023-06-23 | 637.2 | 620 | 102.7742 | 2.7742 | 0.55484 | 5 | 3514 |  |  |  | µg/L | T237 | ICPOE23166A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 1860128 | 2023-07-13 | 632.8 | 620 | 102.0645 | 2.0645 | 0.4129 | 5 | 3514 |  |  |  | µg/L | T237 | ICPOE23194A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 2260045 | 2023-08-30 | 494.6 | 500 | 98.92 | -1.08 | -0.15836 | 5 | 3514 |  |  |  | µg/L | T247 | ICPOE23235A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 2430075 | 2023-09-14 | 489.9 | 500 | 97.98 | -2.02 | -0.29619 | 5 | 3514 |  |  |  | µg/L | T247 | ICPOE23257B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 2290217 | 2023-08-30 | 654.4 | 641 | 102.0905 | 2.0905 | 0.4181 | 5 | 3514 |  |  |  | µg/L | T243 | ICPOE23235A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 2480097 | 2023-09-15 | 665 | 641 | 103.7441 | 3.7441 | 0.74883 | 5 | 3514 |  |  |  | µg/L | T243 | ICPOE23258A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 3190030 | 2022-11-23 | 497.2 | 500 | 99.44 | -0.56 | -0.082111 | 5 | 3514 |  |  |  | µg/L | T247 | ICPOE22327B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 3340030 | 2022-12-14 | 493 | 500 | 98.6 | -1.4 | -0.20528 | 5 | 3514 |  |  |  | µg/L | T247 | ICPOE22348B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 1310003 | 2023-05-25 | 497.5 | 500 | 99.5 | -0.5 | -0.073314 | 5 | 3514 |  |  |  | µg/L | T247 | ICPOE23143B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 1460003 | 2023-06-01 | 500.1 | 500 | 100.02 | 0.02 | 0.0029326 | 5 | 3514 |  |  |  | µg/L | T247 | ICPOE23152A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 3120116 | 2022-11-23 | 651.4 | 641 | 101.6225 | 1.6225 | 0.32449 | 5 | 3514 |  |  |  | µg/L | T243 | ICPOE22327B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 3260049 | 2022-12-14 | 647.1 | 641 | 100.9516 | 0.95164 | 0.19033 | 5 | 3514 |  |  |  | µg/L | T243 | ICPOE22348B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 1290206 | 2023-05-25 | 669.3 | 641 | 104.415 | 4.415 | 0.883 | 5 | 3514 |  |  |  | µg/L | T243 | ICPOE23143B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 1430249 | 2023-05-30 | 650.3 | 641 | 101.4509 | 1.4509 | 0.29017 | 5 | 3514 |  |  |  | µg/L | T243 | ICPOE23146B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 0450135 | 2023-03-22 | 487 | 500 | 97.4 | -2.6 | -0.38123 | 5 | 3514 |  |  |  | µg/L | T247 | ICPOE23081A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 0610266 | 2023-04-27 | 489.8 | 500 | 97.96 | -2.04 | -0.29912 | 5 | 3514 |  |  |  | µg/L | T247 | ICPOE23117A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 0180009 | 2023-02-13 | 236.6 | 232 | 101.9828 | 1.9828 | 0.37705 | 5 | 3514 |  |  |  | µg/L | T241 | ICPOE23044A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 0270018 | 2023-02-10 | 236.1 | 232 | 101.7672 | 1.7672 | 0.33607 | 5 | 3514 |  |  |  | µg/L | T241 | ICPOE23040A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 0730106 | 2023-03-22 | 647.7 | 620 | 104.4677 | 4.4677 | 0.89355 | 5 | 3514 |  |  |  | µg/L | T237 | ICPOE23081A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 0870135 | 2023-05-02 | 631.8 | 620 | 101.9032 | 1.9032 | 0.38065 | 5 | 3514 |  |  |  | µg/L | T237 | ICPOE23122B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 2560013 | 2023-09-20 | 644.7 | 620 | 103.9839 | 3.9839 | 0.79677 | 5 | 3514 |  |  |  | µg/L | T237 | ICPOE23263A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 2680194 | 2023-10-04 | 643.9 | 620 | 103.8548 | 3.8548 | 0.77097 | 5 | 3514 |  |  |  | µg/L | T237 | ICPOE23277A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 0750098 | 2023-03-30 | 93.82 | 93.7 | 100.1281 | 0.12807 | 0.013438 | 5 | 3514 |  |  |  | µg/L | T239 | ICPOE23089A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 0890106 | 2023-04-27 | 90.18 | 93.7 | 96.2433 | -3.7567 | -0.39418 | 5 | 3514 |  |  |  | µg/L | T239 | ICPOE23117A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 2570184 | 2023-09-26 | 92.97 | 93.7 | 99.2209 | -0.77908 | -0.081747 | 5 | 3514 |  |  |  | µg/L | T239 | ICPOE23269A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 2720017 | 2023-10-17 | 89.43 | 93.7 | 95.4429 | -4.5571 | -0.47816 | 5 | 3514 |  |  |  | µg/L | T239 | ICPOE23290A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 3480158 | 2022-12-22 | 93.26 | 93.7 | 99.5304 | -0.46958 | -0.049272 | 5 | 3514 |  |  |  | µg/L | T239 | ICPOE22355B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 3630098 | 2023-01-10 | 88.71 | 93.7 | 94.6745 | -5.3255 | -0.55879 | 5 | 3514 |  |  |  | µg/L | T239 | ICPOE23010A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 1930108 | 2023-07-19 | 240 | 232 | 103.4483 | 3.4483 | 0.65574 | 5 | 3514 |  |  |  | µg/L | T241 | ICPOE23200B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 2050065 | 2023-08-04 | 234.7 | 232 | 101.1638 | 1.1638 | 0.22131 | 5 | 3514 |  |  |  | µg/L | T241 | ICPOE23215B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 1980051 | 2023-07-28 | 385 | 377 | 102.122 | 2.122 | 0.41451 | 5 | 3514 |  |  |  | µg/L | T245 | ICPOE23209B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2023 | 2080235 | 2023-08-04 | 386.8 | 377 | 102.5995 | 2.5995 | 0.50777 | 5 | 3514 |  |  |  | µg/L | T245 | ICPOE23215B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 2860130 | 2023-10-24 | 236.5 | 232 | 101.9397 | 1.9397 | 0.36885 | 5 | 3514 |  |  |  | µg/L | T241 | ICPOE23296A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 2990156 | 2023-11-07 | 234.2 | 232 | 100.9483 | 0.94828 | 0.18033 | 5 | 3514 | Analyte detected in laboratory blank |  |  | µg/L | T241 | ICPOE23311A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 1020160 | 2024-05-17 | 238.6 | 232 | 102.8448 | 2.8448 | 0.54098 | 5 | 3514 |  |  |  | µg/L | T241 | ICPOE24127A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 1160211 | 2024-05-30 | 248.5 | 232 | 107.1121 | 7.1121 | 1.3525 | 5 | 3514 |  |  |  | µg/L | T241 | ICPOE24151A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 2840060 | 2023-11-01 | 386 | 377 | 102.3873 | 2.3873 | 0.46632 | 5 | 3514 |  |  |  | µg/L | T245 | ICPOE23305A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 2970145 | 2023-11-07 | 386.6 | 377 | 102.5464 | 2.5464 | 0.49741 | 5 | 3514 |  |  |  | µg/L | T245 | ICPOE23311A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 0960074 | 2024-05-05 | 381.3 | 377 | 101.1406 | 1.1406 | 0.2228 | 5 | 3514 |  |  |  | µg/L | T245 | ICPOE24123A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 1140097 | 2024-05-17 | 391.3 | 377 | 103.7931 | 3.7931 | 0.74093 | 5 | 3514 |  |  |  | µg/L | T245 | ICPOE24127A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 1590042 | 2024-06-21 | 744 | 739 | 100.6766 | 0.67659 | 0.13532 | 5 | 3514 | Lab control sample (LCS) recovery outside of range or criteria |  |  | µg/L | T251 | ICPOE24172B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 1730051 | 2024-08-16 | 750.9 | 739 | 101.6103 | 1.6103 | 0.32206 | 5 | 3514 | Lab control sample (LCS) recovery outside of range or criteria |  |  | µg/L | T251 | ICPOE24229C
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 1650131 | 2024-08-14 | 81.43 | 79.5 | 102.4277 | 2.4277 | 0.43371 | 5 | 3514 |  |  |  | µg/L | T249 | ICPOE24226A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 1790107 | 2024-08-16 | 79.82 | 79.5 | 100.4025 | 0.40252 | 0.07191 | 5 | 3514 |  |  |  | µg/L | T249 | ICPOE24229C
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 2390060 | 2024-09-21 | 498.4 | 500 | 99.68 | -0.32 | -0.046921 | 5 | 3514 |  |  |  | µg/L | T247 | ICPOE24264A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 2280180 | 2024-09-20 | 641.6 | 641 | 100.0936 | 0.093604 | 0.018721 | 5 | 3514 |  |  |  | µg/L | T243 | ICPOE24264A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 2420140 | 2024-09-21 | 631.3 | 641 | 98.4867 | -1.5133 | -0.30265 | 5 | 3514 |  |  |  | µg/L | T243 | ICPOE24264A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 3210043 | 2023-11-24 | 497.9 | 500 | 99.58 | -0.42 | -0.061584 | 5 | 3514 |  |  |  | µg/L | T247 | ICPOE23328A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 3350125 | 2023-12-11 | 487.6 | 500 | 97.52 | -2.48 | -0.36364 | 5 | 3514 |  |  |  | µg/L | T247 | ICPOE23345A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 1380118 | 2024-06-12 | 498.6 | 500 | 99.72 | -0.28 | -0.041056 | 5 | 3514 |  |  |  | µg/L | T247 | ICPOE24164A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 1520089 | 2024-06-13 | 488.8 | 500 | 97.76 | -2.24 | -0.32845 | 5 | 3514 |  |  |  | µg/L | T247 | ICPOE24165B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 3190194 | 2023-11-24 | 644.8 | 641 | 100.5928 | 0.59282 | 0.11856 | 5 | 3514 |  |  |  | µg/L | T243 | ICPOE23328A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 3330064 | 2023-12-11 | 639.3 | 641 | 99.7348 | -0.26521 | -0.053042 | 5 | 3514 |  |  |  | µg/L | T243 | ICPOE23345A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 1360156 | 2024-06-21 | 652 | 641 | 101.7161 | 1.7161 | 0.34321 | 5 | 3514 |  |  |  | µg/L | T243 | ICPOE24172B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 1450041 | 2024-06-13 | 634.5 | 641 | 98.986 | -1.014 | -0.20281 | 5 | 3514 |  |  |  | µg/L | T243 | ICPOE24165B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 0400086 | 2024-03-07 | 462.1 | 500 | 92.42 | -7.58 | -1.1114 | 5 | 3514 |  |  |  | µg/L | T247 | ICPOE24067A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 0540083 | 2024-03-19 | 492 | 500 | 98.4 | -1.6 | -0.2346 | 5 | 3514 |  |  |  | µg/L | T247 | ICPOE24078A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 0050097 | 2024-01-22 | 242.4 | 232 | 104.4828 | 4.4828 | 0.85246 | 5 | 3514 |  |  |  | µg/L | T241 | ICPOE24019A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 0190081 | 2024-02-05 | 233.8 | 232 | 100.7759 | 0.77586 | 0.14754 | 5 | 3514 |  |  |  | µg/L | T241 | ICPOE24036A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 0720125 | 2024-04-19 | 75.95 | 79.5 | 95.5346 | -4.4654 | -0.79775 | 5 | 3514 |  |  |  | µg/L | T249 | ICPOE24110B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 0820074 | 2024-04-19 | 75.83 | 79.5 | 95.3836 | -4.6164 | -0.82472 | 5 | 3514 |  |  |  | µg/L | T249 | ICPOE24110B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 0790094 | 2024-05-04 | 721.3 | 739 | 97.6049 | -2.3951 | -0.47903 | 5 | 3514 |  |  |  | µg/L | T251 | ICPOE24123A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 0880079 | 2024-04-19 | 718.5 | 739 | 97.226 | -2.774 | -0.5548 | 5 | 3514 |  |  |  | µg/L | T251 | ICPOE24110A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 3420207 | 2023-12-14 | 737.7 | 739 | 99.8241 | -0.17591 | -0.035183 | 5 | 3514 |  |  |  | µg/L | T251 | ICPOE23348A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 3560062 | 2024-01-22 | 750.8 | 739 | 101.5968 | 1.5968 | 0.31935 | 5 | 3514 |  |  |  | µg/L | T251 | ICPOE24019A
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 1940137 | 2024-09-06 | 241.3 | 232 | 104.0086 | 4.0086 | 0.7623 | 5 | 3514 | Lab control sample (LCS) recovery outside of range or criteria |  |  | µg/L | T241 | ICPOE24240B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 2110070 | 2024-09-06 | 243.4 | 232 | 104.9138 | 4.9138 | 0.93443 | 5 | 3514 |  |  |  | µg/L | T241 | ICPOE24240B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 2000167 | 2024-09-06 | 407.9 | 377 | 108.1963 | 8.1963 | 1.601 | 5 | 3514 | Lab control sample (LCS) recovery outside of range or criteria |  |  | µg/L | T245 | ICPOE24240B
Iron, unfltd, ICP-OES, recov | 01045 | PLO07 | UNF | 2024 | 2140189 | 2024-09-19 | 392 | 377 | 103.9788 | 3.9788 | 0.7772 | 5 | 3514 | Lab control sample (LCS) recovery outside of range or criteria |  |  | µg/L | T245 | ICPOE24242A