## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Lab Value | Expected Conc. | % Recov | % Bias | # of QCUs | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2570132 | 2010-10-07 | 0.1801 | 0.18 | 100.0556 | 0.055556 | 0.0095293 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL264A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2640118 | 2010-10-07 | 0.18 | 0.18 | 100 | 0 | 0 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL278A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2670176 | 2010-10-13 | 0.1488 | 0.18 | 82.6667 | -17.3333 | -2.9731 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL278B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2770112 | 2010-10-28 | 0.1873 | 0.18 | 104.0556 | 4.0556 | 0.69564 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL280A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2570126 | 2010-10-07 | 0.1166 | 0.111 | 105.045 | 5.045 | 0.86536 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL264A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2580064 | 2010-10-07 | 0.113 | 0.111 | 101.8018 | 1.8018 | 0.30906 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL264A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2600196 | 2010-10-07 | 0.1116 | 0.111 | 100.5405 | 0.54054 | 0.092717 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL278A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2650029 | 2010-10-13 | 0.1116 | 0.111 | 100.5405 | 0.54054 | 0.092717 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL278B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2660113 | 2010-10-13 | 0.114 | 0.111 | 102.7027 | 2.7027 | 0.46359 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL278B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2700163 | 2010-10-28 | 0.1163 | 0.111 | 104.7748 | 4.7748 | 0.819 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL280A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2730103 | 2010-10-28 | 0.1096 | 0.111 | 98.7387 | -1.2613 | -0.21634 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL280A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2780041 | 2010-10-28 | 0.1188 | 0.111 | 107.027 | 7.027 | 1.2053 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL280A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0980133 | 2010-04-20 | 0.1168 | 0.111 | 105.2252 | 5.2252 | 0.89627 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL098A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1050195 | 2010-05-04 | 0.114 | 0.111 | 102.7027 | 2.7027 | 0.46359 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL110A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1120178 | 2010-05-12 | 0.1167 | 0.111 | 105.1351 | 5.1351 | 0.88081 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL118A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1190010 | 2010-05-25 | 0.1147 | 0.111 | 103.3333 | 3.3333 | 0.57176 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL131A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0970005 | 2010-04-20 | 0.1818 | 0.18 | 101 | 1 | 0.17153 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL098A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0990191 | 2010-04-29 | 0.1823 | 0.18 | 101.2778 | 1.2778 | 0.21917 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL109A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1030047 | 2010-05-04 | 0.1841 | 0.18 | 102.2778 | 2.2778 | 0.3907 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL110A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1090104 | 2010-05-12 | 0.1758 | 0.18 | 97.6667 | -2.3333 | -0.40023 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL118A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1110119 | 2010-05-12 | 0.18 | 0.18 | 100 | 0 | 0 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL118A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1130191 | 2010-05-20 | 0.181 | 0.18 | 100.5556 | 0.55556 | 0.095293 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL119A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1170060 | 2010-05-20 | 0.183 | 0.18 | 101.6667 | 1.6667 | 0.28588 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL119A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1200092 | 2010-05-25 | 0.1835 | 0.18 | 101.9444 | 1.9444 | 0.33352 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL131A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1540214 | 2010-07-02 | 0.1117 | 0.111 | 100.6306 | 0.63063 | 0.10817 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL174A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1610195 | 2010-07-07 | 0.1128 | 0.111 | 101.6216 | 1.6216 | 0.27815 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL182A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1680094 | 2010-07-08 | 0.1169 | 0.111 | 105.3153 | 5.3153 | 0.91172 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL182C
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1750123 | 2010-07-21 | 0.111 | 0.111 | 100 | 0 | 0 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL184A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1530116 | 2010-07-07 | 0.1785 | 0.18 | 99.1667 | -0.83333 | -0.14294 | 0.016 | 1979 | Holding time exceeded |  |  | mg/L as N | N105 | NTLL182A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1550180 | 2010-07-02 | 0.1755 | 0.18 | 97.5 | -2.5 | -0.42882 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL174A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1590097 | 2010-07-07 | 0.1788 | 0.18 | 99.3333 | -0.66667 | -0.11435 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL182A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1650125 | 2010-07-08 | 0.1752 | 0.18 | 97.3333 | -2.6667 | -0.4574 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL182C
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1660182 | 2010-07-08 | 0.1766 | 0.18 | 98.1111 | -1.8889 | -0.32399 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL182C
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1720017 | 2010-07-15 | 0.1746 | 0.18 | 97 | -3 | -0.51458 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL183A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1730143 | 2010-07-15 | 0.1808 | 0.18 | 100.4444 | 0.44444 | 0.076234 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL183A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1790145 | 2010-07-21 | 0.1722 | 0.18 | 95.6667 | -4.3333 | -0.74328 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL184A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2810009 | 2009-11-03 | 0.0829 | 0.0829 | 100 | 0 | 0 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL293A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2920105 | 2009-11-03 | 0.0843 | 0.0829 | 101.6888 | 1.6888 | 0.23333 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL293A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2950081 | 2009-11-16 | 0.0825 | 0.0829 | 99.5175 | -0.48251 | -0.066667 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL306A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 3060140 | 2009-11-17 | 0.0837 | 0.0829 | 100.965 | 0.96502 | 0.13333 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL307A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2800002 | 2009-10-27 | 0.2749 | 0.272 | 101.0662 | 1.0662 | 0.18288 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL289B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2820209 | 2009-11-02 | 0.2796 | 0.272 | 102.7941 | 2.7941 | 0.47927 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL289C
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2880088 | 2009-11-02 | 0.2811 | 0.272 | 103.3456 | 3.3456 | 0.57386 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL289C
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2930097 | 2009-11-16 | 0.2721 | 0.272 | 100.0368 | 0.036765 | 0.0063061 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL306A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2940100 | 2009-11-16 | 0.2737 | 0.272 | 100.625 | 0.625 | 0.1072 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL306A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2960010 | 2009-11-16 | 0.2746 | 0.272 | 100.9559 | 0.95588 | 0.16396 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL306A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 3010064 | 2009-11-17 | 0.2742 | 0.272 | 100.8088 | 0.80882 | 0.13873 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL307A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 3080030 | 2009-11-18 | 0.2732 | 0.272 | 100.4412 | 0.44118 | 0.075673 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL314A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2170140 | 2010-08-19 | 0.1152 | 0.111 | 103.7838 | 3.7838 | 0.64902 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL225A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2240216 | 2010-08-23 | 0.1168 | 0.111 | 105.2252 | 5.2252 | 0.89627 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL228A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2310175 | 2010-09-16 | 0.1129 | 0.111 | 101.7117 | 1.7117 | 0.2936 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL236A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2380030 | 2010-09-21 | 0.1114 | 0.111 | 100.3604 | 0.36036 | 0.061811 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL259A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2150147 | 2010-08-18 | 0.1833 | 0.18 | 101.8333 | 1.8333 | 0.31447 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL224A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2230032 | 2010-08-19 | 0.1848 | 0.18 | 102.6667 | 2.6667 | 0.4574 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL226A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2230024 | 2010-08-19 | 0.1867 | 0.18 | 103.7222 | 3.7222 | 0.63846 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL226A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2250304 | 2010-08-23 | 0.1811 | 0.18 | 100.6111 | 0.61111 | 0.10482 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL228A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2290201 | 2010-08-24 | 0.1915 | 0.18 | 106.3889 | 6.3889 | 1.0959 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL229A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2350148 | 2010-09-17 | 0.1801 | 0.18 | 100.0556 | 0.055556 | 0.0095293 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL236B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2370240 | 2010-09-20 | 0.1795 | 0.18 | 99.7222 | -0.27778 | -0.047646 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL257A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2390290 | 2010-09-21 | 0.1869 | 0.18 | 103.8333 | 3.8333 | 0.65752 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL259A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 3090106 | 2009-11-18 | 0.2827 | 0.272 | 103.9338 | 3.9338 | 0.67476 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL314A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 3160101 | 2009-12-01 | 0.2885 | 0.272 | 106.0662 | 6.0662 | 1.0405 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL322A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 3230175 | 2009-12-08 | 0.2792 | 0.272 | 102.6471 | 2.6471 | 0.45404 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL324A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 3340051 | 2009-12-16 | 0.2856 | 0.272 | 105 | 5 | 0.85763 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL331A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 3080149 | 2009-11-18 | 0.0819 | 0.0829 | 98.7937 | -1.2063 | -0.16667 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL314A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 3100142 | 2009-11-18 | 0.0837 | 0.0829 | 100.965 | 0.96502 | 0.13333 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL314A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 3160018 | 2009-12-01 | 0.0819 | 0.0829 | 98.7937 | -1.2063 | -0.16667 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL322A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 3210015 | 2009-12-08 | 0.0867 | 0.0829 | 104.5838 | 4.5838 | 0.63333 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL324A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 3230017 | 2009-12-08 | 0.0871 | 0.0829 | 105.0663 | 5.0663 | 0.7 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL324A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 3240196 | 2009-12-16 | 0.0838 | 0.0829 | 101.0856 | 1.0856 | 0.15 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL331A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 3280024 | 2009-12-16 | 0.0842 | 0.0829 | 101.5682 | 1.5682 | 0.21667 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL331A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 3350059 | 2009-12-16 | 0.0857 | 0.0829 | 103.3776 | 3.3776 | 0.46667 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL331A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1260132 | 2010-05-26 | 0.1815 | 0.18 | 100.8333 | 0.83333 | 0.14294 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL132A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1330096 | 2010-06-01 | 0.183 | 0.18 | 101.6667 | 1.6667 | 0.28588 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL139A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1400021 | 2010-06-07 | 0.1796 | 0.18 | 99.7778 | -0.22222 | -0.038117 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL146A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1470206 | 2010-07-02 | 0.1777 | 0.18 | 98.7222 | -1.2778 | -0.21917 | 0.016 | 1979 | Holding time exceeded |  |  | mg/L as N | N105 | NTLL158A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1240148 | 2010-05-25 | 0.1159 | 0.111 | 104.4144 | 4.4144 | 0.75719 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL131A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1310092 | 2010-05-26 | 0.1146 | 0.111 | 103.2432 | 3.2432 | 0.5563 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL132A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1320109 | 2010-06-01 | 0.115 | 0.111 | 103.6036 | 3.6036 | 0.61811 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL139A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1380027 | 2010-06-01 | 0.117 | 0.111 | 105.4054 | 5.4054 | 0.92717 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL139A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1390053 | 2010-06-01 | 0.1165 | 0.111 | 104.955 | 4.955 | 0.84991 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL139A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1440059 | 2010-06-23 | 0.1154 | 0.111 | 103.964 | 3.964 | 0.67993 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL145B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1460122 | 2010-07-02 | 0.1131 | 0.111 | 101.8919 | 1.8919 | 0.32451 | 0.016 | 1979 | Holding time exceeded |  |  | mg/L as N | N106X | NTLL158A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1530003 | 2010-07-02 | 0.1105 | 0.111 | 99.5495 | -0.45045 | -0.077264 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL174A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0350130 | 2010-02-17 | 0.0906 | 0.0829 | 109.2883 | 9.2883 | 1.2833 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL033A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0420083 | 2010-02-24 | 0.0822 | 0.0829 | 99.1556 | -0.84439 | -0.11667 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL048A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0490078 | 2010-02-25 | 0.0827 | 0.0829 | 99.7587 | -0.24125 | -0.033333 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL055A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0560013 | 2010-03-17 | 0.0808 | 0.0829 | 97.4668 | -2.5332 | -0.35 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL069A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0330030 | 2010-02-17 | 0.2877 | 0.272 | 105.7721 | 5.7721 | 0.99006 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL033A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0390056 | 2010-02-24 | 0.272 | 0.272 | 100 | 0 | 0 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL048A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0400002 | 2010-02-24 | 0.2749 | 0.272 | 101.0662 | 1.0662 | 0.18288 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL048A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0430100 | 2010-02-24 | 0.29 | 0.272 | 106.6176 | 6.6176 | 1.1351 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL048A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0480097 | 2010-02-24 | 0.2765 | 0.272 | 101.6544 | 1.6544 | 0.28378 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL048A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0530068 | 2010-02-25 | 0.2922 | 0.272 | 107.4265 | 7.4265 | 1.2738 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL055A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0540031 | 2010-02-25 | 0.2861 | 0.272 | 105.1838 | 5.1838 | 0.88916 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL055A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0570002 | 2010-03-17 | 0.2806 | 0.272 | 103.1618 | 3.1618 | 0.54233 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL069A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0070077 | 2010-01-13 | 0.2945 | 0.272 | 108.2721 | 8.2721 | 1.4189 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL364B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0140032 | 2010-02-09 | 0.2895 | 0.272 | 106.4338 | 6.4338 | 1.1036 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL019A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0210003 | 2010-02-09 | 0.2839 | 0.272 | 104.375 | 4.375 | 0.75043 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL027A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0280093 | 2010-02-17 | 0.2864 | 0.272 | 105.2941 | 5.2941 | 0.90808 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL033A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0050053 | 2010-01-13 | 0.0855 | 0.0829 | 103.1363 | 3.1363 | 0.43333 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL364B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0110101 | 2010-01-13 | 0.0874 | 0.0829 | 105.4282 | 5.4282 | 0.75 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL364B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0130071 | 2010-02-09 | 0.0923 | 0.0829 | 111.339 | 11.339 | 1.5667 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL019A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0150003 | 2010-02-09 | 0.0824 | 0.0829 | 99.3969 | -0.60314 | -0.083333 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL019A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0200099 | 2010-02-09 | 0.0848 | 0.0829 | 102.2919 | 2.2919 | 0.31667 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL027A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0250037 | 2010-02-09 | 0.0848 | 0.0829 | 102.2919 | 2.2919 | 0.31667 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL027A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0260003 | 2010-02-09 | 0.0841 | 0.0829 | 101.4475 | 1.4475 | 0.2 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL027A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0290005 | 2010-02-17 | 0.0861 | 0.0829 | 103.8601 | 3.8601 | 0.53333 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL033A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0630084 | 2010-03-17 | 0.2793 | 0.272 | 102.6838 | 2.6838 | 0.46035 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL069A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0700068 | 2010-03-29 | 0.2812 | 0.272 | 103.3824 | 3.3824 | 0.58016 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL076A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0770109 | 2010-04-08 | 0.2801 | 0.272 | 102.9779 | 2.9779 | 0.5108 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL097A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0880061 | 2010-04-08 | 0.2823 | 0.272 | 103.7868 | 3.7868 | 0.64953 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL097A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0620055 | 2010-03-17 | 0.0807 | 0.0829 | 97.3462 | -2.6538 | -0.36667 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL069A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0670035 | 2010-03-25 | 0.0837 | 0.0829 | 100.965 | 0.96502 | 0.13333 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL069B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0680114 | 2010-03-25 | 0.0837 | 0.0829 | 100.965 | 0.96502 | 0.13333 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL069B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0710171 | 2010-03-29 | 0.0822 | 0.0829 | 99.1556 | -0.84439 | -0.11667 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL076A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0750185 | 2010-03-29 | 0.0833 | 0.0829 | 100.4825 | 0.48251 | 0.066667 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL076A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0780159 | 2010-04-08 | 0.0837 | 0.0829 | 100.965 | 0.96502 | 0.13333 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL097A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0850048 | 2010-04-08 | 0.0845 | 0.0829 | 101.93 | 1.93 | 0.26667 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL097A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0890050 | 2010-04-08 | 0.0831 | 0.0829 | 100.2413 | 0.24125 | 0.033333 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL097A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 3450012 | 2009-12-31 | 0.0851 | 0.0829 | 102.6538 | 2.6538 | 0.36667 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL351A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 3510037 | 2010-01-11 | 0.0906 | 0.0829 | 109.2883 | 9.2883 | 1.2833 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL364A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 3620047 | 2010-01-13 | 0.0844 | 0.0829 | 101.8094 | 1.8094 | 0.25 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL364B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 3650019 | 2010-01-13 | 0.0846 | 0.0829 | 102.0507 | 2.0507 | 0.28333 | 0.016 | 1979 |  |  |  | mg/L as N | N104X | NTLL364B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 3420123 | 2009-12-17 | 0.2881 | 0.272 | 105.9191 | 5.9191 | 1.0153 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL349A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 3480075 | 2009-12-31 | 0.2828 | 0.272 | 103.9706 | 3.9706 | 0.68106 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL351A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 3490058 | 2009-12-31 | 0.2753 | 0.272 | 101.2132 | 1.2132 | 0.2081 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL351A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 3520079 | 2010-01-11 | 0.2681 | 0.272 | 98.5662 | -1.4338 | -0.24594 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL364A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 3560085 | 2010-01-13 | 0.2824 | 0.272 | 103.8235 | 3.8235 | 0.65584 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL364B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 3630040 | 2010-01-13 | 0.2782 | 0.272 | 102.2794 | 2.2794 | 0.39098 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL364B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 3640013 | 2010-01-13 | 0.2847 | 0.272 | 104.6691 | 4.6691 | 0.80088 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL364B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 0050031 | 2010-01-13 | 0.2841 | 0.272 | 104.4485 | 4.4485 | 0.76304 | 0.016 | 1979 |  |  |  | mg/L as N | N103 | NTLL364B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1890153 | 2010-07-22 | 0.1797 | 0.18 | 99.8333 | -0.16667 | -0.028588 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL201A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1970014 | 2010-07-29 | 0.1754 | 0.18 | 97.4444 | -2.5556 | -0.43835 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL202A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2030179 | 2010-08-12 | 0.1692 | 0.18 | 94 | -6 | -1.0292 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL208A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2110189 | 2010-08-18 | 0.1842 | 0.18 | 102.3333 | 2.3333 | 0.40023 | 0.016 | 1979 |  |  |  | mg/L as N | N105 | NTLL224A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1880011 | 2010-07-22 | 0.1117 | 0.111 | 100.6306 | 0.63063 | 0.10817 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL201A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1940132 | 2010-07-28 | 0.1158 | 0.111 | 104.3243 | 4.3243 | 0.74174 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL201B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 1940123 | 2010-07-28 | 0.1143 | 0.111 | 102.973 | 2.973 | 0.50994 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL201B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2000039 | 2010-07-29 | 0.1101 | 0.111 | 99.1892 | -0.81081 | -0.13908 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL203A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2010167 | 2010-07-29 | 0.1089 | 0.111 | 98.1081 | -1.8919 | -0.32451 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL203A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2070092 | 2010-08-16 | 0.1148 | 0.111 | 103.4234 | 3.4234 | 0.58721 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL223A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2080057 | 2010-08-16 | 0.1146 | 0.111 | 103.2432 | 3.2432 | 0.5563 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL223A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2010 | 2140119 | 2010-08-18 | 0.1182 | 0.111 | 106.4865 | 6.4865 | 1.1126 | 0.016 | 1979 |  |  |  | mg/L as N | N106X | NTLL224A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2510063 | 2011-09-09 | 0.189 | 0.191 | 98.9529 | -1.0471 | -0.17961 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL252B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2580088 | 2011-10-05 | 0.188 | 0.191 | 98.4293 | -1.5707 | -0.26941 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL278A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2650115 | 2011-09-27 | 0.191 | 0.191 | 100 | 0 | 0 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL270B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2720093 | 2011-10-05 | 0.185 | 0.191 | 96.8586 | -3.1414 | -0.53883 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL278A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2730121 | 2011-10-05 | 0.192 | 0.144 | 133.3333 | 33.3333 | 5.7176 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL278A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0970076 | 2011-04-12 | 0.141 | 0.144 | 97.9167 | -2.0833 | -0.35735 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL102A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1040092 | 2011-04-19 | 0.143 | 0.144 | 99.3056 | -0.69444 | -0.11912 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL109A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1150103 | 2011-04-26 | 0.141 | 0.144 | 97.9167 | -2.0833 | -0.35735 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL116A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1180211 | 2011-05-04 | 0.139 | 0.144 | 96.5278 | -3.4722 | -0.59558 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL124A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0960105 | 2011-04-12 | 0.192 | 0.191 | 100.5236 | 0.52356 | 0.089804 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL102A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0980092 | 2011-04-12 | 0.191 | 0.191 | 100 | 0 | 0 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL102A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1020036 | 2011-04-19 | 0.191 | 0.191 | 100 | 0 | 0 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL109A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1080031 | 2011-04-19 | 0.191 | 0.191 | 100 | 0 | 0 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL109B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1110012 | 2011-04-26 | 0.193 | 0.191 | 101.0471 | 1.0471 | 0.17961 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL116A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1160056 | 2011-05-03 | 0.192 | 0.191 | 100.5236 | 0.52356 | 0.089804 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL123A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1180032 | 2011-05-03 | 0.191 | 0.191 | 100 | 0 | 0 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL123A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1220096 | 2011-05-04 | 0.189 | 0.191 | 98.9529 | -1.0471 | -0.17961 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL124A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1600134 | 2011-06-13 | 0.139 | 0.144 | 96.5278 | -3.4722 | -0.59558 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL164A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1680004 | 2011-06-23 | 0.137 | 0.144 | 95.1389 | -4.8611 | -0.83381 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL174A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1740137 | 2011-06-30 | 0.138 | 0.144 | 95.8333 | -4.1667 | -0.71469 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL181A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1820171 | 2011-07-06 | 0.136 | 0.144 | 94.4444 | -5.5556 | -0.95293 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL187A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1580108 | 2011-06-13 | 0.192 | 0.191 | 100.5236 | 0.52356 | 0.089804 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL164A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1640082 | 2011-06-17 | 0.188 | 0.191 | 98.4293 | -1.5707 | -0.26941 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL168A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1670005 | 2011-06-17 | 0.186 | 0.191 | 97.3822 | -2.6178 | -0.44902 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL168A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1710078 | 2011-06-23 | 0.188 | 0.191 | 98.4293 | -1.5707 | -0.26941 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL174A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1730005 | 2011-06-23 | 0.19 | 0.191 | 99.4764 | -0.52356 | -0.089804 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL174A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1790124 | 2011-06-30 | 0.187 | 0.191 | 97.9058 | -2.0942 | -0.35922 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL181B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1800138 | 2011-06-30 | 0.185 | 0.191 | 96.8586 | -3.1414 | -0.53883 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL181B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1870009 | 2011-07-12 | 0.186 | 0.191 | 97.3822 | -2.6178 | -0.44902 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL193A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2810032 | 2010-11-02 | 0.0924 | 0.0935 | 98.8235 | -1.1765 | -0.2018 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL301A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2910071 | 2010-11-02 | 0.091 | 0.0935 | 97.3262 | -2.6738 | -0.45863 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL302A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2950036 | 2010-11-08 | 0.0885 | 0.0935 | 94.6524 | -5.3476 | -0.91725 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL303A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 3010103 | 2010-11-17 | 0.0954 | 0.0935 | 102.0321 | 2.0321 | 0.34856 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL305A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2790099 | 2010-10-28 | 0.1347 | 0.134 | 100.5224 | 0.52239 | 0.089603 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL280A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2810157 | 2010-11-02 | 0.1347 | 0.134 | 100.5224 | 0.52239 | 0.089603 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL301A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2870141 | 2010-11-02 | 0.1359 | 0.134 | 101.4179 | 1.4179 | 0.24321 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL301B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2920116 | 2010-11-02 | 0.1302 | 0.134 | 97.1642 | -2.8358 | -0.48642 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL302A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2930128 | 2010-11-02 | 0.1259 | 0.134 | 93.9552 | -6.0448 | -1.0368 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL302A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2950045 | 2010-11-08 | 0.1298 | 0.134 | 96.8657 | -3.1343 | -0.53762 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL303A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2990174 | 2010-11-17 | 0.1416 | 0.134 | 105.6716 | 5.6716 | 0.97284 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL305A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 3060024 | 2010-11-23 | 0.1372 | 0.134 | 102.3881 | 2.3881 | 0.40962 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL312A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2160205 | 2011-08-09 | 0.145 | 0.144 | 100.6944 | 0.69444 | 0.11912 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL221A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2220112 | 2011-08-16 | 0.149 | 0.144 | 103.4722 | 3.4722 | 0.59558 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL228A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2300176 | 2011-08-22 | 0.146 | 0.144 | 101.3889 | 1.3889 | 0.23823 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL234A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2410140 | 2011-08-30 | 0.146 | 0.144 | 101.3889 | 1.3889 | 0.23823 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL242A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2150103 | 2011-08-09 | 0.187 | 0.191 | 97.9058 | -2.0942 | -0.35922 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL221A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2170142 | 2011-08-09 | 0.193 | 0.191 | 101.0471 | 1.0471 | 0.17961 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL221A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2210097 | 2011-08-16 | 0.19 | 0.191 | 99.4764 | -0.52356 | -0.089804 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL228A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2270106 | 2011-08-16 | 0.186 | 0.191 | 97.3822 | -2.6178 | -0.44902 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL228B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2290147 | 2011-08-22 | 0.189 | 0.191 | 98.9529 | -1.0471 | -0.17961 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL234A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2350154 | 2011-08-30 | 0.188 | 0.191 | 98.4293 | -1.5707 | -0.26941 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL242A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2360212 | 2011-08-30 | 0.19 | 0.191 | 99.4764 | -0.52356 | -0.089804 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL242A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2420136 | 2011-09-09 | 0.189 | 0.191 | 98.9529 | -1.0471 | -0.17961 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL252A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 3080004 | 2010-11-23 | 0.1396 | 0.134 | 104.1791 | 4.1791 | 0.71683 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL312A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 3190072 | 2010-12-08 | 0.1354 | 0.134 | 101.0448 | 1.0448 | 0.17921 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL327A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 3220150 | 2010-12-13 | 0.1402 | 0.134 | 104.6269 | 4.6269 | 0.79363 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL328A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 3330089 | 2010-12-16 | 0.1379 | 0.134 | 102.9104 | 2.9104 | 0.49922 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL341A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 3060126 | 2010-11-23 | 0.0961 | 0.0935 | 102.7807 | 2.7807 | 0.47697 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL312A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 3090211 | 2010-11-23 | 0.0994 | 0.0935 | 106.3102 | 6.3102 | 1.0824 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL312A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 3130096 | 2010-12-08 | 0.0969 | 0.0935 | 103.6364 | 3.6364 | 0.62373 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL327A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 3200113 | 2010-12-08 | 0.0958 | 0.0935 | 102.4599 | 2.4599 | 0.42194 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL327A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 3210131 | 2010-12-08 | 0.0982 | 0.0935 | 105.0267 | 5.0267 | 0.86222 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL327A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 3270058 | 2010-12-13 | 0.0999 | 0.0935 | 106.8449 | 6.8449 | 1.1741 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL328A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 3330025 | 2010-12-16 | 0.0954 | 0.0935 | 102.0321 | 2.0321 | 0.34856 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL341A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 3340087 | 2010-12-16 | 0.096 | 0.0935 | 102.6738 | 2.6738 | 0.45863 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL341A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1250202 | 2011-05-17 | 0.191 | 0.191 | 100 | 0 | 0 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL136A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1360148 | 2011-05-23 | 0.189 | 0.191 | 98.9529 | -1.0471 | -0.17961 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL143B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1390186 | 2011-05-23 | 0.191 | 0.191 | 100 | 0 | 0 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL143C
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1460156 | 2011-06-07 | 0.188 | 0.191 | 98.4293 | -1.5707 | -0.26941 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL158A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1230158 | 2011-05-04 | 0.14 | 0.144 | 97.2222 | -2.7778 | -0.47646 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL124A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1260083 | 2011-05-23 | 0.14 | 0.144 | 97.2222 | -2.7778 | -0.47646 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL143A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1320052 | 2011-05-23 | 0.141 | 0.144 | 97.9167 | -2.0833 | -0.35735 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL143A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1370053 | 2011-05-23 | 0.139 | 0.144 | 96.5278 | -3.4722 | -0.59558 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL143B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1380122 | 2011-05-23 | 0.138 | 0.144 | 95.8333 | -4.1667 | -0.71469 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL143B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1430217 | 2011-06-07 | 0.139 | 0.144 | 96.5278 | -3.4722 | -0.59558 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL158A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1440150 | 2011-06-07 | 0.139 | 0.144 | 96.5278 | -3.4722 | -0.59558 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL158A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1510164 | 2011-06-09 | 0.138 | 0.144 | 95.8333 | -4.1667 | -0.71469 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL160A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0340001 | 2011-02-24 | 0.0939 | 0.0935 | 100.4278 | 0.42781 | 0.07338 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL047A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0410090 | 2011-02-24 | 0.0955 | 0.0935 | 102.139 | 2.139 | 0.3669 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL047A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0480052 | 2011-02-28 | 0.0952 | 0.0935 | 101.8182 | 1.8182 | 0.31187 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL048A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0550085 | 2011-02-25 | 0.0926 | 0.0935 | 99.0374 | -0.96257 | -0.16511 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL056A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0390004 | 2011-02-24 | 0.1394 | 0.134 | 104.0299 | 4.0299 | 0.69123 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL047A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0400098 | 2011-02-24 | 0.1369 | 0.134 | 102.1642 | 2.1642 | 0.37121 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL047A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0420048 | 2011-02-24 | 0.1379 | 0.134 | 102.9104 | 2.9104 | 0.49922 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL047A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0470052 | 2011-02-28 | 0.1383 | 0.134 | 103.209 | 3.209 | 0.55042 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL048A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0530084 | 2011-02-25 | 0.1368 | 0.134 | 102.0896 | 2.0896 | 0.35841 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL056A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0540118 | 2011-02-25 | 0.1363 | 0.134 | 101.7164 | 1.7164 | 0.29441 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL056A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0560008 | 2011-02-28 | 0.139 | 0.134 | 103.7313 | 3.7313 | 0.64002 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL055A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0600066 | 2011-03-07 | 0.1376 | 0.134 | 102.6866 | 2.6866 | 0.46082 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL066A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0060060 | 2011-01-20 | 0.1308 | 0.134 | 97.6119 | -2.3881 | -0.40962 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL010A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0130048 | 2011-02-02 | 0.1363 | 0.134 | 101.7164 | 1.7164 | 0.29441 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL014A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0240069 | 2011-02-17 | 0.1363 | 0.134 | 101.7164 | 1.7164 | 0.29441 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL033A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0280022 | 2011-02-17 | 0.1326 | 0.134 | 98.9552 | -1.0448 | -0.17921 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL033A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0050061 | 2011-01-20 | 0.0917 | 0.0935 | 98.0749 | -1.9251 | -0.33021 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL010A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0100016 | 2011-01-20 | 0.0931 | 0.0935 | 99.5722 | -0.42781 | -0.07338 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL010A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0110052 | 2011-02-02 | 0.0939 | 0.0935 | 100.4278 | 0.42781 | 0.07338 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL014A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0180035 | 2011-02-09 | 0.0952 | 0.0935 | 101.8182 | 1.8182 | 0.31187 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL020A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0200045 | 2011-02-09 | 0.0949 | 0.0935 | 101.4973 | 1.4973 | 0.25683 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL020A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0250096 | 2011-02-17 | 0.0935 | 0.0935 | 100 | -1.4211e-14 | -2.5459e-15 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL033A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0270092 | 2011-02-17 | 0.0908 | 0.0935 | 97.1123 | -2.8877 | -0.49532 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL033A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0310007 | 2011-02-17 | 0.0945 | 0.0935 | 101.0695 | 1.0695 | 0.18345 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL033A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0690072 | 2011-03-21 | 0.136 | 0.134 | 101.4925 | 1.4925 | 0.25601 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL080A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0760112 | 2011-03-21 | 0.137 | 0.134 | 102.2388 | 2.2388 | 0.38401 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL080B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0830094 | 2011-03-29 | 0.137 | 0.134 | 102.2388 | 2.2388 | 0.38401 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL088A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0900079 | 2011-04-06 | 0.134 | 0.134 | 100 | 0 | 0 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL096A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0670043 | 2011-03-21 | 0.091 | 0.0935 | 97.3262 | -2.6738 | -0.45863 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL080A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0700073 | 2011-03-21 | 0.093 | 0.0935 | 99.4652 | -0.53476 | -0.091725 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL080A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0740120 | 2011-03-21 | 0.093 | 0.0935 | 99.4652 | -0.53476 | -0.091725 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL080A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0800073 | 2011-03-29 | 0.092 | 0.0935 | 98.3957 | -1.6043 | -0.27518 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL088A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0820090 | 2011-03-29 | 0.088 | 0.0935 | 94.1176 | -5.8824 | -1.009 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL088A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0840099 | 2011-03-29 | 0.094 | 0.0935 | 100.5348 | 0.53476 | 0.091725 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL088A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0890092 | 2011-04-06 | 0.092 | 0.0935 | 98.3957 | -1.6043 | -0.27518 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL096A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0950062 | 2011-04-06 | 0.093 | 0.0935 | 99.4652 | -0.53476 | -0.091725 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL096A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 3430083 | 2010-12-21 | 0.0967 | 0.0935 | 103.4225 | 3.4225 | 0.58704 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL347A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 3510034 | 2011-01-13 | 0.0942 | 0.0935 | 100.7487 | 0.74866 | 0.12842 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL361A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 3610034 | 2011-01-20 | 0.0922 | 0.0935 | 98.6096 | -1.3904 | -0.23849 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL010A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0030008 | 2011-01-20 | 0.0897 | 0.0935 | 95.9358 | -4.0642 | -0.69711 | 0.008 | 1979 |  |  |  | mg/L as N | N108X | NTLL010A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 3420079 | 2010-12-21 | 0.1379 | 0.134 | 102.9104 | 2.9104 | 0.49922 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL347A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 3470102 | 2010-12-28 | 0.1362 | 0.134 | 101.6418 | 1.6418 | 0.28161 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL350A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 3480060 | 2010-12-28 | 0.1376 | 0.134 | 102.6866 | 2.6866 | 0.46082 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL350A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 3510039 | 2011-01-13 | 0.9424 | 0.134 | 703.2836 | 603.2836 | 103.4792 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL361A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 3550003 | 2011-01-13 | 0.1353 | 0.134 | 100.9701 | 0.97015 | 0.16641 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL361A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 3630039 | 2011-01-20 | 0.1306 | 0.134 | 97.4627 | -2.5373 | -0.43522 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL010A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 3640027 | 2011-01-20 | 0.1304 | 0.134 | 97.3134 | -2.6866 | -0.46082 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL010A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 0030006 | 2011-01-20 | 0.1296 | 0.134 | 96.7164 | -3.2836 | -0.56322 | 0.008 | 1979 |  |  |  | mg/L as N | N107 | NTLL010A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1930006 | 2011-07-14 | 0.185 | 0.191 | 96.8586 | -3.1414 | -0.53883 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL195A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1960030 | 2011-07-22 | 0.187 | 0.191 | 97.9058 | -2.0942 | -0.35922 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL203A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2060043 | 2011-08-03 | 0.19 | 0.191 | 99.4764 | -0.52356 | -0.089804 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL215A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2090113 | 2011-08-03 | 0.187 | 0.191 | 97.9058 | -2.0942 | -0.35922 | 0.008 | 1979 |  |  |  | mg/L as N | N109 | NTLL215B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1890151 | 2011-07-12 | 0.14 | 0.144 | 97.2222 | -2.7778 | -0.47646 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL193A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1940094 | 2011-07-14 | 0.144 | 0.144 | 100 | 0 | 0 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL195A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1950176 | 2011-07-22 | 0.145 | 0.144 | 100.6944 | 0.69444 | 0.11912 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL203A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 1990076 | 2011-07-22 | 0.142 | 0.144 | 98.6111 | -1.3889 | -0.23823 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL203B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2010133 | 2011-07-22 | 0.141 | 0.144 | 97.9167 | -2.0833 | -0.35735 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL203C
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2070163 | 2011-08-03 | 0.148 | 0.144 | 102.7778 | 2.7778 | 0.47646 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL215A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2080103 | 2011-08-03 | 0.15 | 0.144 | 104.1667 | 4.1667 | 0.71469 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL215A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2011 | 2100279 | 2011-08-03 | 0.152 | 0.144 | 105.5556 | 5.5556 | 0.95293 | 0.008 | 1979 |  |  |  | mg/L as N | N110X | NTLL215B
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2012 | 2840079 | 2011-10-13 | 0.14 | 0.141 | 99.2908 | -0.70922 | -0.14184 | 0.008 | 1979 |  |  |  | mg/L as N | N112X | NTLL286A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2012 | 2770113 | 2011-10-05 | 0.312 | 0.31 | 100.6452 | 0.64516 | 0.12903 | 0.008 | 1979 | Sample was warm when received |  |  | mg/L as N | N111 | NTLL278A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2012 | 2850051 | 2011-10-13 | 0.317 | 0.31 | 102.2581 | 2.2581 | 0.45161 | 0.008 | 1979 |  |  |  | mg/L as N | N111 | NTLL286A
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | 2012 | 2860097 | 2011-10-18 | 0.313 | 0.31 | 100.9677 | 0.96774 | 0.19355 | 0.008 | 1979 |  |  |  | mg/L as N | N111 | NTLL291A