## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Lab Value | Expected Conc. | % Recov | % Bias | # of QCUs | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Nitrate + nitrite as N, fltd, DA | 00631 | RED03 | FIL | 2024 | 1000108 | 2024-04-15 | 0.8279 | 0.873 | 94.8339 | -5.1661 | -1.0332 |  | 3222 |  |  |  | mg/L as N | N162 | KNOA_24106A
Nitrate + nitrite as N, fltd, DA | 00631 | RED03 | FIL | 2024 | 1150016 | 2024-05-10 | 0.76379 | 0.873 | 87.4903 | -12.5097 | -2.5019 | 0.04 | 3222 |  |  |  | mg/L as N | N162 | KNOA_24131A
Nitrate + nitrite as N, fltd, DA | 00631 | RED03 | FIL | 2024 | 1630117 | 2024-07-01 | 0.78403 | 0.873 | 89.8087 | -10.1913 | -2.0383 | 0.04 | 3222 |  |  |  | mg/L as N | N162 | KNOA_24183A
Nitrate + nitrite as N, fltd, DA | 00631 | RED03 | FIL | 2024 | 1770112 | 2024-07-01 | 0.78124 | 0.873 | 89.4891 | -10.5109 | -2.1022 | 0.04 | 3222 |  |  |  | mg/L as N | N162 | KNOA_24183A
Nitrate + nitrite as N, fltd, DA | 00631 | RED03 | FIL | 2024 | 2850091 | 2023-10-25 | 1.1665 | 1.25 | 93.3224 | -6.6776 | -1.3355 | 0.04 | 3222 |  |  |  | mg/L as N | N160 | KNOA_23298A
Nitrate + nitrite as N, fltd, DA | 00631 | RED03 | FIL | 2024 | 2980082 | 2023-11-15 | 1.1744 | 1.25 | 93.9496 | -6.0504 | -1.2101 | 0.04 | 3222 |  |  |  | mg/L as N | N160 | KNOA_23319A
Nitrate + nitrite as N, fltd, DA | 00631 | RED03 | FIL | 2024 | 2260087 | 2024-09-11 | 0.76022 | 0.873 | 87.0813 | -12.9187 | -2.5837 | 0.04 | 3222 |  |  |  | mg/L as N | N162 | KNOA_24255A
Nitrate + nitrite as N, fltd, DA | 00631 | RED03 | FIL | 2024 | 2400285 | 2024-09-11 | 0.75317 | 0.873 | 86.2738 | -13.7262 | -2.7452 | 0.04 | 3222 |  |  |  | mg/L as N | N162 | KNOA_24255A
Nitrate + nitrite as N, fltd, DA | 00631 | RED03 | FIL | 2024 | 3190184 | 2023-12-01 | 0.24459 | 0.247 | 99.0243 | -0.97571 | -0.1205 | 0.04 | 3222 |  |  |  | mg/L as N | N159 | KNOA_23335A
Nitrate + nitrite as N, fltd, DA | 00631 | RED03 | FIL | 2024 | 3340081 | 2023-12-01 | 0.2424 | 0.247 | 98.1377 | -1.8623 | -0.23 | 0.04 | 3222 |  |  |  | mg/L as N | N159 | KNOA_23335A
Nitrate + nitrite as N, fltd, DA | 00631 | RED03 | FIL | 2024 | 1370194 | 2024-06-04 | 0.34586 | 0.361 | 95.8061 | -4.1939 | -0.72095 | 0.04 | 3222 |  |  |  | mg/L as N | N161 | KNOA_24156A
Nitrate + nitrite as N, fltd, DA | 00631 | RED03 | FIL | 2024 | 1500147 | 2024-06-04 | 0.35054 | 0.361 | 97.1025 | -2.8975 | -0.4981 | 0.04 | 3222 |  |  |  | mg/L as N | N161 | KNOA_24156A
Nitrate + nitrite as N, fltd, DA | 00631 | RED03 | FIL | 2024 | 0440080 | 2024-03-13 | 1.1571 | 1.25 | 92.5672 | -7.4328 | -1.4866 | 0.04 | 3222 |  |  |  | mg/L as N | N160 | KNOA_24073A
Nitrate + nitrite as N, fltd, DA | 00631 | RED03 | FIL | 2024 | 0580161 | 2024-03-13 | 1.165 | 1.25 | 93.2016 | -6.7984 | -1.3597 | 0.04 | 3222 |  |  |  | mg/L as N | N160 | KNOA_24073A
Nitrate + nitrite as N, fltd, DA | 00631 | RED03 | FIL | 2024 | 0090035 | 2024-01-18 | 0.23268 | 0.247 | 94.2024 | -5.7976 | -0.716 | 0.04 | 3222 |  |  |  | mg/L as N | N159 | KNOA_24018A
Nitrate + nitrite as N, fltd, DA | 00631 | RED03 | FIL | 2024 | 0230082 | 2024-01-25 | 0.23664 | 0.247 | 95.8057 | -4.1943 | -0.518 | 0.04 | 3222 |  |  |  | mg/L as N | N159 | KNOA_24025A
Nitrate + nitrite as N, fltd, DA | 00631 | RED03 | FIL | 2024 | 0730121 | 2024-04-15 | 0.24061 | 0.247 | 97.413 | -2.587 | -0.3195 | 0.04 | 3222 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N159 | KNOA_24106A
Nitrate + nitrite as N, fltd, DA | 00631 | RED03 | FIL | 2024 | 0880018 | 2024-04-15 | 0.23997 | 0.247 | 97.1538 | -2.8462 | -0.3515 | 0.04 | 3222 |  |  |  | mg/L as N | N159 | KNOA_24106A
Nitrate + nitrite as N, fltd, DA | 00631 | RED03 | FIL | 2024 | 3460241 | 2024-01-05 | 1.2144 | 1.25 | 97.152 | -2.848 | -0.5696 | 0.04 | 3222 |  |  |  | mg/L as N | N160 | KNOA_24005A
Nitrate + nitrite as N, fltd, DA | 00631 | RED03 | FIL | 2024 | 3610064 | 2024-01-05 | 1.2009 | 1.25 | 96.0744 | -3.9256 | -0.78512 | 0.04 | 3222 |  |  |  | mg/L as N | N160 | KNOA_24005A
Nitrate + nitrite as N, fltd, DA | 00631 | RED03 | FIL | 2024 | 1980279 | 2024-08-09 | 0.36571 | 0.361 | 101.3047 | 1.3047 | 0.22429 | 0.04 | 3222 |  |  |  | mg/L as N | N161 | KNOA_24222A
Nitrate + nitrite as N, fltd, DA | 00631 | RED03 | FIL | 2024 | 2130065 | 2024-08-09 | 0.36333 | 0.361 | 100.6454 | 0.64543 | 0.11095 | 0.04 | 3222 |  |  |  | mg/L as N | N161 | KNOA_24222A