## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Lab Value | Expected Conc. | % Recov | % Bias | # of QCUs | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2009 | 2520009 | 2009-10-06 | 0.366 | 0.349 | 104.8711 | 4.8711 | 0.97421 | 0.02 | 2757 |  |  |  | mg/L as P | N101 | PDNP278A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2009 | 2570064 | 2009-10-06 | 0.363 | 0.349 | 104.0115 | 4.0115 | 0.80229 | 0.02 | 2757 |  |  |  | mg/L as P | N101 | PDNP278A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2009 | 2640037 | 2009-10-16 | 0.339 | 0.349 | 97.1347 | -2.8653 | -0.57307 | 0.02 | 2757 |  |  |  | mg/L as P | N101 | PDNP287B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2009 | 2710106 | 2009-10-20 | 0.351 | 0.349 | 100.5731 | 0.57307 | 0.11461 | 0.02 | 2757 |  |  |  | mg/L as P | N101 | PDNP292B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 2580063 | 2010-09-23 | 0.271 | 0.26 | 104.2308 | 4.2308 | 0.79239 | 0.02 | 2757 |  |  |  | mg/L as P | N105 | PDNP265A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 2650028 | 2010-09-30 | 0.255 | 0.26 | 98.0769 | -1.9231 | -0.36018 | 0.02 | 2757 |  |  |  | mg/L as P | N105 | PDNP270B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 2700165 | 2010-10-14 | 0.255 | 0.26 | 98.0769 | -1.9231 | -0.36018 | 0.02 | 2757 |  |  |  | mg/L as P | N105 | PDNP285A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 2780042 | 2010-10-14 | 0.249 | 0.26 | 95.7692 | -4.2308 | -0.79239 | 0.02 | 2757 |  |  |  | mg/L as P | N105 | PDNP285B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 0990192 | 2010-04-20 | 1.394 | 1.3 | 107.2308 | 7.2308 | 1.4462 | 0.02 | 2757 |  |  |  | mg/L as P | N106 | PDNP109A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 1090102 | 2010-04-29 | 1.304 | 1.3 | 100.3077 | 0.30769 | 0.061538 | 0.02 | 2757 |  |  |  | mg/L as P | N106 | PDNP117D
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 1130192 | 2010-05-04 | 1.336 | 1.3 | 102.7692 | 2.7692 | 0.55385 | 0.02 | 2757 |  |  |  | mg/L as P | N106 | PDNP123A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 1200094 | 2010-05-13 | 1.34 | 1.3 | 103.0769 | 3.0769 | 0.61538 | 0.02 | 2757 |  |  |  | mg/L as P | N106 | PDNP131A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 1550182 | 2010-06-18 | 1.305 | 1.3 | 100.3846 | 0.38462 | 0.076923 | 0.02 | 2757 |  |  |  | mg/L as P | N106 | PDNP165D
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 1650127 | 2010-06-23 | 1.376 | 1.3 | 105.8462 | 5.8462 | 1.1692 | 0.02 | 2757 |  |  |  | mg/L as P | N106 | PDNP172B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 1720016 | 2010-07-08 | 1.254 | 1.3 | 96.4615 | -3.5385 | -0.70769 | 0.02 | 2757 |  |  |  | mg/L as P | N106 | PDNP179B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 1790144 | 2010-07-07 | 1.349 | 1.3 | 103.7692 | 3.7692 | 0.75385 | 0.02 | 2757 |  |  |  | mg/L as P | N106 | PDNP183A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 1590097 | 2010-06-23 | 0.246 | 0.26 | 94.6154 | -5.3846 | -1.0085 | 0.02 | 2757 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N105 | PDNP172A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 2820208 | 2009-11-04 | 0.673 | 0.67 | 100.4478 | 0.44776 | 0.089552 | 0.02 | 2757 |  |  |  | mg/L as P | N104 | PDNP306A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 2930096 | 2009-11-10 | 0.68 | 0.67 | 101.4925 | 1.4925 | 0.29851 | 0.02 | 2757 |  |  |  | mg/L as P | N104 | PDNP313A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 2960009 | 2009-11-10 | 0.653 | 0.67 | 97.4627 | -2.5373 | -0.50746 | 0.02 | 2757 |  |  |  | mg/L as P | N104 | PDNP313A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 3080032 | 2009-11-10 | 0.681 | 0.67 | 101.6418 | 1.6418 | 0.32836 | 0.02 | 2757 |  |  |  | mg/L as P | N104 | PDNP313C
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 2230031 | 2010-08-18 | 1.324 | 1.3 | 101.8462 | 1.8462 | 0.36923 | 0.02 | 2757 |  |  |  | mg/L as P | N106 | PDNP228A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 2250305 | 2010-08-19 | 1.305 | 1.3 | 100.3846 | 0.38462 | 0.076923 | 0.02 | 2757 |  |  |  | mg/L as P | N106 | PDNP230B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 2350149 | 2010-09-02 | 1.327 | 1.3 | 102.0769 | 2.0769 | 0.41538 | 0.02 | 2757 |  |  |  | mg/L as P | N106 | PDNP239A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 2390289 | 2010-09-02 | 1.356 | 1.3 | 104.3077 | 4.3077 | 0.86154 | 0.02 | 2757 |  |  |  | mg/L as P | N106 | PDNP243A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 3100144 | 2009-11-19 | 0.289 | 0.293 | 98.6348 | -1.3652 | -0.26502 | 0.02 | 2757 |  |  |  | mg/L as P | N103 | PDNP316B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 3210013 | 2009-11-25 | 0.297 | 0.293 | 101.3652 | 1.3652 | 0.26502 | 0.02 | 2757 |  |  |  | mg/L as P | N103 | PDNP327A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 3240197 | 2009-12-10 | 0.299 | 0.293 | 102.0478 | 2.0478 | 0.39753 | 0.02 | 2757 |  |  |  | mg/L as P | N103 | PDNP343A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 3350057 | 2009-12-10 | 0.289 | 0.293 | 98.6348 | -1.3652 | -0.26502 | 0.02 | 2757 |  |  |  | mg/L as P | N103 | PDNP343A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 1310090 | 2010-05-20 | 0.261 | 0.26 | 100.3846 | 0.38462 | 0.072036 | 0.02 | 2757 |  |  |  | mg/L as P | N105 | PDNP137A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 1380029 | 2010-06-02 | 0.26 | 0.26 | 100 | 0 | 0 | 0.02 | 2757 |  |  |  | mg/L as P | N105 | PDNP148A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 1440058 | 2010-06-08 | 0.259 | 0.26 | 99.6154 | -0.38462 | -0.072036 | 0.02 | 2757 |  |  |  | mg/L as P | N105 | PDNP152B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 1530004 | 2010-06-08 | 0.263 | 0.26 | 101.1538 | 1.1538 | 0.21611 | 0.02 | 2757 |  |  |  | mg/L as P | N105 | PDNP155A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 0390055 | 2010-02-18 | 0.674 | 0.67 | 100.597 | 0.59701 | 0.1194 | 0.02 | 2757 |  |  |  | mg/L as P | N104 | PDNP047A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 0430101 | 2010-02-18 | 0.636 | 0.67 | 94.9254 | -5.0746 | -1.0149 | 0.02 | 2757 |  |  |  | mg/L as P | N104 | PDNP047A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 0530066 | 2010-02-24 | 0.646 | 0.67 | 96.4179 | -3.5821 | -0.71642 | 0.02 | 2757 |  |  |  | mg/L as P | N104 | PDNP054A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 0570004 | 2010-03-02 | 0.699 | 0.67 | 104.3284 | 4.3284 | 0.86567 | 0.02 | 2757 |  |  |  | mg/L as P | N104 | PDNP060A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 0110103 | 2010-01-28 | 0.294 | 0.293 | 100.3413 | 0.3413 | 0.066255 | 0.02 | 2757 |  |  |  | mg/L as P | N103 | PDNP019C
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 0150004 | 2010-01-28 | 0.293 | 0.293 | 100 | 0 | 0 | 0.02 | 2757 |  |  |  | mg/L as P | N103 | PDNP026A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 0250038 | 2010-02-05 | 0.304 | 0.293 | 103.7543 | 3.7543 | 0.72881 | 0.02 | 2757 |  |  |  | mg/L as P | N103 | PDNP033B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 0290003 | 2010-02-11 | 0.295 | 0.293 | 100.6826 | 0.68259 | 0.13251 | 0.02 | 2757 |  |  |  | mg/L as P | N103 | PDNP039A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 0670033 | 2010-03-16 | 0.275 | 0.293 | 93.8567 | -6.1433 | -1.1926 | 0.02 | 2757 |  |  |  | mg/L as P | N103 | PDNP074A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 0710170 | 2010-03-16 | 0.296 | 0.293 | 101.0239 | 1.0239 | 0.19877 | 0.02 | 2757 |  |  |  | mg/L as P | N103 | PDNP074B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 0780157 | 2010-04-02 | 0.282 | 0.293 | 96.2457 | -3.7543 | -0.72881 | 0.02 | 2757 |  |  |  | mg/L as P | N103 | PDNP089A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 0890052 | 2010-04-07 | 0.271 | 0.293 | 92.4915 | -7.5085 | -1.4576 | 0.02 | 2757 |  |  |  | mg/L as P | N103 | PDNP095A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 3480074 | 2009-12-23 | 0.663 | 0.67 | 98.9552 | -1.0448 | -0.20896 | 0.02 | 2757 |  |  |  | mg/L as P | N104 | PDNP355A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 3520077 | 2010-01-20 | 0.662 | 0.67 | 98.806 | -1.194 | -0.23881 | 0.02 | 2757 |  |  |  | mg/L as P | N104 | PDNP019A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 3630041 | 2010-01-28 | 0.653 | 0.67 | 97.4627 | -2.5373 | -0.50746 | 0.02 | 2757 |  |  |  | mg/L as P | N104 | PDNP019B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 0050032 | 2010-01-28 | 0.656 | 0.67 | 97.9104 | -2.0896 | -0.41791 | 0.02 | 2757 |  |  |  | mg/L as P | N104 | PDNP019B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 1940133 | 2010-07-22 | 0.259 | 0.26 | 99.6154 | -0.38462 | -0.072036 | 0.02 | 2757 |  |  |  | mg/L as P | N105 | PDNP196B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 2000038 | 2010-07-27 | 0.255 | 0.26 | 98.0769 | -1.9231 | -0.36018 | 0.02 | 2757 |  |  |  | mg/L as P | N105 | PDNP203A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 2070090 | 2010-08-03 | 0.257 | 0.26 | 98.8462 | -1.1538 | -0.21611 | 0.02 | 2757 |  |  |  | mg/L as P | N105 | PDNP208A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2010 | 2140120 | 2010-08-12 | 0.258 | 0.26 | 99.2308 | -0.76923 | -0.14407 | 0.02 | 2757 |  |  |  | mg/L as P | N105 | PDNP217C
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 2520214 | 2011-09-19 | 0.27 | 0.27 | 100 | 0 | 0 | 0.01 | 2757 |  |  |  | mg/L as P | N109 | PDNP258A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 2630066 | 2011-09-27 | 0.271 | 0.27 | 100.3704 | 0.37037 | 0.07018 | 0.01 | 2757 |  |  |  | mg/L as P | N109 | PDNP266A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 2660136 | 2011-10-05 | 0.267 | 0.27 | 98.8889 | -1.1111 | -0.21054 | 0.01 | 2757 |  |  |  | mg/L as P | N109 | PDNP276A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 2730120 | 2011-10-05 | 0.273 | 0.27 | 101.1111 | 1.1111 | 0.21054 | 0.01 | 2757 |  |  |  | mg/L as P | N109 | PDNP276B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 0980093 | 2011-04-13 | 0.572 | 0.581 | 98.4509 | -1.5491 | -0.30981 | 0.01 | 2757 |  |  |  | mg/L as P | N110 | PDNP102A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 1080033 | 2011-04-22 | 0.574 | 0.581 | 98.7952 | -1.2048 | -0.24096 | 0.01 | 2757 |  |  |  | mg/L as P | N110 | PDNP110A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 1160058 | 2011-04-29 | 0.521 | 0.581 | 89.673 | -10.327 | -2.0654 | 0.01 | 2757 |  |  |  | mg/L as P | N110 | PDNP118A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 1220094 | 2011-05-12 | 0.577 | 0.581 | 99.3115 | -0.68847 | -0.13769 | 0.01 | 2757 |  |  |  | mg/L as P | N110 | PDNP129A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 1640081 | 2011-06-17 | 0.572 | 0.581 | 98.4509 | -1.5491 | -0.30981 | 0.01 | 2757 |  |  |  | mg/L as P | N110 | PDNP165A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 1710080 | 2011-06-24 | 0.577 | 0.581 | 99.3115 | -0.68847 | -0.13769 | 0.01 | 2757 |  |  |  | mg/L as P | N110 | PDNP174A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 1790123 | 2011-07-06 | 0.594 | 0.581 | 102.2375 | 2.2375 | 0.4475 | 0.01 | 2757 |  |  |  | mg/L as P | N110 | PDNP186A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 1870008 | 2011-07-15 | 0.584 | 0.581 | 100.5164 | 0.51635 | 0.10327 | 0.01 | 2757 |  |  |  | mg/L as P | N110 | PDNP192A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 2810155 | 2010-10-19 | 0.498 | 0.535 | 93.0841 | -6.9159 | -1.3832 | 0.01 | 2757 |  |  |  | mg/L as P | N108 | PDNP291A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 2920114 | 2010-10-28 | 0.545 | 0.535 | 101.8692 | 1.8692 | 0.37383 | 0.01 | 2757 |  |  |  | mg/L as P | N108 | PDNP298B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 2950044 | 2010-11-05 | 0.538 | 0.535 | 100.5607 | 0.56075 | 0.11215 | 0.01 | 2757 |  |  |  | mg/L as P | N108 | PDNP305A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 3060023 | 2010-11-10 | 0.525 | 0.535 | 98.1308 | -1.8692 | -0.37383 | 0.01 | 2757 |  |  |  | mg/L as P | N108 | PDNP312A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 2170141 | 2011-08-16 | 0.559 | 0.581 | 96.2134 | -3.7866 | -0.75731 | 0.01 | 2757 |  |  |  | mg/L as P | N110 | PDNP221A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 2270105 | 2011-08-23 | 0.543 | 0.581 | 93.4596 | -6.5404 | -1.3081 | 0.01 | 2757 |  |  |  | mg/L as P | N110 | PDNP230A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 2350155 | 2011-08-31 | 0.578 | 0.581 | 99.4836 | -0.51635 | -0.10327 | 0.01 | 2757 |  |  |  | mg/L as P | N110 | PDNP238B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 2420138 | 2011-09-06 | 0.564 | 0.581 | 97.074 | -2.926 | -0.5852 | 0.01 | 2757 |  |  |  | mg/L as P | N110 | PDNP244A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 3090209 | 2010-11-10 | 0.167 | 0.167 | 100 | 0 | 0 | 0.01 | 2757 |  |  |  | mg/L as P | N107 | PDNP312B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 3200112 | 2010-11-23 | 0.165 | 0.167 | 98.8024 | -1.1976 | -0.19104 | 0.01 | 2757 |  |  |  | mg/L as P | N107 | PDNP323B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 3270057 | 2010-12-02 | 0.152 | 0.167 | 91.018 | -8.982 | -1.4328 | 0.01 | 2757 |  |  |  | mg/L as P | N107 | PDNP333A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 3340089 | 2010-12-09 | 0.159 | 0.167 | 95.2096 | -4.7904 | -0.76417 | 0.01 | 2757 |  |  |  | mg/L as P | N107 | PDNP340A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 1260082 | 2011-05-12 | 0.277 | 0.27 | 102.5926 | 2.5926 | 0.49126 | 0.01 | 2757 |  |  |  | mg/L as P | N109 | PDNP129A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 1370052 | 2011-05-27 | 0.273 | 0.27 | 101.1111 | 1.1111 | 0.21054 | 0.01 | 2757 |  |  |  | mg/L as P | N109 | PDNP144A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 1430218 | 2011-05-31 | 0.269 | 0.27 | 99.6296 | -0.37037 | -0.07018 | 0.01 | 2757 |  |  |  | mg/L as P | N109 | PDNP146A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 1510165 | 2011-06-06 | 0.272 | 0.27 | 100.7407 | 0.74074 | 0.14036 | 0.01 | 2757 |  |  |  | mg/L as P | N109 | PDNP153A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 0390002 | 2011-02-11 | 0.52 | 0.535 | 97.1963 | -2.8037 | -0.56075 | 0.01 | 2757 |  |  |  | mg/L as P | N108 | PDNP041A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 0420047 | 2011-02-17 | 0.524 | 0.535 | 97.9439 | -2.0561 | -0.41121 | 0.01 | 2757 |  |  |  | mg/L as P | N108 | PDNP047A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 0530085 | 2011-03-09 | 0.51 | 0.535 | 95.3271 | -4.6729 | -0.93458 | 0.01 | 2757 |  |  |  | mg/L as P | N108 | PDNP059A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 0560009 | 2011-03-18 | 0.514 | 0.535 | 96.0748 | -3.9252 | -0.78505 | 0.01 | 2757 |  |  |  | mg/L as P | N108 | PDNP070A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 0100015 | 2011-01-26 | 0.16 | 0.167 | 95.8084 | -4.1916 | -0.66865 | 0.01 | 2757 |  |  |  | mg/L as P | N107 | PDNP025A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 0180036 | 2011-01-26 | 0.158 | 0.167 | 94.6108 | -5.3892 | -0.85969 | 0.01 | 2757 |  |  |  | mg/L as P | N107 | PDNP025A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 0250095 | 2011-01-28 | 0.149 | 0.167 | 89.2216 | -10.7784 | -1.7194 | 0.01 | 2757 |  |  |  | mg/L as P | N107 | PDNP027A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 0310006 | 2011-02-11 | 0.159 | 0.167 | 95.2096 | -4.7904 | -0.76417 | 0.01 | 2757 |  |  |  | mg/L as P | N107 | PDNP041A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 0700072 | 2011-03-18 | 0.164 | 0.167 | 98.2036 | -1.7964 | -0.28656 | 0.01 | 2757 |  |  |  | mg/L as P | N107 | PDNP070A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 0800072 | 2011-03-29 | 0.162 | 0.167 | 97.006 | -2.994 | -0.47761 | 0.01 | 2757 |  |  |  | mg/L as P | N107 | PDNP083A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 0840100 | 2011-04-07 | 0.166 | 0.167 | 99.4012 | -0.5988 | -0.095521 | 0.01 | 2757 |  |  |  | mg/L as P | N107 | PDNP091A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 0950060 | 2011-04-08 | 0.167 | 0.167 | 100 | 0 | 0 | 0.01 | 2757 |  |  |  | mg/L as P | N107 | PDNP096A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 3470101 | 2010-12-21 | 0.517 | 0.535 | 96.6355 | -3.3645 | -0.6729 | 0.01 | 2757 |  |  |  | mg/L as P | N108 | PDNP354B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 3510040 | 2011-01-14 | 0.545 | 0.535 | 101.8692 | 1.8692 | 0.37383 | 0.01 | 2757 |  |  |  | mg/L as P | N108 | PDNP005B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 3630038 | 2011-01-14 | 0.53 | 0.535 | 99.0654 | -0.93458 | -0.18692 | 0.01 | 2757 |  |  |  | mg/L as P | N108 | PDNP005B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 0040002 | 2011-01-14 | 0.051 | 0.535 | 9.5327 | -90.4673 | -18.0935 | 0.01 | 2757 |  |  |  | mg/L as P | N108 | PDNP005B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 1940093 | 2011-07-22 | 0.272 | 0.27 | 100.7407 | 0.74074 | 0.14036 | 0.01 | 2757 |  |  |  | mg/L as P | N109 | PDNP195B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 1990077 | 2011-07-27 | 0.242 | 0.27 | 89.6296 | -10.3704 | -1.9651 | 0.01 | 2757 |  |  |  | mg/L as P | N109 | PDNP206A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 2070164 | 2011-08-03 | 0.25 | 0.27 | 92.5926 | -7.4074 | -1.4036 | 0.01 | 2757 |  |  |  | mg/L as P | N109 | PDNP209A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2011 | 2100278 | 2011-08-03 | 0.264 | 0.27 | 97.7778 | -2.2222 | -0.42108 | 0.01 | 2757 |  |  |  | mg/L as P | N109 | PDNP210A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 2550018 | 2012-09-25 | 0.262 | 0.253 | 103.5573 | 3.5573 | 0.71146 | 0.01 | 2757 |  |  |  | mg/L as P | N113 | PDNP261B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 2640128 | 2012-10-05 | 0.253 | 0.253 | 100 | 0 | 0 | 0.01 | 2757 |  |  |  | mg/L as P | N113 | PDNP269A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 2690160 | 2012-10-11 | 0.249 | 0.253 | 98.419 | -1.581 | -0.31621 | 0.01 | 2757 |  |  |  | mg/L as P | N113 | PDNP276A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 2750028 | 2012-10-12 | 0.254 | 0.253 | 100.3953 | 0.39526 | 0.079051 | 0.01 | 2757 |  |  |  | mg/L as P | N113 | PDNP279A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 0970144 | 2012-04-20 | 1.041 | 1.07 | 97.2897 | -2.7103 | -0.54206 | 0.01 | 2757 |  |  |  | mg/L as P | N114 | PDNP107A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 1080028 | 2012-04-25 | 1.052 | 1.07 | 98.3178 | -1.6822 | -0.33645 | 0.01 | 2757 |  |  |  | mg/L as P | N114 | PDNP114A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 1140064 | 2012-05-02 | 1.033 | 1.07 | 96.5421 | -3.4579 | -0.69159 | 0.01 | 2757 |  |  |  | mg/L as P | N114 | PDNP117A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 1210126 | 2012-05-17 | 1.068 | 1.07 | 99.8131 | -0.18692 | -0.037383 | 0.01 | 2757 |  |  |  | mg/L as P | N114 | PDNP132A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 1660016 | 2012-06-25 | 1.041 | 1.07 | 97.2897 | -2.7103 | -0.54206 | 0.01 | 2757 |  |  |  | mg/L as P | N114 | PDNP173A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 1710060 | 2012-07-10 | 1.107 | 1.07 | 103.4579 | 3.4579 | 0.69159 | 0.01 | 2757 |  |  |  | mg/L as P | N114 | PDNP187B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 1800009 | 2012-07-18 | 1.06 | 1.07 | 99.0654 | -0.93458 | -0.18692 | 0.01 | 2757 |  |  |  | mg/L as P | N114 | PDNP198C
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 1850044 | 2012-07-31 | 1.083 | 1.07 | 101.215 | 1.215 | 0.24299 | 0.01 | 2757 |  |  |  | mg/L as P | N114 | PDNP208A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 2850052 | 2011-10-19 | 1.274 | 1.26 | 101.1111 | 1.1111 | 0.22222 | 0.01 | 2757 |  |  |  | mg/L as P | N112 | PDNP287A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 2910072 | 2011-10-25 | 1.258 | 1.26 | 99.8413 | -0.15873 | -0.031746 | 0.01 | 2757 |  |  |  | mg/L as P | N112 | PDNP293A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 2940158 | 2011-11-01 | 1.239 | 1.26 | 98.3333 | -1.6667 | -0.33333 | 0.01 | 2757 |  |  |  | mg/L as P | N112 | PDNP298A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 3040113 | 2011-11-21 | 1.249 | 1.26 | 99.127 | -0.87302 | -0.1746 | 0.01 | 2757 |  |  |  | mg/L as P | N112 | PDNP320A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 2230113 | 2012-08-23 | 1.088 | 1.07 | 101.6822 | 1.6822 | 0.33645 | 0.01 | 2757 |  |  |  | mg/L as P | N114 | PDNP234A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 2340241 | 2012-09-07 | 1.078 | 1.07 | 100.7477 | 0.74766 | 0.14953 | 0.01 | 2757 |  |  |  | mg/L as P | N114 | PDNP240A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 2370368 | 2012-09-07 | 1.081 | 1.07 | 101.028 | 1.028 | 0.20561 | 0.01 | 2757 |  |  |  | mg/L as P | N114 | PDNP242A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 2440025 | 2012-10-01 | 1.065 | 1.07 | 99.5327 | -0.46729 | -0.093458 | 0.01 | 2757 |  |  |  | mg/L as P | N114 | PDNP268A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 3080108 | 2011-11-08 | 0.298 | 0.282 | 105.6738 | 5.6738 | 1.1348 | 0.01 | 2757 |  |  |  | mg/L as P | N111 | PDNP311A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 3190045 | 2011-11-30 | 0.273 | 0.282 | 96.8085 | -3.1915 | -0.6383 | 0.01 | 2757 |  |  |  | mg/L as P | N111 | PDNP333A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 3250135 | 2011-12-05 | 0.293 | 0.282 | 103.9007 | 3.9007 | 0.78014 | 0.01 | 2757 |  |  |  | mg/L as P | N111 | PDNP335A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 3330119 | 2011-12-13 | 0.285 | 0.282 | 101.0638 | 1.0638 | 0.21277 | 0.01 | 2757 |  |  |  | mg/L as P | N111 | PDNP342A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 1360092 | 2012-05-31 | 0.256 | 0.253 | 101.1858 | 1.1858 | 0.23715 | 0.01 | 2757 |  |  |  | mg/L as P | N113 | PDNP146A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 1390135 | 2012-05-31 | 0.248 | 0.253 | 98.0237 | -1.9763 | -0.39526 | 0.01 | 2757 | Sample was diluted |  |  | mg/L as P | N113 | PDNP146B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 1510150 | 2012-06-21 | 0.261 | 0.253 | 103.1621 | 3.1621 | 0.63241 | 0.01 | 2757 |  |  |  | mg/L as P | N113 | PDNP170B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 1560093 | 2012-06-21 | 0.252 | 0.253 | 99.6047 | -0.39526 | -0.079051 | 0.01 | 2757 |  |  |  | mg/L as P | N113 | PDNP170D
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 0410091 | 2012-03-09 | 1.257 | 1.26 | 99.7619 | -0.2381 | -0.047619 | 0.01 | 2757 |  |  |  | mg/L as P | N112 | PDNP062A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 0530088 | 2012-03-16 | 1.246 | 1.26 | 98.8889 | -1.1111 | -0.22222 | 0.01 | 2757 |  |  |  | mg/L as P | N112 | PDNP060A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 0590063 | 2012-03-16 | 1.263 | 1.26 | 100.2381 | 0.2381 | 0.047619 | 0.01 | 2757 |  |  |  | mg/L as P | N112 | PDNP060A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 0660059 | 2012-03-20 | 1.206 | 1.26 | 95.7143 | -4.2857 | -0.85714 | 0.01 | 2757 | See result laboratory comment |  |  | mg/L as P | N112 | PDNP072A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 0120087 | 2012-01-26 | 0.291 | 0.282 | 103.1915 | 3.1915 | 0.6383 | 0.01 | 2757 |  |  |  | mg/L as P | N111 | PDNP023A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 0170047 | 2012-01-26 | 0.29 | 0.282 | 102.8369 | 2.8369 | 0.56738 | 0.01 | 2757 |  |  |  | mg/L as P | N111 | PDNP023B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 0200113 | 2012-01-26 | 0.286 | 0.282 | 101.4184 | 1.4184 | 0.28369 | 0.01 | 2757 |  |  |  | mg/L as P | N111 | PDNP023B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 0310041 | 2012-02-10 | 0.296 | 0.282 | 104.9645 | 4.9645 | 0.99291 | 0.01 | 2757 |  |  |  | mg/L as P | N111 | PDNP037A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 0740073 | 2012-03-28 | 0.282 | 0.282 | 100 | 0 | 0 | 0.01 | 2757 |  |  |  | mg/L as P | N111 | PDNP080A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 0810003 | 2012-03-23 | 0.271 | 0.282 | 96.0993 | -3.9007 | -0.78014 | 0.01 | 2757 |  |  |  | mg/L as P | N111 | PDNP082A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 0830114 | 2012-04-03 | 0.281 | 0.282 | 99.6454 | -0.35461 | -0.070922 | 0.01 | 2757 |  |  |  | mg/L as P | N111 | PDNP093A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 0930038 | 2012-04-17 | 0.275 | 0.282 | 97.5177 | -2.4823 | -0.49645 | 0.01 | 2757 |  |  |  | mg/L as P | N111 | PDNP097B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 3490203 | 2011-12-28 | 1.266 | 1.26 | 100.4762 | 0.47619 | 0.095238 | 0.01 | 2757 |  |  |  | mg/L as P | N112 | PDNP354B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 3540039 | 2011-12-28 | 1.258 | 1.26 | 99.8413 | -0.15873 | -0.031746 | 0.01 | 2757 |  |  |  | mg/L as P | N112 | PDNP354B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 3630028 | 2012-01-04 | 1.253 | 1.26 | 99.4444 | -0.55556 | -0.11111 | 0.01 | 2757 |  |  |  | mg/L as P | N112 | PDNP003A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 0050036 | 2012-01-12 | 1.228 | 1.26 | 97.4603 | -2.5397 | -0.50794 | 0.01 | 2757 |  |  |  | mg/L as P | N112 | PDNP009A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 1940180 | 2012-07-31 | 0.253 | 0.253 | 100 | 0 | 0 | 0.01 | 2757 |  |  |  | mg/L as P | N113 | PDNP208B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 1980055 | 2012-08-01 | 0.166 | 0.253 | 65.6126 | -34.3874 | -6.8775 | 0.01 | 2757 |  |  |  | mg/L as P | N113 | PDNP208C
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 2060078 | 2012-08-09 | 0.251 | 0.253 | 99.2095 | -0.79051 | -0.1581 | 0.01 | 2757 |  |  |  | mg/L as P | N113 | PDNP221C
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2012 | 2090217 | 2012-08-10 | 0.246 | 0.253 | 97.2332 | -2.7668 | -0.55336 | 0.01 | 2757 |  |  |  | mg/L as P | N113 | PDNP221D
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 2610002 | 2013-10-25 | 0.401 | 0.397 | 101.0076 | 1.0076 | 0.20151 | 0.01 | 2757 | Holding time exceeded |  |  | mg/L as P | N117 | PDNP291C
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 2730147 | 2013-10-28 | 0.404 | 0.397 | 101.7632 | 1.7632 | 0.35264 | 0.01 | 2757 |  |  |  | mg/L as P | N117 | PDNP291E
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 0990042 | 2013-04-17 | 0.875 | 0.864 | 101.2731 | 1.2731 | 0.25463 | 0.01 | 2757 |  |  |  | mg/L as P | N118 | PDNP102B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 1120130 | 2013-05-03 | 0.891 | 0.864 | 103.125 | 3.125 | 0.625 | 0.01 | 2757 |  |  |  | mg/L as P | N118 | PDNP116B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 1620029 | 2013-06-26 | 0.884 | 0.864 | 102.3148 | 2.3148 | 0.46296 | 0.01 | 2757 |  |  |  | mg/L as P | N118 | PDNP171A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 1760003 | 2013-07-10 | 0.891 | 0.864 | 103.125 | 3.125 | 0.625 | 0.01 | 2757 |  |  |  | mg/L as P | N118 | PDNP186A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 2830010 | 2012-10-19 | 0.41 | 0.41 | 100 | 0 | 0 | 0.01 | 2757 |  |  |  | mg/L as P | N116 | PDNP286A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 2890175 | 2012-10-25 | 0.398 | 0.41 | 97.0732 | -2.9268 | -0.58537 | 0.01 | 2757 |  |  |  | mg/L as P | N116 | PDNP297A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 2960044 | 2012-10-25 | 0.411 | 0.41 | 100.2439 | 0.2439 | 0.04878 | 0.01 | 2757 |  |  |  | mg/L as P | N116 | PDNP297A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 3040102 | 2012-11-13 | 0.401 | 0.41 | 97.8049 | -2.1951 | -0.43902 | 0.01 | 2757 |  |  |  | mg/L as P | N116 | PDNP307A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 2190034 | 2013-08-21 | 0.877 | 0.864 | 101.5046 | 1.5046 | 0.30093 | 0.01 | 2757 |  |  |  | mg/L as P | N118 | PDNP231B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 2330147 | 2013-09-04 | 0.893 | 0.864 | 103.3565 | 3.3565 | 0.6713 | 0.01 | 2757 |  |  |  | mg/L as P | N118 | PDNP242A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 3200015 | 2012-12-12 | 0.239 | 0.241 | 99.1701 | -0.82988 | -0.16598 | 0.01 | 2757 |  |  |  | mg/L as P | N115 | PDNP331B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 3250068 | 2012-12-12 | 0.248 | 0.241 | 102.9046 | 2.9046 | 0.58091 | 0.01 | 2757 |  |  |  | mg/L as P | N115 | PDNP339A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 3330024 | 2013-01-29 | 0.151 | 0.241 | 62.6556 | -37.3444 | -7.4689 | 0.01 | 2757 | Below the reporting level but at or above the detection level | Sample was diluted |  | mg/L as P | N115 | PDNP023A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 3390135 | 2013-01-29 | 0.131 | 0.241 | 54.3568 | -45.6432 | -9.1286 | 0.01 | 2757 | Below the reporting level but at or above the detection level | Sample was diluted |  | mg/L as P | N115 | PDNP023A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 1340115 | 2013-05-28 | 0.375 | 0.397 | 94.4584 | -5.5416 | -1.1083 | 0.01 | 2757 |  |  |  | mg/L as P | N117 | PDNP141A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 1490098 | 2013-06-11 | 0.385 | 0.397 | 96.9773 | -3.0227 | -0.60453 | 0.01 | 2757 |  |  |  | mg/L as P | N117 | PDNP154C
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 0420048 | 2013-02-28 | 0.403 | 0.41 | 98.2927 | -1.7073 | -0.34146 | 0.01 | 2757 |  |  |  | mg/L as P | N116 | PDNP056B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 0510159 | 2013-03-07 | 0.404 | 0.41 | 98.5366 | -1.4634 | -0.29268 | 0.01 | 2757 |  |  |  | mg/L as P | N116 | PDNP064A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 0570023 | 2013-03-07 | 0.409 | 0.41 | 99.7561 | -0.2439 | -0.04878 | 0.01 | 2757 |  |  |  | mg/L as P | N116 | PDNP064A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 0630132 | 2013-03-07 | 0.415 | 0.41 | 101.2195 | 1.2195 | 0.2439 | 0.01 | 2757 |  |  |  | mg/L as P | N116 | PDNP064B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 0140044 | 2013-01-29 | 0.204 | 0.241 | 84.6473 | -15.3527 | -3.0705 | 0.01 | 2757 | Sample was diluted |  |  | mg/L as P | N115 | PDNP023A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 0230078 | 2013-02-07 | 0.238 | 0.241 | 98.7552 | -1.2448 | -0.24896 | 0.01 | 2757 |  |  |  | mg/L as P | N115 | PDNP030A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 0250066 | 2013-02-07 | 0.249 | 0.241 | 103.3195 | 3.3195 | 0.6639 | 0.01 | 2757 |  |  |  | mg/L as P | N115 | PDNP030A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 0350013 | 2013-02-22 | 0.248 | 0.241 | 102.9046 | 2.9046 | 0.58091 | 0.01 | 2757 |  |  |  | mg/L as P | N115 | PDNP039A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 0800151 | 2013-03-26 | 0.233 | 0.241 | 96.6805 | -3.3195 | -0.6639 | 0.01 | 2757 |  |  |  | mg/L as P | N115 | PDNP081B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 0770134 | 2013-04-08 | 0.203 | 0.241 | 84.2324 | -15.7676 | -3.1535 | 0.01 | 2757 |  |  |  | mg/L as P | N115 | PDNP081A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 0810125 | 2013-04-08 | 0.225 | 0.241 | 93.361 | -6.639 | -1.3278 | 0.01 | 2757 |  |  |  | mg/L as P | N115 | PDNP086A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 0930126 | 2013-04-24 | 0.242 | 0.241 | 100.4149 | 0.41494 | 0.082988 | 0.01 | 2757 |  |  |  | mg/L as P | N115 | PDNP109A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 3460107 | 2013-01-08 | 0.256 | 0.41 | 62.439 | -37.561 | -7.5122 | 0.01 | 2757 | Sample was diluted |  |  | mg/L as P | N116 | PDNP364A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 3520073 | 2013-01-14 | 0.379 | 0.41 | 92.439 | -7.561 | -1.5122 | 0.01 | 2757 | Sample was diluted |  |  | mg/L as P | N116 | PDNP364B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 3620019 | 2013-01-18 | 0.398 | 0.41 | 97.0732 | -2.9268 | -0.58537 | 0.01 | 2757 |  |  |  | mg/L as P | N116 | PDNP014A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 0020019 | 2013-01-18 | 0.408 | 0.41 | 99.5122 | -0.4878 | -0.097561 | 0.01 | 2757 |  |  |  | mg/L as P | N116 | PDNP014A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 1840059 | 2013-07-16 | 0.387 | 0.397 | 97.4811 | -2.5189 | -0.50378 | 0.01 | 2757 |  |  |  | mg/L as P | N117 | PDNP189A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2013 | 1990004 | 2013-08-02 | 0.423 | 0.397 | 106.5491 | 6.5491 | 1.3098 | 0.01 | 2757 |  |  |  | mg/L as P | N117 | PDNP203B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2014 | 2530086 | 2014-09-19 | 0.164 | 0.162 | 101.2346 | 1.2346 | 0.21378 | 0.01 | 2757 |  |  |  | mg/L as P | N121 | PDNP254B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2014 | 2660086 | 2014-10-07 | 0.162 | 0.162 | 100 | 0 | 0 | 0.01 | 2757 |  |  |  | mg/L as P | N121 | PDNP275A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2014 | 0980058 | 2014-04-17 | 0.559 | 0.572 | 97.7273 | -2.2727 | -0.45455 | 0.01 | 2757 |  |  |  | mg/L as P | N122 | PDNP101A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2014 | 1140016 | 2014-05-07 | 0.546 | 0.572 | 95.4545 | -4.5455 | -0.90909 | 0.01 | 2757 |  |  |  | mg/L as P | N122 | PDNP118A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2014 | 1620020 | 2014-07-08 | 0.57 | 0.572 | 99.6503 | -0.34965 | -0.06993 | 0.01 | 2757 |  |  |  | mg/L as P | N122 | PDNP182B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2014 | 1750199 | 2014-07-10 | 0.564 | 0.572 | 98.6014 | -1.3986 | -0.27972 | 0.01 | 2757 |  |  |  | mg/L as P | N122 | PDNP189B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2014 | 3030014 | 2013-11-06 | 0.594 | 0.663 | 89.5928 | -10.4072 | -2.0814 | 0.01 | 2757 |  |  |  | mg/L as P | N120 | PDNP304A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2014 | 2240178 | 2014-08-26 | 0.566 | 0.572 | 98.951 | -1.049 | -0.20979 | 0.01 | 2757 |  |  |  | mg/L as P | N122 | PDNP237A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2014 | 2410100 | 2014-09-11 | 0.567 | 0.572 | 99.1259 | -0.87413 | -0.17483 | 0.01 | 2757 |  |  |  | mg/L as P | N122 | PDNP247A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2014 | 3170092 | 2013-12-12 | 0.227 | 0.23 | 98.6957 | -1.3043 | -0.26087 | 0.01 | 2757 |  |  |  | mg/L as P | N119 | PDNP344A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2014 | 3310036 | 2013-12-05 | 0.236 | 0.23 | 102.6087 | 2.6087 | 0.52174 | 0.01 | 2757 |  |  |  | mg/L as P | N119 | PDNP336E
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2014 | 1340010 | 2014-06-10 | 0.162 | 0.162 | 100 | 0 | 0 | 0.01 | 2757 |  |  |  | mg/L as P | N121 | PDNP136B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2014 | 1480174 | 2014-06-18 | 0.17 | 0.162 | 104.9383 | 4.9383 | 0.85514 | 0.01 | 2757 |  |  |  | mg/L as P | N121 | PDNP161C
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2014 | 0350089 | 2014-02-19 | 0.618 | 0.663 | 93.2127 | -6.7873 | -1.3575 | 0.01 | 2757 | Sample was diluted |  |  | mg/L as P | N120 | PDNP037H
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2014 | 0500031 | 2014-03-04 | 0.659 | 0.663 | 99.3967 | -0.60332 | -0.12066 | 0.01 | 2757 |  |  |  | mg/L as P | N120 | PDNP055A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2014 | 0160008 | 2014-02-10 | 0.227 | 0.23 | 98.6957 | -1.3043 | -0.26087 | 0.01 | 2757 |  |  |  | mg/L as P | N119 | PDNP037G
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2014 | 0280034 | 2014-02-13 | 0.231 | 0.23 | 100.4348 | 0.43478 | 0.086957 | 0.01 | 2757 | Sample was diluted |  |  | mg/L as P | N119 | PDNP042B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2014 | 0720016 | 2014-03-21 | 0.215 | 0.23 | 93.4783 | -6.5217 | -1.3043 | 0.01 | 2757 |  |  |  | mg/L as P | N119 | PDNP080B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2014 | 0850066 | 2014-04-09 | 0.234 | 0.23 | 101.7391 | 1.7391 | 0.34783 | 0.01 | 2757 |  |  |  | mg/L as P | N119 | PDNP090A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2014 | 3450002 | 2013-12-30 | 0.645 | 0.663 | 97.2851 | -2.7149 | -0.54299 | 0.01 | 2757 |  |  |  | mg/L as P | N120 | PDNP353E
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2014 | 3600076 | 2014-01-09 | 0.669 | 0.663 | 100.905 | 0.90498 | 0.181 | 0.01 | 2757 |  |  |  | mg/L as P | N120 | PDNP008C
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2014 | 1970061 | 2014-08-06 | 0.165 | 0.162 | 101.8519 | 1.8519 | 0.32068 | 0.01 | 2757 |  |  |  | mg/L as P | N121 | PDNP213A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2014 | 2110051 | 2014-08-18 | 0.155 | 0.162 | 95.679 | -4.321 | -0.74824 | 0.01 | 2757 |  |  |  | mg/L as P | N121 | PDNP219C
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2015 | 2520015 | 2015-09-17 | 0.238 | 0.243 | 97.9424 | -2.0576 | -0.41152 | 0.01 | 2757 |  |  |  | mg/L as P | N125 | PDNP258A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2015 | 2660029 | 2015-09-30 | 0.245 | 0.243 | 100.823 | 0.82305 | 0.16461 | 0.01 | 2757 |  |  |  | mg/L as P | N125 | PDNP268A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2015 | 1040072 | 2015-04-22 | 0.497 | 0.491 | 101.222 | 1.222 | 0.2444 | 0.01 | 2757 |  |  |  | mg/L as P | N126 | PDNP107A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2015 | 1190152 | 2015-05-08 | 0.497 | 0.491 | 101.222 | 1.222 | 0.2444 | 0.01 | 2757 |  |  |  | mg/L as P | N126 | PDNP125A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2015 | 1530196 | 2015-06-05 | 0.517 | 0.491 | 105.2953 | 5.2953 | 1.0591 | 0.01 | 2757 |  |  |  | mg/L as P | N126 | PDNP155A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2015 | 1740038 | 2015-06-25 | 0.471 | 0.491 | 95.9267 | -4.0733 | -0.81466 | 0.01 | 2757 |  |  |  | mg/L as P | N126 | PDNP175A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2015 | 2880093 | 2014-10-24 | 0.183 | 0.19 | 96.3158 | -3.6842 | -0.68468 | 0.01 | 2757 |  |  |  | mg/L as P | N124 | PDNP290A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2015 | 3010073 | 2014-11-04 | 0.195 | 0.19 | 102.6316 | 2.6316 | 0.48905 | 0.01 | 2757 |  |  |  | mg/L as P | N124 | PDNP303A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2015 | 2230090 | 2015-08-26 | 0.499 | 0.491 | 101.6293 | 1.6293 | 0.32587 | 0.01 | 2757 |  |  |  | mg/L as P | N126 | PDNP237A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2015 | 2370158 | 2015-09-02 | 0.495 | 0.491 | 100.8147 | 0.81466 | 0.16293 | 0.01 | 2757 |  |  |  | mg/L as P | N126 | PDNP239B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2015 | 3160013 | 2014-11-25 | 0.272 | 0.272 | 100 | 0 | 0 | 0.01 | 2757 |  |  |  | mg/L as P | N123 | PDNP322A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2015 | 3290074 | 2014-12-12 | 0.264 | 0.272 | 97.0588 | -2.9412 | -0.58824 | 0.01 | 2757 |  |  |  | mg/L as P | N123 | PDNP337C
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2015 | 1320069 | 2015-05-21 | 0.245 | 0.243 | 100.823 | 0.82305 | 0.16461 | 0.01 | 2757 |  |  |  | mg/L as P | N125 | PDNP139A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2015 | 1470113 | 2015-06-01 | 0.241 | 0.243 | 99.177 | -0.82305 | -0.16461 | 0.01 | 2757 |  |  |  | mg/L as P | N125 | PDNP148A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2015 | 0410032 | 2015-02-24 | 0.186 | 0.19 | 97.8947 | -2.1053 | -0.39124 | 0.01 | 2757 |  |  |  | mg/L as P | N124 | PDNP044A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2015 | 0550063 | 2015-03-06 | 0.19 | 0.19 | 100 | 0 | 0 | 0.01 | 2757 |  |  |  | mg/L as P | N124 | PDNP061A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2015 | 0130018 | 2015-01-21 | 0.273 | 0.272 | 100.3676 | 0.36765 | 0.073529 | 0.01 | 2757 |  |  |  | mg/L as P | N123 | PDNP016B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2015 | 0280023 | 2015-02-10 | 0.298 | 0.272 | 109.5588 | 9.5588 | 1.9118 | 0.01 | 2757 |  |  |  | mg/L as P | N123 | PDNP037A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2015 | 0690078 | 2015-03-31 | 0.277 | 0.272 | 101.8382 | 1.8382 | 0.36765 | 0.01 | 2757 |  |  |  | mg/L as P | N123 | PDNP083A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2015 | 0850098 | 2015-04-07 | 0.277 | 0.272 | 101.8382 | 1.8382 | 0.36765 | 0.01 | 2757 |  |  |  | mg/L as P | N123 | PDNP091A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2015 | 3450052 | 2014-12-31 | 0.191 | 0.19 | 100.5263 | 0.52632 | 0.097811 | 0.01 | 2757 |  |  |  | mg/L as P | N124 | PDNP353A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2015 | 3640002 | 2015-01-07 | 0.181 | 0.19 | 95.2632 | -4.7368 | -0.8803 | 0.01 | 2757 |  |  |  | mg/L as P | N124 | PDNP005A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2015 | 1950025 | 2015-07-16 | 0.253 | 0.243 | 104.1152 | 4.1152 | 0.82305 | 0.01 | 2757 |  |  |  | mg/L as P | N125 | PDNP195A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2015 | 2090024 | 2015-08-03 | 0.242 | 0.243 | 99.5885 | -0.41152 | -0.082305 | 0.01 | 2757 |  |  |  | mg/L as P | N125 | PDNP210A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2016 | 2580006 | 2016-09-19 | 0.218 | 0.214 | 101.8692 | 1.8692 | 0.37383 | 0.01 | 2757 |  |  |  | mg/L as P | N129 | PDNP263A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2016 | 2710071 | 2016-10-14 | 0.218 | 0.214 | 101.8692 | 1.8692 | 0.37383 | 0.01 | 2757 |  |  |  | mg/L as P | N129 | PDNP285A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2016 | 1030066 | 2016-04-15 | 0.598 | 0.573 | 104.363 | 4.363 | 0.86207 | 0.01 | 2757 |  |  |  | mg/L as P | N130 | PDNP105A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2016 | 1170027 | 2016-04-29 | 0.578 | 0.573 | 100.8726 | 0.8726 | 0.17241 | 0.01 | 2757 |  |  |  | mg/L as P | N130 | PDNP119A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2016 | 1660103 | 2016-06-15 | 0.576 | 0.573 | 100.5236 | 0.52356 | 0.10345 | 0.01 | 2757 |  |  |  | mg/L as P | N130 | PDNP167A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2016 | 1800077 | 2016-07-01 | 0.563 | 0.573 | 98.2548 | -1.7452 | -0.34483 | 0.01 | 2757 |  |  |  | mg/L as P | N130 | PDNP182A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2016 | 2870029 | 2015-10-22 | 0.419 | 0.423 | 99.0544 | -0.94563 | -0.18913 | 0.01 | 2757 |  |  |  | mg/L as P | N128 | PDNP293B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2016 | 3000096 | 2015-11-04 | 0.464 | 0.423 | 109.6927 | 9.6927 | 1.9385 | 0.01 | 2757 |  |  |  | mg/L as P | N128 | PDNP307B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2016 | 2150177 | 2016-08-09 | 0.585 | 0.573 | 102.0942 | 2.0942 | 0.41379 | 0.01 | 2757 |  |  |  | mg/L as P | N130 | PDNP221A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2016 | 2290120 | 2016-08-24 | 0.571 | 0.573 | 99.651 | -0.34904 | -0.068966 | 0.01 | 2757 |  |  |  | mg/L as P | N130 | PDNP232B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2016 | 3140096 | 2015-11-16 | 0.148 | 0.14 | 105.7143 | 5.7143 | 1.1429 | 0.01 | 2757 |  |  |  | mg/L as P | N127 | PDNP320A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2016 | 3290009 | 2015-12-02 | 0.145 | 0.14 | 103.5714 | 3.5714 | 0.71429 | 0.01 | 2757 |  |  |  | mg/L as P | N127 | PDNP336A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2016 | 1320058 | 2016-05-16 | 0.216 | 0.214 | 100.9346 | 0.93458 | 0.18692 | 0.01 | 2757 |  |  |  | mg/L as P | N129 | PDNP134A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2016 | 1460116 | 2016-05-27 | 0.22 | 0.214 | 102.8037 | 2.8037 | 0.56075 | 0.01 | 2757 |  |  |  | mg/L as P | N129 | PDNP147A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2016 | 0400034 | 2016-02-12 | 0.4 | 0.423 | 94.5626 | -5.4374 | -1.0875 | 0.01 | 2757 |  |  |  | mg/L as P | N128 | PDNP043A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2016 | 0540104 | 2016-02-26 | 0.441 | 0.423 | 104.2553 | 4.2553 | 0.85106 | 0.01 | 2757 |  |  |  | mg/L as P | N128 | PDNP055A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2016 | 0120031 | 2016-01-20 | 0.14 | 0.14 | 100 | 0 | 0 | 0.01 | 2757 |  |  |  | mg/L as P | N127 | PDNP019A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2016 | 0260029 | 2016-01-28 | 0.146 | 0.14 | 104.2857 | 4.2857 | 0.85714 | 0.01 | 2757 |  |  |  | mg/L as P | N127 | PDNP028A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2016 | 0750075 | 2016-03-18 | 0.151 | 0.14 | 107.8571 | 7.8571 | 1.5714 | 0.01 | 2757 |  |  |  | mg/L as P | N127 | PDNP077B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2016 | 0890166 | 2016-03-31 | 0.142 | 0.14 | 101.4286 | 1.4286 | 0.28571 | 0.01 | 2757 |  |  |  | mg/L as P | N127 | PDNP091A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2016 | 3490008 | 2015-12-16 | 0.441 | 0.423 | 104.2553 | 4.2553 | 0.85106 | 0.01 | 2757 |  |  |  | mg/L as P | N128 | PDNP350A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2016 | 3630065 | 2016-01-05 | 0.422 | 0.423 | 99.7636 | -0.23641 | -0.047281 | 0.01 | 2757 |  |  |  | mg/L as P | N128 | PDNP004A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2016 | 1940098 | 2016-07-18 | 0.207 | 0.214 | 96.729 | -3.271 | -0.65421 | 0.01 | 2757 |  |  |  | mg/L as P | N129 | PDNP200A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2016 | 2080213 | 2016-08-03 | 0.22 | 0.214 | 102.8037 | 2.8037 | 0.56075 | 0.01 | 2757 |  |  |  | mg/L as P | N129 | PDNP215A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2017 | 2560125 | 2017-09-26 | 0.108 | 0.11 | 98.1818 | -1.8182 | -0.36364 | 0.01 | 2757 |  |  |  | mg/L as P | N133 | PDNP265A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2017 | 2690195 | 2017-09-28 | 0.103 | 0.11 | 93.6364 | -6.3636 | -1.2727 | 0.01 | 2757 |  |  |  | mg/L as P | N133 | PDNP271A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2017 | 1020075 | 2017-04-14 | 0.265 | 0.274 | 96.7153 | -3.2847 | -0.6 | 0.01 | 2757 |  |  |  | mg/L as P | N134 | PDNP103A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2017 | 1150162 | 2017-04-28 | 0.274 | 0.274 | 100 | 0 | 0 | 0.01 | 2757 |  |  |  | mg/L as P | N134 | PDNP117A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2017 | 1640180 | 2017-06-27 | 0.267 | 0.274 | 97.4453 | -2.5547 | -0.46667 | 0.01 | 2757 |  |  |  | mg/L as P | N134 | PDNP173A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2017 | 1780224 | 2017-07-11 | 0.289 | 0.274 | 105.4745 | 5.4745 | 1 | 0.01 | 2757 |  |  |  | mg/L as P | N134 | PDNP191A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2017 | 2860089 | 2016-10-18 | 0.296 | 0.293 | 101.0239 | 1.0239 | 0.20478 | 0.01 | 2757 |  |  |  | mg/L as P | N132 | PDNP291A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2017 | 3000020 | 2016-11-17 | 0.315 | 0.293 | 107.5085 | 7.5085 | 1.5017 | 0.01 | 2757 |  |  |  | mg/L as P | N132 | PDNP319A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2017 | 2270193 | 2017-08-21 | 0.276 | 0.274 | 100.7299 | 0.72993 | 0.13333 | 0.01 | 2757 |  |  |  | mg/L as P | N134 | PDNP230A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2017 | 2410211 | 2017-09-06 | 0.265 | 0.274 | 96.7153 | -3.2847 | -0.6 | 0.01 | 2757 |  |  |  | mg/L as P | N134 | PDNP249A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2017 | 3200139 | 2016-11-29 | 0.064 | 0.066 | 96.9697 | -3.0303 | -0.25 | 0.01 | 2757 |  |  |  | mg/L as P | N131 | PDNP333A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2017 | 3370117 | 2016-12-12 | 0.068 | 0.066 | 103.0303 | 3.0303 | 0.25 | 0.01 | 2757 |  |  |  | mg/L as P | N131 | PDNP347A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2017 | 1290175 | 2017-05-17 | 0.111 | 0.11 | 100.9091 | 0.90909 | 0.18182 | 0.01 | 2757 |  |  |  | mg/L as P | N133 | PDNP135A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2017 | 1430171 | 2017-06-02 | 0.109 | 0.11 | 99.0909 | -0.90909 | -0.18182 | 0.01 | 2757 |  |  |  | mg/L as P | N133 | PDNP150A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2017 | 0380071 | 2017-02-15 | 0.308 | 0.293 | 105.1195 | 5.1195 | 1.0239 | 0.01 | 2757 |  |  |  | mg/L as P | N132 | PDNP045A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2017 | 0540063 | 2017-02-28 | 0.296 | 0.293 | 101.0239 | 1.0239 | 0.20478 | 0.01 | 2757 |  |  |  | mg/L as P | N132 | PDNP058A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2017 | 0100052 | 2017-01-20 | 0.067 | 0.066 | 101.5152 | 1.5152 | 0.125 | 0.01 | 2757 |  |  |  | mg/L as P | N131 | PDNP020A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2017 | 0240083 | 2017-01-30 | 0.066 | 0.066 | 100 | 0 | 0 | 0.01 | 2757 |  |  |  | mg/L as P | N131 | PDNP030A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2017 | 0730073 | 2017-03-21 | 0.064 | 0.066 | 96.9697 | -3.0303 | -0.25 | 0.01 | 2757 |  |  |  | mg/L as P | N131 | PDNP074A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2017 | 0870127 | 2017-03-31 | 0.065 | 0.066 | 98.4848 | -1.5152 | -0.125 | 0.01 | 2757 |  |  |  | mg/L as P | N131 | PDNP089A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2017 | 3480031 | 2016-12-19 | 0.3 | 0.293 | 102.3891 | 2.3891 | 0.47782 | 0.01 | 2757 |  |  |  | mg/L as P | N132 | PDNP354A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2017 | 3630008 | 2016-12-29 | 0.291 | 0.293 | 99.3174 | -0.68259 | -0.13652 | 0.01 | 2757 |  |  |  | mg/L as P | N132 | PDNP364A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2017 | 1920146 | 2017-07-20 | 0.112 | 0.11 | 101.8182 | 1.8182 | 0.36364 | 0.01 | 2757 |  |  |  | mg/L as P | N133 | PDNP200A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2017 | 2060198 | 2017-08-02 | 0.095 | 0.11 | 86.3636 | -13.6364 | -2.7273 | 0.01 | 2757 |  |  |  | mg/L as P | N133 | PDNP213A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2019 | 2550077 | 2019-09-24 | 0.171 | 0.171 | 100 | 0 | 0 | 0.01 | 2757 |  |  |  | mg/L as P | N141 | PDNP263A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2019 | 2680152 | 2019-10-09 | 0.178 | 0.171 | 104.0936 | 4.0936 | 0.53846 | 0.01 | 2757 |  |  |  | mg/L as P | N141 | PDNP277A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2019 | 2390205 | 2019-09-12 | 0.647 | 0.622 | 104.0193 | 4.0193 | 0.75758 | 0.01 | 2757 |  |  |  | mg/L as P | N142 | PDNP252D
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 2590161 | 2020-10-09 | 0.133 | 0.134 | 99.2537 | -0.74627 | -0.125 | 0.01 | 2757 |  |  |  | mg/L as P | N145 | PDNP_20275B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 2740060 | 2020-11-05 | 0.141 | 0.134 | 105.2239 | 5.2239 | 0.875 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N145 | PDNP_20303A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 1060058 | 2020-04-23 | 0.339 | 0.339 | 100 | 0 | 0 | 0.01 | 2757 |  |  |  | mg/L as P | N146 | PDNP111A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 1190083 | 2020-05-06 | 0.336 | 0.339 | 99.115 | -0.88496 | -0.17699 | 0.01 | 2757 |  |  |  | mg/L as P | N146 | PDNP125A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 1610196 | 2020-06-19 | 0.34 | 0.339 | 100.295 | 0.29499 | 0.058997 | 0.01 | 2757 |  |  |  | mg/L as P | N146 | PDNP_20163C
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 1750073 | 2020-07-01 | 0.333 | 0.339 | 98.2301 | -1.7699 | -0.35398 | 0.01 | 2757 |  |  |  | mg/L as P | N146 | PDNP_20177C
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 2890225 | 2019-11-01 | 0.425 | 0.412 | 103.1553 | 3.1553 | 0.63107 | 0.01 | 2757 |  |  |  | mg/L as P | N144 | PDNP297A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 3030029 | 2019-11-07 | 0.406 | 0.412 | 98.5437 | -1.4563 | -0.29126 | 0.01 | 2757 |  |  |  | mg/L as P | N144 | PDNP304B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 2240095 | 2020-09-04 | 0.345 | 0.339 | 101.7699 | 1.7699 | 0.35398 | 0.01 | 2757 |  |  |  | mg/L as P | N146 | PDNP_20245A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 2390030 | 2020-09-16 | 0.373 | 0.339 | 110.0295 | 10.0295 | 2.0059 | 0.01 | 2757 |  |  |  | mg/L as P | N146 | PDNP_20255A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 3170098 | 2019-11-27 | 0.189 | 0.184 | 102.7174 | 2.7174 | 0.54348 | 0.01 | 2757 |  |  |  | mg/L as P | N143 | PDNP325A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 3310061 | 2019-12-06 | 0.181 | 0.184 | 98.3696 | -1.6304 | -0.32609 | 0.01 | 2757 |  |  |  | mg/L as P | N143 | PDNP339A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 1330130 | 2020-06-05 | 0.138 | 0.134 | 102.9851 | 2.9851 | 0.5 | 0.01 | 2757 |  |  |  | mg/L as P | N145 | PDNP_20154A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 1500214 | 2020-06-10 | 0.131 | 0.134 | 97.7612 | -2.2388 | -0.375 | 0.01 | 2757 |  |  |  | mg/L as P | N145 | PDNP_20156A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 0420078 | 2020-02-26 | 0.399 | 0.412 | 96.8447 | -3.1553 | -0.63107 | 0.01 | 2757 |  |  |  | mg/L as P | N144 | PDNP045A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 0560050 | 2020-03-05 | 0.396 | 0.412 | 96.1165 | -3.8835 | -0.7767 | 0.01 | 2757 |  |  |  | mg/L as P | N144 | PDNP059A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 0150020 | 2020-01-23 | 0.187 | 0.184 | 101.6304 | 1.6304 | 0.32609 | 0.01 | 2757 |  |  |  | mg/L as P | N143 | PDNP016A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 0280071 | 2020-02-07 | 0.181 | 0.184 | 98.3696 | -1.6304 | -0.32609 | 0.01 | 2757 |  |  |  | mg/L as P | N143 | PDNP030A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 0700106 | 2020-03-24 | 0.184 | 0.184 | 100 | 0 | 0 | 0.01 | 2757 |  |  |  | mg/L as P | N143 | PDNP073A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 0840026 | 2020-03-26 | 0.185 | 0.184 | 100.5435 | 0.54348 | 0.1087 | 0.01 | 2757 |  |  |  | mg/L as P | N143 | PDNP085A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 3440296 | 2019-12-27 | 0.412 | 0.412 | 100 | 0 | 0 | 0.01 | 2757 |  |  |  | mg/L as P | N144 | PDNP346B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 3600043 | 2020-01-15 | 0.406 | 0.412 | 98.5437 | -1.4563 | -0.29126 | 0.01 | 2757 |  |  |  | mg/L as P | N144 | PDNP010A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 1960129 | 2020-07-28 | 0.14 | 0.134 | 104.4776 | 4.4776 | 0.75 | 0.01 | 2757 |  |  |  | mg/L as P | N145 | PDNP_20202A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 2120195 | 2020-08-21 | 0.133 | 0.134 | 99.2537 | -0.74627 | -0.125 | 0.01 | 2757 |  |  |  | mg/L as P | N145 | PDNP_20231B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 2580267 | 2021-09-23 | 0.1937 | 0.184 | 105.2717 | 5.2717 | 1.0543 | 0.01 | 2757 |  |  |  | mg/L as P | N149 | PDNP_21264A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 2790017 | 2021-10-27 | 0.1867 | 0.184 | 101.4674 | 1.4674 | 0.29348 | 0.01 | 2757 |  |  |  | mg/L as P | N149 | PDNP_21285A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 1030141 | 2021-06-04 | 0.4478 | 0.45 | 99.5111 | -0.48889 | -0.097778 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N150 | PDNP_21153A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 1180040 | 2021-05-19 | 0.4483 | 0.45 | 99.6222 | -0.37778 | -0.075556 | 0.01 | 2757 |  |  |  | mg/L as P | N150 | PDNP_21139A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 1600031 | 2021-06-24 | 0.4538 | 0.45 | 100.8444 | 0.84444 | 0.16889 | 0.01 | 2757 |  |  |  | mg/L as P | N150 | PDNP_21172D
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 1730217 | 2021-07-13 | 0.4537 | 0.45 | 100.8222 | 0.82222 | 0.16444 | 0.01 | 2757 |  |  |  | mg/L as P | N150 | PDNP_21188B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 2880073 | 2020-11-06 | 0.321 | 0.295 | 108.8136 | 8.8136 | 1.7627 | 0.01 | 2757 |  |  |  | mg/L as P | N148 | PDNP_20307A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 3010156 | 2020-11-17 | 0.314 | 0.295 | 106.4407 | 6.4407 | 1.2881 | 0.01 | 2757 |  |  |  | mg/L as P | N148 | PDNP_20317A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 2220181 | 2021-08-24 | 0.4342 | 0.45 | 96.4889 | -3.5111 | -0.70222 | 0.01 | 2757 |  |  |  | mg/L as P | N150 | PDNP_21231A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 2360116 | 2021-08-30 | 0.4645 | 0.45 | 103.2222 | 3.2222 | 0.64444 | 0.01 | 2757 |  |  |  | mg/L as P | N150 | PDNP_21238A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 3150101 | 2020-11-27 | 0.202 | 0.198 | 102.0202 | 2.0202 | 0.40404 | 0.01 | 2757 |  |  |  | mg/L as P | N147 | PDNP_20324C
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 3300050 | 2020-12-08 | 0.205 | 0.198 | 103.5354 | 3.5354 | 0.70707 | 0.01 | 2757 |  |  |  | mg/L as P | N147 | PDNP_20338A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 1320165 | 2021-06-07 | 0.1765 | 0.184 | 95.9239 | -4.0761 | -0.81522 | 0.01 | 2757 |  |  |  | mg/L as P | N149 | PDNP_21155B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 1460001 | 2021-06-17 | 0.183 | 0.184 | 99.4565 | -0.54348 | -0.1087 | 0.01 | 2757 |  |  |  | mg/L as P | N149 | PDNP_21166B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 0330080 | 2021-02-11 | 0.309 | 0.295 | 104.7458 | 4.7458 | 0.94915 | 0.01 | 2757 |  |  |  | mg/L as P | N148 | PDNP_21039B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 0480040 | 2021-03-03 | 0.278 | 0.295 | 94.2373 | -5.7627 | -1.1525 | 0.01 | 2757 |  |  |  | mg/L as P | N148 | PDNP_21053A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 0120035 | 2021-01-22 | 0.203 | 0.198 | 102.5253 | 2.5253 | 0.50505 | 0.01 | 2757 |  |  |  | mg/L as P | N147 | PDNP_21021A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 0270076 | 2021-02-03 | 0.209 | 0.198 | 105.5556 | 5.5556 | 1.1111 | 0.01 | 2757 |  |  |  | mg/L as P | N147 | PDNP_21032A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 0680064 | 2021-03-19 | 0.235 | 0.198 | 118.6869 | 18.6869 | 3.7374 | 0.01 | 2757 |  |  |  | mg/L as P | N147 | PDNP_21075C
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 0830030 | 2021-03-31 | 0.2 | 0.198 | 101.0101 | 1.0101 | 0.20202 | 0.01 | 2757 |  |  |  | mg/L as P | N147 | PDNP_21084B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 3500076 | 2020-12-31 | 0.312 | 0.295 | 105.7627 | 5.7627 | 1.1525 | 0.01 | 2757 |  |  |  | mg/L as P | N148 | PDNP_20363A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 3640017 | 2021-01-08 | 0.305 | 0.295 | 103.3898 | 3.3898 | 0.67797 | 0.01 | 2757 |  |  |  | mg/L as P | N148 | PDNP_21007A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 1940227 | 2021-07-30 | 0.1866 | 0.184 | 101.413 | 1.413 | 0.28261 | 0.01 | 2757 |  |  |  | mg/L as P | N149 | PDNP_21210B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 2080175 | 2021-08-11 | 0.1929 | 0.184 | 104.837 | 4.837 | 0.96739 | 0.01 | 2757 |  |  |  | mg/L as P | N149 | PDNP_21218A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 2570116 | 2022-10-26 | 0.1009 | 0.098 | 102.9592 | 2.9592 | 0.48333 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PDNP_22285B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 2710052 | 2022-11-08 | 0.094 | 0.098 | 95.9184 | -4.0816 | -0.66667 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PDNP_22308A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 1020027 | 2022-04-28 | 0.296 | 0.293 | 101.0239 | 1.0239 | 0.20478 | 0.01 | 2757 |  |  |  | mg/L as P | N154 | PDNP_22116A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 1170084 | 2022-05-10 | 0.2864 | 0.293 | 97.7474 | -2.2526 | -0.45051 | 0.01 | 2757 |  |  |  | mg/L as P | N154 | PDNP_22126A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 1660164 | 2022-06-29 | 0.2625 | 0.293 | 89.5904 | -10.4096 | -2.0819 | 0.01 | 2757 |  |  |  | mg/L as P | N154 | PDNP_22173A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 1790081 | 2022-07-20 | 0.3 | 0.293 | 102.3891 | 2.3891 | 0.47782 | 0.01 | 2757 |  |  |  | mg/L as P | N154 | PDNP_22195A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 2870239 | 2021-10-28 | 0.3244 | 0.323 | 100.4334 | 0.43344 | 0.086687 | 0.01 | 2757 |  |  |  | mg/L as P | N152 | PDNP_21288A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 3000136 | 2021-11-12 | 0.3162 | 0.323 | 97.8947 | -2.1053 | -0.42105 | 0.01 | 2757 |  |  |  | mg/L as P | N152 | PDNP_21313A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 2210118 | 2022-08-31 | 0.2842 | 0.293 | 96.9966 | -3.0034 | -0.60068 | 0.01 | 2757 |  |  |  | mg/L as P | N154 | PDNP_22236A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 2360392 | 2022-09-26 | 0.285 | 0.293 | 97.2696 | -2.7304 | -0.54608 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154 | PDNP_22265A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 3130187 | 2021-11-29 | 0.0876 | 0.089 | 98.427 | -1.573 | -0.28 | 0.01 | 2757 |  |  |  | mg/L as P | N151 | PDNP_21327A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 3270277 | 2021-12-10 | 0.0898 | 0.089 | 100.8989 | 0.89888 | 0.16 | 0.01 | 2757 |  |  |  | mg/L as P | N151 | PDNP_21341B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 1320259 | 2022-05-25 | 0.0933 | 0.098 | 95.2041 | -4.7959 | -0.78333 | 0.01 | 2757 |  |  |  | mg/L as P | N153 | PDNP_22143B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 1460102 | 2022-06-08 | 0.0953 | 0.098 | 97.2449 | -2.7551 | -0.45 | 0.01 | 2757 |  |  |  | mg/L as P | N153 | PDNP_22157B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 0390080 | 2022-02-18 | 0.328 | 0.323 | 101.548 | 1.548 | 0.3096 | 0.01 | 2757 |  |  |  | mg/L as P | N152 | PDNP_22042B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 0540111 | 2022-03-08 | 0.3181 | 0.323 | 98.483 | -1.517 | -0.30341 | 0.01 | 2757 |  |  |  | mg/L as P | N152 | PDNP_22063A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 0120118 | 2022-01-21 | 0.0888 | 0.089 | 99.7753 | -0.22472 | -0.04 | 0.01 | 2757 |  |  |  | mg/L as P | N151 | PDNP_22013A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 0250046 | 2022-02-07 | 0.0914 | 0.089 | 102.6966 | 2.6966 | 0.48 | 0.01 | 2757 |  |  |  | mg/L as P | N151 | PDNP_22035A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 0670119 | 2022-03-23 | 0.0947 | 0.089 | 106.4045 | 6.4045 | 1.14 | 0.01 | 2757 |  |  |  | mg/L as P | N151 | PDNP_22080A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 0820069 | 2022-04-07 | 0.0907 | 0.089 | 101.9101 | 1.9101 | 0.34 | 0.01 | 2757 |  |  |  | mg/L as P | N151 | PDNP_22096B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 3550428 | 2022-01-07 | 0.3199 | 0.323 | 99.0402 | -0.95975 | -0.19195 | 0.01 | 2757 |  |  |  | mg/L as P | N152 | PDNP_22003A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 3640135 | 2022-01-12 | 0.3063 | 0.323 | 94.8297 | -5.1703 | -1.0341 | 0.01 | 2757 |  |  |  | mg/L as P | N152 | PDNP_22010A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 1930197 | 2022-07-29 | 0.0991 | 0.098 | 101.1224 | 1.1224 | 0.18333 | 0.01 | 2757 |  |  |  | mg/L as P | N153 | PDNP_22206C
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 2080419 | 2022-08-12 | 0.1009 | 0.098 | 102.9592 | 2.9592 | 0.48333 | 0.01 | 2757 |  |  |  | mg/L as P | N153 | PDNP_22223A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 1020109 | 2023-04-19 | 0.257 | 0.28 | 91.7857 | -8.2143 | -1.6429 | 0.01 | 2757 |  |  |  | mg/L as P | N158 | PDNP_23107A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 1170149 | 2023-06-21 | 0.273 | 0.28 | 97.5 | -2.5 | -0.5 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158 | PDNP_23159A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 1650067 | 2023-07-21 | 0.277 | 0.28 | 98.9286 | -1.0714 | -0.21429 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158 | PDNP_23201B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 1840087 | 2023-09-01 | 0.276 | 0.28 | 98.5714 | -1.4286 | -0.28571 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158 | PDNP_23233D
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 2860104 | 2022-12-06 | 0.663 | 0.67 | 98.9552 | -1.0448 | -0.20896 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156 | PDNP_22339B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 2990137 | 2022-12-15 | 0.67 | 0.67 | 100 | 0 | 0 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156 | PDNP_22347B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 2280171 | 2024-02-14 | 0.265 | 0.28 | 94.6429 | -5.3571 | -1.0714 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158 | PDNP_24043A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 3130112 | 2023-01-04 | 0.136 | 0.131 | 103.8168 | 3.8168 | 0.71429 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PDNP_22364A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 3260046 | 2023-01-11 | 0.141 | 0.131 | 107.6336 | 7.6336 | 1.4286 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PDNP_23009A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 1300162 | 2023-08-30 | 0.115 | 0.117 | 98.2906 | -1.7094 | -0.33333 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PDNP_23233A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 1440062 | 2023-09-28 | 0.111 | 0.117 | 94.8718 | -5.1282 | -1 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PDNP_23236A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 0470004 | 2023-02-24 | 0.522 | 0.67 | 77.9104 | -22.0896 | -4.4179 | 0.01 | 2757 |  |  |  | mg/L as P | N156 | PDNP_23054A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 0620098 | 2023-03-14 | 0.693 | 0.67 | 103.4328 | 3.4328 | 0.68657 | 0.01 | 2757 |  |  |  | mg/L as P | N156 | PDNP_23067C
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 0190116 | 2023-02-02 | 0.144 | 0.131 | 109.9237 | 9.9237 | 1.8571 | 0.01 | 2757 |  |  |  | mg/L as P | N155 | PDNP_23027B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 0310089 | 2023-02-09 | 0.138 | 0.131 | 105.3435 | 5.3435 | 1 | 0.01 | 2757 |  |  |  | mg/L as P | N155 | PDNP_23039A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 0740035 | 2023-03-30 | 0.142 | 0.131 | 108.3969 | 8.3969 | 1.5714 | 0.01 | 2757 |  |  |  | mg/L as P | N155 | PDNP_23088A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 0880094 | 2023-04-11 | 0.138 | 0.131 | 105.3435 | 5.3435 | 1 | 0.01 | 2757 |  |  |  | mg/L as P | N155 | PDNP_23094A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 3490123 | 2023-01-30 | 0.667 | 0.67 | 99.5522 | -0.44776 | -0.089552 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156 | PDNP_23025B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 0040115 | 2023-01-31 | 0.675 | 0.67 | 100.7463 | 0.74627 | 0.14925 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156 | PDNP_23026A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 1940235 | 2023-10-11 | 0.123 | 0.117 | 105.1282 | 5.1282 | 1 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PDNP_23242A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 2060140 | 2023-11-17 | 0.117 | 0.117 | 100 | 0 | 0 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PDNP_23311A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 2600021 | 2024-09-26 | 0.132 | 0.13 | 101.5385 | 1.5385 | 0.28571 | 0.01 | 2757 |  |  |  | mg/L as P | N161 | PDNP_24263A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 1000108 | 2024-04-27 | 0.265 | 0.275 | 96.3636 | -3.6364 | -0.72727 | 0.01 | 2757 |  |  |  | mg/L as P | N162 | PDNP_24114A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 1150016 | 2024-05-02 | 0.269 | 0.275 | 97.8182 | -2.1818 | -0.43636 | 0.01 | 2757 |  |  |  | mg/L as P | N162 | PDNP_24121A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 1630117 | 2024-06-14 | 0.266 | 0.275 | 96.7273 | -3.2727 | -0.65455 | 0.01 | 2757 |  |  |  | mg/L as P | N162 | PDNP_24165A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 1770112 | 2024-07-02 | 0.265 | 0.275 | 96.3636 | -3.6364 | -0.72727 | 0.01 | 2757 |  |  |  | mg/L as P | N162 | PDNP_24180A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 2260087 | 2024-08-28 | 0.264 | 0.275 | 96 | -4 | -0.8 | 0.01 | 2757 |  |  |  | mg/L as P | N162 | PDNP_24229A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 2400285 | 2024-09-10 | 0.263 | 0.275 | 95.6364 | -4.3636 | -0.87273 | 0.01 | 2757 |  |  |  | mg/L as P | N162 | PDNP_24247A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 1370194 | 2024-05-22 | 0.127 | 0.13 | 97.6923 | -2.3077 | -0.42857 | 0.01 | 2757 |  |  |  | mg/L as P | N161 | PDNP_24142A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 1500147 | 2024-06-03 | 0.147 | 0.13 | 113.0769 | 13.0769 | 2.4286 | 0.01 | 2757 |  |  |  | mg/L as P | N161 | PDNP_24151A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 0440080 | 2024-04-24 | 0.359 | 0.375 | 95.7333 | -4.2667 | -0.85333 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N160 | PDNP_24113A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 0580161 | 2024-03-19 | 0.367 | 0.375 | 97.8667 | -2.1333 | -0.42667 | 0.01 | 2757 |  |  |  | mg/L as P | N160 | PDNP_24071A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 0090035 | 2024-04-06 | 0.127 | 0.128 | 99.2188 | -0.78125 | -0.15625 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N159 | PDNP_24087A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 0030063 | 2024-04-06 | 0.032 | 0.0375 | 85.3333 | -14.6667 | -1.1 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N160X | PDNP_24087A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 0730121 | 2024-04-01 | 0.13 | 0.128 | 101.5625 | 1.5625 | 0.3125 | 0.01 | 2757 |  |  |  | mg/L as P | N159 | PDNP_24081A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 0880018 | 2024-04-27 | 0.127 | 0.128 | 99.2188 | -0.78125 | -0.15625 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N159 | PDNP_24114A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 3460241 | 2024-03-06 | 0.364 | 0.375 | 97.0667 | -2.9333 | -0.58667 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N160 | PDNP_24065A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 3610064 | 2024-03-19 | 0.367 | 0.375 | 97.8667 | -2.1333 | -0.42667 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N160 | PDNP_24071A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 1980279 | 2024-07-26 | 0.132 | 0.13 | 101.5385 | 1.5385 | 0.28571 | 0.01 | 2757 |  |  |  | mg/L as P | N161 | PDNP_24198B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 2130065 | 2024-08-09 | 0.122 | 0.13 | 93.8462 | -6.1538 | -1.1429 | 0.01 | 2757 |  |  |  | mg/L as P | N161 | PDNP_24218A