## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recov | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2019 | 2690145 | 2019-10-01 |  | 0.5364 | 0.516 | 103.9535 | 3.9535 | 0.25 | 0.0816 | 0.12 | 3126 | Below the reporting level but at or above the detection level |  |  | ug/L | T223 | ICPMS19270A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 2810114 | 2019-10-11 |  | 1.6755 | 1.86 | 90.0806 | -9.9194 | 0.25 | -0.738 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS19282A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 2830131 | 2019-10-11 |  | 1.8631 | 1.88 | 99.1011 | -0.89894 | 0.25 | -0.0676 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS19282A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 2890221 | 2019-10-24 |  | 7.5346 | 7.51 | 100.3276 | 0.32756 | 0.4 | 0.0615 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T229 | ICPMS19295A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 2910178 | 2019-10-24 |  | 1.4139 | 1.17 | 120.8462 | 20.8462 | 0.25 | 0.9756 | 0.5 | 3126 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS19295A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 2950100 | 2019-10-28 |  | 1.859 | 1.86 | 99.9462 | -0.053763 | 0.25 | -0.004 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS19297A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 2970173 | 2019-10-28 |  | 2.0816 | 1.88 | 110.7234 | 10.7234 | 0.25 | 0.8064 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS19297A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 3030027 | 2019-11-01 |  | 7.639 | 7.51 | 101.7177 | 1.7177 | 0.4 | 0.3225 | 0.5 | 3126 |  |  |  | µg/L | T229 | ICPMS19302A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 3040163 | 2019-11-01 |  | 1.2633 | 1.17 | 107.9744 | 7.9744 | 0.25 | 0.3732 | 0.5 | 3126 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS19302A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 3310060 | 2019-12-06 |  | 2.042 | 1.88 | 108.617 | 8.617 | 0.25 | 0.648 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS19326A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 3250088 | 2019-12-06 |  | 1.3452 | 1.17 | 114.9744 | 14.9744 | 0.25 | 0.7008 | 0.5 | 3126 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS19326A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 3370105 | 2019-12-09 |  | 1.8353 | 1.86 | 98.672 | -1.328 | 0.25 | -0.0988 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS19340A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 3110129 | 2019-12-10 |  | 1.5346 | 1.17 | 131.1624 | 31.1624 | 0.25 | 1.4584 | 0.5 | 3126 | Value verified by rerun, same method | Below the reporting level but at or above the detection level | Sample was diluted | µg/L | T225 | ICPMS19343A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 3180078 | 2019-12-10 |  | 1.7907 | 1.86 | 96.2742 | -3.7258 | 0.25 | -0.2772 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS19343A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 3390130 | 2019-12-17 |  | 2.0566 | 1.86 | 110.5699 | 10.5699 | 0.25 | 0.7864 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS19347A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 3440294 | 2019-12-18 |  | 1.4734 | 1.17 | 125.9316 | 25.9316 | 0.25 | 1.2136 | 0.5 | 3126 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS19351A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 3510023 | 2019-12-19 |  | 0.5335 | 0.445 | 119.8876 | 19.8876 | 0.25 | 0.354 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T227 | ICPMS19352A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 3530005 | 2019-12-23 |  | 1.8841 | 1.86 | 101.2957 | 1.2957 | 0.25 | 0.0964 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS19354A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 3170095 | 2020-01-02 |  | 2.0484 | 1.88 | 108.9574 | 8.9574 | 0.25 | 0.6736 | 0.5 | 3126 | See result laboratory comment |  |  | µg/L | T235 | ICPMS19357A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 0070044 | 2020-01-08 |  | 7.9577 | 7.51 | 105.9614 | 5.9614 | 0.4 | 1.1193 | 0.5 | 3126 |  |  |  | µg/L | T229 | ICPMS20002A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 3600045 | 2020-01-08 |  | 1.8012 | 1.17 | 153.9487 | 53.9487 | 0.25 | 2.5248 | 0.5 | 3126 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS20002A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 0150017 | 2020-01-16 |  | 1.9206 | 1.86 | 103.2581 | 3.2581 | 0.25 | 0.2424 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS20014A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 0220109 | 2020-01-23 |  | 7.8744 | 7.51 | 104.8522 | 4.8522 | 0.4 | 0.911 | 0.5 | 3126 |  |  |  | µg/L | T229 | ICPMS20022A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 0350135 | 2020-02-12 |  | 2.0216 | 1.88 | 107.5319 | 7.5319 | 0.25 | 0.5664 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS20042A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 0370095 | 2020-02-18 |  | 0.5815 | 0.445 | 130.6742 | 30.6742 | 0.25 | 0.546 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T227 | ICPMS20045A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 0420076 | 2020-02-20 |  | 0.6082 | 0.265 | 229.5094 | 129.5094 | 0.25 | 1.3728 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T231 | ICPMS20049A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 0280070 | 2020-02-25 |  | 1.8505 | 1.86 | 99.4892 | -0.51075 | 0.25 | -0.038 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS20055A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 0500059 | 2020-02-26 |  | 2.0143 | 1.88 | 107.1436 | 7.1436 | 0.25 | 0.5372 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS20056A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 0510085 | 2020-03-02 |  | 0.623 | 0.445 | 140 | 40 | 0.25 | 0.712 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T227 | ICPMS20059A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 0630051 | 2020-03-04 |  | 1.6579 | 1.17 | 141.7009 | 41.7009 | 0.25 | 1.9516 | 0.5 | 3126 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS20063A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 0700103 | 2020-03-11 |  | 0.596 | 0.445 | 133.9326 | 33.9326 | 0.25 | 0.604 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T227 | ICPMS20069A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 0650087 | 2020-03-11 |  | 8.1672 | 7.51 | 108.751 | 8.751 | 0.4 | 1.643 | 0.5 | 3126 |  |  |  | µg/L | T229 | ICPMS20069A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 0730159 | 2020-03-30 |  | 2.2353 | 1.88 | 118.8989 | 18.8989 | 0.25 | 1.4212 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS20087A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 0770114 | 2020-03-31 |  | 1.6443 | 1.17 | 140.5385 | 40.5385 | 0.25 | 1.8972 | 0.5 | 3126 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS20087A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 0800006 | 2020-04-01 |  | 8.0601 | 7.51 | 107.3249 | 7.3249 | 0.4 | 1.3753 | 0.5 | 3126 |  |  |  | µg/L | T229 | ICPMS20091A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 0860001 | 2020-04-01 |  | 1.9873 | 1.88 | 105.7074 | 5.7074 | 0.25 | 0.4292 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS20091A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 0980043 | 2020-04-20 |  | 1.9314 | 1.86 | 103.8387 | 3.8387 | 0.25 | 0.2856 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS20111A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 1060059 | 2020-04-20 |  | 8.0047 | 7.51 | 106.5872 | 6.5872 | 0.4 | 1.2367 | 0.5 | 3126 |  |  |  | µg/L | T229 | ICPMS20111A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 1000065 | 2020-04-20 |  | 2.0342 | 1.88 | 108.2021 | 8.2021 | 0.25 | 0.6168 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS20111A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 1120049 | 2020-04-22 |  | 2.1676 | 1.86 | 116.5376 | 16.5376 | 0.25 | 1.2304 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS20113A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 1140085 | 2020-04-29 |  | 2.227 | 1.88 | 118.4574 | 18.4574 | 0.25 | 1.388 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS20120A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 1200019 | 2020-05-05 |  | 1.9563 | 1.17 | 167.2051 | 67.2051 | 0.25 | 3.1452 | 0.5 | 3126 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS20125A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 1280003 | 2020-05-09 |  | 1.6494 | 1.17 | 140.9744 | 40.9744 | 0.25 | 1.9176 | 0.5 | 3126 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS20129A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 1330126 | 2020-06-03 |  | 1.7967 | 1.88 | 95.5691 | -4.4309 | 0.25 | -0.3332 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS20154A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 1610191 | 2020-07-01 |  | 1.345 | 1.17 | 114.9573 | 14.9573 | 0.25 | 0.7 | 0.5 | 3126 | Below the reporting level but at or above the detection level | Sample was diluted | See result laboratory comment | µg/L | T225 | ICPMS20182A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 1700253 | 2020-07-20 |  | 2.0626 | 1.86 | 110.8925 | 10.8925 | 0.25 | 0.8104 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS20198A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 1890182 | 2020-07-21 |  | 7.3734 | 7.51 | 98.1811 | -1.8189 | 0.4 | -0.3415 | 0.5 | 3126 |  |  |  | µg/L | T229 | ICPMS20202A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 1400018 | 2020-08-10 |  | 1.7388 | 1.86 | 93.4839 | -6.5161 | 0.25 | -0.4848 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS20218B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 1550011 | 2020-08-10 |  | 1.699 | 1.86 | 91.3441 | -8.6559 | 0.25 | -0.644 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS20218B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 1560169 | 2020-08-10 |  | 1.7715 | 1.86 | 95.2419 | -4.7581 | 0.25 | -0.354 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS20218B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 1430102 | 2020-08-11 |  | 1.2932 | 1.17 | 110.5299 | 10.5299 | 0.25 | 0.4928 | 0.5 | 3126 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS20218B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 1960126 | 2020-08-11 |  | 1.7488 | 1.86 | 94.0215 | -5.9785 | 0.25 | -0.4448 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS20224A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 2040025 | 2020-09-02 |  | 7.9231 | 7.51 | 105.5007 | 5.5007 | 0.4 | 1.0328 | 0.5 | 3126 |  |  |  | µg/L | T229 | ICPMS20245A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 2120199 | 2020-09-03 |  | 1.8266 | 1.86 | 98.2043 | -1.7957 | 0.25 | -0.1336 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS20247A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 2170035 | 2020-09-21 |  | 1.841 | 1.88 | 97.9255 | -2.0745 | 0.25 | -0.156 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS20265A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 2260122 | 2020-10-09 |  | 8.1739 | 7.51 | 108.8402 | 8.8402 | 0.4 | 1.6597 | 0.5 | 3126 |  |  |  | µg/L | T229 | ICPMS20281A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 2320037 | 2020-10-19 |  | 2.1636 | 1.88 | 115.0851 | 15.0851 | 0.25 | 1.1344 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS20293A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 2400048 | 2020-10-23 |  | 8.5051 | 7.51 | 113.2503 | 13.2503 | 0.4 | 2.4878 | 0.5 | 3126 |  |  |  | µg/L | T229 | ICPMS20297A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 2370046 | 2020-10-23 |  | 0.7687 | 0.445 | 172.7416 | 72.7416 | 0.25 | 1.2948 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T227 | ICPMS20296A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 2530137 | 2020-10-30 |  | 1.6617 | 1.17 | 142.0256 | 42.0256 | 0.25 | 1.9668 | 0.5 | 3126 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS20303B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 2590164 | 2020-11-02 |  | 0.5391 | 0.445 | 121.1461 | 21.1461 | 0.25 | 0.3764 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T227 | ICPMS20307A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 2610176 | 2020-11-02 |  | 2.0497 | 1.88 | 109.0266 | 9.0266 | 0.25 | 0.6788 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS20307B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 2540254 | 2020-11-03 |  | 8.1187 | 7.51 | 108.1052 | 8.1052 | 0.4 | 1.5218 | 0.5 | 3126 |  |  |  | µg/L | T229 | ICPMS20307A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 2670298 | 2020-11-04 |  | 1.2806 | 1.17 | 109.453 | 9.453 | 0.25 | 0.4424 | 0.5 | 3126 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T225 | ICPMS20307C
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 2680088 | 2020-11-06 |  | 7.8369 | 7.51 | 104.3529 | 4.3529 | 0.4 | 0.81725 | 0.5 | 3126 |  |  |  | µg/L | T229 | ICPMS20310B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2020 | 2750112 | 2020-11-13 |  | 2.2052 | 1.88 | 117.2979 | 17.2979 | 0.25 | 1.3008 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS20317A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 2810032 | 2020-11-13 |  | 2.041 | 1.86 | 109.7312 | 9.7312 | 0.25 | 0.724 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS20318A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 2820106 | 2020-11-13 |  | 2.2439 | 1.88 | 119.3564 | 19.3564 | 0.25 | 1.4556 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS20318A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 2950028 | 2020-11-23 |  | 1.9565 | 1.86 | 105.1882 | 5.1882 | 0.25 | 0.386 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS20328B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 2880069 | 2020-12-31 |  | 7.7135 | 7.51 | 102.7097 | 2.7097 | 0.4 | 0.50875 | 0.5 | 3126 |  |  |  | µg/L | T229 | ICPMS20356A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 2960114 | 2020-12-31 |  | 2.0259 | 1.88 | 107.7606 | 7.7606 | 0.25 | 0.5836 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS20356A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 2890050 | 2020-12-31 |  | 3.0536 | 2.75 | 111.04 | 11.04 | 0.25 | 1.2144 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS20356A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 3150100 | 2021-01-22 |  | 2.0506 | 1.88 | 109.0745 | 9.0745 | 0.25 | 0.6824 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS21022A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 3100152 | 2021-01-22 |  | 2.789 | 2.75 | 101.4182 | 1.4182 | 0.25 | 0.156 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS21022A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 3030154 | 2021-01-26 |  | 2.7927 | 2.75 | 101.5527 | 1.5527 | 0.25 | 0.1708 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS21020A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 3240157 | 2021-01-28 |  | 2.8677 | 2.75 | 104.28 | 4.28 | 0.25 | 0.4708 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS21027A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 3180092 | 2021-01-28 |  | 1.986 | 1.86 | 106.7742 | 6.7742 | 0.25 | 0.504 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS21027A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 3230039 | 2021-01-29 |  | 0.8131 | 0.265 | 306.8302 | 206.8302 | 0.25 | 2.1924 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T231 | ICPMS21027A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 3300047 | 2021-02-16 |  | 2.2542 | 1.88 | 119.9043 | 19.9043 | 0.25 | 1.4968 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS21040A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 3010155 | 2021-02-17 |  | 7.8283 | 7.51 | 104.2383 | 4.2383 | 0.4 | 0.79575 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T229 | ICPMS21040A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 3350001 | 2021-02-19 |  | 1.9773 | 1.86 | 106.3065 | 6.3065 | 0.25 | 0.4692 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS21047A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 3440081 | 2021-02-24 |  | 3.1981 | 3.06 | 104.5131 | 4.5131 | 0.25 | 0.5524 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T239 | ICPMS21053A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 3500073 | 2021-03-01 |  | 3.1374 | 2.75 | 114.0873 | 14.0873 | 0.25 | 1.5496 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS21056A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 3450088 | 2021-03-01 |  | 1.7537 | 1.86 | 94.2849 | -5.7151 | 0.25 | -0.4252 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS21056A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 3640015 | 2021-03-03 |  | 2.9656 | 2.75 | 107.84 | 7.84 | 0.25 | 0.8624 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS21062A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 3630005 | 2021-03-03 |  | 1.7767 | 1.86 | 95.5215 | -4.4785 | 0.25 | -0.3332 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS21062A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 0050024 | 2021-03-04 |  | 7.7843 | 7.51 | 103.6525 | 3.6525 | 0.4 | 0.68575 | 0.5 | 3126 |  |  |  | µg/L | T229 | ICPMS21062A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 3580059 | 2021-03-04 |  | 3.4372 | 3.06 | 112.3268 | 12.3268 | 0.25 | 1.5088 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T239 | ICPMS21062A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 0120036 | 2021-03-08 |  | 1.7618 | 1.86 | 94.7204 | -5.2796 | 0.25 | -0.3928 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS21063A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 0120031 | 2021-03-09 |  | 0.754 | 0.265 | 284.5283 | 184.5283 | 0.25 | 1.956 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T231 | ICPMS21063A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 0540055 | 2021-03-11 |  | 2.1324 | 1.88 | 113.4255 | 13.4255 | 0.25 | 1.0096 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS21070A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 0400076 | 2021-03-12 |  | 1.9513 | 1.88 | 103.7926 | 3.7926 | 0.25 | 0.2852 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS21069A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 0420166 | 2021-03-12 |  | 2.8373 | 3.06 | 92.7222 | -7.2778 | 0.25 | -0.8908 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T239 | ICPMS21069A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 0210015 | 2021-03-26 |  | 7.8454 | 7.51 | 104.466 | 4.466 | 0.4 | 0.8385 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T229 | ICPMS21084A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 0270078 | 2021-03-29 |  | 1.9275 | 1.86 | 103.629 | 3.629 | 0.25 | 0.27 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS21088A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 0560226 | 2021-04-24 |  | 3.2138 | 3.06 | 105.0261 | 5.0261 | 0.25 | 0.6152 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T239 | ICPMS21110B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 0620100 | 2021-04-26 |  | 2.8208 | 2.75 | 102.5745 | 2.5745 | 0.25 | 0.2832 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS21116A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 0630014 | 2021-04-26 |  | 7.0645 | 7.51 | 94.0679 | -5.9321 | 0.4 | -1.1138 | 0.5 | 3126 |  |  |  | µg/L | T229 | ICPMS21116A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 0690088 | 2021-04-27 |  | 1.8747 | 1.88 | 99.7181 | -0.28191 | 0.25 | -0.0212 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS21117A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 0680063 | 2021-04-28 |  | 2.9524 | 3.06 | 96.4837 | -3.5163 | 0.25 | -0.4304 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T239 | ICPMS21117A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 0760035 | 2021-04-28 |  | 2.776 | 2.75 | 100.9455 | 0.94545 | 0.25 | 0.104 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS21117A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 0770038 | 2021-04-30 |  | 6.9911 | 7.51 | 93.0905 | -6.9095 | 0.4 | -1.2972 | 0.5 | 3126 |  |  |  | µg/L | T229 | ICPMS21119A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 0840106 | 2021-05-05 |  | 1.8666 | 1.88 | 99.2872 | -0.71277 | 0.25 | -0.0536 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS21123A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 0970048 | 2021-05-13 |  | 1.8398 | 1.86 | 98.914 | -1.086 | 0.25 | -0.0808 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS21133A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 0980125 | 2021-05-13 |  | 1.9111 | 1.88 | 101.6543 | 1.6543 | 0.25 | 0.1244 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS21133A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 1030144 | 2021-05-18 |  | 6.8657 | 7.51 | 91.4208 | -8.5792 | 0.4 | -1.6107 | 0.5 | 3126 |  |  |  | µg/L | T229 | ICPMS21137A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 1050214 | 2021-05-25 |  | 2.7391 | 2.75 | 99.6036 | -0.39636 | 0.25 | -0.0436 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS21145A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 1110004 | 2021-05-27 |  | 1.7851 | 1.86 | 95.9731 | -4.0269 | 0.25 | -0.2996 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS21146A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 1120199 | 2021-06-07 |  | 1.8812 | 1.88 | 100.0638 | 0.06383 | 0.25 | 0.0048 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS21158A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 0830027 | 2021-06-07 |  | 2.984 | 3.06 | 97.5163 | -2.4837 | 0.25 | -0.304 | 0.5 | 3126 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T239 | ICPMS21158A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 1180038 | 2021-06-09 |  | 7.1049 | 7.51 | 94.6059 | -5.3941 | 0.4 | -1.0128 | 0.5 | 3126 |  |  |  | µg/L | T229 | ICPMS21158B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 1190109 | 2021-06-09 |  | 2.7533 | 2.75 | 100.12 | 0.12 | 0.25 | 0.0132 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS21159A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 1260129 | 2021-06-17 |  | 2.6655 | 2.75 | 96.9273 | -3.0727 | 0.25 | -0.338 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS21166A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 1320162 | 2021-06-23 |  | 1.7125 | 1.88 | 91.0904 | -8.9096 | 0.25 | -0.67 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS21174A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 1330239 | 2021-06-24 |  | 2.0111 | 1.86 | 108.1237 | 8.1237 | 0.25 | 0.6044 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS21174B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 1400338 | 2021-06-29 |  | 2.7764 | 2.75 | 100.96 | 0.96 | 0.25 | 0.1056 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS21179A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 1460003 | 2021-06-30 |  | 1.7987 | 1.88 | 95.6755 | -4.3245 | 0.25 | -0.3252 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS21181A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 1530098 | 2021-07-07 |  | 1.7522 | 1.86 | 94.2043 | -5.7957 | 0.25 | -0.4312 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS21188A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 1540139 | 2021-07-08 |  | 2.899 | 3.06 | 94.7386 | -5.2614 | 0.25 | -0.644 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T239 | ICPMS21189A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 1600035 | 2021-07-12 |  | 2.9261 | 2.75 | 106.4036 | 6.4036 | 0.25 | 0.7044 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS21193A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 1600024 | 2021-07-12 |  | 1.8145 | 1.86 | 97.5538 | -2.4462 | 0.25 | -0.182 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS21193A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 1660119 | 2021-07-22 |  | 2.8348 | 3.06 | 92.6405 | -7.3595 | 0.25 | -0.9008 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T239 | ICPMS21202A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 1680018 | 2021-07-22 |  | 1.6651 | 1.86 | 89.5215 | -10.4785 | 0.25 | -0.7796 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS21203A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 1730218 | 2021-07-23 |  | 2.7356 | 2.75 | 99.4764 | -0.52364 | 0.25 | -0.0576 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS21204A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 1880114 | 2021-08-17 |  | 7.9693 | 7.51 | 106.1158 | 6.1158 | 0.4 | 1.1482 | 0.5 | 3126 |  |  |  | µg/L | T229 | ICPMS21229A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 1940229 | 2021-08-23 |  | 1.9086 | 1.86 | 102.6129 | 2.6129 | 0.25 | 0.1944 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS21235A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 1960202 | 2021-08-27 |  | 3.0445 | 3.06 | 99.4935 | -0.50654 | 0.25 | -0.062 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T239 | ICPMS21238A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 2010231 | 2021-08-31 |  | 7.5625 | 7.51 | 100.6991 | 0.69907 | 0.4 | 0.13125 | 0.5 | 3126 |  |  |  | µg/L | T229 | ICPMS21242A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 2150046 | 2021-09-14 |  | 1.5268 | 1.88 | 81.2128 | -18.7872 | 0.25 | -1.4128 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS21257A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 2080172 | 2021-09-14 |  | 1.7704 | 1.86 | 95.1828 | -4.8172 | 0.25 | -0.3584 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS21256A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 2100163 | 2021-09-14 |  | 3.179 | 3.06 | 103.8889 | 3.8889 | 0.25 | 0.476 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T239 | ICPMS21256A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 2170003 | 2021-09-23 |  | 2.9356 | 3.06 | 95.9346 | -4.0654 | 0.25 | -0.4976 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T239 | ICPMS21258A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 2240198 | 2021-10-08 |  | 6.765 | 7.51 | 90.0799 | -9.9201 | 0.4 | -1.8625 | 0.5 | 3126 |  |  |  | µg/L | T229 | ICPMS21281A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 2290121 | 2021-10-13 |  | 1.7654 | 1.88 | 93.9043 | -6.0957 | 0.25 | -0.4584 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS21286A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 2310211 | 2021-10-15 |  | 2.7118 | 3.06 | 88.6209 | -11.3791 | 0.25 | -1.3928 | 0.5 | 3126 |  |  |  | µg/L | T239 | ICPMS21287A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 2380348 | 2021-10-27 |  | 7.1103 | 7.51 | 94.6778 | -5.3222 | 0.4 | -0.99925 | 0.5 | 3126 |  |  |  | µg/L | T229 | ICPMS21300A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 2510433 | 2021-11-08 |  | 2.6415 | 2.75 | 96.0545 | -3.9455 | 0.25 | -0.434 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS21312A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 2520501 | 2021-11-09 |  | 8.0548 | 7.51 | 107.2543 | 7.2543 | 0.4 | 1.362 | 0.5 | 3126 |  |  |  | µg/L | T229 | ICPMS21313A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 2580265 | 2021-11-16 |  | 2.9237 | 3.06 | 95.5458 | -4.4542 | 0.25 | -0.5452 | 0.5 | 3126 |  |  |  | µg/L | T239 | ICPMS21320A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 2640271 | 2021-11-24 |  | 2.5238 | 2.75 | 91.7745 | -8.2255 | 0.25 | -0.9048 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS21328A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 2660011 | 2021-11-24 |  | 7.2143 | 7.51 | 96.0626 | -3.9374 | 0.4 | -0.73925 | 0.5 | 3126 |  |  |  | µg/L | T229 | ICPMS21328A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 2590006 | 2021-11-24 |  | 1.9481 | 1.88 | 103.6223 | 3.6223 | 0.25 | 0.2724 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS21328A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 2790013 | 2021-12-02 |  | 1.7439 | 1.88 | 92.7606 | -7.2394 | 0.25 | -0.5444 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS21336A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 2790037 | 2021-12-02 |  | 1.6749 | 1.86 | 90.0484 | -9.9516 | 0.25 | -0.7404 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS21336A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 2800046 | 2021-12-02 |  | 1.7429 | 1.88 | 92.7074 | -7.2926 | 0.25 | -0.5484 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS21336A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2021 | 2790034 | 2021-12-03 |  | 2.813 | 3.06 | 91.9281 | -8.0719 | 0.25 | -0.988 | 0.5 | 3126 |  |  |  | µg/L | T239 | ICPMS21336A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 3010096 | 2021-12-16 |  | 2.7189 | 2.75 | 98.8691 | -1.1309 | 0.25 | -0.1244 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS21350A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 3080206 | 2021-12-28 |  | 2.8047 | 2.75 | 101.9891 | 1.9891 | 0.25 | 0.2188 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS21362A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 3060209 | 2021-12-29 |  | 0.578 | 0.945 | 61.164 | -38.836 | 0.25 | -1.468 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS21362A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 2940108 | 2022-01-10 |  | 1.7167 | 1.88 | 91.3138 | -8.6862 | 0.25 | -0.6532 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS22010A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 2940002 | 2022-01-10 |  | 2.8387 | 2.75 | 103.2255 | 3.2255 | 0.25 | 0.3548 | 0.5 | 3126 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T237 | ICPMS22010A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 3130184 | 2022-01-10 |  | 1.7125 | 1.88 | 91.0904 | -8.9096 | 0.25 | -0.67 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS22010A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 3190108 | 2022-01-12 |  | 1.7937 | 1.86 | 96.4355 | -3.5645 | 0.25 | -0.2652 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS22011A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 3220096 | 2022-01-13 |  | 2.4632 | 2.75 | 89.5709 | -10.4291 | 0.25 | -1.1472 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS22011A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 3270288 | 2022-01-14 |  | 1.8486 | 1.88 | 98.3298 | -1.6702 | 0.25 | -0.1256 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS22014A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 3340034 | 2022-01-14 |  | 1.8125 | 1.86 | 97.4462 | -2.5538 | 0.25 | -0.19 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS22014A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 3200088 | 2022-01-18 |  | 0.7972 | 0.945 | 84.3598 | -15.6402 | 0.25 | -0.5912 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS22018A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 3410064 | 2022-01-19 |  | 2.5958 | 3.06 | 84.8301 | -15.1699 | 0.25 | -1.8568 | 0.5 | 3126 |  |  |  | µg/L | T239 | ICPMS22018A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 3430138 | 2022-01-19 |  | 1.8657 | 1.86 | 100.3065 | 0.30645 | 0.25 | 0.0228 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS22019A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 3480118 | 2022-01-21 |  | 2.6508 | 2.75 | 96.3927 | -3.6073 | 0.25 | -0.3968 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS22021A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 3640134 | 2022-01-27 |  | 2.654 | 2.75 | 96.5091 | -3.4909 | 0.25 | -0.384 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS22027A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 3620335 | 2022-01-27 |  | 1.8476 | 1.86 | 99.3333 | -0.66667 | 0.25 | -0.0496 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS22027A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 0120120 | 2022-02-07 |  | 1.75 | 1.86 | 94.086 | -5.914 | 0.25 | -0.44 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS22038A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 0060146 | 2022-02-07 |  | 0.6884 | 0.945 | 72.8466 | -27.1534 | 0.25 | -1.0264 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS22038A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 3570003 | 2022-02-08 |  | 2.2965 | 3.06 | 75.049 | -24.951 | 0.25 | -3.054 | 0.5 | 3126 |  |  |  | µg/L | T239 | ICPMS22038A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 0200051 | 2022-02-14 |  | 0.6923 | 0.945 | 73.2593 | -26.7407 | 0.25 | -1.0108 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS22045A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 0250044 | 2022-02-15 |  | 1.891 | 1.86 | 101.6667 | 1.6667 | 0.25 | 0.124 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS22046A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 0390071 | 2022-02-24 |  | 0.7057 | 0.945 | 74.6772 | -25.3228 | 0.25 | -0.9572 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS22054A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 0380061 | 2022-02-24 |  | 2.7717 | 3.06 | 90.5784 | -9.4216 | 0.25 | -1.1532 | 0.5 | 3126 |  |  |  | µg/L | T239 | ICPMS22054A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 0380065 | 2022-02-25 |  | 1.6359 | 1.88 | 87.016 | -12.984 | 0.25 | -0.9764 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS22056A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 0480131 | 2022-03-03 |  | 1.7559 | 1.88 | 93.3989 | -6.6011 | 0.25 | -0.4964 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS22062A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 0490003 | 2022-03-04 |  | 2.746 | 3.06 | 89.7386 | -10.2614 | 0.25 | -1.256 | 0.5 | 3126 |  |  |  | µg/L | T239 | ICPMS22062A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 0540113 | 2022-03-05 |  | 0.7638 | 0.945 | 80.8254 | -19.1746 | 0.25 | -0.7248 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS22063A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 0690224 | 2022-03-17 |  | 1.8062 | 1.88 | 96.0745 | -3.9255 | 0.25 | -0.2952 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS22076A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 0670123 | 2022-03-23 |  | 2.9893 | 3.06 | 97.6895 | -2.3105 | 0.25 | -0.2828 | 0.5 | 3126 |  |  |  | µg/L | T239 | ICPMS22081A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 0760093 | 2022-03-23 |  | 2.7036 | 2.75 | 98.3127 | -1.6873 | 0.25 | -0.1856 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS22082A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 0830132 | 2022-03-30 |  | 1.7585 | 1.88 | 93.5372 | -6.4628 | 0.25 | -0.486 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS22089A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 0820073 | 2022-03-31 |  | 2.7507 | 3.06 | 89.8922 | -10.1078 | 0.25 | -1.2372 | 0.5 | 3126 |  |  |  | µg/L | T239 | ICPMS22089A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 0880096 | 2022-03-31 |  | 2.7672 | 2.75 | 100.6255 | 0.62545 | 0.25 | 0.0688 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS22090A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 0960123 | 2022-04-20 |  | 1.7699 | 1.86 | 95.1559 | -4.8441 | 0.25 | -0.3604 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS22110A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 0970128 | 2022-04-20 |  | 1.9194 | 1.88 | 102.0957 | 2.0957 | 0.25 | 0.1576 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS22110A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 1040103 | 2022-05-05 |  | 3.1473 | 2.75 | 114.4473 | 14.4473 | 0.25 | 1.5892 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS22125A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 1090127 | 2022-05-06 |  | 2.3071 | 1.86 | 124.0376 | 24.0376 | 0.25 | 1.7884 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS22126A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 1110197 | 2022-05-11 |  | 1.9083 | 1.88 | 101.5053 | 1.5053 | 0.25 | 0.1132 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS22131A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 1180143 | 2022-05-24 |  | 3.048 | 2.75 | 110.8364 | 10.8364 | 0.25 | 1.192 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS22143A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 1230094 | 2022-05-25 |  | 1.0928 | 0.945 | 115.6402 | 15.6402 | 0.25 | 0.5912 | 0.5 | 3126 |  |  |  | µg/L | T243 | ICPMS22143A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 1250162 | 2022-05-27 |  | 2.9159 | 2.75 | 106.0327 | 6.0327 | 0.25 | 0.6636 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS22147A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 1320258 | 2022-06-01 |  | 2.2337 | 1.88 | 118.8138 | 18.8138 | 0.25 | 1.4148 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS22152A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 1370140 | 2022-06-02 |  | 2.0004 | 1.86 | 107.5484 | 7.5484 | 0.25 | 0.5616 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS22153A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 1380070 | 2022-06-03 |  | 1.1074 | 0.945 | 117.1852 | 17.1852 | 0.25 | 0.6496 | 0.5 | 3126 |  |  |  | µg/L | T243 | ICPMS22153A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 1440210 | 2022-06-13 |  | 2.8271 | 2.75 | 102.8036 | 2.8036 | 0.25 | 0.3084 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS22164A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 1460098 | 2022-06-28 |  | 2.2984 | 1.88 | 122.2553 | 22.2553 | 0.25 | 1.6736 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS22179A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 1520234 | 2022-06-30 |  | 2.1091 | 1.86 | 113.3925 | 13.3925 | 0.25 | 0.9964 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS22180A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 1580091 | 2022-07-02 |  | 3.481 | 3.06 | 113.7582 | 13.7582 | 0.25 | 1.684 | 0.5 | 3126 |  |  |  | µg/L | T239 | ICPMS22182A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 1600025 | 2022-07-05 |  | 1.9062 | 1.86 | 102.4839 | 2.4839 | 0.25 | 0.1848 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS22186A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 1660162 | 2022-07-12 |  | 2.9298 | 2.75 | 106.5382 | 6.5382 | 0.25 | 0.7192 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS22193A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 1670120 | 2022-07-14 |  | 1.4046 | 0.945 | 148.6349 | 48.6349 | 0.25 | 1.8384 | 0.5 | 3126 |  |  |  | µg/L | T243 | ICPMS22194A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 1740029 | 2022-07-19 |  | 2.0749 | 1.86 | 111.5538 | 11.5538 | 0.25 | 0.8596 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS22200A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 1730126 | 2022-07-20 |  | 3.5739 | 3.06 | 116.7941 | 16.7941 | 0.25 | 2.0556 | 0.5 | 3126 |  |  |  | µg/L | T239 | ICPMS22200A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 1790078 | 2022-07-21 |  | 2.8079 | 2.75 | 102.1055 | 2.1055 | 0.25 | 0.2316 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS22201A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 1810187 | 2022-07-23 |  | 1.0546 | 0.945 | 111.5979 | 11.5979 | 0.25 | 0.4384 | 0.5 | 3126 |  |  |  | µg/L | T243 | ICPMS22203A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 1930200 | 2022-07-27 |  | 2.2131 | 1.86 | 118.9839 | 18.9839 | 0.25 | 1.4124 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS22208A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 1880163 | 2022-07-27 |  | 1.2278 | 0.945 | 129.9259 | 29.9259 | 0.25 | 1.1312 | 0.5 | 3126 |  |  |  | µg/L | T243 | ICPMS22207A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 2020026 | 2022-07-28 |  | 1.2107 | 0.945 | 128.1164 | 28.1164 | 0.25 | 1.0628 | 0.5 | 3126 |  |  |  | µg/L | T243 | ICPMS22209A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 1950119 | 2022-07-28 |  | 3.5761 | 3.06 | 116.866 | 16.866 | 0.25 | 2.0644 | 0.5 | 3126 |  |  |  | µg/L | T239 | ICPMS22209A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 2080416 | 2022-07-29 |  | 2.0636 | 1.86 | 110.9462 | 10.9462 | 0.25 | 0.8144 | 0.5 | 3126 |  |  |  | µg/L | T233 | ICPMS22210A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 2140174 | 2022-08-31 |  | 1.3998 | 1.88 | 74.4574 | -25.5426 | 0.25 | -1.9208 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS22243A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 2090181 | 2022-08-31 |  | 2.8606 | 3.06 | 93.4837 | -6.5163 | 0.25 | -0.7976 | 0.5 | 3126 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T239 | ICPMS22242A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 2160003 | 2022-09-01 |  | 1.9423 | 3.06 | 63.4739 | -36.5261 | 0.25 | -4.4708 | 0.5 | 3126 |  |  |  | µg/L | T239 | ICPMS22243A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 2210114 | 2022-09-07 |  | 0.7767 | 0.945 | 82.1905 | -17.8095 | 0.25 | -0.6732 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS22249A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 2280351 | 2022-09-08 |  | 1.6663 | 1.88 | 88.633 | -11.367 | 0.25 | -0.8548 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS22251A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 2300212 | 2022-09-09 |  | 2.9309 | 3.06 | 95.781 | -4.219 | 0.25 | -0.5164 | 0.5 | 3126 |  |  |  | µg/L | T239 | ICPMS22251A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 2360390 | 2022-09-15 |  | 0.7273 | 0.945 | 76.963 | -23.037 | 0.25 | -0.8708 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS22256B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 2500494 | 2022-09-20 |  | 2.1466 | 2.75 | 78.0582 | -21.9418 | 0.25 | -2.4136 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS22262B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 2580150 | 2022-09-29 |  | 1.7051 | 1.88 | 90.6968 | -9.3032 | 0.25 | -0.6996 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS22270A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 2570117 | 2022-09-30 |  | 3.1086 | 3.06 | 101.5882 | 1.5882 | 0.25 | 0.1944 | 0.5 | 3126 |  |  |  | µg/L | T239 | ICPMS22270A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 2720121 | 2022-10-20 |  | 1.8605 | 1.88 | 98.9628 | -1.0372 | 0.25 | -0.078 | 0.5 | 3126 |  |  |  | µg/L | T235 | ICPMS22286A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 2770114 | 2022-10-20 |  | 2.4174 | 2.36 | 102.4322 | 2.4322 | 0.25 | 0.2296 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS22286A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 2630184 | 2022-10-28 |  | 3.1098 | 2.75 | 113.0836 | 13.0836 | 0.25 | 1.4392 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS22301A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2022 | 2710051 | 2022-11-02 |  | 2.9096 | 3.06 | 95.085 | -4.915 | 0.25 | -0.6016 | 0.5 | 3126 |  |  |  | µg/L | T239 | ICPMS22305A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 2790113 | 2022-11-02 |  | 7.366 | 8.2 | 89.8293 | -10.1707 | 0.574 | -1.453 | 0.5 | 3126 |  |  |  | µg/L | T247 | ICPMS22305A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 2920222 | 2022-11-16 |  | 2.0687 | 2.36 | 87.6568 | -12.3432 | 0.25 | -1.1652 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T245 | ICPMS22320B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 2930117 | 2022-11-17 |  | 7.0347 | 8.2 | 85.789 | -14.211 | 0.574 | -2.0301 | 0.5 | 3126 |  |  |  | µg/L | T247 | ICPMS22320B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 3000165 | 2022-12-01 |  | 3.0695 | 2.75 | 111.6182 | 11.6182 | 0.25 | 1.278 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS22325A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 3070229 | 2022-12-01 |  | 2.6261 | 2.75 | 95.4945 | -4.5055 | 0.25 | -0.4956 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS22325A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 3130109 | 2022-12-02 |  | 7.4211 | 8.2 | 90.5012 | -9.4988 | 0.574 | -1.357 | 0.5 | 3126 |  |  |  | µg/L | T247 | ICPMS22325A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 3060049 | 2022-12-02 |  | 0.6142 | 0.945 | 64.9947 | -35.0053 | 0.25 | -1.3232 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS22325A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 3210270 | 2022-12-15 |  | 2.4922 | 2.75 | 90.6255 | -9.3745 | 0.25 | -1.0312 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS22349A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 3190029 | 2022-12-15 |  | 2.2326 | 2.36 | 94.6017 | -5.3983 | 0.25 | -0.5096 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS22349A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 3200145 | 2022-12-16 |  | 0.6535 | 0.945 | 69.1534 | -30.8466 | 0.25 | -1.166 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS22349A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 3340029 | 2022-12-20 |  | 2.3747 | 2.36 | 100.6229 | 0.62288 | 0.25 | 0.0588 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS22354A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 3330054 | 2022-12-21 |  | 7.5398 | 8.2 | 91.9488 | -8.0512 | 0.574 | -1.1502 | 0.5 | 3126 |  |  |  | µg/L | T247 | ICPMS22354A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 3400090 | 2023-01-07 |  | 2.5958 | 3.06 | 84.8301 | -15.1699 | 0.25 | -1.8568 | 0.5 | 3126 |  |  |  | µg/L | T239 | ICPMS23006A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 3420127 | 2023-02-06 |  | 2.4189 | 2.36 | 102.4958 | 2.4958 | 0.25 | 0.2356 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS23034A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 0190114 | 2023-03-08 |  | 2.5325 | 2.36 | 107.3093 | 7.3093 | 0.25 | 0.69 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS23067A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 3490121 | 2023-03-08 |  | 1.5435 | 2.75 | 56.1273 | -43.8727 | 0.25 | -4.826 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS23066A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 3610135 | 2023-03-08 |  | 2.9909 | 3.06 | 97.7418 | -2.2582 | 0.25 | -0.2764 | 0.5 | 3126 |  |  |  | µg/L | T239 | ICPMS23066A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 3620086 | 2023-03-08 |  | 1.9452 | 2.36 | 82.4237 | -17.5763 | 0.25 | -1.6592 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS23066A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 0260067 | 2023-03-09 |  | 0.8275 | 0.945 | 87.5661 | -12.4339 | 0.25 | -0.47 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS23067A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 0040114 | 2023-03-24 |  | 2.6143 | 2.75 | 95.0655 | -4.9345 | 0.25 | -0.5428 | 0.5 | 3126 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T237 | ICPMS23083A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 0380151 | 2023-03-28 |  | 7.5038 | 8.2 | 91.5098 | -8.4902 | 0.574 | -1.2129 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T247 | ICPMS23086A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 0470007 | 2023-03-29 |  | 0.9824 | 0.945 | 103.9577 | 3.9577 | 0.25 | 0.1496 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS23088B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 0400092 | 2023-03-30 |  | 2.6504 | 3.06 | 86.6144 | -13.3856 | 0.25 | -1.6384 | 0.5 | 3126 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T239 | ICPMS23088B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 0590092 | 2023-04-05 |  | 8.0766 | 8.2 | 98.4951 | -1.5049 | 0.574 | -0.21498 | 0.5 | 3126 |  |  |  | µg/L | T247 | ICPMS23093A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 0600115 | 2023-04-05 |  | 3.1267 | 3.06 | 102.1797 | 2.1797 | 0.25 | 0.2668 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T239 | ICPMS23093A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 0310087 | 2023-04-06 |  | 2.1382 | 2.36 | 90.6017 | -9.3983 | 0.25 | -0.8872 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS23096A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 0670102 | 2023-04-07 |  | 2.5758 | 2.75 | 93.6655 | -6.3345 | 0.25 | -0.6968 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS23097B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 0620097 | 2023-04-08 |  | 0.7385 | 0.945 | 78.1481 | -21.8519 | 0.25 | -0.826 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS23097A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 0740033 | 2023-04-13 |  | 3.3544 | 3.06 | 109.6209 | 9.6209 | 0.25 | 1.1776 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T239 | ICPMS23102A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 0800075 | 2023-04-13 |  | 2.5983 | 2.75 | 94.4836 | -5.5164 | 0.25 | -0.6068 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS23103A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 0750097 | 2023-04-13 |  | 7.5607 | 8.2 | 92.2037 | -7.7963 | 0.574 | -1.1138 | 0.5 | 3126 |  |  |  | µg/L | T247 | ICPMS23102A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 0880093 | 2023-04-15 |  | 3.0978 | 3.06 | 101.2353 | 1.2353 | 0.25 | 0.1512 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T239 | ICPMS23104A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 0890105 | 2023-04-21 |  | 7.6714 | 8.2 | 93.5537 | -6.4463 | 0.574 | -0.92091 | 0.5 | 3126 |  |  |  | µg/L | T247 | ICPMS23109A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 0940130 | 2023-04-22 |  | 2.576 | 2.36 | 109.1525 | 9.1525 | 0.25 | 0.864 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS23111B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 0960142 | 2023-04-24 |  | 7.7479 | 8.2 | 94.4866 | -5.5134 | 0.574 | -0.78763 | 0.5 | 3126 |  |  |  | µg/L | T247 | ICPMS23111C
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 1090190 | 2023-04-26 |  | 2.5699 | 2.75 | 93.4509 | -6.5491 | 0.25 | -0.7204 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS23114A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 1100089 | 2023-04-27 |  | 2.3906 | 2.36 | 101.2966 | 1.2966 | 0.25 | 0.1224 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS23116A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 1150156 | 2023-04-28 |  | 7.8571 | 8.2 | 95.8183 | -4.1817 | 0.574 | -0.59739 | 0.5 | 3126 |  |  |  | µg/L | T247 | ICPMS23116A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 1230174 | 2023-05-17 |  | 2.5003 | 2.75 | 90.92 | -9.08 | 0.25 | -0.9988 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS23135A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 1240210 | 2023-05-17 |  | 0.9172 | 0.945 | 97.0582 | -2.9418 | 0.25 | -0.1112 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS23135A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 1250199 | 2023-05-18 |  | 2.68 | 2.75 | 97.4545 | -2.5455 | 0.25 | -0.28 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS23137A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 1310002 | 2023-05-19 |  | 2.3316 | 2.36 | 98.7966 | -1.2034 | 0.25 | -0.1136 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS23138A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 1300167 | 2023-05-20 |  | 7.3633 | 8.2 | 89.7963 | -10.2037 | 0.574 | -1.4577 | 0.5 | 3126 |  |  |  | µg/L | T247 | ICPMS23138A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 1380201 | 2023-05-25 |  | 2.6153 | 2.75 | 95.1018 | -4.8982 | 0.25 | -0.5388 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS23145A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 1360048 | 2023-05-26 |  | 0.9283 | 0.945 | 98.2328 | -1.7672 | 0.25 | -0.0668 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS23145A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 1440060 | 2023-06-01 |  | 7.5097 | 8.2 | 91.5817 | -8.4183 | 0.574 | -1.2026 | 0.5 | 3126 |  |  |  | µg/L | T247 | ICPMS23145C
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 1460002 | 2023-06-05 |  | 1.9897 | 2.36 | 84.3093 | -15.6907 | 0.25 | -1.4812 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS23156A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 1570041 | 2023-06-09 |  | 3.6369 | 3.06 | 118.8529 | 18.8529 | 0.25 | 2.3076 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T239 | ICPMS23159A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 1650066 | 2023-06-26 |  | 2.8663 | 2.75 | 104.2291 | 4.2291 | 0.25 | 0.4652 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS23177A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 1590232 | 2023-06-26 |  | 2.1688 | 2.36 | 91.8983 | -8.1017 | 0.25 | -0.7648 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS23177A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 1660194 | 2023-06-27 |  | 0.9908 | 0.945 | 104.8466 | 4.8466 | 0.25 | 0.1832 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS23178A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 1840086 | 2023-07-10 |  | 2.8732 | 2.75 | 104.48 | 4.48 | 0.25 | 0.4928 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS23191A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 1860127 | 2023-07-11 |  | 1.1679 | 0.945 | 123.5873 | 23.5873 | 0.25 | 0.8916 | 0.5 | 3126 |  |  |  | µg/L | T243 | ICPMS23191A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 1940234 | 2023-07-14 |  | 2.3874 | 2.36 | 101.161 | 1.161 | 0.25 | 0.1096 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS23195A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 1920171 | 2023-07-15 |  | 1.349 | 0.945 | 142.7513 | 42.7513 | 0.25 | 1.616 | 0.5 | 3126 |  |  |  | µg/L | T243 | ICPMS23195A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 1790028 | 2023-07-19 |  | 2.0005 | 2.36 | 84.7669 | -15.2331 | 0.25 | -1.438 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS23200A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 1730211 | 2023-07-22 |  | 3.0639 | 3.06 | 100.1275 | 0.12745 | 0.25 | 0.0156 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T239 | ICPMS23201A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 1980050 | 2023-08-10 |  | 3.1947 | 3.06 | 104.402 | 4.402 | 0.25 | 0.5388 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T239 | ICPMS23221A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 2060142 | 2023-08-17 |  | 2.4172 | 2.36 | 102.4237 | 2.4237 | 0.25 | 0.2288 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS23229A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 2020024 | 2023-08-17 |  | 1.1873 | 0.945 | 125.6402 | 25.6402 | 0.25 | 0.9692 | 0.5 | 3126 |  |  |  | µg/L | T243 | ICPMS23228A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 2080234 | 2023-08-19 |  | 3.3262 | 3.06 | 108.6993 | 8.6993 | 0.25 | 1.0648 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T239 | ICPMS23230A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 2200127 | 2023-08-31 |  | 8.9383 | 8.2 | 109.0037 | 9.0037 | 0.574 | 1.2862 | 0.5 | 3126 |  |  |  | µg/L | T247 | ICPMS23243A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 2220099 | 2023-09-01 |  | 3.2317 | 3.06 | 105.6111 | 5.6111 | 0.25 | 0.6868 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T239 | ICPMS23243A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 2280173 | 2023-10-14 |  | 0.9801 | 0.945 | 103.7143 | 3.7143 | 0.25 | 0.1404 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS23286A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 2350096 | 2023-11-02 |  | 9.0233 | 8.2 | 110.0402 | 10.0402 | 0.574 | 1.4343 | 0.5 | 3126 |  |  |  | µg/L | T247 | ICPMS23306A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 2360087 | 2023-11-04 |  | 3.3174 | 3.06 | 108.4118 | 8.4118 | 0.25 | 1.0296 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T239 | ICPMS23307A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 2440134 | 2023-12-01 |  | 1.1756 | 0.945 | 124.4021 | 24.4021 | 0.25 | 0.9224 | 0.5 | 3126 |  |  |  | µg/L | T243 | ICPMS23334B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 2490138 | 2023-12-04 |  | 3.0605 | 2.75 | 111.2909 | 11.2909 | 0.25 | 1.242 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS23338A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 2620178 | 2023-12-15 |  | 3.074 | 2.75 | 111.7818 | 11.7818 | 0.25 | 1.296 | 0.5 | 3126 |  |  |  | µg/L | T237 | ICPMS23348A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 2690094 | 2023-12-19 |  | 3.5899 | 3.06 | 117.317 | 17.317 | 0.25 | 2.1196 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T239 | ICPMS23352A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 2720018 | 2023-12-19 |  | 9.0427 | 8.2 | 110.2768 | 10.2768 | 0.574 | 1.4681 | 0.5 | 3126 |  |  |  | µg/L | T247 | ICPMS23352A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 2760034 | 2023-12-19 |  | 2.4246 | 2.36 | 102.7373 | 2.7373 | 0.25 | 0.2584 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS23353B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 2560088 | 2023-12-20 |  | 3.2201 | 3.06 | 105.232 | 5.232 | 0.25 | 0.6404 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T239 | ICPMS23353B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2023 | 2570185 | 2023-12-20 |  | 8.8778 | 8.2 | 108.2659 | 8.2659 | 0.574 | 1.1808 | 0.5 | 3126 |  |  |  | µg/L | T247 | ICPMS23353B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 2770168 | 2023-12-20 |  | 8.9693 | 8.2 | 109.3817 | 9.3817 | 0.574 | 1.3402 | 0.5 | 3126 |  |  |  | µg/L | T247 | ICPMS23353B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 2900161 | 2024-01-05 |  | 2.4672 | 2.36 | 104.5424 | 4.5424 | 0.25 | 0.4288 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS24005A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 2930009 | 2024-01-11 |  | 9.0493 | 8.2 | 110.3573 | 10.3573 | 0.574 | 1.4796 | 0.5 | 3126 |  |  |  | µg/L | T247 | ICPMS24010B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 2860131 | 2024-01-11 |  | 3.4122 | 3.26 | 104.6687 | 4.6687 | 0.25 | 0.6088 | 0.5 | 3126 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T249 | ICPMS24010B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 3130127 | 2024-03-16 |  | 3.8728 | 3.26 | 118.7975 | 18.7975 | 0.25 | 2.4512 | 0.5 | 3126 |  |  |  | µg/L | T249 | ICPMS24073A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 3210042 | 2024-03-20 |  | 2.4311 | 2.36 | 103.0127 | 3.0127 | 0.25 | 0.2844 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS24080A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 3390052 | 2024-03-20 |  | 2.4312 | 2.35 | 103.4553 | 3.4553 | 0.25 | 0.3248 | 0.5 | 3126 |  |  |  | µg/L | T251 | ICPMS24080A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 2990157 | 2024-03-21 |  | 2.9234 | 3.26 | 89.6748 | -10.3252 | 0.25 | -1.3464 | 0.5 | 3126 |  |  |  | µg/L | T249 | ICPMS24072A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 3340080 | 2024-03-21 |  | 8.824 | 8.2 | 107.6098 | 7.6098 | 0.574 | 1.0871 | 0.5 | 3126 |  |  |  | µg/L | T247 | ICPMS24080A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 3120058 | 2024-03-21 |  | 0.5986 | 0.945 | 63.3439 | -36.6561 | 0.25 | -1.3856 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS24072A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 3250150 | 2024-03-21 |  | 1.0602 | 0.945 | 112.1905 | 12.1905 | 0.25 | 0.4608 | 0.5 | 3126 |  |  |  | µg/L | T243 | ICPMS24080A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 3320173 | 2024-03-21 |  | 3.5721 | 3.26 | 109.5736 | 9.5736 | 0.25 | 1.2484 | 0.5 | 3126 |  |  |  | µg/L | T249 | ICPMS24080A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 3350124 | 2024-03-21 |  | 2.5571 | 2.36 | 108.3517 | 8.3517 | 0.25 | 0.7884 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS24080A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 3460243 | 2024-03-21 |  | 3.8426 | 3.26 | 117.8712 | 17.8712 | 0.25 | 2.3304 | 0.5 | 3126 |  |  |  | µg/L | T249 | ICPMS24080A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 3420007 | 2024-03-21 |  | 2.4606 | 2.36 | 104.2627 | 4.2627 | 0.25 | 0.4024 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS24080A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 3530158 | 2024-03-22 |  | 2.0364 | 2.35 | 86.6553 | -13.3447 | 0.25 | -1.2544 | 0.5 | 3126 |  |  |  | µg/L | T251 | ICPMS24081A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 0390102 | 2024-03-23 |  | 2.3343 | 2.35 | 99.3319 | -0.66809 | 0.25 | -0.0628 | 0.5 | 3126 |  |  |  | µg/L | T251 | ICPMS24082B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 0530093 | 2024-03-23 |  | 1.9463 | 2.35 | 82.8213 | -17.1787 | 0.25 | -1.6148 | 0.5 | 3126 |  |  |  | µg/L | T251 | ICPMS24082C
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 0090034 | 2024-03-23 |  | 2.3353 | 2.36 | 98.9534 | -1.0466 | 0.25 | -0.0988 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS24081A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 0230080 | 2024-03-23 |  | 2.3945 | 2.36 | 101.4619 | 1.4619 | 0.25 | 0.138 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS24081A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 0040087 | 2024-03-23 |  | 0.6388 | 0.945 | 67.5979 | -32.4021 | 0.25 | -1.2248 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS24081A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 0180110 | 2024-03-23 |  | 0.6871 | 0.945 | 72.709 | -27.291 | 0.25 | -1.0316 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS24081A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 3610063 | 2024-03-23 |  | 3.3212 | 3.26 | 101.8773 | 1.8773 | 0.25 | 0.2448 | 0.5 | 3126 |  |  |  | µg/L | T249 | ICPMS24081A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 3550283 | 2024-03-23 |  | 2.3176 | 2.36 | 98.2034 | -1.7966 | 0.25 | -0.1696 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS24081A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 0440078 | 2024-03-24 |  | 1.106 | 0.945 | 117.037 | 17.037 | 0.25 | 0.644 | 0.5 | 3126 |  |  |  | µg/L | T243 | ICPMS24082B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 0520079 | 2024-03-24 |  | 6.6707 | 8.2 | 81.35 | -18.65 | 0.574 | -2.6643 | 0.5 | 3126 |  |  |  | µg/L | T247 | ICPMS24082C
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 0580158 | 2024-03-27 |  | 1.1394 | 0.945 | 120.5714 | 20.5714 | 0.25 | 0.7776 | 0.5 | 3126 |  |  |  | µg/L | T243 | ICPMS24086A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 0660042 | 2024-03-29 |  | 3.1956 | 3.26 | 98.0245 | -1.9755 | 0.25 | -0.2576 | 0.5 | 3126 |  |  |  | µg/L | T249 | ICPMS24088A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 0730120 | 2024-03-30 |  | 2.4151 | 2.35 | 102.7702 | 2.7702 | 0.25 | 0.2604 | 0.5 | 3126 |  |  |  | µg/L | T251 | ICPMS24090A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 0800002 | 2024-04-07 |  | 3.7218 | 3.26 | 114.1656 | 14.1656 | 0.25 | 1.8472 | 0.5 | 3126 |  |  |  | µg/L | T249 | ICPMS24097A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 0790095 | 2024-04-07 |  | 8.8206 | 8.2 | 107.5683 | 7.5683 | 0.574 | 1.0812 | 0.5 | 3126 |  |  |  | µg/L | T247 | ICPMS24097A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 0880015 | 2024-04-13 |  | 2.4388 | 2.35 | 103.7787 | 3.7787 | 0.25 | 0.3552 | 0.5 | 3126 |  |  |  | µg/L | T251 | ICPMS24102A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 0880078 | 2024-04-14 |  | 8.9727 | 8.2 | 109.4232 | 9.4232 | 0.574 | 1.3462 | 0.5 | 3126 |  |  |  | µg/L | T247 | ICPMS24102A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 0930091 | 2024-04-20 |  | 2.3838 | 2.36 | 101.0085 | 1.0085 | 0.25 | 0.0952 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS24111A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 3190183 | 2024-04-21 |  | 9.3339 | 8.2 | 113.828 | 13.828 | 0.574 | 1.9754 | 0.5 | 3126 | Value verified by rerun, same method | See result laboratory comment |  | µg/L | T247 | ICPMS24111A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 0370147 | 2024-04-21 |  | 9.1761 | 8.2 | 111.9037 | 11.9037 | 0.574 | 1.7005 | 0.5 | 3126 |  |  |  | µg/L | T247 | ICPMS24111A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 0950120 | 2024-04-24 |  | 8.9886 | 8.2 | 109.6171 | 9.6171 | 0.574 | 1.3739 | 0.5 | 3126 |  |  |  | µg/L | T247 | ICPMS24113B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 1070224 | 2024-05-07 |  | 2.6839 | 2.36 | 113.7246 | 13.7246 | 0.25 | 1.2956 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS24128A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 1020161 | 2024-05-10 |  | 3.5557 | 3.26 | 109.0706 | 9.0706 | 0.25 | 1.1828 | 0.5 | 3126 |  |  |  | µg/L | T249 | ICPMS24117A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 1090160 | 2024-05-18 |  | 9.3358 | 8.2 | 113.8512 | 13.8512 | 0.574 | 1.9787 | 0.5 | 3126 |  |  |  | µg/L | T247 | ICPMS24138A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 1160212 | 2024-05-22 |  | 3.6529 | 3.26 | 112.0521 | 12.0521 | 0.25 | 1.5716 | 0.5 | 3126 |  |  |  | µg/L | T249 | ICPMS24142A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 1280107 | 2024-05-24 |  | 1.1362 | 0.945 | 120.2328 | 20.2328 | 0.25 | 0.7648 | 0.5 | 3126 |  |  |  | µg/L | T243 | ICPMS24144A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 1300149 | 2024-06-06 |  | 3.6384 | 3.26 | 111.6074 | 11.6074 | 0.25 | 1.5136 | 0.5 | 3126 |  |  |  | µg/L | T249 | ICPMS24157A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 1370189 | 2024-06-25 |  | 7.8794 | 8.2 | 96.0902 | -3.9098 | 0.574 | -0.55854 | 0.5 | 3126 |  |  |  | µg/L | T247 | ICPMS24169A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 1380119 | 2024-06-26 |  | 2.723 | 2.36 | 115.3814 | 15.3814 | 0.25 | 1.452 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS24178A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 1420090 | 2024-07-25 |  | 1.1669 | 0.945 | 123.4815 | 23.4815 | 0.25 | 0.8876 | 0.5 | 3126 |  |  |  | µg/L | T243 | ICPMS24190B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 1500144 | 2024-08-02 |  | 7.3519 | 8.2 | 89.6573 | -10.3427 | 0.574 | -1.4775 | 0.5 | 3126 |  |  |  | µg/L | T247 | ICPMS24214A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 1440173 | 2024-08-03 |  | 3.3494 | 3.26 | 102.7423 | 2.7423 | 0.25 | 0.3576 | 0.5 | 3126 |  |  |  | µg/L | T249 | ICPMS24213B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 1520088 | 2024-08-06 |  | 2.6626 | 2.36 | 112.822 | 12.822 | 0.25 | 1.2104 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS24219B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 1560043 | 2024-08-07 |  | 2.2474 | 2.35 | 95.634 | -4.366 | 0.25 | -0.4104 | 0.5 | 3126 |  |  |  | µg/L | T251 | ICPMS24220A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 1580165 | 2024-08-12 |  | 2.6122 | 2.36 | 110.6864 | 10.6864 | 0.25 | 1.0088 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS24225A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 1630114 | 2024-08-23 |  | 3.7038 | 3.26 | 113.6135 | 13.6135 | 0.25 | 1.7752 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T249 | ICPMS24235A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 1720052 | 2024-08-29 |  | 2.7501 | 2.35 | 117.0255 | 17.0255 | 0.25 | 1.6004 | 0.5 | 3126 |  |  |  | µg/L | T251 | ICPMS24241A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 1720187 | 2024-08-29 |  | 2.6281 | 2.36 | 111.3602 | 11.3602 | 0.25 | 1.0724 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS24241A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 1790106 | 2024-09-05 |  | 1.2069 | 0.945 | 127.7143 | 27.7143 | 0.25 | 1.0476 | 0.5 | 3126 |  |  |  | µg/L | T243 | ICPMS24247A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 1930205 | 2024-09-21 |  | 1.1801 | 0.945 | 124.8783 | 24.8783 | 0.25 | 0.9404 | 0.5 | 3126 |  |  |  | µg/L | T243 | ICPMS24264B
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 1980276 | 2024-09-24 |  | 2.4306 | 2.36 | 102.9915 | 2.9915 | 0.25 | 0.2824 | 0.5 | 3126 |  |  |  | µg/L | T245 | ICPMS24267A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 2000168 | 2024-09-25 |  | 2.5593 | 2.35 | 108.9064 | 8.9064 | 0.25 | 0.8372 | 0.5 | 3126 |  |  |  | µg/L | T251 | ICPMS24268A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 1770113 | 2024-09-26 |  | 3.612 | 3.26 | 110.7975 | 10.7975 | 0.25 | 1.408 | 0.5 | 3126 | Sample was diluted |  |  | µg/L | T249 | ICPMS24269A
Chromium, fltd, cICP-MS | 01030 | PLM10 | FIL | 2024 | 2080146 | 2024-09-28 |  | 0.9401 | 0.945 | 99.4815 | -0.51852 | 0.25 | -0.0196 | 0.5 | 3126 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS24270A