## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recov | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2019 | 2550075 | 2019-10-01 |  | 0.6299 | 0.445 | 141.5506 | 41.5506 | 0.25 | 0.7396 |  | 3302 | Below the reporting level but at or above the detection level | See result laboratory comment |  | ug/L | T227 | ICPMS19274A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2019 | 2470180 | 2019-10-02 |  | 1.882 | 1.17 | 160.8547 | 60.8547 | 0.25 | 2.848 | 0.5 | 3302 |  |  |  | µg/L | T225 | ICPMS19274A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2019 | 2600328 | 2019-10-09 |  | 2.1193 | 1.17 | 181.1368 | 81.1368 | 0.25 | 3.7972 | 0.5 | 3302 | Sample was diluted |  |  | µg/L | T225 | ICPMS19282B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 2890221 | 2019-12-12 |  | 7.0708 | 7.51 | 94.1518 | -5.8482 | 0.4 | -1.098 | 0.5 | 3302 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19344B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 2950100 | 2019-12-16 |  | 1.7946 | 1.86 | 96.4839 | -3.5161 | 0.25 | -0.2616 | 0.5 | 3302 | See result laboratory comment |  |  | µg/L | T233 | ICPMS19347B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 3030027 | 2019-12-18 |  | 7.5713 | 7.51 | 100.8162 | 0.81625 | 0.4 | 0.15325 | 0.5 | 3302 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19350A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 2810114 | 2019-12-19 | E | 1.5626 | 1.86 | 84.0108 | -15.9892 | 0.25 | -1.1896 | 0.5 | 3302 | Analyte detected in laboratory blank | See result laboratory comment |  | µg/L | T233 | ICPMS19352B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 3170095 | 2019-12-30 |  | 1.8864 | 1.88 | 100.3404 | 0.34043 | 0.25 | 0.0256 | 0.5 | 3302 | See result laboratory comment |  |  | µg/L | T235 | ICPMS19364A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 3310060 | 2019-12-30 |  | 1.7326 | 1.88 | 92.1596 | -7.8404 | 0.25 | -0.5896 | 0.5 | 3302 | See result laboratory comment |  |  | µg/L | T235 | ICPMS19364A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 0070044 | 2020-01-21 |  | 7.1927 | 7.51 | 95.775 | -4.225 | 0.4 | -0.79325 | 0.5 | 3302 | See result laboratory comment |  |  | µg/L | T229 | ICPMS20021A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 3600045 | 2020-01-21 |  | 1.1795 | 1.17 | 100.812 | 0.81197 | 0.25 | 0.038 | 0.5 | 3302 | See result laboratory comment |  |  | µg/L | T225 | ICPMS20021A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 3440294 | 2020-01-30 |  | 1.1989 | 1.17 | 102.4701 | 2.4701 | 0.25 | 0.1156 | 0.5 | 3302 |  |  |  | µg/L | T225 | ICPMS20030A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 0150017 | 2020-02-03 |  | 1.8899 | 1.86 | 101.6075 | 1.6075 | 0.25 | 0.1196 | 0.5 | 3302 |  |  |  | µg/L | T233 | ICPMS20031A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 0280070 | 2020-02-03 |  | 1.7531 | 1.86 | 94.2527 | -5.7473 | 0.25 | -0.4276 | 0.5 | 3302 |  |  |  | µg/L | T233 | ICPMS20031A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 0220109 | 2020-02-03 |  | 7.3306 | 7.51 | 97.6112 | -2.3888 | 0.4 | -0.4485 | 0.5 | 3302 | See result laboratory comment |  |  | µg/L | T229 | ICPMS20031A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 0350135 | 2020-02-12 |  | 1.8751 | 1.88 | 99.7394 | -0.26064 | 0.25 | -0.0196 | 0.5 | 3302 | See result laboratory comment |  |  | µg/L | T235 | ICPMS20043A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 0500059 | 2020-03-04 |  | 1.6212 | 1.88 | 86.234 | -13.766 | 0.25 | -1.0352 | 0.5 | 3302 | See result laboratory comment |  |  | µg/L | T235 | ICPMS20064A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 0630051 | 2020-03-18 |  | 1.3626 | 1.17 | 116.4615 | 16.4615 | 0.25 | 0.7704 | 0.5 | 3302 | See result laboratory comment |  |  | µg/L | T225 | ICPMS20076A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 0980043 | 2020-04-23 |  | 1.7444 | 1.86 | 93.7849 | -6.2151 | 0.25 | -0.4624 | 0.5 | 3302 |  |  |  | µg/L | T233 | ICPMS20114A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 1060059 | 2020-04-23 |  | 6.9117 | 7.51 | 92.0333 | -7.9667 | 0.4 | -1.4958 | 0.5 | 3302 | See result laboratory comment |  |  | µg/L | T229 | ICPMS20114A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 1120049 | 2020-05-04 |  | 1.7628 | 1.86 | 94.7742 | -5.2258 | 0.25 | -0.3888 | 0.5 | 3302 |  |  |  | µg/L | T233 | ICPMS20125B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 0770114 | 2020-06-03 |  | 1.0758 | 1.17 | 91.9487 | -8.0513 | 0.25 | -0.3768 | 0.5 | 3302 |  |  |  | µg/L | T225 | ICPMS20153B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 1330126 | 2020-06-12 |  | 1.789 | 1.88 | 95.1596 | -4.8404 | 0.25 | -0.364 | 0.5 | 3302 |  |  |  | µg/L | T235 | ICPMS20163B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 1610191 | 2020-07-01 |  | 1.1982 | 1.17 | 102.4103 | 2.4103 | 0.25 | 0.1128 | 0.5 | 3302 |  |  |  | µg/L | T225 | ICPMS20182B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 1760101 | 2020-08-28 |  | 1.1328 | 1.17 | 96.8205 | -3.1795 | 0.25 | -0.1488 | 0.5 | 3302 |  |  |  | µg/L | T225 | ICPMS20240A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 1890182 | 2020-09-02 |  | 7.4248 | 7.51 | 98.8655 | -1.1345 | 0.4 | -0.213 | 0.5 | 3302 |  |  |  | µg/L | T229 | ICPMS20245B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 1960126 | 2020-09-03 |  | 1.6431 | 1.86 | 88.3387 | -11.6613 | 0.25 | -0.8676 | 0.5 | 3302 |  |  |  | µg/L | T233 | ICPMS20247B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 2040025 | 2020-09-03 |  | 7.0311 | 7.51 | 93.6232 | -6.3768 | 0.4 | -1.1972 | 0.5 | 3302 |  |  |  | µg/L | T229 | ICPMS20247B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 2170035 | 2020-09-17 |  | 1.7953 | 1.88 | 95.4947 | -4.5053 | 0.25 | -0.3388 | 0.5 | 3302 |  |  |  | µg/L | T235 | ICPMS20260A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 2120199 | 2020-09-17 |  | 1.9001 | 1.86 | 102.1559 | 2.1559 | 0.25 | 0.1604 | 0.5 | 3302 |  |  |  | µg/L | T233 | ICPMS20260A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 2320037 | 2020-09-24 |  | 1.6353 | 1.88 | 86.984 | -13.016 | 0.25 | -0.9788 | 0.5 | 3302 |  |  |  | µg/L | T235 | ICPMS20276A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 2530137 | 2020-10-06 |  | 1.2455 | 1.17 | 106.453 | 6.453 | 0.25 | 0.302 | 0.5 | 3302 |  |  |  | µg/L | T225 | ICPMS20279B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2020 | 2670298 | 2020-10-09 |  | 1.3003 | 1.17 | 111.1368 | 11.1368 | 0.25 | 0.5212 | 0.5 | 3302 |  |  |  | µg/L | T225 | ICPMS20281B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 2810032 | 2020-10-22 |  | 1.8655 | 1.86 | 100.2957 | 0.2957 | 0.25 | 0.022 | 0.5 | 3302 |  |  |  | µg/L | T233 | ICPMS20296B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 2880069 | 2020-12-30 |  | 7.6209 | 7.51 | 101.4767 | 1.4767 | 0.4 | 0.27725 | 0.5 | 3302 |  |  |  | µg/L | T229 | ICPMS20350A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 2950028 | 2021-01-13 |  | 1.4261 | 1.86 | 76.672 | -23.328 | 0.25 | -1.7356 | 0.5 | 3302 |  |  |  | µg/L | T233 | ICPMS21013B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 3010155 | 2021-01-14 |  | 7.5326 | 7.51 | 100.3009 | 0.30093 | 0.4 | 0.0565 | 0.5 | 3302 |  |  |  | µg/L | T229 | ICPMS21013B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 3150100 | 2021-01-15 |  | 1.5171 | 1.88 | 80.6968 | -19.3032 | 0.25 | -1.4516 | 0.5 | 3302 |  |  |  | µg/L | T235 | ICPMS21015A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 3500073 | 2021-01-29 |  | 2.651 | 2.75 | 96.4 | -3.6 | 0.25 | -0.396 | 0.5 | 3302 |  |  |  | µg/L | T237 | ICPMS21028B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 3440081 | 2021-01-29 |  | 2.4728 | 3.06 | 80.8105 | -19.1895 | 0.25 | -2.3488 | 0.5 | 3302 |  |  |  | µg/L | T239 | ICPMS21028B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 3300047 | 2021-02-02 |  | 1.8329 | 1.88 | 97.4947 | -2.5053 | 0.25 | -0.1884 | 0.5 | 3302 |  |  |  | µg/L | T235 | ICPMS21033A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 0120036 | 2021-03-04 |  | 1.7775 | 1.86 | 95.5645 | -4.4355 | 0.25 | -0.33 | 0.5 | 3302 |  |  |  | µg/L | T233 | ICPMS21055A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 0050024 | 2021-03-04 |  | 7.1768 | 7.51 | 95.5632 | -4.4368 | 0.4 | -0.833 | 0.5 | 3302 |  |  |  | µg/L | T229 | ICPMS21055A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 3640015 | 2021-03-04 |  | 2.7261 | 2.75 | 99.1309 | -0.86909 | 0.25 | -0.0956 | 0.5 | 3302 |  |  |  | µg/L | T237 | ICPMS21055A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 3580059 | 2021-03-04 |  | 2.9946 | 3.06 | 97.8627 | -2.1373 | 0.25 | -0.2616 | 0.5 | 3302 |  |  |  | µg/L | T239 | ICPMS21055A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 0270078 | 2021-03-26 |  | 1.5954 | 1.86 | 85.7742 | -14.2258 | 0.25 | -1.0584 | 0.5 | 3302 |  |  |  | µg/L | T233 | ICPMS21077A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 0210015 | 2021-03-26 |  | 6.8976 | 7.51 | 91.8455 | -8.1545 | 0.4 | -1.531 | 0.5 | 3302 |  |  |  | µg/L | T229 | ICPMS21077A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 0400076 | 2021-05-04 |  | 1.7606 | 1.88 | 93.6489 | -6.3511 | 0.25 | -0.4776 | 0.5 | 3302 |  |  |  | µg/L | T235 | ICPMS21124A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 1030144 | 2021-05-05 |  | 7.3384 | 7.51 | 97.715 | -2.285 | 0.4 | -0.429 | 0.5 | 3302 |  |  |  | µg/L | T229 | ICPMS21125A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 0540055 | 2021-05-11 |  | 1.8936 | 1.88 | 100.7234 | 0.7234 | 0.25 | 0.0544 | 0.5 | 3302 |  |  |  | µg/L | T235 | ICPMS21131A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 0620100 | 2021-05-13 |  | 2.8139 | 2.75 | 102.3236 | 2.3236 | 0.25 | 0.2556 | 0.5 | 3302 |  |  |  | µg/L | T237 | ICPMS21132B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 0680063 | 2021-05-14 |  | 3.3605 | 3.06 | 109.8203 | 9.8203 | 0.25 | 1.202 | 0.5 | 3302 | Sample was diluted |  |  | µg/L | T239 | ICPMS21132B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 0760035 | 2021-05-14 |  | 2.7066 | 2.75 | 98.4218 | -1.5782 | 0.25 | -0.1736 | 0.5 | 3302 |  |  |  | µg/L | T237 | ICPMS21134A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 0830027 | 2021-05-15 |  | 3.5213 | 3.06 | 115.0752 | 15.0752 | 0.25 | 1.8452 | 0.5 | 3302 | Sample was diluted |  |  | µg/L | T239 | ICPMS21134A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 0480038 | 2021-05-18 |  | 0.8717 | 0.265 | 328.9434 | 228.9434 | 0.25 | 2.4268 | 0.5 | 3302 | Below the reporting level but at or above the detection level |  |  | µg/L | T231 | ICPMS21138A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 0970048 | 2021-05-21 |  | 1.6456 | 1.86 | 88.4731 | -11.5269 | 0.25 | -0.8576 | 0.5 | 3302 |  |  |  | µg/L | T233 | ICPMS21140A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 1110004 | 2021-06-02 |  | 1.7219 | 1.86 | 92.5753 | -7.4247 | 0.25 | -0.5524 | 0.5 | 3302 |  |  |  | µg/L | T233 | ICPMS21153A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 1180038 | 2021-06-16 |  | 7.2131 | 7.51 | 96.0466 | -3.9534 | 0.4 | -0.74225 | 0.5 | 3302 |  |  |  | µg/L | T229 | ICPMS21167B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 1320162 | 2021-06-29 |  | 1.7098 | 1.88 | 90.9468 | -9.0532 | 0.25 | -0.6808 | 0.5 | 3302 |  |  |  | µg/L | T235 | ICPMS21180B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 1460003 | 2021-07-10 |  | 1.5633 | 1.88 | 83.1543 | -16.8457 | 0.25 | -1.2668 | 0.5 | 3302 |  |  |  | µg/L | T235 | ICPMS21188B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 1540139 | 2021-07-16 |  | 3.0096 | 3.06 | 98.3529 | -1.6471 | 0.25 | -0.2016 | 0.5 | 3302 |  |  |  | µg/L | T239 | ICPMS21195A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 1600035 | 2021-07-24 |  | 2.6368 | 2.75 | 95.8836 | -4.1164 | 0.25 | -0.4528 | 0.5 | 3302 |  |  |  | µg/L | T237 | ICPMS21200B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 1660119 | 2021-07-29 |  | 2.4997 | 3.06 | 81.6895 | -18.3105 | 0.25 | -2.2412 | 0.5 | 3302 | Sample was diluted |  |  | µg/L | T239 | ICPMS21209B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 1730218 | 2021-08-07 |  | 3.0334 | 2.75 | 110.3055 | 10.3055 | 0.25 | 1.1336 | 0.5 | 3302 |  |  |  | µg/L | T237 | ICPMS21218A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 1880114 | 2021-08-11 |  | 7.1017 | 7.51 | 94.5632 | -5.4368 | 0.4 | -1.0207 | 0.5 | 3302 |  |  |  | µg/L | T229 | ICPMS21222B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 1940229 | 2021-08-16 |  | 1.8657 | 1.86 | 100.3065 | 0.30645 | 0.25 | 0.0228 | 0.5 | 3302 |  |  |  | µg/L | T233 | ICPMS21228B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 2080172 | 2021-08-19 |  | 1.7611 | 1.86 | 94.6828 | -5.3172 | 0.25 | -0.3956 | 0.5 | 3302 |  |  |  | µg/L | T233 | ICPMS21230A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 2010231 | 2021-08-19 |  | 7.0291 | 7.51 | 93.5965 | -6.4035 | 0.4 | -1.2023 | 0.5 | 3302 |  |  |  | µg/L | T229 | ICPMS21230A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 2150046 | 2021-08-30 |  | 1.8773 | 1.88 | 99.8564 | -0.14362 | 0.25 | -0.0108 | 0.5 | 3302 |  |  |  | µg/L | T235 | ICPMS21242B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 2220178 | 2021-09-23 |  | 0.5014 | 0.265 | 189.2075 | 89.2075 | 0.25 | 0.9456 | 0.5 | 3302 | Below the reporting level but at or above the detection level |  |  | µg/L | T231 | ICPMS21258B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 2290121 | 2021-09-24 |  | 1.8365 | 1.88 | 97.6862 | -2.3138 | 0.25 | -0.174 | 0.5 | 3302 |  |  |  | µg/L | T235 | ICPMS21267A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 2510433 | 2021-10-14 |  | 2.8133 | 2.75 | 102.3018 | 2.3018 | 0.25 | 0.2532 | 0.5 | 3302 |  |  |  | µg/L | T237 | ICPMS21287B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 2580265 | 2021-10-20 |  | 3.0821 | 3.06 | 100.7222 | 0.72222 | 0.25 | 0.0884 | 0.5 | 3302 |  |  |  | µg/L | T239 | ICPMS21292A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 2640271 | 2021-11-02 |  | 2.6338 | 2.75 | 95.7745 | -4.2255 | 0.25 | -0.4648 | 0.5 | 3302 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T237 | ICPMS21295B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2021 | 2790034 | 2021-11-23 |  | 3.0369 | 3.06 | 99.2451 | -0.7549 | 0.25 | -0.0924 | 0.5 | 3302 |  |  |  | µg/L | T239 | ICPMS21308B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 2790037 | 2021-12-14 |  | 1.7562 | 1.86 | 94.4194 | -5.5806 | 0.25 | -0.4152 | 0.5 | 3302 |  |  |  | µg/L | T233 | ICPMS21340B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 3060209 | 2022-01-04 |  | 0.9599 | 0.945 | 101.5767 | 1.5767 | 0.25 | 0.0596 | 0.5 | 3302 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS21356B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 3130184 | 2022-01-05 |  | 2.0187 | 1.88 | 107.3777 | 7.3777 | 0.25 | 0.5548 | 0.5 | 3302 |  |  |  | µg/L | T235 | ICPMS22005A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 3200088 | 2022-01-06 |  | 0.9898 | 0.945 | 104.7407 | 4.7407 | 0.25 | 0.1792 | 0.5 | 3302 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS22005A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 3410064 | 2022-01-15 |  | 2.9115 | 3.06 | 95.1471 | -4.8529 | 0.25 | -0.594 | 0.5 | 3302 |  |  |  | µg/L | T239 | ICPMS22014B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 3270288 | 2022-01-20 |  | 1.8883 | 1.88 | 100.4415 | 0.44149 | 0.25 | 0.0332 | 0.5 | 3302 |  |  |  | µg/L | T235 | ICPMS22011B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 3480118 | 2022-01-21 |  | 2.6788 | 2.75 | 97.4109 | -2.5891 | 0.25 | -0.2848 | 0.5 | 3302 |  |  |  | µg/L | T237 | ICPMS22011B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 3570003 | 2022-01-28 |  | 2.6906 | 3.06 | 87.9281 | -12.0719 | 0.25 | -1.4776 | 0.5 | 3302 |  |  |  | µg/L | T239 | ICPMS22027C
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 3640134 | 2022-01-29 |  | 2.6807 | 2.75 | 97.48 | -2.52 | 0.25 | -0.2772 | 0.5 | 3302 |  |  |  | µg/L | T237 | ICPMS22027D
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 0120120 | 2022-02-17 |  | 2.0501 | 1.86 | 110.2204 | 10.2204 | 0.25 | 0.7604 | 0.5 | 3302 |  |  |  | µg/L | T233 | ICPMS22047B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 0250044 | 2022-03-02 |  | 1.9879 | 1.86 | 106.8763 | 6.8763 | 0.25 | 0.5116 | 0.5 | 3302 |  |  |  | µg/L | T233 | ICPMS22060A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 0380065 | 2022-03-17 |  | 1.8229 | 1.88 | 96.9628 | -3.0372 | 0.25 | -0.2284 | 0.5 | 3302 |  |  |  | µg/L | T235 | ICPMS22076B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 0390071 | 2022-03-18 |  | 0.8256 | 0.945 | 87.3651 | -12.6349 | 0.25 | -0.4776 | 0.5 | 3302 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS22076B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 0480131 | 2022-03-24 |  | 1.8218 | 1.88 | 96.9043 | -3.0957 | 0.25 | -0.2328 | 0.5 | 3302 |  |  |  | µg/L | T235 | ICPMS22080A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 0540113 | 2022-04-20 |  | 0.8637 | 0.945 | 91.3968 | -8.6032 | 0.25 | -0.3252 | 0.5 | 3302 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS22088B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 0670123 | 2022-04-20 |  | 2.9657 | 3.06 | 96.9183 | -3.0817 | 0.25 | -0.3772 | 0.5 | 3302 |  |  |  | µg/L | T239 | ICPMS22088B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 0960123 | 2022-05-16 |  | 1.9626 | 1.86 | 105.5161 | 5.5161 | 0.25 | 0.4104 | 0.5 | 3302 |  |  |  | µg/L | T233 | ICPMS22136A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 1090127 | 2022-05-19 |  | 1.8536 | 1.86 | 99.6559 | -0.34409 | 0.25 | -0.0256 | 0.5 | 3302 |  |  |  | µg/L | T233 | ICPMS22139A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 0820073 | 2022-05-24 |  | 3.1168 | 3.06 | 101.8562 | 1.8562 | 0.25 | 0.2272 | 0.5 | 3302 |  |  |  | µg/L | T239 | ICPMS22143B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 0760093 | 2022-05-24 |  | 3.1249 | 2.75 | 113.6327 | 13.6327 | 0.25 | 1.4996 | 0.5 | 3302 |  |  |  | µg/L | T237 | ICPMS22143B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 1230094 | 2022-05-26 |  | 0.99 | 0.945 | 104.7619 | 4.7619 | 0.25 | 0.18 | 0.5 | 3302 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS22144A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 1380070 | 2022-06-24 |  | 0.9077 | 0.945 | 96.0529 | -3.9471 | 0.25 | -0.1492 | 0.5 | 3302 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS22174A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 1460098 | 2022-06-27 |  | 1.9353 | 1.88 | 102.9415 | 2.9415 | 0.25 | 0.2212 | 0.5 | 3302 |  |  |  | µg/L | T235 | ICPMS22178A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 1320258 | 2022-07-20 |  | 2.056 | 1.88 | 109.3617 | 9.3617 | 0.25 | 0.704 | 0.5 | 3302 |  |  |  | µg/L | T235 | ICPMS22157B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 1580091 | 2022-07-22 |  | 3.0755 | 3.06 | 100.5065 | 0.50654 | 0.25 | 0.062 | 0.5 | 3302 |  |  |  | µg/L | T239 | ICPMS22202A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 1660162 | 2022-07-26 |  | 2.5805 | 2.75 | 93.8364 | -6.1636 | 0.25 | -0.678 | 0.5 | 3302 |  |  |  | µg/L | T237 | ICPMS22203B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 1790078 | 2022-07-28 |  | 2.7318 | 2.75 | 99.3382 | -0.66182 | 0.25 | -0.0728 | 0.5 | 3302 |  |  |  | µg/L | T237 | ICPMS22208B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 1730126 | 2022-07-28 |  | 3.1787 | 3.06 | 103.8791 | 3.8791 | 0.25 | 0.4748 | 0.5 | 3302 |  |  |  | µg/L | T239 | ICPMS22208B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 0880096 | 2022-07-29 |  | 2.7419 | 2.75 | 99.7055 | -0.29455 | 0.25 | -0.0324 | 0.5 | 3302 |  |  |  | µg/L | T237 | ICPMS22172A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 1930200 | 2022-08-04 |  | 1.915 | 1.86 | 102.957 | 2.957 | 0.25 | 0.22 | 0.5 | 3302 |  |  |  | µg/L | T233 | ICPMS22215B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 2080416 | 2022-08-08 |  | 1.959 | 1.86 | 105.3226 | 5.3226 | 0.25 | 0.396 | 0.5 | 3302 |  |  |  | µg/L | T233 | ICPMS22220A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 2140174 | 2022-08-09 |  | 1.7466 | 1.88 | 92.9043 | -7.0957 | 0.25 | -0.5336 | 0.5 | 3302 |  |  |  | µg/L | T235 | ICPMS22220A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 2210114 | 2022-08-19 |  | 0.8053 | 0.945 | 85.2169 | -14.7831 | 0.25 | -0.5588 | 0.5 | 3302 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS22229B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 2280351 | 2022-08-26 |  | 1.8856 | 1.88 | 100.2979 | 0.29787 | 0.25 | 0.0224 | 0.5 | 3302 |  |  |  | µg/L | T235 | ICPMS22238A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 2360390 | 2022-09-21 |  | 0.81 | 0.945 | 85.7143 | -14.2857 | 0.25 | -0.54 | 0.5 | 3302 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS22263B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 2570117 | 2022-09-28 |  | 2.9537 | 3.06 | 96.5261 | -3.4739 | 0.25 | -0.4252 | 0.5 | 3302 |  |  |  | µg/L | T239 | ICPMS22269A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 2500494 | 2022-10-05 |  | 2.6352 | 2.75 | 95.8255 | -4.1745 | 0.25 | -0.4592 | 0.5 | 3302 |  |  |  | µg/L | T237 | ICPMS22277A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 2630184 | 2022-10-05 |  | 3.555 | 2.75 | 129.2727 | 29.2727 | 0.25 | 3.22 | 0.5 | 3302 |  |  |  | µg/L | T237 | ICPMS22277A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2022 | 2710051 | 2022-10-26 |  | 2.8569 | 3.06 | 93.3627 | -6.6373 | 0.25 | -0.8124 | 0.5 | 3302 |  |  |  | µg/L | T239 | ICPMS22298B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 2770114 | 2022-10-26 |  | 2.226 | 2.36 | 94.322 | -5.678 | 0.25 | -0.536 | 0.5 | 3302 |  |  |  | µg/L | T245 | ICPMS22298B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 2920222 | 2022-10-28 |  | 2.4039 | 2.36 | 101.8602 | 1.8602 | 0.25 | 0.1756 | 0.5 | 3302 |  |  |  | µg/L | T245 | ICPMS22300A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 3060049 | 2022-11-08 |  | 1.017 | 0.945 | 107.619 | 7.619 | 0.25 | 0.288 | 0.5 | 3302 |  |  |  | µg/L | T243 | ICPMS22312B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 3130109 | 2022-11-16 |  | 7.599 | 8.2 | 92.6707 | -7.3293 | 0.574 | -1.047 | 0.5 | 3302 |  |  |  | µg/L | T247 | ICPMS22320A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 3610135 | 2023-01-09 |  | 2.7917 | 3.06 | 91.232 | -8.768 | 0.25 | -1.0732 | 0.5 | 3302 |  |  |  | µg/L | T239 | ICPMS23009A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 3200145 | 2023-01-28 |  | 0.8082 | 0.945 | 85.5238 | -14.4762 | 0.25 | -0.5472 | 0.5 | 3302 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS23027A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 3330054 | 2023-02-02 |  | 7.7472 | 8.2 | 94.478 | -5.522 | 0.574 | -0.78885 | 0.5 | 3302 |  |  |  | µg/L | T247 | ICPMS23032A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 3400090 | 2023-02-02 |  | 3.1043 | 3.06 | 101.4477 | 1.4477 | 0.25 | 0.1772 | 0.5 | 3302 |  |  |  | µg/L | T239 | ICPMS23032A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 3490121 | 2023-02-09 |  | 2.7206 | 2.75 | 98.9309 | -1.0691 | 0.25 | -0.1176 | 0.5 | 3302 |  |  |  | µg/L | T237 | ICPMS23040A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 0040114 | 2023-02-14 |  | 3.047 | 2.75 | 110.8 | 10.8 | 0.25 | 1.188 | 0.5 | 3302 |  |  |  | µg/L | T237 | ICPMS23045A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 0190114 | 2023-02-16 |  | 2.5022 | 2.36 | 106.0254 | 6.0254 | 0.25 | 0.5688 | 0.5 | 3302 |  |  |  | µg/L | T245 | ICPMS23047A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 0310087 | 2023-02-17 |  | 2.0959 | 2.36 | 88.8093 | -11.1907 | 0.25 | -1.0564 | 0.5 | 3302 |  |  |  | µg/L | T245 | ICPMS23048A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 0380151 | 2023-02-18 |  | 7.4149 | 8.2 | 90.4256 | -9.5744 | 0.574 | -1.3678 | 0.5 | 3302 |  |  |  | µg/L | T247 | ICPMS23048A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 0470007 | 2023-03-16 |  | 0.8811 | 0.945 | 93.2381 | -6.7619 | 0.25 | -0.2556 | 0.5 | 3302 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS23074A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 0590092 | 2023-03-16 |  | 7.3851 | 8.2 | 90.0622 | -9.9378 | 0.574 | -1.4197 | 0.5 | 3302 |  |  |  | µg/L | T247 | ICPMS23074A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 0740033 | 2023-03-22 |  | 2.9509 | 3.06 | 96.4346 | -3.5654 | 0.25 | -0.4364 | 0.5 | 3302 |  |  |  | µg/L | T239 | ICPMS23080A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 0620097 | 2023-03-25 |  | 0.8737 | 0.945 | 92.455 | -7.545 | 0.25 | -0.2852 | 0.5 | 3302 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS23083B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 0670102 | 2023-03-25 |  | 2.7043 | 2.75 | 98.3382 | -1.6618 | 0.25 | -0.1828 | 0.5 | 3302 |  |  |  | µg/L | T237 | ICPMS23083B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 0800075 | 2023-03-30 |  | 2.8705 | 2.75 | 104.3818 | 4.3818 | 0.25 | 0.482 | 0.5 | 3302 |  |  |  | µg/L | T237 | ICPMS23089B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 0940130 | 2023-04-28 |  | 2.5408 | 2.36 | 107.661 | 7.661 | 0.25 | 0.7232 | 0.5 | 3302 |  |  |  | µg/L | T245 | ICPMS23117A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 1100089 | 2023-05-01 |  | 2.5107 | 2.36 | 106.3856 | 6.3856 | 0.25 | 0.6028 | 0.5 | 3302 |  |  |  | µg/L | T245 | ICPMS23121B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 0880093 | 2023-05-04 |  | 2.9357 | 3.06 | 95.9379 | -4.0621 | 0.25 | -0.4972 | 0.5 | 3302 |  |  |  | µg/L | T239 | ICPMS23123B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 1240210 | 2023-05-20 |  | 0.9178 | 0.945 | 97.1217 | -2.8783 | 0.25 | -0.1088 | 0.5 | 3302 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS23139A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 1300167 | 2023-05-24 |  | 7.2214 | 8.2 | 88.0659 | -11.9341 | 0.574 | -1.7049 | 0.5 | 3302 |  |  |  | µg/L | T247 | ICPMS23142B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 1360048 | 2023-05-25 |  | 0.837 | 0.945 | 88.5714 | -11.4286 | 0.25 | -0.432 | 0.5 | 3302 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS23144C
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 1440060 | 2023-06-06 |  | 7.5072 | 8.2 | 91.5512 | -8.4488 | 0.574 | -1.207 | 0.5 | 3302 |  |  |  | µg/L | T247 | ICPMS23156B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 1570041 | 2023-06-15 |  | 3.0428 | 3.06 | 99.4379 | -0.56209 | 0.25 | -0.0688 | 0.5 | 3302 |  |  |  | µg/L | T239 | ICPMS23164A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 1650066 | 2023-06-26 |  | 2.773 | 2.75 | 100.8364 | 0.83636 | 0.25 | 0.092 | 0.5 | 3302 |  |  |  | µg/L | T237 | ICPMS23177B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 1730211 | 2023-06-28 |  | 2.9793 | 3.06 | 97.3627 | -2.6373 | 0.25 | -0.3228 | 0.5 | 3302 |  |  |  | µg/L | T239 | ICPMS23179A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 1840086 | 2023-07-18 |  | 2.7843 | 2.75 | 101.2473 | 1.2473 | 0.25 | 0.1372 | 0.5 | 3302 |  |  |  | µg/L | T237 | ICPMS23198A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 1940234 | 2023-07-28 |  | 2.3697 | 2.36 | 100.411 | 0.41102 | 0.25 | 0.0388 | 0.5 | 3302 |  |  |  | µg/L | T245 | ICPMS23208B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 2060142 | 2023-08-08 |  | 2.5811 | 2.36 | 109.3686 | 9.3686 | 0.25 | 0.8844 | 0.5 | 3302 |  |  |  | µg/L | T245 | ICPMS23219A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 2200127 | 2023-09-01 |  | 7.372 | 8.2 | 89.9024 | -10.0976 | 0.574 | -1.4425 | 0.5 | 3302 |  |  |  | µg/L | T247 | ICPMS23241B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 2280173 | 2023-09-08 |  | 1.1284 | 0.945 | 119.4074 | 19.4074 | 0.25 | 0.7336 | 0.5 | 3302 |  |  |  | µg/L | T243 | ICPMS23250A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 2490138 | 2023-09-18 |  | 2.6675 | 2.75 | 97 | -3 | 0.25 | -0.33 | 0.5 | 3302 |  |  |  | µg/L | T237 | ICPMS23257A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 2620178 | 2023-09-26 |  | 2.892 | 2.75 | 105.1636 | 5.1636 | 0.25 | 0.568 | 0.5 | 3302 |  |  |  | µg/L | T237 | ICPMS23269A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 2350096 | 2023-09-27 |  | 7.4543 | 8.2 | 90.9061 | -9.0939 | 0.574 | -1.2991 | 0.5 | 3302 |  |  |  | µg/L | T247 | ICPMS23269A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 2440134 | 2023-10-04 |  | 0.8648 | 0.945 | 91.5132 | -8.4868 | 0.25 | -0.3208 | 0.5 | 3302 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS23276A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 2560088 | 2023-10-21 |  | 3.0315 | 3.06 | 99.0686 | -0.93137 | 0.25 | -0.114 | 0.5 | 3302 |  |  |  | µg/L | T239 | ICPMS23292A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2023 | 2690094 | 2023-10-21 |  | 2.9745 | 3.06 | 97.2059 | -2.7941 | 0.25 | -0.342 | 0.5 | 3302 |  |  |  | µg/L | T239 | ICPMS23292A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 2760034 | 2023-11-28 |  | 2.4115 | 2.36 | 102.1822 | 2.1822 | 0.25 | 0.206 | 0.5 | 3302 |  |  |  | µg/L | T245 | ICPMS23332A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 2900161 | 2023-12-06 |  | 2.2218 | 2.36 | 94.1441 | -5.8559 | 0.25 | -0.5528 | 0.5 | 3302 |  |  |  | µg/L | T245 | ICPMS23340A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 3120058 | 2023-12-20 |  | 0.8856 | 0.945 | 93.7143 | -6.2857 | 0.25 | -0.2376 | 0.5 | 3302 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS23353A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 3250150 | 2023-12-20 |  | 0.8051 | 0.945 | 85.1958 | -14.8042 | 0.25 | -0.5596 | 0.5 | 3302 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS23353A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 3340080 | 2023-12-21 |  | 7.54 | 8.2 | 91.9512 | -8.0488 | 0.574 | -1.1498 | 0.5 | 3302 |  |  |  | µg/L | T247 | ICPMS23354A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 3390052 | 2023-12-21 |  | 2.1465 | 2.35 | 91.3404 | -8.6596 | 0.25 | -0.814 | 0.5 | 3302 |  |  |  | µg/L | T251 | ICPMS23354A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 3530158 | 2024-01-18 |  | 2.1393 | 2.35 | 91.034 | -8.966 | 0.25 | -0.8428 | 0.5 | 3302 |  |  |  | µg/L | T251 | ICPMS24010A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 0090034 | 2024-01-23 |  | 2.4779 | 2.36 | 104.9958 | 4.9958 | 0.25 | 0.4716 | 0.5 | 3302 |  |  |  | µg/L | T245 | ICPMS24022A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 3460243 | 2024-01-30 |  | 3.5738 | 3.26 | 109.6258 | 9.6258 | 0.25 | 1.2552 | 0.5 | 3302 |  |  |  | µg/L | T249 | ICPMS24025A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 3610063 | 2024-01-30 |  | 3.5577 | 3.26 | 109.1319 | 9.1319 | 0.25 | 1.1908 | 0.5 | 3302 |  |  |  | µg/L | T249 | ICPMS24025A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 0230080 | 2024-02-27 |  | 2.6248 | 2.36 | 111.2203 | 11.2203 | 0.25 | 1.0592 | 0.5 | 3302 |  |  |  | µg/L | T245 | ICPMS24057B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 0440078 | 2024-03-07 |  | 0.8033 | 0.945 | 85.0053 | -14.9947 | 0.25 | -0.5668 | 0.5 | 3302 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS24065A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 0520079 | 2024-03-12 |  | 7.2829 | 8.2 | 88.8159 | -11.1841 | 0.574 | -1.5977 | 0.5 | 3302 |  |  |  | µg/L | T247 | ICPMS24071A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 0580158 | 2024-03-28 |  | 1.3052 | 0.945 | 138.1164 | 38.1164 | 0.25 | 1.4408 | 0.5 | 3302 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS24086B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 0660042 | 2024-03-28 |  | 3.3735 | 3.26 | 103.4816 | 3.4816 | 0.25 | 0.454 | 0.5 | 3302 |  |  |  | µg/L | T249 | ICPMS24086B
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 0370147 | 2024-04-24 |  | 7.9609 | 8.2 | 97.0841 | -2.9159 | 0.574 | -0.41655 | 0.5 | 3302 |  |  |  | µg/L | T247 | ICPMS24113A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 0730120 | 2024-04-24 |  | 2.281 | 2.35 | 97.0638 | -2.9362 | 0.25 | -0.276 | 0.5 | 3302 |  |  |  | µg/L | T251 | ICPMS24113A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 0880015 | 2024-04-24 |  | 2.2014 | 2.35 | 93.6766 | -6.3234 | 0.25 | -0.5944 | 0.5 | 3302 |  |  |  | µg/L | T251 | ICPMS24113A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 0800002 | 2024-04-24 |  | 3.5036 | 3.26 | 107.4724 | 7.4724 | 0.25 | 0.9744 | 0.5 | 3302 |  |  |  | µg/L | T249 | ICPMS24113A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 0930091 | 2024-04-29 |  | 2.4096 | 2.36 | 102.1017 | 2.1017 | 0.25 | 0.1984 | 0.5 | 3302 |  |  |  | µg/L | T245 | ICPMS24115A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 3190183 | 2024-04-30 |  | 7.3383 | 8.2 | 89.4915 | -10.5085 | 0.574 | -1.5012 | 0.5 | 3302 | Value verified by rerun, same method | See result laboratory comment |  | µg/L | T247 | ICPMS24115A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 1070224 | 2024-05-07 |  | 2.5073 | 2.36 | 106.2415 | 6.2415 | 0.25 | 0.5892 | 0.5 | 3302 |  |  |  | µg/L | T245 | ICPMS24127A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 1560043 | 2024-06-18 |  | 2.4329 | 2.35 | 103.5277 | 3.5277 | 0.25 | 0.3316 | 0.5 | 3302 |  |  |  | µg/L | T251 | ICPMS24163A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 1280107 | 2024-06-19 |  | 1.1963 | 0.945 | 126.5926 | 26.5926 | 0.25 | 1.0052 | 0.5 | 3302 |  |  |  | µg/L | T243 | ICPMS24163A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 1370189 | 2024-06-27 |  | 7.7723 | 8.2 | 94.7841 | -5.2159 | 0.574 | -0.74512 | 0.5 | 3302 |  |  |  | µg/L | T247 | ICPMS24177A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 1420090 | 2024-06-29 |  | 0.8051 | 0.945 | 85.1958 | -14.8042 | 0.25 | -0.5596 | 0.5 | 3302 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS24180A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 1500144 | 2024-07-10 |  | 7.5718 | 8.2 | 92.339 | -7.661 | 0.574 | -1.0944 | 0.5 | 3302 |  |  |  | µg/L | T247 | ICPMS24190A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 1630114 | 2024-07-18 |  | 3.4992 | 3.26 | 107.3374 | 7.3374 | 0.25 | 0.9568 | 0.5 | 3302 |  |  |  | µg/L | T249 | ICPMS24199A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 1720052 | 2024-07-18 |  | 2.0368 | 2.35 | 86.6723 | -13.3277 | 0.25 | -1.2528 | 0.5 | 3302 |  |  |  | µg/L | T251 | ICPMS24200A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 1770113 | 2024-08-12 |  | 3.4531 | 3.26 | 105.9233 | 5.9233 | 0.25 | 0.7724 | 0.5 | 3302 |  |  |  | µg/L | T249 | ICPMS24222A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 1980276 | 2024-09-19 |  | 2.4019 | 2.36 | 101.7754 | 1.7754 | 0.25 | 0.1676 | 0.5 | 3302 | Lab control sample (LCS) recovery outside of range or criteria |  |  | µg/L | T245 | ICPMS24260A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 2130062 | 2024-09-19 |  | 2.4535 | 2.36 | 103.9619 | 3.9619 | 0.25 | 0.374 | 0.5 | 3302 |  |  |  | µg/L | T245 | ICPMS24260A
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 2190096 | 2024-09-21 |  | 9.2793 | 8.2 | 113.1622 | 13.1622 | 0.574 | 1.8803 | 0.5 | 3302 |  |  |  | µg/L | T247 | ICPMS24264C
Chromium, unfltd, cICP-MS, recov | 01034 | PLM77 | UNF | 2024 | 2260085 | 2024-09-25 |  | 0.9215 | 0.945 | 97.5132 | -2.4868 | 0.25 | -0.094 | 0.5 | 3302 | Below the reporting level but at or above the detection level |  |  | µg/L | T243 | ICPMS24267B