## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recov | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2019 | 2390203 | 2019-10-01 |  | 0.6575 | 0.7 | 93.9286 | -6.0714 | 0.519 | -0.081888 |  | 3305 | Below the reporting level but at or above the detection level | Sample was diluted |  | ug/L | T231 | ICPMS19274A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2019 | 2550075 | 2019-10-01 |  | 0.6502 | 0.68 | 95.6176 | -4.3824 | 0.135 | -0.22074 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T227 | ICPMS19274A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2019 | 2470180 | 2019-10-02 |  | 7.4995 | 6.89 | 108.8462 | 8.8462 | 0.979 | 0.62257 | 0.2 | 3305 |  |  |  | µg/L | T225 | ICPMS19274A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2019 | 2600328 | 2019-10-09 |  | 7.3263 | 6.89 | 106.3324 | 6.3324 | 0.979 | 0.44566 | 0.2 | 3305 | Sample was diluted |  |  | µg/L | T225 | ICPMS19282B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2019 | 2680149 | 2019-12-03 |  | 0.6682 | 0.68 | 98.2647 | -1.7353 | 0.135 | -0.087407 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T227 | ICPMS19322A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 2890221 | 2019-12-12 |  | 9.0591 | 8.83 | 102.5946 | 2.5946 | 0.549 | 0.4173 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19344B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 2950100 | 2019-12-16 |  | 1.916 | 1.99 | 96.2814 | -3.7186 | 0.274 | -0.27007 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T233 | ICPMS19347B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 3030027 | 2019-12-18 |  | 9.5589 | 8.83 | 108.2548 | 8.2548 | 0.549 | 1.3277 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19350A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 2810114 | 2019-12-19 |  | 1.9208 | 1.99 | 96.5226 | -3.4774 | 0.274 | -0.25255 | 0.2 | 3305 | Value verified by rerun, same method |  |  | µg/L | T233 | ICPMS19352B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 3170095 | 2019-12-30 |  | 1.2127 | 1.1 | 110.2455 | 10.2455 | 0.163 | 0.69141 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T235 | ICPMS19364A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 3310060 | 2019-12-30 |  | 1.0888 | 1.1 | 98.9818 | -1.0182 | 0.163 | -0.068712 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T235 | ICPMS19364A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 3090147 | 2019-12-30 |  | 0.6324 | 0.7 | 90.3429 | -9.6571 | 0.519 | -0.13025 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T231 | ICPMS19364A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 3230099 | 2019-12-30 |  | 0.5873 | 0.7 | 83.9 | -16.1 | 0.519 | -0.21715 | 0.2 | 3305 |  |  |  | µg/L | T231 | ICPMS19364A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 3370103 | 2020-01-10 |  | 0.6687 | 0.68 | 98.3382 | -1.6618 | 0.135 | -0.083704 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T227 | ICPMS20010A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 3510023 | 2020-01-10 |  | 0.7049 | 0.68 | 103.6618 | 3.6618 | 0.135 | 0.18444 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T227 | ICPMS20010A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 0070044 | 2020-01-21 |  | 9.1124 | 8.83 | 103.1982 | 3.1982 | 0.549 | 0.51439 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T229 | ICPMS20021A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 3600045 | 2020-01-21 |  | 6.3275 | 6.89 | 91.836 | -8.164 | 0.979 | -0.57457 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T225 | ICPMS20021A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 3440294 | 2020-01-30 |  | 6.3887 | 6.89 | 92.7242 | -7.2758 | 0.979 | -0.51205 | 0.2 | 3305 |  |  |  | µg/L | T225 | ICPMS20030A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 0150017 | 2020-02-03 |  | 1.995 | 1.99 | 100.2513 | 0.25126 | 0.274 | 0.018248 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS20031A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 0220109 | 2020-02-03 |  | 9.0919 | 8.83 | 102.966 | 2.966 | 0.549 | 0.47705 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T229 | ICPMS20031A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 0350135 | 2020-02-12 |  | 1.245 | 1.1 | 113.1818 | 13.1818 | 0.163 | 0.88957 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T235 | ICPMS20043A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 0420076 | 2020-03-03 |  | 0.6067 | 0.7 | 86.6714 | -13.3286 | 0.519 | -0.17977 | 0.2 | 3305 |  |  |  | µg/L | T231 | ICPMS20063B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 0280070 | 2020-03-03 |  | 1.9007 | 1.99 | 95.5126 | -4.4874 | 0.274 | -0.32591 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS20063B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 0560053 | 2020-03-04 |  | 0.5358 | 0.7 | 76.5429 | -23.4571 | 0.519 | -0.31638 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T231 | ICPMS20064A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 0500059 | 2020-03-04 |  | 1.0315 | 1.1 | 93.7727 | -6.2273 | 0.163 | -0.42025 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T235 | ICPMS20064A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 0630051 | 2020-03-18 |  | 6.3217 | 6.89 | 91.7518 | -8.2482 | 0.979 | -0.58049 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T225 | ICPMS20076A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 0700103 | 2020-04-20 |  | 0.632 | 0.68 | 92.9412 | -7.0588 | 0.135 | -0.35556 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T227 | ICPMS20111B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 0980043 | 2020-04-23 |  | 1.8882 | 1.99 | 94.8844 | -5.1156 | 0.274 | -0.37153 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS20114A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 1060059 | 2020-04-23 |  | 8.8718 | 8.83 | 100.4734 | 0.47339 | 0.549 | 0.076138 | 0.2 | 3305 | See result laboratory comment |  |  | µg/L | T229 | ICPMS20114A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 1120049 | 2020-05-04 |  | 1.9032 | 1.99 | 95.6382 | -4.3618 | 0.274 | -0.31679 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS20125B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 0840029 | 2020-06-02 |  | 0.6812 | 0.68 | 100.1765 | 0.17647 | 0.135 | 0.0088889 | 0.2 | 3305 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T227 | ICPMS20153B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 1330126 | 2020-06-12 |  | 1.1073 | 1.1 | 100.6636 | 0.66364 | 0.163 | 0.044785 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS20163B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 1610191 | 2020-07-01 |  | 6.9272 | 6.89 | 100.5399 | 0.53991 | 0.979 | 0.037998 | 0.2 | 3305 |  |  |  | µg/L | T225 | ICPMS20182B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 1550007 | 2020-07-01 |  | 0.6952 | 0.68 | 102.2353 | 2.2353 | 0.135 | 0.11259 | 0.2 | 3305 |  |  |  | µg/L | T227 | ICPMS20182B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 0770114 | 2020-08-24 |  | 6.9907 | 6.89 | 101.4615 | 1.4615 | 0.979 | 0.10286 | 0.2 | 3305 | Sample was diluted |  |  | µg/L | T225 | ICPMS20237A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 1680149 | 2020-08-27 |  | 0.6577 | 0.68 | 96.7206 | -3.2794 | 0.135 | -0.16519 | 0.2 | 3305 |  |  |  | µg/L | T227 | ICPMS20240A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 1760101 | 2020-08-28 |  | 6.5213 | 6.89 | 94.6488 | -5.3512 | 0.979 | -0.37661 | 0.2 | 3305 |  |  |  | µg/L | T225 | ICPMS20240A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 1890182 | 2020-09-02 |  | 9.5357 | 8.83 | 107.9921 | 7.9921 | 0.549 | 1.2854 | 0.2 | 3305 |  |  |  | µg/L | T229 | ICPMS20245B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 1960126 | 2020-09-03 |  | 1.8716 | 1.99 | 94.0503 | -5.9497 | 0.274 | -0.43212 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS20247B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 2040025 | 2020-09-03 |  | 8.6626 | 8.83 | 98.1042 | -1.8958 | 0.549 | -0.30492 | 0.2 | 3305 |  |  |  | µg/L | T229 | ICPMS20247B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 2170035 | 2020-09-17 |  | 1.1179 | 1.1 | 101.6273 | 1.6273 | 0.163 | 0.10982 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS20260A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 2120199 | 2020-09-17 |  | 1.9585 | 1.99 | 98.4171 | -1.5829 | 0.274 | -0.11496 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS20260A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 2240092 | 2020-09-24 |  | 0.6739 | 0.7 | 96.2714 | -3.7286 | 0.519 | -0.050289 | 0.2 | 3305 |  |  |  | µg/L | T231 | ICPMS20276A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 2320037 | 2020-09-24 |  | 1.0654 | 1.1 | 96.8545 | -3.1455 | 0.163 | -0.21227 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS20276A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 2390027 | 2020-09-29 |  | 0.6271 | 0.7 | 89.5857 | -10.4143 | 0.519 | -0.14046 | 0.2 | 3305 |  |  |  | µg/L | T231 | ICPMS20273A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 2530137 | 2020-10-06 |  | 7.1276 | 6.89 | 103.4485 | 3.4485 | 0.979 | 0.2427 | 0.2 | 3305 |  |  |  | µg/L | T225 | ICPMS20279B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 2590164 | 2020-10-08 |  | 0.684 | 0.68 | 100.5882 | 0.58824 | 0.135 | 0.02963 | 0.2 | 3305 |  |  |  | µg/L | T227 | ICPMS20281B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 2670298 | 2020-10-09 |  | 6.6991 | 6.89 | 97.2293 | -2.7707 | 0.979 | -0.19499 | 0.2 | 3305 |  |  |  | µg/L | T225 | ICPMS20281B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2020 | 2740056 | 2020-10-22 |  | 0.6396 | 0.68 | 94.0588 | -5.9412 | 0.135 | -0.29926 | 0.2 | 3305 |  |  |  | µg/L | T227 | ICPMS20296B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 2810032 | 2020-10-22 |  | 2.0988 | 1.99 | 105.4673 | 5.4673 | 0.274 | 0.39708 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS20296B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 2880069 | 2020-12-30 |  | 9.2277 | 8.83 | 104.504 | 4.504 | 0.549 | 0.72441 | 0.2 | 3305 |  |  |  | µg/L | T229 | ICPMS20350A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 2950028 | 2021-01-13 |  | 1.8512 | 1.99 | 93.0251 | -6.9749 | 0.274 | -0.50657 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS21013B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 3010155 | 2021-01-14 |  | 9.7284 | 8.83 | 110.1744 | 10.1744 | 0.549 | 1.6364 | 0.2 | 3305 |  |  |  | µg/L | T229 | ICPMS21013B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 3080107 | 2021-01-14 |  | 0.6333 | 0.7 | 90.4714 | -9.5286 | 0.519 | -0.12852 | 0.2 | 3305 |  |  |  | µg/L | T231 | ICPMS21013B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 3150100 | 2021-01-15 |  | 1.081 | 1.1 | 98.2727 | -1.7273 | 0.163 | -0.11656 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS21015A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 3230039 | 2021-01-27 |  | 0.5682 | 0.7 | 81.1714 | -18.8286 | 0.519 | -0.25395 | 0.2 | 3305 |  |  |  | µg/L | T231 | ICPMS21026B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 3500073 | 2021-01-29 |  | 1.3753 | 1.23 | 111.813 | 11.813 | 0.1 | 1.453 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS21028B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 3440081 | 2021-01-29 |  | 3.6649 | 3.76 | 97.4707 | -2.5293 | 0.845 | -0.11254 | 0.2 | 3305 |  |  |  | µg/L | T239 | ICPMS21028B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 3300047 | 2021-02-02 |  | 1.1352 | 1.1 | 103.2 | 3.2 | 0.163 | 0.21595 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS21033A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 0120036 | 2021-03-04 |  | 1.9574 | 1.99 | 98.3618 | -1.6382 | 0.274 | -0.11898 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS21055A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 0050024 | 2021-03-04 |  | 8.7736 | 8.83 | 99.3613 | -0.63873 | 0.549 | -0.10273 | 0.2 | 3305 |  |  |  | µg/L | T229 | ICPMS21055A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 3640015 | 2021-03-04 |  | 1.3425 | 1.23 | 109.1463 | 9.1463 | 0.1 | 1.125 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS21055A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 3580059 | 2021-03-04 |  | 3.6135 | 3.76 | 96.1037 | -3.8963 | 0.845 | -0.17337 | 0.2 | 3305 |  |  |  | µg/L | T239 | ICPMS21055A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 0270078 | 2021-03-26 |  | 1.9164 | 1.99 | 96.3015 | -3.6985 | 0.274 | -0.26861 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS21077A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 0210015 | 2021-03-26 |  | 8.9847 | 8.83 | 101.752 | 1.752 | 0.549 | 0.28179 | 0.2 | 3305 |  |  |  | µg/L | T229 | ICPMS21077A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 0330077 | 2021-04-21 |  | 0.5465 | 0.7 | 78.0714 | -21.9286 | 0.519 | -0.29576 | 0.2 | 3305 |  |  |  | µg/L | T231 | ICPMS21110A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 0400076 | 2021-05-04 |  | 1.1741 | 1.1 | 106.7364 | 6.7364 | 0.163 | 0.4546 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS21124A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 1030144 | 2021-05-05 |  | 9.073 | 8.83 | 102.752 | 2.752 | 0.549 | 0.44262 | 0.2 | 3305 |  |  |  | µg/L | T229 | ICPMS21125A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 0540055 | 2021-05-11 |  | 1.0862 | 1.1 | 98.7455 | -1.2545 | 0.163 | -0.084663 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS21131A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 0480038 | 2021-05-12 |  | 0.7368 | 0.7 | 105.2571 | 5.2571 | 0.519 | 0.070906 | 0.2 | 3305 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T231 | ICPMS21131A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 0620100 | 2021-05-13 |  | 1.5729 | 1.23 | 127.878 | 27.878 | 0.1 | 3.429 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS21132B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 0680063 | 2021-05-14 |  | 3.9106 | 3.76 | 104.0053 | 4.0053 | 0.845 | 0.17822 | 0.2 | 3305 | Sample was diluted |  |  | µg/L | T239 | ICPMS21132B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 0760035 | 2021-05-14 |  | 1.55 | 1.23 | 126.0163 | 26.0163 | 0.1 | 3.2 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS21134A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 0830027 | 2021-05-15 |  | 3.9735 | 3.76 | 105.6782 | 5.6782 | 0.845 | 0.25266 | 0.2 | 3305 | Sample was diluted |  |  | µg/L | T239 | ICPMS21134A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 0970048 | 2021-05-21 |  | 1.8799 | 1.99 | 94.4673 | -5.5327 | 0.274 | -0.40182 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS21140A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 1110004 | 2021-06-02 |  | 2.0707 | 1.99 | 104.0553 | 4.0553 | 0.274 | 0.29453 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS21153A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 1180038 | 2021-06-16 |  | 9.1092 | 8.83 | 103.1619 | 3.1619 | 0.549 | 0.50856 | 0.2 | 3305 |  |  |  | µg/L | T229 | ICPMS21167B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 1250004 | 2021-06-16 |  | 0.6741 | 0.7 | 96.3 | -3.7 | 0.519 | -0.049904 | 0.2 | 3305 |  |  |  | µg/L | T231 | ICPMS21167B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 1320162 | 2021-06-29 |  | 1.0394 | 1.1 | 94.4909 | -5.5091 | 0.163 | -0.37178 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS21180B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 1380139 | 2021-07-02 |  | 0.5671 | 0.7 | 81.0143 | -18.9857 | 0.519 | -0.25607 | 0.2 | 3305 |  |  |  | µg/L | T231 | ICPMS21182B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 1460003 | 2021-07-10 |  | 1.0596 | 1.1 | 96.3273 | -3.6727 | 0.163 | -0.24785 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS21188B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 1540139 | 2021-07-16 |  | 3.8712 | 3.76 | 102.9574 | 2.9574 | 0.845 | 0.1316 | 0.2 | 3305 |  |  |  | µg/L | T239 | ICPMS21195A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 1600035 | 2021-07-24 |  | 1.2453 | 1.23 | 101.2439 | 1.2439 | 0.1 | 0.153 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS21200B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 1730218 | 2021-08-07 |  | 1.2387 | 1.23 | 100.7073 | 0.70732 | 0.1 | 0.087 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS21218A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 1880114 | 2021-08-11 |  | 8.8094 | 8.83 | 99.7667 | -0.2333 | 0.549 | -0.037523 | 0.2 | 3305 |  |  |  | µg/L | T229 | ICPMS21222B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 1660119 | 2021-08-14 |  | 3.2954 | 3.76 | 87.6436 | -12.3564 | 0.845 | -0.54982 | 0.2 | 3305 | Sample was diluted |  |  | µg/L | T239 | ICPMS21225A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 1940229 | 2021-08-16 |  | 1.9689 | 1.99 | 98.9397 | -1.0603 | 0.274 | -0.077007 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS21228B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 2080172 | 2021-08-19 |  | 1.9389 | 1.99 | 97.4322 | -2.5678 | 0.274 | -0.1865 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS21230A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 2010231 | 2021-08-19 |  | 8.8708 | 8.83 | 100.4621 | 0.46206 | 0.549 | 0.074317 | 0.2 | 3305 |  |  |  | µg/L | T229 | ICPMS21230A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 2150046 | 2021-08-30 |  | 1.1582 | 1.1 | 105.2909 | 5.2909 | 0.163 | 0.35706 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS21242B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 2220178 | 2021-09-23 |  | 0.6753 | 0.7 | 96.4714 | -3.5286 | 0.519 | -0.047592 | 0.2 | 3305 |  |  |  | µg/L | T231 | ICPMS21258B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 2290121 | 2021-09-24 |  | 1.0833 | 1.1 | 98.4818 | -1.5182 | 0.163 | -0.10245 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS21267A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 2360118 | 2021-10-02 |  | 0.6285 | 0.7 | 89.7857 | -10.2143 | 0.519 | -0.13776 | 0.2 | 3305 |  |  |  | µg/L | T231 | ICPMS21273A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 2510433 | 2021-10-14 |  | 1.1716 | 1.23 | 95.252 | -4.748 | 0.1 | -0.584 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS21287B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 2580265 | 2021-10-20 |  | 3.6297 | 3.76 | 96.5346 | -3.4654 | 0.845 | -0.1542 | 0.2 | 3305 |  |  |  | µg/L | T239 | ICPMS21292A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 2640271 | 2021-11-02 |  | 1.2445 | 1.23 | 101.1789 | 1.1789 | 0.1 | 0.145 | 0.2 | 3305 | Sample was diluted |  |  | µg/L | T237 | ICPMS21295B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2021 | 2790034 | 2021-11-23 |  | 3.6757 | 3.76 | 97.758 | -2.242 | 0.845 | -0.099763 | 0.2 | 3305 |  |  |  | µg/L | T239 | ICPMS21308B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 2790037 | 2021-12-14 |  | 1.9028 | 1.99 | 95.6181 | -4.3819 | 0.274 | -0.31825 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS21340B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 2870243 | 2021-12-16 |  | 0.5314 | 0.5 | 106.28 | 6.28 | 0.1 | 0.314 | 0.2 | 3305 |  |  |  | µg/L | T241 | ICPMS21349B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 3000133 | 2022-01-03 |  | 0.4991 | 0.5 | 99.82 | -0.18 | 0.1 | -0.009 | 0.2 | 3305 |  |  |  | µg/L | T241 | ICPMS21356B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 3060209 | 2022-01-04 |  | 1.7134 | 1.44 | 118.9861 | 18.9861 | 0.297 | 0.92054 | 0.2 | 3305 |  |  |  | µg/L | T243 | ICPMS21356B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 3130184 | 2022-01-05 |  | 1.0993 | 1.1 | 99.9364 | -0.063636 | 0.163 | -0.0042945 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS22005A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 3200088 | 2022-01-06 |  | 1.6965 | 1.44 | 117.8125 | 17.8125 | 0.297 | 0.86364 | 0.2 | 3305 |  |  |  | µg/L | T243 | ICPMS22005A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 3410064 | 2022-01-15 |  | 3.6123 | 3.76 | 96.0718 | -3.9282 | 0.845 | -0.17479 | 0.2 | 3305 |  |  |  | µg/L | T239 | ICPMS22014B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 3270288 | 2022-01-20 |  | 1.0992 | 1.1 | 99.9273 | -0.072727 | 0.163 | -0.004908 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS22011B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 3480118 | 2022-01-21 |  | 1.1471 | 1.23 | 93.2602 | -6.7398 | 0.1 | -0.829 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS22011B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 3570003 | 2022-01-28 |  | 3.6025 | 3.76 | 95.8112 | -4.1888 | 0.845 | -0.18639 | 0.2 | 3305 |  |  |  | µg/L | T239 | ICPMS22027C
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 3640134 | 2022-01-29 |  | 1.2251 | 1.23 | 99.6016 | -0.39837 | 0.1 | -0.049 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS22027D
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 0120120 | 2022-02-17 |  | 1.9647 | 1.99 | 98.7286 | -1.2714 | 0.274 | -0.092336 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS22047B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 0050041 | 2022-02-17 |  | 0.5044 | 0.5 | 100.88 | 0.88 | 0.1 | 0.044 | 0.2 | 3305 |  |  |  | µg/L | T241 | ICPMS22047B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 0250044 | 2022-03-02 |  | 2.0221 | 1.99 | 101.6131 | 1.6131 | 0.274 | 0.11715 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS22060A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 0190121 | 2022-03-02 |  | 0.6135 | 0.5 | 122.7 | 22.7 | 0.1 | 1.135 | 0.2 | 3305 |  |  |  | µg/L | T241 | ICPMS22060A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 0380065 | 2022-03-17 |  | 1.0686 | 1.1 | 97.1455 | -2.8545 | 0.163 | -0.19264 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS22076B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 0390071 | 2022-03-18 |  | 1.3819 | 1.44 | 95.9653 | -4.0347 | 0.297 | -0.19562 | 0.2 | 3305 |  |  |  | µg/L | T243 | ICPMS22076B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 0480131 | 2022-03-24 |  | 1.0445 | 1.1 | 94.9545 | -5.0455 | 0.163 | -0.34049 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS22080A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 0540113 | 2022-04-20 |  | 1.5554 | 1.44 | 108.0139 | 8.0139 | 0.297 | 0.38855 | 0.2 | 3305 |  |  |  | µg/L | T243 | ICPMS22088B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 0670123 | 2022-04-20 |  | 3.9832 | 3.76 | 105.9362 | 5.9362 | 0.845 | 0.26414 | 0.2 | 3305 |  |  |  | µg/L | T239 | ICPMS22088B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 0960123 | 2022-05-16 |  | 2.0693 | 1.99 | 103.9849 | 3.9849 | 0.274 | 0.28942 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS22136A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 1020024 | 2022-05-16 |  | 0.5177 | 0.5 | 103.54 | 3.54 | 0.1 | 0.177 | 0.2 | 3305 |  |  |  | µg/L | T241 | ICPMS22136A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 1090127 | 2022-05-19 |  | 1.9319 | 1.99 | 97.0804 | -2.9196 | 0.274 | -0.21204 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS22139A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 0820073 | 2022-05-24 |  | 3.9326 | 3.76 | 104.5904 | 4.5904 | 0.845 | 0.20426 | 0.2 | 3305 |  |  |  | µg/L | T239 | ICPMS22143B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 0760093 | 2022-05-24 |  | 1.4457 | 1.23 | 117.5366 | 17.5366 | 0.1 | 2.157 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS22143B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 0880096 | 2022-05-24 |  | 1.3481 | 1.23 | 109.6016 | 9.6016 | 0.1 | 1.181 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS22143B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 1170082 | 2022-05-25 |  | 0.5214 | 0.5 | 104.28 | 4.28 | 0.1 | 0.214 | 0.2 | 3305 |  |  |  | µg/L | T241 | ICPMS22144A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 1230094 | 2022-05-26 |  | 1.8547 | 1.44 | 128.7986 | 28.7986 | 0.297 | 1.3963 | 0.2 | 3305 |  |  |  | µg/L | T243 | ICPMS22144A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 1380070 | 2022-06-24 |  | 1.5138 | 1.44 | 105.125 | 5.125 | 0.297 | 0.24848 | 0.2 | 3305 |  |  |  | µg/L | T243 | ICPMS22174A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 1460098 | 2022-06-27 |  | 1.5333 | 1.1 | 139.3909 | 39.3909 | 0.163 | 2.6583 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS22178A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 1320258 | 2022-07-20 |  | 1.2066 | 1.1 | 109.6909 | 9.6909 | 0.163 | 0.65399 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS22157B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 1580091 | 2022-07-22 |  | 3.6584 | 3.76 | 97.2979 | -2.7021 | 0.845 | -0.12024 | 0.2 | 3305 |  |  |  | µg/L | T239 | ICPMS22202A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 1660162 | 2022-07-26 |  | 1.2342 | 1.23 | 100.3415 | 0.34146 | 0.1 | 0.042 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS22203B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 1790078 | 2022-07-28 |  | 1.3551 | 1.23 | 110.1707 | 10.1707 | 0.1 | 1.251 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS22208B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 1730126 | 2022-07-28 |  | 3.6928 | 3.76 | 98.2128 | -1.7872 | 0.845 | -0.079527 | 0.2 | 3305 |  |  |  | µg/L | T239 | ICPMS22208B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 1870090 | 2022-08-02 |  | 0.553 | 0.5 | 110.6 | 10.6 | 0.1 | 0.53 | 0.2 | 3305 |  |  |  | µg/L | T241 | ICPMS22214B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 1930200 | 2022-08-04 |  | 1.8744 | 1.99 | 94.191 | -5.809 | 0.274 | -0.4219 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS22215B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 2000024 | 2022-08-04 |  | 0.4867 | 0.5 | 97.34 | -2.66 | 0.1 | -0.133 | 0.2 | 3305 |  |  |  | µg/L | T241 | ICPMS22215B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 2080416 | 2022-08-08 |  | 1.8207 | 1.99 | 91.4925 | -8.5075 | 0.274 | -0.61788 | 0.2 | 3305 |  |  |  | µg/L | T233 | ICPMS22220A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 2140174 | 2022-08-09 |  | 1.0558 | 1.1 | 95.9818 | -4.0182 | 0.163 | -0.27117 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS22220A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 2210114 | 2022-08-19 |  | 1.4122 | 1.44 | 98.0694 | -1.9306 | 0.297 | -0.093603 | 0.2 | 3305 |  |  |  | µg/L | T243 | ICPMS22229B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 2280351 | 2022-08-26 |  | 1.0892 | 1.1 | 99.0182 | -0.98182 | 0.163 | -0.066258 | 0.2 | 3305 |  |  |  | µg/L | T235 | ICPMS22238A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 2360390 | 2022-09-21 |  | 1.5133 | 1.44 | 105.0903 | 5.0903 | 0.297 | 0.2468 | 0.2 | 3305 |  |  |  | µg/L | T243 | ICPMS22263B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 2570117 | 2022-09-28 |  | 3.7569 | 3.76 | 99.9176 | -0.082447 | 0.845 | -0.0036686 | 0.2 | 3305 |  |  |  | µg/L | T239 | ICPMS22269A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 2500494 | 2022-10-05 |  | 1.168 | 1.23 | 94.9593 | -5.0407 | 0.1 | -0.62 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS22277A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 2630184 | 2022-10-05 |  | 1.2622 | 1.23 | 102.6179 | 2.6179 | 0.1 | 0.322 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS22277A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2022 | 2710051 | 2022-10-26 |  | 3.5949 | 3.76 | 95.609 | -4.391 | 0.845 | -0.19538 | 0.2 | 3305 |  |  |  | µg/L | T239 | ICPMS22298B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 2770114 | 2022-10-26 |  | 0.5664 | 0.507 | 111.716 | 11.716 | 0.1 | 0.594 | 0.2 | 3305 |  |  |  | µg/L | T245 | ICPMS22298B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 2920222 | 2022-10-28 |  | 0.5132 | 0.507 | 101.2229 | 1.2229 | 0.1 | 0.062 | 0.2 | 3305 |  |  |  | µg/L | T245 | ICPMS22300A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 2860101 | 2022-10-28 |  | 0.4745 | 0.5 | 94.9 | -5.1 | 0.1 | -0.255 | 0.2 | 3305 |  |  |  | µg/L | T241 | ICPMS22300A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 2990136 | 2022-11-01 |  | 0.5331 | 0.5 | 106.62 | 6.62 | 0.1 | 0.331 | 0.2 | 3305 |  |  |  | µg/L | T241 | ICPMS22305B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 3060049 | 2022-11-08 |  | 1.6328 | 1.44 | 113.3889 | 13.3889 | 0.297 | 0.64916 | 0.2 | 3305 |  |  |  | µg/L | T243 | ICPMS22312B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 3130109 | 2022-11-16 |  | 3.3311 | 3.13 | 106.4249 | 6.4249 | 0.704 | 0.28565 | 0.2 | 3305 |  |  |  | µg/L | T247 | ICPMS22320A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 3610135 | 2023-01-09 |  | 3.5392 | 3.76 | 94.1277 | -5.8723 | 0.845 | -0.2613 | 0.2 | 3305 |  |  |  | µg/L | T239 | ICPMS23009A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 3200145 | 2023-01-28 |  | 1.6252 | 1.44 | 112.8611 | 12.8611 | 0.297 | 0.62357 | 0.2 | 3305 |  |  |  | µg/L | T243 | ICPMS23027A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 3330054 | 2023-02-02 |  | 3.3419 | 3.13 | 106.77 | 6.77 | 0.704 | 0.30099 | 0.2 | 3305 |  |  |  | µg/L | T247 | ICPMS23032A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 0250122 | 2023-02-02 |  | 0.6617 | 0.5 | 132.34 | 32.34 | 0.1 | 1.617 | 0.2 | 3305 |  |  |  | µg/L | T241 | ICPMS23032A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 3400090 | 2023-02-02 |  | 4.0587 | 3.76 | 107.9441 | 7.9441 | 0.845 | 0.35349 | 0.2 | 3305 |  |  |  | µg/L | T239 | ICPMS23032A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 3490121 | 2023-02-09 |  | 1.2874 | 1.23 | 104.6667 | 4.6667 | 0.1 | 0.574 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS23040A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 0100103 | 2023-02-14 |  | 0.5005 | 0.5 | 100.1 | 0.1 | 0.1 | 0.005 | 0.2 | 3305 |  |  |  | µg/L | T241 | ICPMS23045A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 0040114 | 2023-02-14 |  | 1.3696 | 1.23 | 111.3496 | 11.3496 | 0.1 | 1.396 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS23045A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 0190114 | 2023-02-16 |  | 0.6105 | 0.507 | 120.4142 | 20.4142 | 0.1 | 1.035 | 0.2 | 3305 |  |  |  | µg/L | T245 | ICPMS23047A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 0310087 | 2023-02-17 |  | 0.5045 | 0.507 | 99.5069 | -0.4931 | 0.1 | -0.025 | 0.2 | 3305 |  |  |  | µg/L | T245 | ICPMS23048A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 0380151 | 2023-02-18 |  | 3.1512 | 3.13 | 100.6773 | 0.67732 | 0.704 | 0.030114 | 0.2 | 3305 |  |  |  | µg/L | T247 | ICPMS23048A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 0470007 | 2023-03-16 |  | 1.4181 | 1.44 | 98.4792 | -1.5208 | 0.297 | -0.073737 | 0.2 | 3305 |  |  |  | µg/L | T243 | ICPMS23074A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 0590092 | 2023-03-16 |  | 3.1302 | 3.13 | 100.0064 | 0.0063898 | 0.704 | 0.00028409 | 0.2 | 3305 |  |  |  | µg/L | T247 | ICPMS23074A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 0740033 | 2023-03-22 |  | 3.8356 | 3.76 | 102.0106 | 2.0106 | 0.845 | 0.089467 | 0.2 | 3305 |  |  |  | µg/L | T239 | ICPMS23080A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 0620097 | 2023-03-25 |  | 1.6033 | 1.44 | 111.3403 | 11.3403 | 0.297 | 0.54983 | 0.2 | 3305 |  |  |  | µg/L | T243 | ICPMS23083B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 0670102 | 2023-03-25 |  | 1.3558 | 1.23 | 110.2276 | 10.2276 | 0.1 | 1.258 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS23083B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 0800075 | 2023-03-30 |  | 1.3099 | 1.23 | 106.4959 | 6.4959 | 0.1 | 0.799 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS23089B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 0940130 | 2023-04-28 |  | 1.0925 | 0.507 | 215.4832 | 115.4832 | 0.1 | 5.855 | 0.2 | 3305 |  |  |  | µg/L | T245 | ICPMS23117A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 1020111 | 2023-04-28 |  | 0.4541 | 0.5 | 90.82 | -9.18 | 0.1 | -0.459 | 0.2 | 3305 |  |  |  | µg/L | T241 | ICPMS23117A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 0880093 | 2023-04-28 |  | 3.6832 | 3.76 | 97.9574 | -2.0426 | 0.845 | -0.090888 | 0.2 | 3305 |  |  |  | µg/L | T239 | ICPMS23117A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 1100089 | 2023-05-01 |  | 0.6472 | 0.507 | 127.6529 | 27.6529 | 0.1 | 1.402 | 0.2 | 3305 |  |  |  | µg/L | T245 | ICPMS23121B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 1240210 | 2023-05-20 |  | 1.5802 | 1.44 | 109.7361 | 9.7361 | 0.297 | 0.47205 | 0.2 | 3305 |  |  |  | µg/L | T243 | ICPMS23139A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 1170147 | 2023-05-23 |  | 0.5426 | 0.5 | 108.52 | 8.52 | 0.1 | 0.426 | 0.2 | 3305 |  |  |  | µg/L | T241 | ICPMS23142B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 1300167 | 2023-05-24 |  | 3.0912 | 3.13 | 98.7604 | -1.2396 | 0.704 | -0.055114 | 0.2 | 3305 |  |  |  | µg/L | T247 | ICPMS23142B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 1360048 | 2023-05-25 |  | 1.6948 | 1.44 | 117.6944 | 17.6944 | 0.297 | 0.85791 | 0.2 | 3305 |  |  |  | µg/L | T243 | ICPMS23144C
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 1440060 | 2023-06-06 |  | 3.2008 | 3.13 | 102.262 | 2.262 | 0.704 | 0.10057 | 0.2 | 3305 |  |  |  | µg/L | T247 | ICPMS23156B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 1570041 | 2023-06-15 |  | 3.7471 | 3.76 | 99.6569 | -0.34309 | 0.845 | -0.015266 | 0.2 | 3305 |  |  |  | µg/L | T239 | ICPMS23164A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 1650066 | 2023-06-26 |  | 1.3168 | 1.23 | 107.0569 | 7.0569 | 0.1 | 0.868 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS23177B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 1730211 | 2023-06-28 |  | 3.9788 | 3.76 | 105.8191 | 5.8191 | 0.845 | 0.25893 | 0.2 | 3305 |  |  |  | µg/L | T239 | ICPMS23179A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 1870310 | 2023-07-18 |  | 0.6554 | 0.5 | 131.08 | 31.08 | 0.1 | 1.554 | 0.2 | 3305 |  |  |  | µg/L | T241 | ICPMS23198A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 1840086 | 2023-07-18 |  | 1.321 | 1.23 | 107.3984 | 7.3984 | 0.1 | 0.91 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS23198A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 1940234 | 2023-07-28 |  | 0.5336 | 0.507 | 105.2465 | 5.2465 | 0.1 | 0.266 | 0.2 | 3305 |  |  |  | µg/L | T245 | ICPMS23208B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 1990166 | 2023-07-28 |  | 0.5876 | 0.5 | 117.52 | 17.52 | 0.1 | 0.876 | 0.2 | 3305 |  |  |  | µg/L | T241 | ICPMS23208B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 2060142 | 2023-08-08 |  | 0.4849 | 0.507 | 95.641 | -4.359 | 0.1 | -0.221 | 0.2 | 3305 |  |  |  | µg/L | T245 | ICPMS23219A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 2200127 | 2023-09-01 |  | 3.3885 | 3.13 | 108.2588 | 8.2588 | 0.704 | 0.36719 | 0.2 | 3305 |  |  |  | µg/L | T247 | ICPMS23241B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 2280173 | 2023-09-08 |  | 1.6535 | 1.44 | 114.8264 | 14.8264 | 0.297 | 0.71886 | 0.2 | 3305 |  |  |  | µg/L | T243 | ICPMS23250A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 2490138 | 2023-09-18 |  | 1.3335 | 1.23 | 108.4146 | 8.4146 | 0.1 | 1.035 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS23257A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 2620178 | 2023-09-26 |  | 1.288 | 1.23 | 104.7154 | 4.7154 | 0.1 | 0.58 | 0.2 | 3305 |  |  |  | µg/L | T237 | ICPMS23269A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 2350096 | 2023-09-27 |  | 3.3107 | 3.13 | 105.7732 | 5.7732 | 0.704 | 0.25668 | 0.2 | 3305 |  |  |  | µg/L | T247 | ICPMS23269A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 2440134 | 2023-10-04 |  | 1.4644 | 1.44 | 101.6944 | 1.6944 | 0.297 | 0.082155 | 0.2 | 3305 |  |  |  | µg/L | T243 | ICPMS23276A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 2560088 | 2023-10-21 |  | 3.819 | 3.76 | 101.5691 | 1.5691 | 0.845 | 0.069822 | 0.2 | 3305 |  |  |  | µg/L | T239 | ICPMS23292A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2023 | 2690094 | 2023-10-21 |  | 3.7882 | 3.76 | 100.75 | 0.75 | 0.845 | 0.033373 | 0.2 | 3305 |  |  |  | µg/L | T239 | ICPMS23292A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 2850090 | 2023-10-26 |  | 0.4721 | 0.5 | 94.42 | -5.58 | 0.1 | -0.279 | 0.2 | 3305 |  |  |  | µg/L | T241 | ICPMS23299B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 2760034 | 2023-11-28 |  | 0.6553 | 0.507 | 129.2505 | 29.2505 | 0.1 | 1.483 | 0.2 | 3305 |  |  |  | µg/L | T245 | ICPMS23332A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 3190183 | 2023-11-29 |  | 3.0652 | 3.13 | 97.9297 | -2.0703 | 0.704 | -0.092045 | 0.2 | 3305 |  |  |  | µg/L | T247 | ICPMS23332A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 2900161 | 2023-12-06 |  | 0.5386 | 0.507 | 106.2327 | 6.2327 | 0.1 | 0.316 | 0.2 | 3305 |  |  |  | µg/L | T245 | ICPMS23340A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 2980081 | 2023-12-15 |  | 0.4894 | 0.5 | 97.88 | -2.12 | 0.1 | -0.106 | 0.2 | 3305 |  |  |  | µg/L | T241 | ICPMS23346A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 3120058 | 2023-12-20 |  | 1.6682 | 1.44 | 115.8472 | 15.8472 | 0.297 | 0.76835 | 0.2 | 3305 |  |  |  | µg/L | T243 | ICPMS23353A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 3340080 | 2023-12-21 |  | 3.3161 | 3.13 | 105.9457 | 5.9457 | 0.704 | 0.26435 | 0.2 | 3305 |  |  |  | µg/L | T247 | ICPMS23354A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 3390052 | 2023-12-21 |  | 1.6553 | 1.64 | 100.9329 | 0.93293 | 0.11 | 0.13909 | 0.2 | 3305 |  |  |  | µg/L | T251 | ICPMS23354A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 3530158 | 2024-01-18 |  | 1.5832 | 1.64 | 96.5366 | -3.4634 | 0.11 | -0.51636 | 0.2 | 3305 |  |  |  | µg/L | T251 | ICPMS24010A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 0090034 | 2024-01-23 |  | 0.5145 | 0.507 | 101.4793 | 1.4793 | 0.1 | 0.075 | 0.2 | 3305 | Analyte detected in laboratory blank |  |  | µg/L | T245 | ICPMS24022A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 0030060 | 2024-01-30 |  | 0.4814 | 0.5 | 96.28 | -3.72 | 0.1 | -0.186 | 0.2 | 3305 |  |  |  | µg/L | T241 | ICPMS24025A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 3460243 | 2024-01-30 |  | 4.0458 | 3.55 | 113.9662 | 13.9662 | 0.297 | 1.6694 | 0.2 | 3305 |  |  |  | µg/L | T249 | ICPMS24025A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 3610063 | 2024-01-30 |  | 3.8509 | 3.55 | 108.4761 | 8.4761 | 0.297 | 1.0131 | 0.2 | 3305 |  |  |  | µg/L | T249 | ICPMS24025A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 0170010 | 2024-02-16 |  | 0.5321 | 0.5 | 106.42 | 6.42 | 0.1 | 0.321 | 0.2 | 3305 |  |  |  | µg/L | T241 | ICPMS24047A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 0370147 | 2024-02-23 |  | 3.3705 | 3.13 | 107.6837 | 7.6837 | 0.704 | 0.34162 | 0.2 | 3305 |  |  |  | µg/L | T247 | ICPMS24053A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 0230080 | 2024-02-27 |  | 0.5426 | 0.507 | 107.0217 | 7.0217 | 0.1 | 0.356 | 0.2 | 3305 |  |  |  | µg/L | T245 | ICPMS24057B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 0440078 | 2024-03-07 |  | 1.4708 | 1.44 | 102.1389 | 2.1389 | 0.297 | 0.1037 | 0.2 | 3305 |  |  |  | µg/L | T243 | ICPMS24065A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 0520079 | 2024-03-12 |  | 3.236 | 3.13 | 103.3866 | 3.3866 | 0.704 | 0.15057 | 0.2 | 3305 |  |  |  | µg/L | T247 | ICPMS24071A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 0580158 | 2024-03-28 |  | 1.5186 | 1.44 | 105.4583 | 5.4583 | 0.297 | 0.26465 | 0.2 | 3305 |  |  |  | µg/L | T243 | ICPMS24086B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 0660042 | 2024-03-28 |  | 4.0953 | 3.55 | 115.3606 | 15.3606 | 0.297 | 1.836 | 0.2 | 3305 |  |  |  | µg/L | T249 | ICPMS24086B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 3250150 | 2024-04-09 |  | 1.5077 | 1.44 | 104.7014 | 4.7014 | 0.297 | 0.22795 | 0.2 | 3305 |  |  |  | µg/L | T243 | ICPMS24099A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 0730120 | 2024-04-24 |  | 1.7639 | 1.64 | 107.5549 | 7.5549 | 0.11 | 1.1264 | 0.2 | 3305 |  |  |  | µg/L | T251 | ICPMS24113A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 0880015 | 2024-04-24 |  | 1.9326 | 1.64 | 117.8415 | 17.8415 | 0.11 | 2.66 | 0.2 | 3305 |  |  |  | µg/L | T251 | ICPMS24113A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 0800002 | 2024-04-24 |  | 3.6586 | 3.55 | 103.0592 | 3.0592 | 0.297 | 0.36566 | 0.2 | 3305 |  |  |  | µg/L | T249 | ICPMS24113A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 0930091 | 2024-04-29 |  | 0.6073 | 0.507 | 119.783 | 19.783 | 0.1 | 1.003 | 0.2 | 3305 |  |  |  | µg/L | T245 | ICPMS24115A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 1070224 | 2024-05-07 |  | 0.5748 | 0.507 | 113.3728 | 13.3728 | 0.1 | 0.678 | 0.2 | 3305 |  |  |  | µg/L | T245 | ICPMS24127A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 1000107 | 2024-05-08 |  | 0.4971 | 0.5 | 99.42 | -0.58 | 0.1 | -0.029 | 0.2 | 3305 |  |  |  | µg/L | T241 | ICPMS24127A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 1150013 | 2024-05-17 |  | 0.4627 | 0.5 | 92.54 | -7.46 | 0.1 | -0.373 | 0.2 | 3305 |  |  |  | µg/L | T241 | ICPMS24137A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 1560043 | 2024-06-18 |  | 1.6646 | 1.64 | 101.5 | 1.5 | 0.11 | 0.22364 | 0.2 | 3305 |  |  |  | µg/L | T251 | ICPMS24163A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 1280107 | 2024-06-19 |  | 1.8348 | 1.44 | 127.4167 | 27.4167 | 0.297 | 1.3293 | 0.2 | 3305 |  |  |  | µg/L | T243 | ICPMS24163A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 1420090 | 2024-06-29 |  | 1.5823 | 1.44 | 109.8819 | 9.8819 | 0.297 | 0.47912 | 0.2 | 3305 |  |  |  | µg/L | T243 | ICPMS24180A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 1500144 | 2024-07-10 |  | 3.2562 | 3.13 | 104.0319 | 4.0319 | 0.704 | 0.17926 | 0.2 | 3305 |  |  |  | µg/L | T247 | ICPMS24190A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 1630114 | 2024-07-18 |  | 3.8682 | 3.55 | 108.9634 | 8.9634 | 0.297 | 1.0714 | 0.2 | 3305 |  |  |  | µg/L | T249 | ICPMS24199A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 1720052 | 2024-07-18 |  | 1.6484 | 1.64 | 100.5122 | 0.5122 | 0.11 | 0.076364 | 0.2 | 3305 |  |  |  | µg/L | T251 | ICPMS24200A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 1770113 | 2024-08-12 |  | 3.8748 | 3.55 | 109.1493 | 9.1493 | 0.297 | 1.0936 | 0.2 | 3305 |  |  |  | µg/L | T249 | ICPMS24222A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 1370189 | 2024-08-13 |  | 3.7975 | 3.13 | 121.3259 | 21.3259 | 0.704 | 0.94815 | 0.2 | 3305 | Sample was diluted |  |  | µg/L | T247 | ICPMS24226A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 1980276 | 2024-09-19 |  | 0.5951 | 0.507 | 117.3767 | 17.3767 | 0.1 | 0.881 | 0.2 | 3305 | Lab control sample (LCS) recovery outside of range or criteria |  |  | µg/L | T245 | ICPMS24260A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 2130062 | 2024-09-19 |  | 0.4626 | 0.507 | 91.2426 | -8.7574 | 0.1 | -0.444 | 0.2 | 3305 |  |  |  | µg/L | T245 | ICPMS24260A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 2050136 | 2024-09-19 |  | 0.4412 | 0.5 | 88.24 | -11.76 | 0.1 | -0.588 | 0.2 | 3305 |  |  |  | µg/L | T241 | ICPMS24260A
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 2190096 | 2024-09-21 |  | 3.1161 | 3.13 | 99.5559 | -0.44409 | 0.704 | -0.019744 | 0.2 | 3305 |  |  |  | µg/L | T247 | ICPMS24264C
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 2260085 | 2024-09-25 |  | 1.5672 | 1.44 | 108.8333 | 8.8333 | 0.297 | 0.42828 | 0.2 | 3305 |  |  |  | µg/L | T243 | ICPMS24267B
Nickel, unfltd, cICP-MS, recov | 01067 | PLM77 | UNF | 2024 | 1910043 | 2024-09-25 |  | 0.5144 | 0.5 | 102.88 | 2.88 | 0.1 | 0.144 | 0.2 | 3305 |  |  |  | µg/L | T241 | ICPMS24267B