## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recov | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2019 | 2600329 | 2019-10-02 |  | 212.36 | 217 | 97.8618 | -2.1382 | 12.6 | -0.36825 | 20 | 0027 |  |  |  | mg/L | M214 | FU2719273A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2019 | 2550074 | 2019-10-17 |  | 95.39 | 88 | 108.3977 | 8.3977 | 10 | 0.739 | 20 | 0027 |  |  |  | mg/L | M222 | FU2719289A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2019 | 2680151 | 2019-10-22 |  | 85.88 | 88 | 97.5909 | -2.4091 | 10 | -0.212 | 20 | 0027 | Value verified by rerun, same method |  |  | mg/L | M222 | FU2719294A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 2810113 | 2019-10-22 |  | 470.2 | 466 | 100.9013 | 0.90129 | 25.6 | 0.16406 | 20 | 0027 |  |  |  | mg/L | M218 | FU2719294A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 2950102 | 2019-11-04 |  | 474.17 | 466 | 101.7532 | 1.7532 | 25.6 | 0.31914 | 20 | 0027 |  |  |  | mg/L | M218 | FU2719305A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 2890222 | 2019-11-13 |  | 115.62 | 126 | 91.7619 | -8.2381 | 14.5 | -0.71586 | 20 | 0027 | Value verified by rerun, same method |  |  | mg/L | M226 | FU2719312A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 3030025 | 2019-11-19 |  | 161.75 | 126 | 128.373 | 28.373 | 14.5 | 2.4655 | 20 | 0027 | Value verified by rerun, same method |  |  | mg/L | M226 | FU2719319A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 3090146 | 2019-11-19 |  | 138.51 | 123 | 112.6098 | 12.6098 | 10 | 1.551 | 20 | 0027 | Value verified by rerun, same method |  |  | mg/L | M220 | FU2719319A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 3170096 | 2019-11-21 |  | 567.63 | 466 | 121.809 | 21.809 | 25.6 | 3.9699 | 20 | 0027 |  |  |  | mg/L | M218 | FU2719325A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 3230098 | 2019-12-04 |  | 118.97 | 123 | 96.7236 | -3.2764 | 10 | -0.403 | 20 | 0027 |  |  |  | mg/L | M220 | FU2719336A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 3310058 | 2019-12-11 |  | 464.96 | 466 | 99.7768 | -0.22318 | 25.6 | -0.040625 | 20 | 0027 |  |  |  | mg/L | M218 | FU2719343A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 3370102 | 2019-12-18 |  | 64.06 | 64 | 100.0938 | 0.09375 | 10 | 0.006 | 20 | 0027 |  |  |  | mg/L | M224 | FU2719350A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 3510019 | 2020-01-06 |  | 56.38 | 64 | 88.0938 | -11.9062 | 10 | -0.762 | 20 | 0027 |  |  |  | mg/L | M224 | FU2720003A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 0070043 | 2020-01-16 |  | 96.01 | 98 | 97.9694 | -2.0306 | 10 | -0.199 | 20 | 0027 |  |  |  | mg/L | M228 | FU2720014B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 0220110 | 2020-01-28 |  | 102.48 | 98 | 104.5714 | 4.5714 | 10 | 0.448 | 20 | 0027 |  |  |  | mg/L | M228 | FU2720027B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 0350136 | 2020-02-13 |  | 88 | 88 | 100 | 0 | 10 | 0 | 20 | 0027 |  |  |  | mg/L | M222 | FU2720044A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 0500060 | 2020-03-10 |  | 90.26 | 88 | 102.5682 | 2.5682 | 10 | 0.226 | 20 | 0027 | Value verified by rerun, same method |  |  | mg/L | M222 | FU2720069A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 0630050 | 2020-03-18 |  | 122.38 | 126 | 97.127 | -2.873 | 14.5 | -0.24966 | 20 | 0027 | Value verified by rerun, same method |  |  | mg/L | M226 | FU2720077A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 0700104 | 2020-03-23 |  | 88.35 | 88 | 100.3977 | 0.39773 | 10 | 0.035 | 20 | 0027 |  |  |  | mg/L | M222 | FU2720083A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 0770115 | 2020-03-24 |  | 125.32 | 126 | 99.4603 | -0.53968 | 14.5 | -0.046897 | 20 | 0027 |  |  |  | mg/L | M226 | FU2720083B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 0840030 | 2020-04-06 |  | 98.05 | 88 | 111.4205 | 11.4205 | 10 | 1.005 | 20 | 0027 |  |  |  | mg/L | M222 | FU2720097A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 0980042 | 2020-04-29 |  | 470.2 | 466 | 100.9013 | 0.90129 | 25.6 | 0.16406 | 20 | 0027 |  |  |  | mg/L | M218 | FU2720118A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 1060055 | 2020-04-29 |  | 123.3 | 126 | 97.8571 | -2.1429 | 14.5 | -0.18621 | 20 | 0027 |  |  |  | mg/L | M226 | FU2720118A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 1120048 | 2020-05-07 |  | 474.16 | 466 | 101.7511 | 1.7511 | 25.6 | 0.31875 | 20 | 0027 |  |  |  | mg/L | M218 | FU2720122A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 1260081 | 2020-05-11 |  | 129.01 | 123 | 104.8862 | 4.8862 | 10 | 0.601 | 20 | 0027 |  |  |  | mg/L | M220 | FU2720129A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 1190086 | 2020-06-02 |  | 121.75 | 126 | 96.627 | -3.373 | 14.5 | -0.2931 | 20 | 0027 | Value verified by rerun, same method | Sample was diluted |  | mg/L | M226 | ROE__20167A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 1500215 | 2020-06-17 |  | 465.31 | 466 | 99.8519 | -0.14807 | 25.6 | -0.026953 | 20 | 0027 | Sample was diluted |  |  | mg/L | M218 | ROE__20167A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 1550006 | 2020-06-17 |  | 59.56 | 64 | 93.0625 | -6.9375 | 10 | -0.444 | 20 | 0027 | Sample was diluted |  |  | mg/L | M224 | ROE__20167A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 1610192 | 2020-06-23 |  | 121.31 | 123 | 98.626 | -1.374 | 10 | -0.169 | 20 | 0027 | Sample was diluted |  |  | mg/L | M220 | ROE__20169A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 1680147 | 2020-06-29 |  | 61.37 | 64 | 95.8906 | -4.1094 | 10 | -0.263 | 20 | 0027 | Sample was diluted |  |  | mg/L | M224 | ROE__20177A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 1760102 | 2020-07-10 |  | 116.63 | 123 | 94.8211 | -5.1789 | 10 | -0.637 | 20 | 0027 | Sample was diluted |  |  | mg/L | M220 | ROE__20189A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 1960127 | 2020-07-30 |  | 71.94 | 64 | 112.4062 | 12.4062 | 10 | 0.794 | 20 | 0027 | Sample was diluted |  |  | mg/L | M224 | ROE__20210A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 2040024 | 2020-08-05 |  | 101.88 | 98 | 103.9592 | 3.9592 | 10 | 0.388 | 20 | 0027 | Sample was diluted |  |  | mg/L | M228 | ROE__20216A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 2170031 | 2020-08-19 |  | 110.21 | 88 | 125.2386 | 25.2386 | 10 | 2.221 | 20 | 0027 |  |  |  | mg/L | M222 | ROE__20224A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 2120197 | 2020-08-19 |  | 68.85 | 64 | 107.5781 | 7.5781 | 10 | 0.485 | 20 | 0027 |  |  |  | mg/L | M224 | ROE__20224A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 2240090 | 2020-10-02 |  | 103.71 | 98 | 105.8265 | 5.8265 | 10 | 0.571 | 20 | 0027 |  |  |  | mg/L | M228 | ROE__20237A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 2320038 | 2020-10-13 |  | 87.98 | 88 | 99.9773 | -0.022727 | 10 | -0.002 | 20 | 0027 |  |  |  | mg/L | M222 | ROE__20279A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 2390028 | 2020-10-23 |  | 95.29 | 98 | 97.2347 | -2.7653 | 10 | -0.271 | 20 | 0027 | Value verified by rerun, same method |  |  | mg/L | M228 | ROE__20300A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 2530138 | 2020-11-02 |  | 105.83 | 126 | 83.9921 | -16.0079 | 14.5 | -1.391 | 20 | 0027 | Value verified by rerun, same method | See result laboratory comment |  | mg/L | M226 | ROE__20309A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 2590162 | 2020-11-05 |  | 76.97 | 88 | 87.4659 | -12.5341 | 10 | -1.103 | 20 | 0027 |  |  |  | mg/L | M222 | ROE__20310A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 2740057 | 2020-11-16 |  | 91.31 | 88 | 103.7614 | 3.7614 | 10 | 0.331 | 20 | 0027 |  |  |  | mg/L | M222 | ROE__20328A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2020 | 2670296 | 2020-11-18 |  | 132.11 | 126 | 104.8492 | 4.8492 | 14.5 | 0.42138 | 20 | 0027 |  |  |  | mg/L | M226 | ROE__20311A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 2810028 | 2020-11-23 |  | 141.97 | 146 | 97.2397 | -2.7603 | 10 | -0.403 | 20 | 0027 | Value verified by rerun, same method |  |  | mg/L | M230 | ROE__20328A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 2880070 | 2020-11-25 |  | 111.62 | 126 | 88.5873 | -11.4127 | 14.5 | -0.99172 | 20 | 0027 | Value verified by rerun, same method |  |  | mg/L | M226 | ROE__20329A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 2950029 | 2020-12-04 |  | 142.62 | 146 | 97.6849 | -2.3151 | 10 | -0.338 | 20 | 0027 | Value verified by rerun, same method |  |  | mg/L | M230 | ROE__20343A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 3010153 | 2020-12-08 |  | 118.14 | 126 | 93.7619 | -6.2381 | 14.5 | -0.54207 | 20 | 0027 | Value verified by rerun, same method |  |  | mg/L | M226 | ROE__20343C
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 3080105 | 2020-12-11 |  | 249.81 | 277 | 90.1841 | -9.8159 | 20 | -1.3595 | 20 | 0027 |  |  |  | mg/L | M232 | ROE__20343B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 3150098 | 2020-12-11 |  | 146.24 | 146 | 100.1644 | 0.16438 | 10 | 0.024 | 20 | 0027 |  |  |  | mg/L | M230 | ROE__20343C
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 3230037 | 2020-12-18 |  | 250.2 | 277 | 90.3249 | -9.6751 | 20 | -1.34 | 20 | 0027 |  |  |  | mg/L | M232 | ROE__20352A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 3300048 | 2020-12-23 |  | 143.41 | 146 | 98.226 | -1.774 | 10 | -0.259 | 20 | 0027 | Value verified by rerun, same method |  |  | mg/L | M230 | ROE__20357A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 3440079 | 2021-01-15 |  | 60.03 | 64 | 93.7969 | -6.2031 | 10 | -0.397 | 20 | 0027 |  |  |  | mg/L | M224 | ROE__21006B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 0050023 | 2021-01-22 |  | 93.66 | 98 | 95.5714 | -4.4286 | 10 | -0.434 | 20 | 0027 | Value verified by rerun, same method |  |  | mg/L | M228 | ROE__21025A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 3580055 | 2021-01-22 |  | 65.46 | 64 | 102.2812 | 2.2812 | 10 | 0.146 | 20 | 0027 |  |  |  | mg/L | M224 | ROE__21014A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 0210016 | 2021-02-08 |  | 97.11 | 98 | 99.0918 | -0.90816 | 10 | -0.089 | 20 | 0027 |  |  |  | mg/L | M228 | ROE__21025B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 0400074 | 2021-02-26 |  | 77.24 | 88 | 87.7727 | -12.2273 | 10 | -1.076 | 20 | 0027 | Value verified by rerun, same method |  |  | mg/L | M222 | ROE__21057A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 0540053 | 2021-03-04 |  | 86.82 | 88 | 98.6591 | -1.3409 | 10 | -0.118 | 20 | 0027 |  |  |  | mg/L | M222 | ROE__21057A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 0620098 | 2021-03-16 |  | 119.79 | 126 | 95.0714 | -4.9286 | 14.5 | -0.42828 | 20 | 0027 |  |  |  | mg/L | M226 | ROE__21064A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 0680061 | 2021-03-22 |  | 87.14 | 88 | 99.0227 | -0.97727 | 10 | -0.086 | 20 | 0027 |  |  |  | mg/L | M222 | ROE__21069A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 0760033 | 2021-03-25 |  | 123.18 | 126 | 97.7619 | -2.2381 | 14.5 | -0.19448 | 20 | 0027 |  |  |  | mg/L | M226 | ROE__21077A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 0830028 | 2021-04-05 |  | 91.39 | 88 | 103.8523 | 3.8523 | 10 | 0.339 | 20 | 0027 |  |  |  | mg/L | M222 | ROE__21090A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 0970046 | 2021-04-20 |  | 139.96 | 146 | 95.863 | -4.137 | 10 | -0.604 | 20 | 0027 |  |  |  | mg/L | M230 | ROE__21104A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 1030146 | 2021-04-26 |  | 120.93 | 126 | 95.9762 | -4.0238 | 14.5 | -0.34966 | 20 | 0027 |  |  |  | mg/L | M226 | ROE__21110A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 1110002 | 2021-04-27 |  | 154.06 | 146 | 105.5205 | 5.5205 | 10 | 0.806 | 20 | 0027 |  |  |  | mg/L | M230 | ROE__21116A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 1180037 | 2021-05-05 |  | 120.38 | 126 | 95.5397 | -4.4603 | 14.5 | -0.38759 | 20 | 0027 |  |  |  | mg/L | M226 | ROE__21124A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 1250005 | 2021-05-11 |  | 267.33 | 277 | 96.509 | -3.491 | 20 | -0.4835 | 20 | 0027 |  |  |  | mg/L | M232 | ROE__21130A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 1320163 | 2021-05-18 |  | 191.5 | 146 | 131.1644 | 31.1644 | 10 | 4.55 | 20 | 0027 |  |  |  | mg/L | M230 | ROE__21137A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 1380135 | 2021-06-03 |  | 274.67 | 277 | 99.1588 | -0.84116 | 20 | -0.1165 | 20 | 0027 |  |  |  | mg/L | M232 | ROE__21152D
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 1460005 | 2021-06-10 |  | 145.42 | 146 | 99.6027 | -0.39726 | 10 | -0.058 | 20 | 0027 |  |  |  | mg/L | M230 | ROE__21159A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 1540141 | 2021-06-15 |  | 56.39 | 64 | 88.1094 | -11.8906 | 10 | -0.761 | 20 | 0027 |  |  |  | mg/L | M224 | ROE__21161B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 1600036 | 2021-06-23 |  | 269.79 | 277 | 97.3971 | -2.6029 | 20 | -0.3605 | 20 | 0027 |  |  |  | mg/L | M232 | ROE__21166A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 1660121 | 2021-06-30 |  | 70.85 | 64 | 110.7031 | 10.7031 | 10 | 0.685 | 20 | 0027 |  |  |  | mg/L | M224 | ROE__21180A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 1730219 | 2021-07-16 |  | 304.91 | 277 | 110.0758 | 10.0758 | 20 | 1.3955 | 20 | 0027 |  |  |  | mg/L | M232 | ROE__21193A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 1880113 | 2021-07-29 |  | 95.3 | 98 | 97.2449 | -2.7551 | 10 | -0.27 | 20 | 0027 |  |  |  | mg/L | M228 | ROE__21209A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 1940224 | 2021-08-03 |  | 69.73 | 64 | 108.9531 | 8.9531 | 10 | 0.573 | 20 | 0027 |  |  |  | mg/L | M224 | ROE__21214B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 2010229 | 2021-08-10 |  | 95.88 | 98 | 97.8367 | -2.1633 | 10 | -0.212 | 20 | 0027 |  |  |  | mg/L | M228 | ROE__21221B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 2080173 | 2021-08-25 |  | 64.18 | 64 | 100.2812 | 0.28125 | 10 | 0.018 | 20 | 0027 |  |  |  | mg/L | M224 | ROE__21232A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 2150047 | 2021-09-09 |  | 96.06 | 88 | 109.1591 | 9.1591 | 10 | 0.806 | 20 | 0027 |  |  |  | mg/L | M222 | ROE__21251A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 2220179 | 2021-09-29 |  | 95.02 | 98 | 96.9592 | -3.0408 | 10 | -0.298 | 20 | 0027 |  |  |  | mg/L | M228 | ROE__21270A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 2290123 | 2021-10-18 |  | 87.27 | 88 | 99.1705 | -0.82955 | 10 | -0.073 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M222 | ROE__21279A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 2360119 | 2021-10-25 |  | 94.13 | 98 | 96.051 | -3.949 | 10 | -0.387 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M228 | ROE__21286A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 2510435 | 2021-10-28 |  | 116.22 | 126 | 92.2381 | -7.7619 | 14.5 | -0.67448 | 20 | 0027 | Holding time exceeded | Value verified by rerun, same method | See result laboratory comment | mg/L | M226 | ROE__21306A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 2580263 | 2021-10-29 |  | 88.61 | 88 | 100.6932 | 0.69318 | 10 | 0.061 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M222 | ROE__21300A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 2640273 | 2021-11-01 |  | 123.01 | 126 | 97.627 | -2.373 | 14.5 | -0.20621 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M226 | ROE__21300B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2021 | 2790035 | 2021-11-01 |  | 79.6 | 88 | 90.4545 | -9.5455 | 10 | -0.84 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M222 | ROE__21306A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 2790036 | 2021-11-01 |  | 141.23 | 146 | 96.7329 | -3.2671 | 10 | -0.477 | 20 | 0027 | Holding time exceeded | Value verified by rerun, same method | See result laboratory comment | mg/L | M230 | ROE__21306A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 2940008 | 2021-11-05 |  | 141.55 | 146 | 96.9521 | -3.0479 | 10 | -0.445 | 20 | 0027 | Holding time exceeded | Value verified by rerun, same method | See result laboratory comment | mg/L | M230 | ROE__21309B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 2870244 | 2021-11-05 |  | 117.31 | 126 | 93.1032 | -6.8968 | 14.5 | -0.59931 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M226 | ROE__21307B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 3000134 | 2021-11-09 |  | 122.91 | 126 | 97.5476 | -2.4524 | 14.5 | -0.2131 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M226 | ROE__21309B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 3060205 | 2021-11-22 |  | 245.53 | 277 | 88.639 | -11.361 | 20 | -1.5735 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M232 | ROE__21326A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 3130185 | 2021-11-22 |  | 142.9 | 146 | 97.8767 | -2.1233 | 10 | -0.31 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M230 | ROE__21319B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 3200089 | 2021-11-29 |  | 260.61 | 277 | 94.083 | -5.917 | 20 | -0.8195 | 20 | 0027 |  |  |  | mg/L | M232 | ROE__21322A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 3270287 | 2021-11-30 |  | 153.63 | 146 | 105.226 | 5.226 | 10 | 0.763 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M230 | ROE__21333A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 3410061 | 2021-12-09 |  | 327.37 | 363 | 90.1846 | -9.8154 | 33 | -1.0797 | 20 | 0027 |  |  |  | mg/L | M236 | ROE__21342A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 0050040 | 2022-01-12 |  | 98.43 | 98 | 100.4388 | 0.43878 | 10 | 0.043 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M228 | ROE__22010A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 3570002 | 2022-01-13 |  | 328.1 | 363 | 90.3857 | -9.6143 | 33 | -1.0576 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M236 | ROE__22005A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 0190119 | 2022-01-21 |  | 99.63 | 98 | 101.6633 | 1.6633 | 10 | 0.163 | 20 | 0027 |  |  |  | mg/L | M228 | ROE__22020A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 0380066 | 2022-02-10 |  | 122.54 | 124 | 98.8226 | -1.1774 | 10 | -0.146 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M234 | ROE__22040A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 0480129 | 2022-03-01 |  | 124.51 | 124 | 100.4113 | 0.41129 | 10 | 0.051 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M234 | ROE__22053A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 0670122 | 2022-03-10 |  | 120.12 | 124 | 96.871 | -3.129 | 10 | -0.388 | 20 | 0027 |  |  |  | mg/L | M234 | ROE__22068A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 0760099 | 2022-03-23 |  | 123.99 | 126 | 98.4048 | -1.5952 | 14.5 | -0.13862 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M226 | ROE__22081A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 0880100 | 2022-03-31 |  | 133.88 | 126 | 106.254 | 6.254 | 14.5 | 0.54345 | 20 | 0027 |  |  |  | mg/L | M226 | ROE__22089A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 0820071 | 2022-03-31 |  | 121.48 | 124 | 97.9677 | -2.0323 | 10 | -0.252 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M234 | ROE__22089A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 0960121 | 2022-04-14 |  | 148.86 | 146 | 101.9589 | 1.9589 | 10 | 0.286 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M230 | ROE__22103A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 1020022 | 2022-04-18 |  | 125.05 | 126 | 99.246 | -0.75397 | 14.5 | -0.065517 | 20 | 0027 |  |  |  | mg/L | M226 | ROE__22103B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 1090126 | 2022-04-21 |  | 150.32 | 146 | 102.9589 | 2.9589 | 10 | 0.432 | 20 | 0027 |  |  |  | mg/L | M230 | ROE__22110A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 1170081 | 2022-05-03 |  | 126.94 | 126 | 100.746 | 0.74603 | 14.5 | 0.064828 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M226 | ROE__22122A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 1230100 | 2022-05-05 |  | 271.89 | 277 | 98.1552 | -1.8448 | 20 | -0.2555 | 20 | 0027 |  |  |  | mg/L | M232 | ROE__22124A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 1320256 | 2022-05-18 |  | 153.31 | 146 | 105.0068 | 5.0068 | 10 | 0.731 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M230 | ROE__22136A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 1380072 | 2022-05-24 |  | 272.25 | 277 | 98.2852 | -1.7148 | 20 | -0.2375 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M232 | ROE__22143A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 1460099 | 2022-06-02 |  | 152.2 | 146 | 104.2466 | 4.2466 | 10 | 0.62 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M230 | ROE__22151A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 1580089 | 2022-06-15 |  | 348.91 | 363 | 96.1185 | -3.8815 | 33 | -0.42697 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M236 | ROE__22164A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 1660160 | 2022-06-28 |  | 265.35 | 277 | 95.7942 | -4.2058 | 20 | -0.5825 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M232 | ROE__22178A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 1730131 | 2022-06-28 |  | 353.85 | 363 | 97.4793 | -2.5207 | 33 | -0.27727 | 20 | 0027 |  |  |  | mg/L | M236 | ROE__22178A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 1790080 | 2022-07-06 |  | 293.07 | 277 | 105.8014 | 5.8014 | 20 | 0.8035 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M232 | ROE__22186C
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 1870094 | 2022-07-08 |  | 101.82 | 98 | 103.898 | 3.898 | 10 | 0.382 | 20 | 0027 |  |  |  | mg/L | M228 | ROE__22187B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 1930199 | 2022-07-28 |  | 376.27 | 363 | 103.6556 | 3.6556 | 33 | 0.40212 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M236 | ROE__22207A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 2000022 | 2022-07-29 |  | 96.38 | 98 | 98.3469 | -1.6531 | 10 | -0.162 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M228 | ROE__22209C
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 2080414 | 2022-08-05 |  | 371.18 | 363 | 102.2534 | 2.2534 | 33 | 0.24788 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M236 | ROE__22216A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 2140166 | 2022-08-09 |  | 130.94 | 124 | 105.5968 | 5.5968 | 10 | 0.694 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M234 | ROE__22220A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 2210115 | 2022-08-11 |  | 99.94 | 98 | 101.9796 | 1.9796 | 10 | 0.194 | 20 | 0027 |  |  |  | mg/L | M228 | ROE__22221A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 2280344 | 2022-08-18 |  | 133.22 | 124 | 107.4355 | 7.4355 | 10 | 0.922 | 20 | 0027 |  |  |  | mg/L | M234 | ROE__22228A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 2360389 | 2022-08-30 |  | 102.2 | 98 | 104.2857 | 4.2857 | 10 | 0.42 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M228 | ROE__22241A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 2500493 | 2022-09-13 |  | 129.76 | 126 | 102.9841 | 2.9841 | 14.5 | 0.25931 | 20 | 0027 |  |  |  | mg/L | M226 | ROE__22255A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 2570118 | 2022-09-16 |  | 131.93 | 124 | 106.3952 | 6.3952 | 10 | 0.793 | 20 | 0027 |  |  |  | mg/L | M234 | ROE__22257A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 2630186 | 2022-09-22 |  | 128.4 | 126 | 101.9048 | 1.9048 | 14.5 | 0.16552 | 20 | 0027 |  |  |  | mg/L | M226 | ROE__22264B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2022 | 2710049 | 2022-09-30 |  | 120.93 | 124 | 97.5242 | -2.4758 | 10 | -0.307 | 20 | 0027 |  |  |  | mg/L | M234 | ROE__22271B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 2770116 | 2022-10-06 |  | 147.39 | 146 | 100.9521 | 0.95205 | 10 | 0.139 | 20 | 0027 |  |  |  | mg/L | M230 | ROE__22277A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 2860103 | 2022-10-19 |  | 249.97 | 262 | 95.4084 | -4.5916 | 28.9 | -0.41626 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M238 | ROE__22290B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 2920220 | 2022-10-26 |  | 146.89 | 146 | 100.6096 | 0.60959 | 10 | 0.089 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M230 | ROE__22297A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 2990134 | 2022-11-02 |  | 263.65 | 262 | 100.6298 | 0.62977 | 28.9 | 0.057093 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M238 | ROE__22304A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 3060047 | 2022-11-09 |  | 238.52 | 277 | 86.1083 | -13.8917 | 20 | -1.924 | 20 | 0027 |  |  |  | mg/L | M232 | ROE__22311A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 3200143 | 2022-11-22 |  | 249.87 | 277 | 90.2058 | -9.7942 | 20 | -1.3565 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M232 | ROE__22325B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 3130107 | 2022-11-22 |  | 142.86 | 146 | 97.8493 | -2.1507 | 10 | -0.314 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M230 | ROE__22325A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 3330052 | 2022-12-01 |  | 144.63 | 146 | 99.0616 | -0.93836 | 10 | -0.137 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M230 | ROE__22334A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 3400093 | 2022-12-08 |  | 321.26 | 363 | 88.5014 | -11.4986 | 33 | -1.2648 | 20 | 0027 |  |  |  | mg/L | M236 | ROE__22341A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 0100101 | 2023-01-19 |  | 143.13 | 139 | 102.9712 | 2.9712 | 10 | 0.413 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M240 | ROE__23011B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 3610133 | 2023-01-19 |  | 302.1 | 363 | 83.2231 | -16.7769 | 33 | -1.8455 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M236 | ROE__23011A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 0250121 | 2023-02-01 |  | 136.66 | 139 | 98.3165 | -1.6835 | 10 | -0.234 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M240 | ROE__23030A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 0380149 | 2023-02-08 |  | 119.68 | 124 | 96.5161 | -3.4839 | 10 | -0.432 | 20 | 0027 |  |  |  | mg/L | M234 | ROE__23039A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 0590091 | 2023-03-03 |  | 125.28 | 124 | 101.0323 | 1.0323 | 10 | 0.128 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M234 | ROE__23061A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 0670104 | 2023-03-10 |  | 267.67 | 262 | 102.1641 | 2.1641 | 28.9 | 0.19619 | 20 | 0027 |  |  |  | mg/L | M238 | ROE__23067B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 0740031 | 2023-03-17 |  | 123.58 | 124 | 99.6613 | -0.33871 | 10 | -0.042 | 20 | 0027 |  |  |  | mg/L | M234 | ROE__23074A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 0800072 | 2023-03-23 |  | 304.17 | 262 | 116.0954 | 16.0954 | 28.9 | 1.4592 | 20 | 0027 |  |  |  | mg/L | M238 | ROE__23081A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 0880091 | 2023-03-31 |  | 117.92 | 124 | 95.0968 | -4.9032 | 10 | -0.608 | 20 | 0027 |  |  |  | mg/L | M234 | ROE__23088A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 0940122 | 2023-04-06 |  | 141.79 | 146 | 97.1164 | -2.8836 | 10 | -0.421 | 20 | 0027 |  |  |  | mg/L | M230 | ROE__23095A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 1020110 | 2023-04-18 |  | 277.28 | 262 | 105.8321 | 5.8321 | 28.9 | 0.52872 | 20 | 0027 |  |  |  | mg/L | M238 | ROE__23103B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 1100087 | 2023-05-05 |  | 143.12 | 146 | 98.0274 | -1.9726 | 10 | -0.288 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M230 | ROE__23114A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 1170146 | 2023-05-09 |  | 289.89 | 262 | 110.645 | 10.645 | 28.9 | 0.96505 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M238 | ROE__23121A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 1240208 | 2023-05-09 |  | 266.93 | 277 | 96.3646 | -3.6354 | 20 | -0.5035 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M232 | ROE__23128A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 1300168 | 2023-05-12 |  | 156.63 | 146 | 107.2808 | 7.2808 | 10 | 1.063 | 20 | 0027 |  |  |  | mg/L | M230 | ROE__23131A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 1360046 | 2023-05-23 |  | 282.93 | 277 | 102.1408 | 2.1408 | 20 | 0.2965 | 20 | 0027 |  |  |  | mg/L | M232 | ROE__23137A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 1440059 | 2023-05-31 |  | 150.72 | 146 | 103.2329 | 3.2329 | 10 | 0.472 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M230 | ROE__23150A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 1570042 | 2023-06-12 |  | 362.59 | 363 | 99.8871 | -0.11295 | 33 | -0.012424 | 20 | 0027 |  |  |  | mg/L | M236 | ROE__23158A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 1650064 | 2023-06-22 |  | 283.24 | 277 | 102.2527 | 2.2527 | 20 | 0.312 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M232 | ROE__23171A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 1730214 | 2023-06-28 |  | 378.88 | 363 | 104.3747 | 4.3747 | 33 | 0.48121 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M236 | ROE__23178A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 1840084 | 2023-07-13 |  | 269.14 | 277 | 97.1625 | -2.8375 | 20 | -0.393 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M232 | ROE__23192A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 1870308 | 2023-07-18 |  | 134.86 | 139 | 97.0216 | -2.9784 | 10 | -0.414 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M240 | ROE__23193A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 1940232 | 2023-07-25 |  | 377.2 | 363 | 103.9118 | 3.9118 | 33 | 0.4303 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M236 | ROE__23200A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 1990165 | 2023-08-04 |  | 135.82 | 139 | 97.7122 | -2.2878 | 10 | -0.318 | 20 | 0027 | Holding time exceeded | Value verified by rerun, same method | See result laboratory comment | mg/L | M240 | ROE__23212A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 2060141 | 2023-08-04 |  | 364.63 | 363 | 100.449 | 0.44904 | 33 | 0.049394 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M236 | ROE__23212A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 2200129 | 2023-08-15 |  | 114.66 | 124 | 92.4677 | -7.5323 | 10 | -0.934 | 20 | 0027 | Holding time exceeded | Value verified by rerun, same method | See result laboratory comment | mg/L | M234 | ROE__23229A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 2280172 | 2023-08-21 |  | 134.71 | 139 | 96.9137 | -3.0863 | 10 | -0.429 | 20 | 0027 |  |  |  | mg/L | M240 | ROE__23229A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 2350094 | 2023-08-28 |  | 123.77 | 124 | 99.8145 | -0.18548 | 10 | -0.023 | 20 | 0027 |  |  |  | mg/L | M234 | ROE__23236B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 2440133 | 2023-09-18 |  | 130.75 | 139 | 94.0647 | -5.9353 | 10 | -0.825 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M240 | ROE__23255B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 2490137 | 2023-09-19 |  | 309.18 | 262 | 118.0076 | 18.0076 | 28.9 | 1.6325 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M238 | ROE__23255D
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 2560087 | 2023-09-22 |  | 121.97 | 124 | 98.3629 | -1.6371 | 10 | -0.203 | 20 | 0027 | Holding time exceeded | Value verified by rerun, same method | See result laboratory comment | mg/L | M234 | ROE__23268A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 2620180 | 2023-09-25 |  | 273.71 | 262 | 104.4695 | 4.4695 | 28.9 | 0.40519 | 20 | 0027 |  |  |  | mg/L | M238 | ROE__23264A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2023 | 2690095 | 2023-10-03 |  | 121.83 | 124 | 98.25 | -1.75 | 10 | -0.217 | 20 | 0027 |  |  |  | mg/L | M234 | ROE__23271A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 2760033 | 2023-10-11 |  | 134.05 | 146 | 91.8151 | -8.1849 | 10 | -1.195 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M242 | ROE__23279A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 2850088 | 2023-10-18 |  | 282.15 | 262 | 107.6908 | 7.6908 | 28.9 | 0.69723 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M238 | ROE__23286A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 2900162 | 2023-10-19 |  | 141.47 | 146 | 96.8973 | -3.1027 | 10 | -0.453 | 20 | 0027 | Value verified by rerun, same method |  |  | mg/L | M242 | ROE__23293A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 2980079 | 2023-10-31 |  | 280.66 | 262 | 107.1221 | 7.1221 | 28.9 | 0.64567 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M238 | ROE__23304A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 3120060 | 2023-11-16 |  | 475.52 | 540 | 88.0593 | -11.9407 | 31.1 | -2.0733 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M244 | ROE__23317A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 3190181 | 2023-11-24 |  | 127.74 | 146 | 87.4932 | -12.5068 | 10 | -1.826 | 20 | 0027 | Holding time exceeded | Value verified by rerun, same method | See result laboratory comment | mg/L | M242 | ROE__23331A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 3250148 | 2023-11-28 |  | 488.36 | 540 | 90.437 | -9.563 | 31.1 | -1.6605 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M244 | ROE__23331A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 3250148 | 2023-11-28 |  | 488.36 | 540 | 90.437 | -9.563 | 31.1 | -1.6605 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M244 | ROE__23331A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 3340079 | 2023-12-08 |  | 144.38 | 146 | 98.8904 | -1.1096 | 10 | -0.162 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M242 | ROE__23338A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 3390053 | 2023-12-08 |  | 310.44 | 363 | 85.5207 | -14.4793 | 33 | -1.5927 | 20 | 0027 |  |  |  | mg/L | M236 | ROE__23340A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 3530160 | 2023-12-27 |  | 312.04 | 363 | 85.9614 | -14.0386 | 33 | -1.5442 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M236 | ROE__23360A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 0030059 | 2024-01-11 |  | 126.3 | 139 | 90.8633 | -9.1367 | 10 | -1.27 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M240 | ROE__24008B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 0170009 | 2024-01-23 |  | 130.34 | 139 | 93.7698 | -6.2302 | 10 | -0.866 | 20 | 0027 |  |  |  | mg/L | M240 | ROE__24022A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 0370149 | 2024-02-08 |  | 118.73 | 124 | 95.75 | -4.25 | 10 | -0.527 | 20 | 0027 |  |  |  | mg/L | M234 | ROE__24038A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 0520080 | 2024-02-28 |  | 112.8 | 124 | 90.9677 | -9.0323 | 10 | -1.12 | 20 | 0027 | Holding time exceeded | Value verified by rerun, same method | See result laboratory comment | mg/L | M234 | ROE__24059A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 0660044 | 2024-03-29 |  | 258.38 | 262 | 98.6183 | -1.3817 | 28.9 | -0.12526 | 20 | 0027 | Holding time exceeded | Value verified by rerun, same method | See result laboratory comment | mg/L | M238 | ROE__24089A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 0800004 | 2024-03-29 |  | 255.97 | 262 | 97.6985 | -2.3015 | 28.9 | -0.20865 | 20 | 0027 | Holding time exceeded | Value verified by rerun, same method | See result laboratory comment | mg/L | M238 | ROE__24089A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 0730118 | 2024-03-29 |  | 122.57 | 124 | 98.8468 | -1.1532 | 10 | -0.143 | 20 | 0027 | Holding time exceeded | Value verified by rerun, same method | See result laboratory comment | mg/L | M234 | ROE__24089A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 0880014 | 2024-04-02 |  | 119.39 | 124 | 96.2823 | -3.7177 | 10 | -0.461 | 20 | 0027 |  |  |  | mg/L | M234 | ROE__24088A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 0930093 | 2024-04-04 |  | 141.08 | 146 | 96.6301 | -3.3699 | 10 | -0.492 | 20 | 0027 |  |  |  | mg/L | M242 | ROE__24093B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 1000105 | 2024-04-12 |  | 238.46 | 262 | 91.0153 | -8.9847 | 28.9 | -0.81453 | 20 | 0027 |  |  |  | mg/L | M238 | ROE__24102A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 1070226 | 2024-04-26 |  | 132.91 | 146 | 91.0342 | -8.9658 | 10 | -1.309 | 20 | 0027 | Holding time exceeded | Value verified by rerun, same method | See result laboratory comment | mg/L | M242 | ROE__24117A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 1150014 | 2024-04-29 |  | 257.42 | 262 | 98.2519 | -1.7481 | 28.9 | -0.15848 | 20 | 0027 |  |  |  | mg/L | M238 | ROE__24117A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 1280108 | 2024-05-29 |  | 561.1 | 540 | 103.9074 | 3.9074 | 31.1 | 0.67846 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M244 | ROE__24145A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 1420091 | 2024-06-05 |  | 505.25 | 540 | 93.5648 | -6.4352 | 31.1 | -1.1174 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M244 | ROE__24156A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 1370191 | 2024-06-05 |  | 139.53 | 146 | 95.5685 | -4.4315 | 10 | -0.647 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M242 | ROE__24151B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 1500146 | 2024-06-20 |  | 143.55 | 146 | 98.3219 | -1.6781 | 10 | -0.245 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M242 | ROE__24158A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 1560044 | 2024-06-21 |  | 367.1 | 363 | 101.1295 | 1.1295 | 33 | 0.12424 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M236 | ROE__24163C
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 1630115 | 2024-06-28 |  | 552.73 | 540 | 102.3574 | 2.3574 | 31.1 | 0.40932 | 20 | 0027 | Holding time exceeded | Value verified by rerun, same method | See result laboratory comment | mg/L | M244 | ROE__24183A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 1720051 | 2024-07-03 |  | 379.98 | 363 | 104.6777 | 4.6777 | 33 | 0.51455 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M236 | ROE__24177A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 1770115 | 2024-07-11 |  | 549.06 | 540 | 101.6778 | 1.6778 | 31.1 | 0.29132 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M244 | ROE__24183B
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 1910045 | 2024-07-16 |  | 141.99 | 139 | 102.1511 | 2.1511 | 10 | 0.299 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M240 | ROE__24192A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 1980275 | 2024-07-24 |  | 379.36 | 363 | 104.5069 | 4.5069 | 33 | 0.49576 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M236 | ROE__24200A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 2050137 | 2024-07-30 |  | 122.89 | 139 | 88.4101 | -11.5899 | 10 | -1.611 | 20 | 0027 |  |  |  | mg/L | M240 | ROE__24206A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 2130064 | 2024-08-12 |  | 374.23 | 363 | 103.0937 | 3.0937 | 33 | 0.3403 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M236 | ROE__24218A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 2190098 | 2024-08-13 |  | 121.71 | 124 | 98.1532 | -1.8468 | 10 | -0.229 | 20 | 0027 | Holding time exceeded | Value verified by rerun, same method | See result laboratory comment | mg/L | M234 | ROE__24227A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 2260084 | 2024-08-22 |  | 127.14 | 139 | 91.4676 | -8.5324 | 10 | -1.186 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M240 | ROE__24233A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 2330317 | 2024-09-09 |  | 119.78 | 124 | 96.5968 | -3.4032 | 10 | -0.422 | 20 | 0027 | Holding time exceeded | Value verified by rerun, same method | See result laboratory comment | mg/L | M234 | ROE__24249A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 2400284 | 2024-09-11 |  | 119.87 | 139 | 86.2374 | -13.7626 | 10 | -1.913 | 20 | 0027 | Holding time exceeded | Value verified by rerun, same method | See result laboratory comment | mg/L | M240 | ROE__24256A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 2610046 | 2024-09-24 |  | 289.76 | 262 | 110.5954 | 10.5954 | 28.9 | 0.96055 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M238 | ROE__24267A
Dissolved solids, fltd, dried at 180 deg C | 70300 | ROE10 | FIL | 2024 | 2600022 | 2024-09-24 |  | 121.08 | 124 | 97.6452 | -2.3548 | 10 | -0.292 | 20 | 0027 | Holding time exceeded | See result laboratory comment |  | mg/L | M234 | ROE__24267A