## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N103 | 0.59881 | 0.019331 | 3.2283 | 36 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N104 | 1.5821 | 0.047554 | 3.0058 | 36 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N105 | 0.45319 | 0.017136 | 3.7812 | 36 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N106 | 2.2788 | 0.067017 | 2.9409 | 36 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N107 | 0.35783 | 0.024335 | 6.8007 | 36 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N108 | 1.465 | 0.073997 | 5.051 | 36 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N109 | 0.41992 | 0.021877 | 5.2098 | 36 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N110 | 2.1608 | 0.083882 | 3.882 | 36 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N111 | 0.59028 | 0.025089 | 4.2504 | 36 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N112 | 2.3079 | 0.07043 | 3.0517 | 36 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N113 | 0.31719 | 0.016692 | 5.2623 | 36 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N114 | 2.1641 | 0.049402 | 2.2829 | 35 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N115 | 0.43769 | 0.026054 | 5.9525 | 36 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N116 | 0.84314 | 0.032244 | 3.8243 | 36 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N117 | 0.62718 | 0.034446 | 5.4922 | 17 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N118 | 1.4868 | 0.049982 | 3.3618 | 17 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N119 | 0.53181 | 0.032736 | 6.1556 | 21 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N120 | 1.2208 | 0.060835 | 4.9834 | 21 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N121 | 0.56663 | 0.022481 | 3.9674 | 24 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N122 | 1.6793 | 0.029796 | 1.7743 | 24 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N123 | 0.53778 | 0.032494 | 6.0422 | 18 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N124 | 0.7375 | 0.032883 | 4.4588 | 18 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N125 | 0.46044 | 0.016144 | 3.5061 | 18 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N126 | 1.8753 | 0.076099 | 4.0579 | 18 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N127 | 0.44156 | 0.023264 | 5.2686 | 18 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N128 | 3.6164 | 0.079053 | 2.1859 | 18 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N129 | 0.47859 | 0.024459 | 5.1107 | 17 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N130 | 2.4116 | 0.059487 | 2.4668 | 18 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N131 | 0.48428 | 0.019946 | 4.1188 | 18 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N132 | 1.2501 | 0.046782 | 3.7424 | 17 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N133 | 0.19494 | 0.025666 | 13.166 | 18 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N134 | 0.97733 | 0.040216 | 4.1148 | 18 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N139 | 0.29627 | 0.029275 | 9.8811 | 11 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N140 | 1.154 | 0.029863 | 2.5878 | 12 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N141 | 0.28289 | 0.023126 | 8.1749 | 18 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N142 | 1.0228 | 0.037569 | 3.673 | 18 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N143 | 0.34767 | 0.01256 | 3.6128 | 18 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N144 | 0.93056 | 0.034924 | 3.753 | 18 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N145 | 0.19912 | 0.012961 | 6.5092 | 17 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N146 | 0.77428 | 0.024 | 3.0996 | 18 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N147 | 0.38294 | 0.015187 | 3.9658 | 18 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N148 | 1.3862 | 0.033163 | 2.3924 | 18 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N149 | 0.5698 | 0.016337 | 2.8672 | 18 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N150 | 1.5594 | 0.034668 | 2.2231 | 18 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N151 | 0.42249 | 0.0095296 | 2.2556 | 18 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N152 | 2.5676 | 0.034433 | 1.3411 | 18 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N153 | 0.47106 | 0.037092 | 7.8741 | 24 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N154 | 1.0956 | 0.058535 | 5.3427 | 22 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N155 | 0.54445 | 0.053851 | 9.8909 | 24 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N156 | 4.7897 | 0.11911 | 2.4868 | 24 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N157 | 0.36685 | 0.013256 | 3.6134 | 20 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N158 | 1.7375 | 0.0498 | 2.8662 | 23 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N159 | 0.34257 | 0.011043 | 3.2236 | 7 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N160 | 1.6428 | 0.047528 | 2.8932 | 9 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N161 | 0.48025 | 0.021287 | 4.4325 | 20 | mg/L
Total nitrogen as N, unfltd, CFA | 62855 | AKP01 | UNF | N162 | 3.4872 | 0.091032 | 2.6105 | 23 | mg/L