## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2019 | 2680151 | 2019-10-03 |  | 58.74 | 57.4 | 102.3345 | 2.3345 | 2.87 | 0.4669 | 5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/L | M222 | AKDS19274A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 2810113 | 2019-10-23 |  | 29.89 | 29.7 | 100.6397 | 0.63973 | 2 | 0.095 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS19295A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 2890222 | 2019-11-01 |  | 48.2 | 49.8 | 96.7871 | -3.2129 | 2.49 | -0.64257 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | AKDS19304A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 2950102 | 2019-11-05 |  | 29.95 | 29.7 | 100.8418 | 0.84175 | 2 | 0.125 | 4 | 2109 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/l CaCO3 | M218 | AKDS19308A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 3030025 | 2019-11-07 |  | 50.05 | 49.8 | 100.502 | 0.50201 | 2.49 | 0.1004 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | AKDS19310A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 3090146 | 2019-11-20 |  | 53.22 | 52.4 | 101.5649 | 1.5649 | 2.62 | 0.31298 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKDS19322A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 3170096 | 2019-11-29 |  | 29.91 | 29.7 | 100.7071 | 0.70707 | 2 | 0.105 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS19329A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 3230098 | 2019-12-04 |  | 50.85 | 52.4 | 97.042 | -2.958 | 2.62 | -0.5916 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | AKDS19337A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 3310058 | 2019-12-05 |  | 30.1 | 29.7 | 101.3468 | 1.3468 | 2 | 0.2 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS19338A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 3370102 | 2019-12-12 |  | 23.25 | 23.3 | 99.7854 | -0.21459 | 2 | -0.025 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | AKDS19345A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 3510019 | 2020-01-02 |  | 23.2 | 23.3 | 99.5708 | -0.42918 | 2 | -0.05 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | AKDS20002A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 0070043 | 2020-01-22 |  | 35.16 | 33.9 | 103.7168 | 3.7168 | 2 | 0.63 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | AKDS20016A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 0220110 | 2020-01-28 |  | 34.95 | 33.9 | 103.0973 | 3.0973 | 2 | 0.525 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | AKDS20027A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 0350136 | 2020-02-12 |  | 57.68 | 57.4 | 100.4878 | 0.4878 | 2.87 | 0.097561 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKDS20042A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 0500060 | 2020-03-05 |  | 58.77 | 57.4 | 102.3868 | 2.3868 | 2.87 | 0.47735 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKDS20064A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 0630050 | 2020-03-18 |  | 48.69 | 49.8 | 97.7711 | -2.2289 | 2.49 | -0.44578 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | AKDS20077A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 0700104 | 2020-03-24 |  | 60.85 | 57.4 | 106.0105 | 6.0105 | 2.87 | 1.2021 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKDS20078A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 0770115 | 2020-04-07 |  | 51.26 | 49.8 | 102.9317 | 2.9317 | 2.49 | 0.58635 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | AKDS20097A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 0840030 | 2020-04-09 |  | 59.18 | 57.4 | 103.101 | 3.101 | 2.87 | 0.62021 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | AKDS20098A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 0980042 | 2020-04-23 |  | 30.3 | 29.7 | 102.0202 | 2.0202 | 2 | 0.3 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS20112A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 1120048 | 2020-04-30 |  | 29.7 | 29.7 | 100 | 0 | 2 | 0 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | AKDS20119A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 1060055 | 2020-04-30 |  | 50.74 | 49.8 | 101.8876 | 1.8876 | 2.49 | 0.37751 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | AKDS20119A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 1190086 | 2020-05-07 |  | 50.83 | 49.8 | 102.0683 | 2.0683 | 2.49 | 0.41365 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | AKDS20126A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 1260081 | 2020-05-18 |  | 53.75 | 52.4 | 102.5763 | 2.5763 | 2.62 | 0.51527 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | ALK__20148B
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 1330127 | 2020-06-04 |  | 30.09 | 29.7 | 101.3131 | 1.3131 | 2 | 0.195 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | ALK__20155A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 1500215 | 2020-06-10 |  | 30.15 | 29.7 | 101.5152 | 1.5152 | 2 | 0.225 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M218 | ALK__20161A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 1550006 | 2020-06-17 |  | 24.17 | 23.3 | 103.7339 | 3.7339 | 2 | 0.435 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__20168A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 1610192 | 2020-06-24 |  | 54.13 | 52.4 | 103.3015 | 3.3015 | 2.62 | 0.66031 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | ALK__20175B
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 1680147 | 2020-07-01 |  | 24.03 | 23.3 | 103.133 | 3.133 | 2 | 0.365 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__20182A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 1760102 | 2020-07-14 |  | 54.2 | 52.4 | 103.4351 | 3.4351 | 2.62 | 0.68702 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M220 | ALK__20195A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 1890181 | 2020-07-23 |  | 36.45 | 33.9 | 107.5221 | 7.5221 | 2 | 1.275 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__20204A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 1960127 | 2020-08-04 |  | 24.18 | 23.3 | 103.7768 | 3.7768 | 2 | 0.44 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__20217A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 2040024 | 2020-08-10 |  | 35 | 33.9 | 103.2448 | 3.2448 | 2 | 0.55 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__20219A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 2120197 | 2020-08-24 |  | 24.11 | 23.3 | 103.4764 | 3.4764 | 2 | 0.405 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__20234A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 2170031 | 2020-08-25 |  | 58.31 | 57.4 | 101.5854 | 1.5854 | 2.87 | 0.31707 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__20237A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 2240090 | 2020-09-03 |  | 34.81 | 33.9 | 102.6844 | 2.6844 | 2 | 0.455 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__20246A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 2320038 | 2020-09-14 |  | 59.43 | 57.4 | 103.5366 | 3.5366 | 2.87 | 0.70732 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__20258A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 2390028 | 2020-09-29 |  | 34.1 | 33.9 | 100.59 | 0.58997 | 2 | 0.1 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__20265A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 2530138 | 2020-10-13 |  | 51.41 | 49.8 | 103.2329 | 3.2329 | 2.49 | 0.64659 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__20282A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 2590162 | 2020-10-15 |  | 58.57 | 57.4 | 102.0383 | 2.0383 | 2.87 | 0.40767 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__20288A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 2670296 | 2020-10-22 |  | 51.15 | 49.8 | 102.7108 | 2.7108 | 2.49 | 0.54217 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__20295A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2020 | 2740057 | 2020-10-29 |  | 58.42 | 57.4 | 101.777 | 1.777 | 2.87 | 0.3554 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__20302A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 2810028 | 2020-11-02 |  | 52.41 | 51 | 102.7647 | 2.7647 | 2.55 | 0.55294 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__20304A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 2880070 | 2020-11-10 |  | 50.21 | 49.8 | 100.8233 | 0.82329 | 2.49 | 0.16466 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__20314A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 2950029 | 2020-11-13 |  | 52.93 | 51 | 103.7843 | 3.7843 | 2.55 | 0.75686 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__20317B
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 3010153 | 2020-11-24 |  | 51.38 | 49.8 | 103.1727 | 3.1727 | 2.49 | 0.63454 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__20324A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 3080105 | 2020-12-07 |  | 14.85 | 14 | 106.0714 | 6.0714 | 2.08 | 0.40865 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__20337A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 3150098 | 2020-12-08 |  | 52.42 | 51 | 102.7843 | 2.7843 | 2.55 | 0.55686 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__20342A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 3230037 | 2020-12-14 |  | 14.7 | 14 | 105 | 5 | 2.08 | 0.33654 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__20344A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 3300048 | 2020-12-17 |  | 52.25 | 51 | 102.451 | 2.451 | 2.55 | 0.4902 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__20351A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 3440079 | 2020-12-29 |  | 23.8 | 23.3 | 102.1459 | 2.1459 | 2 | 0.25 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__20363A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 3580055 | 2021-01-13 |  | 23.88 | 23.3 | 102.4893 | 2.4893 | 2 | 0.29 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__21012A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 0050023 | 2021-01-19 |  | 35.64 | 33.9 | 105.1327 | 5.1327 | 2 | 0.87 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__21019A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 0210016 | 2021-02-01 |  | 35.45 | 33.9 | 104.5723 | 4.5723 | 2 | 0.775 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__21032A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 0400074 | 2021-02-19 |  | 59.11 | 57.4 | 102.9791 | 2.9791 | 2.87 | 0.59582 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__21049A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 0540053 | 2021-03-03 |  | 59.26 | 57.4 | 103.2404 | 3.2404 | 2.87 | 0.64808 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__21061A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 0620098 | 2021-03-24 |  | 51.17 | 49.8 | 102.751 | 2.751 | 2.49 | 0.5502 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__21083A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 0680061 | 2021-03-26 |  | 58.47 | 57.4 | 101.8641 | 1.8641 | 2.87 | 0.37282 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__21085A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 0760033 | 2021-03-31 |  | 51.14 | 49.8 | 102.6908 | 2.6908 | 2.49 | 0.53815 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__21089A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 0830028 | 2021-04-16 |  | 59.2 | 57.4 | 103.1359 | 3.1359 | 2.87 | 0.62718 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__21105A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 0970046 | 2021-04-27 |  | 52.92 | 51 | 103.7647 | 3.7647 | 2.55 | 0.75294 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__21113A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 1030146 | 2021-04-29 |  | 51.45 | 49.8 | 103.3133 | 3.3133 | 2.49 | 0.66265 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__21117A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 1110002 | 2021-05-04 |  | 52.79 | 51 | 103.5098 | 3.5098 | 2.55 | 0.70196 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__21123A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 1180037 | 2021-05-10 |  | 51.26 | 49.8 | 102.9317 | 2.9317 | 2.49 | 0.58635 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__21126A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 1250005 | 2021-05-11 |  | 14.69 | 14 | 104.9286 | 4.9286 | 2.08 | 0.33173 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__21130A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 1320163 | 2021-05-24 |  | 53.01 | 51 | 103.9412 | 3.9412 | 2.55 | 0.78824 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__21140A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 1380135 | 2021-05-26 |  | 14.78 | 14 | 105.5714 | 5.5714 | 2.08 | 0.375 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__21144A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 1460005 | 2021-06-03 |  | 52.62 | 51 | 103.1765 | 3.1765 | 2.55 | 0.63529 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__21152A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 1540141 | 2021-06-14 |  | 23.79 | 23.3 | 102.103 | 2.103 | 2 | 0.245 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__21161A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 1600036 | 2021-06-15 |  | 14.84 | 14 | 106 | 6 | 2.08 | 0.40385 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__21165A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 1660121 | 2021-06-23 |  | 24.45 | 23.3 | 104.9356 | 4.9356 | 2 | 0.575 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__21173A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 1730219 | 2021-06-29 |  | 15.32 | 14 | 109.4286 | 9.4286 | 2.08 | 0.63462 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__21180A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 1880113 | 2021-07-16 |  | 35.57 | 33.9 | 104.9263 | 4.9263 | 2 | 0.835 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__21195A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 1940224 | 2021-07-22 |  | 23.73 | 23.3 | 101.8455 | 1.8455 | 2 | 0.215 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__21201A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 2010229 | 2021-07-27 |  | 35.22 | 33.9 | 103.8938 | 3.8938 | 2 | 0.66 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__21207B
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 2080173 | 2021-08-03 |  | 23.89 | 23.3 | 102.5322 | 2.5322 | 2 | 0.295 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M224 | ALK__21214A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 2150047 | 2021-08-17 |  | 58.8 | 57.4 | 102.439 | 2.439 | 2.87 | 0.4878 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__21222A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 2220179 | 2021-08-25 |  | 35.51 | 33.9 | 104.7493 | 4.7493 | 2 | 0.805 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__21231A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 2290123 | 2021-08-27 |  | 59.1 | 57.4 | 102.9617 | 2.9617 | 2.87 | 0.59233 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__21238A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 2360119 | 2021-09-01 |  | 35.37 | 33.9 | 104.3363 | 4.3363 | 2 | 0.735 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__21243A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 2510435 | 2021-09-13 |  | 50.6 | 49.8 | 101.6064 | 1.6064 | 2.49 | 0.32129 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__21253A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 2580263 | 2021-09-21 |  | 57.71 | 57.4 | 100.5401 | 0.54007 | 2.87 | 0.10801 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__21263A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 2640273 | 2021-09-29 |  | 50.48 | 49.8 | 101.3655 | 1.3655 | 2.49 | 0.27309 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__21270A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2021 | 2790035 | 2021-10-15 |  | 59.59 | 57.4 | 103.8153 | 3.8153 | 2.87 | 0.76307 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M222 | ALK__21281A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2022 | 2790036 | 2021-10-15 |  | 52.73 | 51 | 103.3922 | 3.3922 | 2.55 | 0.67843 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__21281A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2022 | 2870244 | 2021-10-19 |  | 50.98 | 49.8 | 102.3695 | 2.3695 | 2.49 | 0.4739 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__21291A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2022 | 2940008 | 2021-10-29 |  | 52.53 | 51 | 103 | 3 | 2.55 | 0.6 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__21302A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2022 | 3000134 | 2021-11-05 |  | 51.2 | 49.8 | 102.8112 | 2.8112 | 2.49 | 0.56225 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__21307A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2022 | 3060205 | 2021-11-08 |  | 14.79 | 14 | 105.6429 | 5.6429 | 2.08 | 0.37981 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__21308A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2022 | 3130185 | 2021-11-16 |  | 54.22 | 51 | 106.3137 | 6.3137 | 2.55 | 1.2627 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__21319A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2022 | 3200089 | 2021-11-22 |  | 15.3 | 14 | 109.2857 | 9.2857 | 2.08 | 0.625 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__21323A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2022 | 3270287 | 2021-12-06 |  | 54.81 | 51 | 107.4706 | 7.4706 | 2.55 | 1.4941 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__21337A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2022 | 3410061 | 2021-12-09 |  | 17.67 | 18.6 | 95 | -5 | 2.91 | -0.31959 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__21341A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2022 | 0050040 | 2022-02-23 |  | 34.6 | 33.9 | 102.0649 | 2.0649 | 2 | 0.35 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__22040A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2022 | 0380066 | 2022-02-23 |  | 35.79 | 35.4 | 101.1017 | 1.1017 | 2 | 0.195 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__22045B
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2022 | 3570002 | 2022-02-23 |  | 17.73 | 18.6 | 95.3226 | -4.6774 | 2.91 | -0.29897 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__22031A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2022 | 0480129 | 2022-03-14 |  | 35.53 | 35.4 | 100.3672 | 0.36723 | 2 | 0.065 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__22060A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2022 | 0670122 | 2022-04-01 |  | 35.84 | 35.4 | 101.2429 | 1.2429 | 2 | 0.22 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__22083A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2022 | 0760099 | 2022-05-05 |  | 51.12 | 49.8 | 102.6506 | 2.6506 | 2.49 | 0.53012 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__22124A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2022 | 0190119 | 2022-06-17 |  | 34.38 | 33.9 | 101.4159 | 1.4159 | 2 | 0.24 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M228 | ALK__22041B
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2022 | 1020022 | 2022-06-22 |  | 130.8 | 49.8 | 262.6506 | 162.6506 | 2.49 | 32.5301 | 4 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__22172A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2022 | 2630186 | 2023-08-03 |  | 50.9411 | 49.8 | 102.2914 | 2.2914 | 2.49 | 0.45827 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M226 | ALK__23215A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 2770116 | 2023-08-03 |  | 52.9031 | 51 | 103.7316 | 3.7316 | 2.55 | 0.74631 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | __ALK23214C
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2022 | 2710049 | 2023-08-03 |  | 38.2438 | 35.4 | 108.0333 | 8.0333 | 1.77 | 1.6067 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | __ALK23214C
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 2860103 | 2023-08-08 |  | 60.3119 | 60 | 100.5198 | 0.51983 | 3 | 0.10397 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23219B
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 3130107 | 2023-08-22 |  | 52.7157 | 51 | 103.3641 | 3.3641 | 2.55 | 0.67282 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__23233B
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 3060047 | 2023-08-22 | E | 14.1742 | 14 | 101.2443 | 1.2443 | 2.08 | 0.08375 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__23233A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 2990134 | 2023-08-22 |  | 60.3581 | 60 | 100.5968 | 0.59683 | 3 | 0.11937 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23233A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 3330052 | 2023-08-23 |  | 52.7655 | 51 | 103.4618 | 3.4618 | 2.55 | 0.69235 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__23235B
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 3400093 | 2023-08-23 | E | 18.5626 | 18.6 | 99.7989 | -0.20108 | 2.91 | -0.012852 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__23235B
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 3610133 | 2023-08-30 | E | 17.8175 | 18.6 | 95.793 | -4.207 | 2.91 | -0.2689 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__23242A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 0100101 | 2023-08-31 |  | 27.236 | 27.2 | 100.1324 | 0.13235 | 1.85 | 0.019459 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M240 | ALK__23243B
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 0380149 | 2023-09-05 |  | 35.9068 | 35.4 | 101.4316 | 1.4316 | 1.77 | 0.28633 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__23248A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 0250121 | 2023-09-05 |  | 29.9157 | 27.2 | 109.9842 | 9.9842 | 1.85 | 1.4679 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M240 | ALK__23244B
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 0590091 | 2023-09-06 |  | 38.8959 | 35.4 | 109.8754 | 9.8754 | 1.77 | 1.9751 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__23248C
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 2200129 | 2023-09-06 |  | 39.1919 | 35.4 | 110.7116 | 10.7116 | 1.77 | 2.1423 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__23248C
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 0670104 | 2023-09-18 |  | 64.296 | 60 | 107.16 | 7.16 | 3 | 1.432 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23255A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 0740031 | 2023-09-19 |  | 36.5098 | 35.4 | 103.135 | 3.135 | 1.77 | 0.62701 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__23262A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 0800072 | 2023-09-19 |  | 62.8037 | 60 | 104.6728 | 4.6728 | 3 | 0.93457 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23262A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 0880091 | 2023-09-20 |  | 36.1049 | 35.4 | 101.9912 | 1.9912 | 1.77 | 0.39825 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__23263A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1100087 | 2023-09-21 |  | 53.2832 | 51 | 104.4769 | 4.4769 | 2.55 | 0.89537 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__23264B
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1020110 | 2023-09-21 |  | 60.4717 | 60 | 100.7862 | 0.78617 | 3 | 0.15723 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23264A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1240208 | 2023-09-22 | E | 14.5521 | 14 | 103.9436 | 3.9436 | 2.08 | 0.26543 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__23265A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 2350094 | 2023-09-22 |  | 36.884 | 35.4 | 104.1921 | 4.1921 | 1.77 | 0.83842 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__23265B
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1170146 | 2023-09-22 |  | 61.5361 | 60 | 102.5602 | 2.5602 | 3 | 0.51203 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23265A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1300168 | 2023-09-25 |  | 52.6583 | 51 | 103.2516 | 3.2516 | 2.55 | 0.65031 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__23268A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1360046 | 2023-09-26 | E | 14.0745 | 14 | 100.5321 | 0.53214 | 2.08 | 0.035817 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__23269A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 0940122 | 2023-10-02 |  | 51.3181 | 51 | 100.6237 | 0.62373 | 2.55 | 0.12475 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__23275A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1440059 | 2023-10-05 |  | 51.9667 | 51 | 101.8955 | 1.8955 | 2.55 | 0.3791 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__23276B
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1570042 | 2023-10-05 | E | 18.137 | 18.6 | 97.5108 | -2.4892 | 2.91 | -0.15911 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__23276B
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 2490137 | 2023-10-05 |  | 60.3879 | 60 | 100.6465 | 0.6465 | 3 | 0.1293 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23276B
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1650064 | 2023-10-10 | E | 17.6369 | 14 | 125.9779 | 25.9779 | 2.08 | 1.7485 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__23279A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1840084 | 2023-10-11 | E | 14.4775 | 14 | 103.4107 | 3.4107 | 2.08 | 0.22957 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__23283C
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 2560087 | 2023-10-11 |  | 42.5851 | 35.4 | 120.2969 | 20.2969 | 1.77 | 4.0594 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__23283B
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1730214 | 2023-10-11 | E | 16.7756 | 18.6 | 90.1914 | -9.8086 | 2.91 | -0.62694 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__23283B
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1870308 | 2023-10-12 |  | 27.4719 | 27.2 | 100.9996 | 0.99963 | 1.85 | 0.14697 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M240 | ALK__23285B
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1990165 | 2023-10-13 |  | 27.3008 | 27.2 | 100.3706 | 0.37059 | 1.85 | 0.054486 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M240 | ALK__23286A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1940232 | 2023-10-16 | E | 17.3045 | 18.6 | 93.0349 | -6.9651 | 2.91 | -0.44519 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__23285C
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 2620180 | 2023-10-16 |  | 59.6342 | 60 | 99.3903 | -0.60967 | 3 | -0.12193 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23285C
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 2760033 | 2023-10-17 |  | 40.8627 | 40.5 | 100.8956 | 0.89556 | 2.025 | 0.17911 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M242 | ALK__23290A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 2690095 | 2023-10-18 |  | 36.0639 | 35.4 | 101.8754 | 1.8754 | 1.77 | 0.37508 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__23289A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 2850088 | 2023-10-26 |  | 58.8513 | 60 | 98.0855 | -1.9145 | 3 | -0.3829 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23299A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 2060141 | 2023-10-27 | E | 18.0311 | 18.6 | 96.9414 | -3.0586 | 2.91 | -0.1955 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__23299A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 2900162 | 2023-10-27 |  | 41.0067 | 40.5 | 101.2511 | 1.2511 | 2.025 | 0.25022 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M242 | ALK__23300A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 2280172 | 2023-11-13 |  | 27.5706 | 27.2 | 101.3625 | 1.3625 | 1.85 | 0.20032 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M240 | ALK__23317A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 2980079 | 2023-11-20 |  | 60.1167 | 60 | 100.1945 | 0.1945 | 3 | 0.0389 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23318A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 3120060 | 2023-12-07 |  | 61.2519 | 59.4 | 103.1177 | 3.1177 | 2.97 | 0.62354 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M244 | ALK__23334A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 3190181 | 2023-12-11 |  | 41.407 | 40.5 | 102.2395 | 2.2395 | 2.025 | 0.4479 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M242 | ALK__23339A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 3250148 | 2023-12-14 |  | 59.7017 | 59.4 | 100.5079 | 0.50791 | 2.97 | 0.10158 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M244 | ALK__23348A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 3250148 | 2023-12-14 |  | 59.7017 | 59.4 | 100.5079 | 0.50791 | 2.97 | 0.10158 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M244 | ALK__23348A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 3390053 | 2023-12-18 | E | 17.4066 | 18.6 | 93.5839 | -6.4161 | 2.91 | -0.4101 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__23349A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 3340079 | 2023-12-18 |  | 41.6542 | 40.5 | 102.8499 | 2.8499 | 2.025 | 0.56998 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M242 | ALK__23349A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 2440133 | 2023-12-19 |  | 27.3456 | 27.2 | 100.5353 | 0.53529 | 1.85 | 0.078703 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M240 | ALK__23353A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 3530160 | 2023-12-22 | E | 17.5442 | 18.6 | 94.3237 | -5.6763 | 2.91 | -0.36282 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__23355B
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 0030059 | 2024-01-05 |  | 27.3581 | 27.2 | 100.5812 | 0.58125 | 1.85 | 0.085459 | 2.5 | 2109 |  |  |  | mg/l CaCO3 | M240 | ALK__23362A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 0170009 | 2024-01-31 |  | 27.3832 | 27.2 | 100.6735 | 0.67353 | 1.85 | 0.099027 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M240 | ALK__24030A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 0370149 | 2024-02-09 |  | 37.3903 | 35.4 | 105.6223 | 5.6223 | 1.77 | 1.1245 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__24040A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 0520080 | 2024-02-28 |  | 34.8671 | 35.4 | 98.4946 | -1.5054 | 1.77 | -0.30107 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__24057A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 0660044 | 2024-03-08 |  | 59.1217 | 60 | 98.5362 | -1.4638 | 3 | -0.29277 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__24066A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 0730118 | 2024-03-25 |  | 35.5748 | 35.4 | 100.4938 | 0.49379 | 1.77 | 0.098757 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__24085A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 0800004 | 2024-03-26 |  | 58.5122 | 60 | 97.5203 | -2.4797 | 3 | -0.49593 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__24085C
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 0880014 | 2024-04-04 |  | 35.3919 | 35.4 | 99.9771 | -0.022881 | 1.77 | -0.0045763 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__24092B
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 0930093 | 2024-04-11 |  | 40.3366 | 40.5 | 99.5965 | -0.40346 | 2.025 | -0.080691 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M242 | ALK__24099A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 1000105 | 2024-04-17 |  | 64.1803 | 60 | 106.9672 | 6.9672 | 3 | 1.3934 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__24108A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 1070226 | 2024-04-22 |  | 40.9554 | 40.5 | 101.1244 | 1.1244 | 2.025 | 0.22489 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M242 | ALK__24113A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 1150014 | 2024-04-26 |  | 59.6087 | 60 | 99.3478 | -0.65217 | 3 | -0.13043 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__24117A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 1280108 | 2024-05-13 |  | 57.9771 | 59.4 | 97.6045 | -2.3955 | 2.97 | -0.47909 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M244 | ALK__24134A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 1370191 | 2024-05-21 |  | 41.8365 | 40.5 | 103.3 | 3.3 | 2.025 | 0.66 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M242 | ALK__24142A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 1420091 | 2024-05-22 |  | 57.9298 | 59.4 | 97.5249 | -2.4751 | 2.97 | -0.49502 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M244 | ALK__24142C
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 1500146 | 2024-06-04 |  | 41.6802 | 40.5 | 102.9141 | 2.9141 | 2.025 | 0.58281 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M242 | ALK__24156A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 1560044 | 2024-06-05 | E | 18.2467 | 18.6 | 98.1005 | -1.8995 | 2.91 | -0.12141 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__24156C
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 1630115 | 2024-06-20 |  | 58.5654 | 59.4 | 98.5949 | -1.4051 | 2.97 | -0.28101 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M244 | ALK__24172A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 1720051 | 2024-06-25 | E | 18.2831 | 18.6 | 98.2962 | -1.7038 | 2.91 | -0.1089 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__24177A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 1770115 | 2024-06-28 |  | 58.8494 | 59.4 | 99.0731 | -0.92694 | 2.97 | -0.18539 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M244 | ALK__24180A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 1910045 | 2024-07-12 |  | 28.856 | 27.2 | 106.0882 | 6.0882 | 1.85 | 0.89514 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M240 | ALK__24192A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 1980275 | 2024-07-18 |  | 18.9 | 18.6 | 101.6129 | 1.6129 | 2.91 | 0.10309 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__24199A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 2050137 | 2024-07-29 |  | 28.5223 | 27.2 | 104.8614 | 4.8614 | 1.85 | 0.71476 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M240 | ALK__24211A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 2130064 | 2024-08-07 |  | 18.695 | 18.6 | 100.5108 | 0.51075 | 2.91 | 0.032646 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__24212A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 2190098 | 2024-08-08 |  | 36.8841 | 35.4 | 104.1924 | 4.1924 | 1.77 | 0.83847 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__24221A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 2260084 | 2024-08-20 |  | 27.6151 | 27.2 | 101.5261 | 1.5261 | 1.85 | 0.22438 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M240 | ALK__24233A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 2330317 | 2024-08-23 |  | 35.7114 | 35.4 | 100.8797 | 0.87966 | 1.77 | 0.17593 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__24236A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 2400284 | 2024-08-30 |  | 27.903 | 27.2 | 102.5846 | 2.5846 | 1.85 | 0.38 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M240 | ALK__24242B
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 2480179 | 2024-09-06 |  | 60.3185 | 60 | 100.5308 | 0.53083 | 3 | 0.10617 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__24250A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 2600022 | 2024-09-23 |  | 35.3894 | 35.4 | 99.9701 | -0.029944 | 1.77 | -0.0059887 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__24267A
Alkalinity as CaCO3, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 2610046 | 2024-09-23 |  | 58.6079 | 60 | 97.6798 | -2.3202 | 3 | -0.46403 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__24267A