## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2019 | 2550078 | 2019-10-01 |  | 0.558 | 0.604 | 92.3841 | -7.6159 | 0.07 | -0.65714 | 0.14 | 1986 |  |  |  | mg/L as N | N142 | KJNT273A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2019 | 2560161 | 2019-10-01 |  | 3.307 | 3.27 | 101.1315 | 1.1315 | 0.1635 | 0.2263 | 0.07 | 1986 | Sample was diluted |  |  | mg/L as N | NS29 | KJNT273C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2019 | 2600331 | 2019-10-02 |  | 0.162 | 0.184 | 88.0435 | -11.9565 | 0.059 | -0.37288 | 0.07 | 1986 |  |  |  | mg/L as N | N141 | KJNT274A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2019 | 2620331 | 2019-10-03 |  | 3.093 | 3.27 | 94.5872 | -5.4128 | 0.1635 | -1.0826 | 0.07 | 1986 |  |  |  | mg/L as N | NS29 | KJNT275A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2019 | 2680153 | 2019-10-09 |  | 0.598 | 0.604 | 99.0066 | -0.99338 | 0.07 | -0.085714 | 0.07 | 1986 |  |  |  | mg/L as N | N142 | KJNT281B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2019 | 2690147 | 2019-10-10 |  | 3.277 | 3.27 | 100.2141 | 0.21407 | 0.1635 | 0.042813 | 0.07 | 1986 | Sample was diluted |  |  | mg/L as N | NS29 | KJNT282A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 2810115 | 2019-10-16 |  | 0.385 | 0.4 | 96.25 | -3.75 | 0.04 | -0.375 | 0.07 | 1986 |  |  |  | mg/L as N | N144 | KJNT288A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 2830133 | 2019-10-17 |  | 3.225 | 3.27 | 98.6239 | -1.3761 | 0.1635 | -0.27523 | 0.07 | 1986 |  |  |  | mg/L as N | NS29 | KJNT289A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 2890226 | 2019-10-23 |  | 0.187 | 0.189 | 98.9418 | -1.0582 | 0.035 | -0.057143 | 0.07 | 1986 |  |  |  | mg/L as N | N143 | KJNT290A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 2910180 | 2019-10-23 |  | 3.421 | 3.27 | 104.6177 | 4.6177 | 0.1635 | 0.92355 | 0.07 | 1986 |  |  |  | mg/L as N | NS29 | KJNT295A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 2950098 | 2019-11-04 |  | 0.382 | 0.4 | 95.5 | -4.5 | 0.04 | -0.45 | 0.07 | 1986 |  |  |  | mg/L as N | N144 | KJNT305A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 3030028 | 2019-11-06 |  | 0.155 | 0.189 | 82.0106 | -17.9894 | 0.035 | -0.97143 | 0.07 | 1986 |  |  |  | mg/L as N | N143 | KJNT308B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 2970175 | 2019-11-06 |  | 3.324 | 3.27 | 101.6514 | 1.6514 | 0.1635 | 0.33028 | 0.07 | 1986 | Sample was diluted |  |  | mg/L as N | NS29 | KJNT309A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 3090144 | 2019-11-13 |  | 0.19 | 0.189 | 100.5291 | 0.5291 | 0.035 | 0.028571 | 0.07 | 1986 |  |  |  | mg/L as N | N143 | KJNT316B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 3110125 | 2019-11-14 |  | 3.339 | 3.27 | 102.1101 | 2.1101 | 0.1635 | 0.42202 | 0.07 | 1986 |  |  |  | mg/L as N | NS29 | KJNT317B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 3170099 | 2019-11-19 |  | 0.359 | 0.4 | 89.75 | -10.25 | 0.04 | -1.025 | 0.07 | 1986 |  |  |  | mg/L as N | N144 | KJNT318A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 3180074 | 2019-11-19 |  | 3.286 | 3.27 | 100.4893 | 0.4893 | 0.1635 | 0.097859 | 0.07 | 1986 |  |  |  | mg/L as N | NS29 | KJNT318A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 3230096 | 2019-11-21 |  | 0.183 | 0.189 | 96.8254 | -3.1746 | 0.035 | -0.17143 | 0.07 | 1986 |  |  |  | mg/L as N | N143 | KJNT324B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 3250086 | 2019-11-25 |  | 3.303 | 3.27 | 101.0092 | 1.0092 | 0.1635 | 0.20183 | 0.07 | 1986 |  |  |  | mg/L as N | NS29 | KJNT325B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 3310062 | 2019-12-04 |  | 0.337 | 0.4 | 84.25 | -15.75 | 0.04 | -1.575 | 0.07 | 1986 |  |  |  | mg/L as N | N144 | KJNT337B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 3370100 | 2019-12-05 |  | 0.411 | 0.4 | 102.75 | 2.75 | 0.04 | 0.275 | 0.07 | 1986 |  |  |  | mg/L as N | N144 | KJNT338A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 3440295 | 2019-12-13 |  | 0.155 | 0.189 | 82.0106 | -17.9894 | 0.035 | -0.97143 | 0.07 | 1986 |  |  |  | mg/L as N | N143 | KJNT345A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 3510021 | 2019-12-19 |  | 0.346 | 0.4 | 86.5 | -13.5 | 0.04 | -1.35 | 0.07 | 1986 |  |  |  | mg/L as N | N144 | KJNT352A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 3600044 | 2020-01-07 |  | 0.096 | 0.189 | 50.7937 | -49.2063 | 0.035 | -2.6571 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N143 | KJNT006A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 0070046 | 2020-01-10 |  | 0.137 | 0.189 | 72.4868 | -27.5132 | 0.035 | -1.4857 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N143 | KJNT009B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 0150019 | 2020-01-21 |  | 0.347 | 0.4 | 86.75 | -13.25 | 0.04 | -1.325 | 0.07 | 1986 |  |  |  | mg/L as N | N144 | KJNT017A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 0220111 | 2020-01-27 |  | 0.132 | 0.189 | 69.8413 | -30.1587 | 0.035 | -1.6286 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N143 | KJNT024A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 0280072 | 2020-01-29 |  | 0.321 | 0.4 | 80.25 | -19.75 | 0.04 | -1.975 | 0.07 | 1986 |  |  |  | mg/L as N | N144 | KJNT028A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 0350138 | 2020-02-06 |  | 0.345 | 0.4 | 86.25 | -13.75 | 0.04 | -1.375 | 0.07 | 1986 |  |  |  | mg/L as N | N144 | KJNT036B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 0420077 | 2020-02-13 |  | 0.165 | 0.189 | 87.3016 | -12.6984 | 0.035 | -0.68571 | 0.07 | 1986 |  |  |  | mg/L as N | N143 | KJNT043A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 0500057 | 2020-02-24 |  | 0.366 | 0.4 | 91.5 | -8.5 | 0.04 | -0.85 | 0.07 | 1986 |  |  |  | mg/L as N | N144 | KJNT052A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 0560051 | 2020-02-27 |  | 0.155 | 0.189 | 82.0106 | -17.9894 | 0.035 | -0.97143 | 0.07 | 1986 |  |  |  | mg/L as N | N143 | KJNT057B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 0630048 | 2020-03-05 |  | 0.186 | 0.189 | 98.4127 | -1.5873 | 0.035 | -0.085714 | 0.07 | 1986 |  |  |  | mg/L as N | N143 | KJNT064A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 0650090 | 2020-03-09 |  | 3.29 | 3.27 | 100.6116 | 0.61162 | 0.1635 | 0.12232 | 0.07 | 1986 |  |  |  | mg/L as N | NS29 | KJNT066A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 0700107 | 2020-03-13 |  | 0.337 | 0.4 | 84.25 | -15.75 | 0.04 | -1.575 | 0.07 | 1986 |  |  |  | mg/L as N | N144 | KJNT072A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 0730161 | 2020-03-17 |  | 3.196 | 3.27 | 97.737 | -2.263 | 0.1635 | -0.4526 | 0.07 | 1986 |  |  |  | mg/L as N | NS29 | KJNT076B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 0770112 | 2020-03-20 |  | 0.175 | 0.189 | 92.5926 | -7.4074 | 0.035 | -0.4 | 0.07 | 1986 |  |  |  | mg/L as N | N143 | KJNT079A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 0840027 | 2020-03-25 |  | 0.352 | 0.4 | 88 | -12 | 0.04 | -1.2 | 0.07 | 1986 |  |  |  | mg/L as N | N144 | KJNT084A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 0980040 | 2020-04-10 |  | 0.345 | 0.356 | 96.9101 | -3.0899 | 0.046 | -0.23913 | 0.07 | 1986 |  |  |  | mg/L as N | N146 | KJNT100A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 1000061 | 2020-04-20 |  | 4.52 | 4.475 | 101.0056 | 1.0056 | 0.22375 | 0.20112 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT108B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 1070053 | 2020-04-23 |  | 4.565 | 4.475 | 102.0112 | 2.0112 | 0.22375 | 0.40223 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT113A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 1190084 | 2020-04-29 |  | 0.148 | 0.122 | 121.3115 | 21.3115 | 0.038 | 0.68421 | 0.07 | 1986 |  |  |  | mg/L as N | N145 | KJNT119C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 1120050 | 2020-04-29 |  | 0.323 | 0.356 | 90.7303 | -9.2697 | 0.046 | -0.71739 | 0.07 | 1986 |  |  |  | mg/L as N | N146 | KJNT119A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 1140081 | 2020-04-29 |  | 4.563 | 4.475 | 101.9665 | 1.9665 | 0.22375 | 0.3933 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT119B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 1260079 | 2020-05-06 |  | 0.137 | 0.122 | 112.2951 | 12.2951 | 0.038 | 0.39474 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N145 | KJNT126C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 0800004 | 2020-05-06 |  | 3.297 | 3.27 | 100.8257 | 0.82569 | 0.1635 | 0.16514 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | NS29 | KJNT126A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 1280004 | 2020-05-11 |  | 4.444 | 4.475 | 99.3073 | -0.69274 | 0.22375 | -0.13855 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT128A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 1330129 | 2020-06-01 |  | 0.322 | 0.356 | 90.4494 | -9.5506 | 0.046 | -0.73913 | 0.07 | 1986 |  |  |  | mg/L as N | N146 | KJNT_20150A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 1430097 | 2020-06-01 |  | 4.472 | 4.475 | 99.933 | -0.067039 | 0.22375 | -0.013408 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_20150D
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 1400016 | 2020-06-02 |  | 4.522 | 4.475 | 101.0503 | 1.0503 | 0.22375 | 0.21006 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_20153A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 1550009 | 2020-06-08 |  | 0.321 | 0.356 | 90.1685 | -9.8315 | 0.046 | -0.76087 | 0.07 | 1986 |  |  |  | mg/L as N | N146 | KJNT_20157C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 1500213 | 2020-06-08 |  | 0.361 | 0.356 | 101.4045 | 1.4045 | 0.046 | 0.1087 | 0.07 | 1986 |  |  |  | mg/L as N | N146 | KJNT_20157B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 1560172 | 2020-06-09 |  | 4.597 | 4.475 | 102.7263 | 2.7263 | 0.22375 | 0.54525 | 0.07 | 1986 | See result laboratory comment |  |  | mg/L as N | NS31 | KJNT_20160B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 1610195 | 2020-06-15 |  | 0.109 | 0.122 | 89.3443 | -10.6557 | 0.038 | -0.34211 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N145 | KJNT_20167A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 1630143 | 2020-06-17 |  | 4.489 | 4.475 | 100.3128 | 0.31285 | 0.22375 | 0.06257 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_20167C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 1680150 | 2020-06-22 |  | 0.367 | 0.356 | 103.0899 | 3.0899 | 0.046 | 0.23913 | 0.07 | 1986 |  |  |  | mg/L as N | N146 | KJNT_20170B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 1700255 | 2020-06-23 |  | 4.589 | 4.475 | 102.5475 | 2.5475 | 0.22375 | 0.5095 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_20174A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 1750072 | 2020-06-24 |  | 0.1 | 0.122 | 81.9672 | -18.0328 | 0.038 | -0.57895 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N145 | KJNT_20175B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 1890185 | 2020-07-13 |  | 0.096 | 0.122 | 78.6885 | -21.3115 | 0.038 | -0.68421 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N145 | KJNT_20191B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 1910116 | 2020-07-14 |  | 4.458 | 4.475 | 99.6201 | -0.37989 | 0.22375 | -0.075978 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_20195A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 1960130 | 2020-07-23 |  | 0.3 | 0.356 | 84.2697 | -15.7303 | 0.046 | -1.2174 | 0.07 | 1986 |  |  |  | mg/L as N | N146 | KJNT_20197A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 1980096 | 2020-07-30 |  | 4.289 | 4.475 | 95.8436 | -4.1564 | 0.22375 | -0.83128 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_20211A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 2110028 | 2020-08-10 |  | 4.517 | 4.475 | 100.9385 | 0.93855 | 0.22375 | 0.18771 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_20219A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 2120196 | 2020-08-13 |  | 0.357 | 0.356 | 100.2809 | 0.2809 | 0.046 | 0.021739 | 0.07 | 1986 |  |  |  | mg/L as N | N146 | KJNT_20225A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 2170032 | 2020-08-17 |  | 0.348 | 0.356 | 97.7528 | -2.2472 | 0.046 | -0.17391 | 0.07 | 1986 |  |  |  | mg/L as N | N146 | KJNT_20226B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 2190157 | 2020-08-19 |  | 4.574 | 4.475 | 102.2123 | 2.2123 | 0.22375 | 0.44246 | 0.07 | 1986 |  |  |  | mg/L as N | NS29 | KJNT_20231A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 2240093 | 2020-08-24 |  | 0.108 | 0.122 | 88.5246 | -11.4754 | 0.038 | -0.36842 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N145 | KJNT_20233A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 2260119 | 2020-08-26 |  | 4.624 | 4.475 | 103.3296 | 3.3296 | 0.22375 | 0.66592 | 0.07 | 1986 |  |  |  | mg/L as N | NS29 | KJNT_20238A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 2320039 | 2020-08-31 |  | 0.33 | 0.356 | 92.6966 | -7.3034 | 0.046 | -0.56522 | 0.07 | 1986 |  |  |  | mg/L as N | N146 | KJNT_20239B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 2370047 | 2020-09-04 |  | 4.618 | 4.475 | 103.1955 | 3.1955 | 0.22375 | 0.63911 | 0.07 | 1986 | Sample was diluted |  |  | mg/L as N | NS29 | KJNT_20247A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 2390031 | 2020-09-10 |  | 0.126 | 0.122 | 103.2787 | 3.2787 | 0.038 | 0.10526 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N145 | KJNT_20252C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 2530140 | 2020-09-23 |  | 0.114 | 0.122 | 93.4426 | -6.5574 | 0.038 | -0.21053 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N145 | KJNT_20262B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 2590160 | 2020-09-25 |  | 0.362 | 0.356 | 101.6854 | 1.6854 | 0.046 | 0.13043 | 0.07 | 1986 |  |  |  | mg/L as N | N146 | KJNT_20268B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 2610179 | 2020-10-05 |  | 4.532 | 4.475 | 101.2737 | 1.2737 | 0.22375 | 0.25475 | 0.07 | 1986 | Sample was diluted |  |  | mg/L as N | NS31 | KJNT_20276B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 2670294 | 2020-10-09 |  | 0.12 | 0.122 | 98.3607 | -1.6393 | 0.038 | -0.052632 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N145 | KJNT_20281A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 2680086 | 2020-10-13 |  | 4.366 | 4.475 | 97.5642 | -2.4358 | 0.22375 | -0.48715 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_20283A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 2740059 | 2020-10-14 |  | 0.369 | 0.356 | 103.6517 | 3.6517 | 0.046 | 0.28261 | 0.07 | 1986 |  |  |  | mg/L as N | N146 | KJNT_20287B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 2810029 | 2020-10-19 |  | 0.303 | 0.356 | 85.1124 | -14.8876 | 0.053 | -1 | 0.07 | 1986 |  |  |  | mg/L as N | N148 | KJNT_20290B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 2820104 | 2020-10-20 |  | 4.644 | 4.475 | 103.7765 | 3.7765 | 0.22375 | 0.75531 | 0.07 | 1986 | Sample was diluted |  |  | mg/L as N | NS31 | KJNT_20293B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 2880072 | 2020-10-21 |  | 0.173 | 0.148 | 116.8919 | 16.8919 | 0.035 | 0.71429 | 0.07 | 1986 |  |  |  | mg/L as N | N147 | KJNT_20294A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 2890047 | 2020-10-21 |  | 4.579 | 4.475 | 102.324 | 2.324 | 0.22375 | 0.4648 | 0.07 | 1986 | Sample was diluted |  |  | mg/L as N | NS31 | KJNT_20294B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 2950030 | 2020-10-22 |  | 0.304 | 0.356 | 85.3933 | -14.6067 | 0.053 | -0.98113 | 0.07 | 1986 |  |  |  | mg/L as N | N148 | KJNT_20295B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2020 | 2540252 | 2020-10-26 |  | 4.577 | 4.475 | 102.2793 | 2.2793 | 0.22375 | 0.45587 | 0.07 | 1986 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/L as N | NS31 | KJNT_20297A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 2960117 | 2020-10-26 |  | 4.594 | 4.475 | 102.6592 | 2.6592 | 0.22375 | 0.53184 | 0.07 | 1986 | Sample was diluted |  |  | mg/L as N | NS31 | KJNT_20297A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 3010157 | 2020-11-18 |  | 0.113 | 0.148 | 76.3514 | -23.6486 | 0.035 | -1 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N147 | KJNT_20322A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 3080108 | 2020-11-20 |  | 0.12 | 0.148 | 81.0811 | -18.9189 | 0.035 | -0.8 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N147 | KJNT_20324A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 3100155 | 2020-11-23 |  | 4.587 | 4.475 | 102.5028 | 2.5028 | 0.22375 | 0.50056 | 0.07 | 1986 | Sample was diluted |  |  | mg/L as N | NS31 | KJNT_20325A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 3150103 | 2020-11-24 |  | 0.3 | 0.356 | 84.2697 | -15.7303 | 0.053 | -1.0566 | 0.07 | 1986 |  |  |  | mg/L as N | N148 | KJNT_20328A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 3230041 | 2020-11-25 |  | 0.127 | 0.148 | 85.8108 | -14.1892 | 0.035 | -0.6 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N147 | KJNT_20329A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 3180090 | 2020-11-25 |  | 4.559 | 4.475 | 101.8771 | 1.8771 | 0.22375 | 0.37542 | 0.07 | 1986 | Sample was diluted |  |  | mg/L as N | NS31 | KJNT_20329A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 3240160 | 2020-12-01 |  | 4.478 | 4.475 | 100.067 | 0.067039 | 0.22375 | 0.013408 | 0.07 | 1986 | Sample was diluted |  |  | mg/L as N | NS31 | KJNT_20330A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 3300051 | 2020-12-02 |  | 0.308 | 0.356 | 86.5169 | -13.4831 | 0.053 | -0.90566 | 0.07 | 1986 |  |  |  | mg/L as N | N148 | KJNT_20336B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 3440082 | 2020-12-10 |  | 0.292 | 0.356 | 82.0225 | -17.9775 | 0.053 | -1.2075 | 0.07 | 1986 |  |  |  | mg/L as N | N148 | KJNT_20344B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 3500075 | 2020-12-17 |  | 0.126 | 0.148 | 85.1351 | -14.8649 | 0.035 | -0.62857 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N147 | KJNT_20350C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 0050027 | 2021-01-07 |  | 0.131 | 0.148 | 88.5135 | -11.4865 | 0.035 | -0.48571 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N147 | KJNT_21006C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 3640018 | 2021-01-07 |  | 0.125 | 0.148 | 84.4595 | -15.5405 | 0.035 | -0.65714 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N147 | KJNT_21006C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 3580056 | 2021-01-07 |  | 0.292 | 0.356 | 82.0225 | -17.9775 | 0.053 | -1.2075 | 0.07 | 1986 |  |  |  | mg/L as N | N148 | KJNT_21006A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 0120034 | 2021-01-21 |  | 0.327 | 0.356 | 91.8539 | -8.1461 | 0.053 | -0.54717 | 0.07 | 1986 |  |  |  | mg/L as N | N148 | KJNT_21019C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 0210018 | 2021-02-02 |  | 0.143 | 0.148 | 96.6216 | -3.3784 | 0.035 | -0.14286 | 0.07 | 1986 |  |  |  | mg/L as N | N147 | KJNT_21032A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 0270075 | 2021-02-03 |  | 0.274 | 0.356 | 76.9663 | -23.0337 | 0.053 | -1.5472 | 0.07 | 1986 |  |  |  | mg/L as N | N148 | KJNT_21033A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 0330079 | 2021-02-10 |  | 0.117 | 0.148 | 79.0541 | -20.9459 | 0.035 | -0.88571 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N147 | KJNT_21040B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 0400077 | 2021-02-18 |  | 0.291 | 0.356 | 81.7416 | -18.2584 | 0.053 | -1.2264 | 0.07 | 1986 |  |  |  | mg/L as N | N148 | KJNT_21048A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 0480039 | 2021-03-02 |  | 0.142 | 0.148 | 95.9459 | -4.0541 | 0.035 | -0.17143 | 0.07 | 1986 |  |  |  | mg/L as N | N147 | KJNT_21060A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 0540057 | 2021-03-02 |  | 0.282 | 0.356 | 79.2135 | -20.7865 | 0.053 | -1.3962 | 0.07 | 1986 |  |  |  | mg/L as N | N148 | KJNT_21060B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 0620097 | 2021-03-10 |  | 0.131 | 0.148 | 88.5135 | -11.4865 | 0.035 | -0.48571 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N147 | KJNT_21068B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 0630016 | 2021-03-10 |  | 4.401 | 4.475 | 98.3464 | -1.6536 | 0.22375 | -0.33073 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_21068B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 0680066 | 2021-03-11 |  | 0.279 | 0.356 | 78.3708 | -21.6292 | 0.053 | -1.4528 | 0.07 | 1986 |  |  |  | mg/L as N | N148 | KJNT_21069B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 0690091 | 2021-03-17 |  | 4.442 | 4.475 | 99.2626 | -0.73743 | 0.22375 | -0.14749 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_21075A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 0760024 | 2021-03-24 |  | 0.147 | 0.148 | 99.3243 | -0.67568 | 0.035 | -0.028571 | 0.07 | 1986 |  |  |  | mg/L as N | N147 | KJNT_21082A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 0770043 | 2021-03-24 |  | 4.513 | 4.475 | 100.8492 | 0.84916 | 0.22375 | 0.16983 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_21082B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 0830031 | 2021-03-30 |  | 0.308 | 0.356 | 86.5169 | -13.4831 | 0.053 | -0.90566 | 0.07 | 1986 |  |  |  | mg/L as N | N148 | KJNT_21088B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 0970044 | 2021-04-21 |  | 0.424 | 0.4 | 106 | 6 | 0.045 | 0.53333 | 0.07 | 1986 |  |  |  | mg/L as N | N150 | KJNT_21110A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 0980122 | 2021-04-21 |  | 4.483 | 4.475 | 100.1788 | 0.17877 | 0.22375 | 0.035754 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_21110C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 1030143 | 2021-04-26 |  | 0.198 | 0.17 | 116.4706 | 16.4706 | 0.035 | 0.8 | 0.07 | 1986 |  |  |  | mg/L as N | N149 | KJNT_21112A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 1050217 | 2021-04-27 |  | 4.523 | 4.475 | 101.0726 | 1.0726 | 0.22375 | 0.21453 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_21116B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 1110006 | 2021-04-28 |  | 0.411 | 0.4 | 102.75 | 2.75 | 0.045 | 0.24444 | 0.07 | 1986 |  |  |  | mg/L as N | N150 | KJNT_21117A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 1120203 | 2021-05-05 |  | 4.504 | 4.475 | 100.648 | 0.64804 | 0.22375 | 0.12961 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_21124A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 1180041 | 2021-05-06 |  | 0.177 | 0.17 | 104.1176 | 4.1176 | 0.035 | 0.2 | 0.07 | 1986 |  |  |  | mg/L as N | N149 | KJNT_21125B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 1250006 | 2021-05-11 |  | 0.154 | 0.17 | 90.5882 | -9.4118 | 0.035 | -0.45714 | 0.07 | 1986 |  |  |  | mg/L as N | N149 | KJNT_21130A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 1260125 | 2021-05-12 |  | 4.463 | 4.475 | 99.7318 | -0.26816 | 0.22375 | -0.053631 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_21131B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 1320166 | 2021-05-25 |  | 0.477 | 0.4 | 119.25 | 19.25 | 0.045 | 1.7111 | 0.07 | 1986 |  |  |  | mg/L as N | N150 | KJNT_21144A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 1380137 | 2021-05-26 |  | 0.17 | 0.17 | 100 | 0 | 0.035 | 0 | 0.07 | 1986 |  |  |  | mg/L as N | N149 | KJNT_21145C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 1330236 | 2021-05-27 |  | 4.546 | 4.475 | 101.5866 | 1.5866 | 0.22375 | 0.31732 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_21146A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 1390136 | 2021-05-27 |  | 4.546 | 4.475 | 101.5866 | 1.5866 | 0.22375 | 0.31732 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_21146B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 1460002 | 2021-06-03 |  | 0.36 | 0.4 | 90 | -10 | 0.045 | -0.88889 | 0.07 | 1986 |  |  |  | mg/L as N | N150 | KJNT_21153A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 1540137 | 2021-06-09 |  | 0.397 | 0.4 | 99.25 | -0.75 | 0.045 | -0.066667 | 0.07 | 1986 |  |  |  | mg/L as N | N150 | KJNT_21159A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 1600029 | 2021-06-14 |  | 0.181 | 0.17 | 106.4706 | 6.4706 | 0.035 | 0.31429 | 0.07 | 1986 |  |  |  | mg/L as N | N149 | KJNT_21161B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 1600028 | 2021-06-14 |  | 4.506 | 4.475 | 100.6927 | 0.69274 | 0.22375 | 0.13855 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_21161B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 1610183 | 2021-06-15 |  | 4.521 | 4.475 | 101.0279 | 1.0279 | 0.22375 | 0.20559 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_21165C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 1660117 | 2021-06-21 |  | 0.389 | 0.4 | 97.25 | -2.75 | 0.045 | -0.24444 | 0.07 | 1986 |  |  |  | mg/L as N | N150 | KJNT_21169C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 1680021 | 2021-06-22 |  | 4.548 | 4.475 | 101.6313 | 1.6313 | 0.22375 | 0.32626 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_21172B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 1730216 | 2021-06-28 |  | 0.167 | 0.17 | 98.2353 | -1.7647 | 0.035 | -0.085714 | 0.07 | 1986 |  |  |  | mg/L as N | N149 | KJNT_21176C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 1880115 | 2021-07-20 |  | 0.183 | 0.17 | 107.6471 | 7.6471 | 0.035 | 0.37143 | 0.07 | 1986 |  |  |  | mg/L as N | N149 | KJNT_21200D
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 1890251 | 2021-07-21 |  | 4.558 | 4.475 | 101.8547 | 1.8547 | 0.22375 | 0.37095 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_21201C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 1940225 | 2021-07-26 |  | 0.379 | 0.4 | 94.75 | -5.25 | 0.045 | -0.46667 | 0.07 | 1986 |  |  |  | mg/L as N | N150 | KJNT_21204A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 2010233 | 2021-08-04 |  | 0.224 | 0.17 | 131.7647 | 31.7647 | 0.035 | 1.5429 | 0.07 | 1986 |  |  |  | mg/L as N | N149 | KJNT_21215A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 2020245 | 2021-08-04 |  | 4.566 | 4.475 | 102.0335 | 2.0335 | 0.22375 | 0.4067 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_21215B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 2080176 | 2021-08-10 |  | 0.409 | 0.4 | 102.25 | 2.25 | 0.045 | 0.2 | 0.07 | 1986 |  |  |  | mg/L as N | N150 | KJNT_21221B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 2150044 | 2021-08-17 |  | 0.445 | 0.4 | 111.25 | 11.25 | 0.045 | 1 | 0.07 | 1986 |  |  |  | mg/L as N | N150 | KJNT_21228A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 2170007 | 2021-08-23 |  | 4.48 | 4.475 | 100.1117 | 0.11173 | 0.22375 | 0.022346 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_21231A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 2220182 | 2021-08-25 |  | 0.189 | 0.17 | 111.1765 | 11.1765 | 0.035 | 0.54286 | 0.07 | 1986 |  |  |  | mg/L as N | N149 | KJNT_21236A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 2240201 | 2021-08-30 |  | 4.486 | 4.475 | 100.2458 | 0.24581 | 0.22375 | 0.049162 | 0.07 | 1986 | Sample was diluted |  |  | mg/L as N | NS31 | KJNT_21238A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 2290124 | 2021-08-31 |  | 0.406 | 0.4 | 101.5 | 1.5 | 0.045 | 0.13333 | 0.07 | 1986 |  |  |  | mg/L as N | N150 | KJNT_21242C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 2310208 | 2021-09-02 |  | 4.558 | 4.475 | 101.8547 | 1.8547 | 0.22375 | 0.37095 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_21244B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 2360117 | 2021-09-08 |  | 0.204 | 0.17 | 120 | 20 | 0.035 | 0.97143 | 0.07 | 1986 |  |  |  | mg/L as N | N149 | KJNT_21250B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 2510432 | 2021-09-21 |  | 0.193 | 0.17 | 113.5294 | 13.5294 | 0.035 | 0.65714 | 0.07 | 1986 |  |  |  | mg/L as N | N149 | KJNT_21263D
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 2520504 | 2021-09-22 |  | 4.532 | 4.475 | 101.2737 | 1.2737 | 0.22375 | 0.25475 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_21264B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 2580266 | 2021-09-27 |  | 0.387 | 0.4 | 96.75 | -3.25 | 0.045 | -0.28889 | 0.07 | 1986 |  |  |  | mg/L as N | N150 | KJNT_21266C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 2590008 | 2021-09-27 |  | 4.282 | 4.475 | 95.6872 | -4.3128 | 0.22375 | -0.86257 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_21266C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 2640269 | 2021-09-28 |  | 0.183 | 0.17 | 107.6471 | 7.6471 | 0.035 | 0.37143 | 0.07 | 1986 |  |  |  | mg/L as N | N149 | KJNT_21270C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 2660013 | 2021-09-29 |  | 4.603 | 4.475 | 102.8603 | 2.8603 | 0.22375 | 0.57207 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_21271C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2021 | 2790016 | 2021-10-13 |  | 0.511 | 0.4 | 127.75 | 27.75 | 0.045 | 2.4667 | 0.07 | 1986 |  |  |  | mg/L as N | N150 | KJNT_21285A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 2790020 | 2021-10-13 |  | 0.33 | 0.333 | 99.0991 | -0.9009 | 0.089 | -0.033708 | 0.07 | 1986 |  |  |  | mg/L as N | N152 | KJNT_21285A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 2800044 | 2021-10-13 |  | 4.636 | 4.475 | 103.5978 | 3.5978 | 0.22375 | 0.71955 | 0.07 | 1986 | Sample was diluted |  |  | mg/L as N | NS31 | KJNT_21285B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 2870240 | 2021-10-19 |  | 0.076 | 0.092 | 82.6087 | -17.3913 | 0.062 | -0.25806 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N151 | KJNT_21291A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 2940010 | 2021-10-26 |  | 0.344 | 0.333 | 103.3033 | 3.3033 | 0.089 | 0.1236 | 0.07 | 1986 |  |  |  | mg/L as N | N152 | KJNT_21298B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 2940004 | 2021-10-26 |  | 4.381 | 4.475 | 97.8994 | -2.1006 | 0.22375 | -0.42011 | 0.07 | 1986 |  |  |  | mg/L as N | NS31 | KJNT_21298B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 2940109 | 2021-10-27 |  | 4.526 | 4.475 | 101.1397 | 1.1397 | 0.22375 | 0.22793 | 0.07 | 1986 | Sample was diluted |  |  | mg/L as N | NS31 | KJNT_21299B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 3000135 | 2021-11-02 |  | 0.071 | 0.092 | 77.1739 | -22.8261 | 0.062 | -0.33871 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N151 | KJNT_21305A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 3060202 | 2021-11-03 |  | 0.146 | 0.092 | 158.6957 | 58.6957 | 0.062 | 0.87097 | 0.07 | 1986 |  |  |  | mg/L as N | N151 | KJNT_21306C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 3080209 | 2021-11-10 |  | 4.47 | 4.475 | 99.8883 | -0.11173 | 0.22375 | -0.022346 | 0.07 | 1986 | Sample was diluted |  |  | mg/L as N | NS31 | KJNT_21313A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 3130188 | 2021-11-17 |  | 0.398 | 0.333 | 119.5195 | 19.5195 | 0.089 | 0.73034 | 0.07 | 1986 |  |  |  | mg/L as N | N152 | KJNT_21320A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 3200074 | 2021-11-18 |  | 0.082 | 0.092 | 89.1304 | -10.8696 | 0.062 | -0.16129 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N151 | KJNT_21321A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 3190111 | 2021-11-18 |  | 4.467 | 4.475 | 99.8212 | -0.17877 | 0.22375 | -0.035754 | 0.07 | 1986 | Sample was diluted |  |  | mg/L as N | NS31 | KJNT_21321A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 3220100 | 2021-11-30 |  | 4.475 | 4.475 | 100 | 0 | 0.22375 | 0 | 0.07 | 1986 | Sample was diluted |  |  | mg/L as N | NS31 | KJNT_21333A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 3270276 | 2021-12-02 |  | 0.352 | 0.333 | 105.7057 | 5.7057 | 0.089 | 0.21348 | 0.07 | 1986 |  |  |  | mg/L as N | N152 | KJNT_21335B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 3410063 | 2021-12-09 |  | 0.357 | 0.333 | 107.2072 | 7.2072 | 0.089 | 0.26966 | 0.07 | 1986 |  |  |  | mg/L as N | N152 | KJNT_21342A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 3570005 | 2022-01-05 |  | 0.332 | 0.333 | 99.6997 | -0.3003 | 0.089 | -0.011236 | 0.07 | 1986 |  |  |  | mg/L as N | N152 | KJNT_22003B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 0050042 | 2022-01-10 |  | 0.094 | 0.092 | 102.1739 | 2.1739 | 0.062 | 0.032258 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N151 | KJNT_22007B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 3640136 | 2022-01-10 |  | 0.084 | 0.092 | 91.3043 | -8.6957 | 0.062 | -0.12903 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N151 | KJNT_22007A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 0120119 | 2022-01-24 |  | 0.323 | 0.333 | 96.997 | -3.003 | 0.089 | -0.11236 | 0.07 | 1986 |  |  |  | mg/L as N | N152 | KJNT_22020A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 0190122 | 2022-01-26 |  | 0.116 | 0.092 | 126.087 | 26.087 | 0.062 | 0.3871 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N151 | KJNT_22024A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 0250047 | 2022-02-01 |  | 0.362 | 0.333 | 108.7087 | 8.7087 | 0.089 | 0.32584 | 0.07 | 1986 |  |  |  | mg/L as N | N152 | KJNT_22031A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 0380064 | 2022-03-01 |  | 0.344 | 0.333 | 103.3033 | 3.3033 | 0.089 | 0.1236 | 0.07 | 1986 |  |  |  | mg/L as N | N152 | KJNT_22059A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 0390079 | 2022-03-03 |  | 0.109 | 0.092 | 118.4783 | 18.4783 | 0.062 | 0.27419 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N151 | KJNT_22060B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 0480133 | 2022-05-02 |  | 0.357 | 0.333 | 107.2072 | 7.2072 | 0.089 | 0.26966 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N152 | KJNT_22118A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 0670121 | 2022-05-05 |  | 0.318 | 0.333 | 95.4955 | -4.5045 | 0.089 | -0.16854 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N152 | KJNT_22124D
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 0690222 | 2022-05-12 |  | 4.17 | 4.475 | 93.1844 | -6.8156 | 0.22375 | -1.3631 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | NS31 | KJNT_22130B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 0820070 | 2022-05-17 |  | 0.278 | 0.333 | 83.4835 | -16.5165 | 0.089 | -0.61798 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N152 | KJNT_22136A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 0770098 | 2022-05-17 |  | 4.488 | 4.475 | 100.2905 | 0.2905 | 0.22375 | 0.058101 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | NS31 | KJNT_22132B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 0880101 | 2022-06-01 |  | 0.153 | 0.092 | 166.3043 | 66.3043 | 0.062 | 0.98387 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N151 | KJNT_22144A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 0900128 | 2022-06-02 |  | 4.599 | 4.475 | 102.7709 | 2.7709 | 0.22375 | 0.55419 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | NS31 | KJNT_22145C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 1580092 | 2022-10-07 |  | 0.072 | 0.1 | 72 | -28 | 0.049 | -0.57143 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N153 | KJNT_22279C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 1660165 | 2022-10-13 |  | 0.072 | 0.1 | 72 | -28 | 0.049 | -0.57143 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N153 | KJNT_22285A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 1730129 | 2022-10-18 |  | 0.101 | 0.1 | 101 | 1 | 0.049 | 0.020408 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N153 | KJNT_22290C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 1930198 | 2022-11-01 |  | 0.082 | 0.1 | 82 | -18 | 0.049 | -0.36735 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N153 | KJNT_22301C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 2000027 | 2022-11-08 |  | 0.116 | 0.1 | 116 | 16 | 0.049 | 0.32653 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N153 | KJNT_22311A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 2080417 | 2022-11-23 |  | 0.087 | 0.1 | 87 | -13 | 0.049 | -0.26531 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N153 | KJNT_22326A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 3200147 | 2022-11-30 |  | 0.088 | 0.133 | 66.1654 | -33.8346 | 0.112 | -0.40179 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N155 | KJNT_22333B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 3260047 | 2022-11-30 |  | 0.11 | 0.133 | 82.7068 | -17.2932 | 0.112 | -0.20536 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N155 | KJNT_22333A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 3190028 | 2022-11-30 |  | 0.398 | 0.404 | 98.5149 | -1.4851 | 0.111 | -0.054054 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_22333D
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 3210273 | 2022-11-30 |  | 0.398 | 0.404 | 98.5149 | -1.4851 | 0.111 | -0.054054 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_22333A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 3070232 | 2022-12-06 |  | 0.383 | 0.404 | 94.802 | -5.198 | 0.111 | -0.18919 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N156 | KJNT_22334D
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 3340032 | 2022-12-07 |  | 0.418 | 0.404 | 103.4653 | 3.4653 | 0.111 | 0.12613 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_22341B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 3400091 | 2022-12-07 |  | 0.435 | 0.404 | 107.6733 | 7.6733 | 0.111 | 0.27928 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_22341A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 3060050 | 2022-12-08 |  | 0.085 | 0.133 | 63.9098 | -36.0902 | 0.112 | -0.42857 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N155 | KJNT_22341C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 3420130 | 2022-12-13 |  | 0.103 | 0.133 | 77.4436 | -22.5564 | 0.112 | -0.26786 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N155 | KJNT_22346B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 3000167 | 2022-12-14 |  | 0.107 | 0.133 | 80.4511 | -19.5489 | 0.112 | -0.23214 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N155 | KJNT_22346D
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 2990138 | 2022-12-20 |  | 0.376 | 0.404 | 93.0693 | -6.9307 | 0.111 | -0.25225 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N156 | KJNT_22346F
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 3490122 | 2022-12-21 |  | 0.397 | 0.404 | 98.2673 | -1.7327 | 0.111 | -0.063063 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_22355B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 3620088 | 2022-12-30 |  | 0.085 | 0.133 | 63.9098 | -36.0902 | 0.112 | -0.42857 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N155 | KJNT_22364A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 3610137 | 2022-12-30 |  | 0.387 | 0.404 | 95.7921 | -4.2079 | 0.111 | -0.15315 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_22364A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 2280354 | 2023-01-26 |  | 0.082 | 0.1 | 82 | -18 | 0.049 | -0.36735 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N153 | KJNT_23025A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 0040116 | 2023-01-30 |  | 0.363 | 0.404 | 89.8515 | -10.1485 | 0.111 | -0.36937 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N156 | KJNT_23026A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 0100105 | 2023-01-31 |  | 0.074 | 0.133 | 55.6391 | -44.3609 | 0.112 | -0.52679 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N155 | KJNT_23026D
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 0120195 | 2023-01-31 |  | 0.402 | 0.404 | 99.505 | -0.49505 | 0.111 | -0.018018 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_23030B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 0190115 | 2023-02-01 |  | 0.101 | 0.133 | 75.9398 | -24.0602 | 0.112 | -0.28571 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N155 | KJNT_23030F
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 0250118 | 2023-02-01 |  | 0.151 | 0.133 | 113.5338 | 13.5338 | 0.112 | 0.16071 | 0.07 | 1986 |  |  |  | mg/L as N | N155 | KJNT_23031D
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 0260068 | 2023-02-01 |  | 0.427 | 0.404 | 105.6931 | 5.6931 | 0.111 | 0.20721 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_23031D
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 0240118 | 2023-02-01 |  | 0.42 | 0.404 | 103.9604 | 3.9604 | 0.111 | 0.14414 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_23031B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 2360394 | 2023-02-02 |  | 0.099 | 0.1 | 99 | -1 | 0.049 | -0.020408 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N153 | KJNT_23033B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2022 | 2500495 | 2023-02-14 |  | 0.097 | 0.1 | 97 | -3 | 0.049 | -0.061224 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N153 | KJNT_23045B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 0310088 | 2023-02-17 |  | 0.15 | 0.133 | 112.782 | 12.782 | 0.112 | 0.15179 | 0.07 | 1986 |  |  |  | mg/L as N | N155 | KJNT_23047A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 0320035 | 2023-02-17 |  | 0.386 | 0.404 | 95.5446 | -4.4554 | 0.111 | -0.16216 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_23047A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 0400094 | 2023-02-23 |  | 0.085 | 0.133 | 63.9098 | -36.0902 | 0.112 | -0.42857 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N155 | KJNT_23052B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 0380147 | 2023-02-24 |  | 0.375 | 0.404 | 92.8218 | -7.1782 | 0.111 | -0.26126 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_23047D
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 0470005 | 2023-02-24 |  | 0.365 | 0.404 | 90.3465 | -9.6535 | 0.111 | -0.35135 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_23052C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 0540082 | 2023-02-28 |  | 0.169 | 0.133 | 127.0677 | 27.0677 | 0.112 | 0.32143 | 0.07 | 1986 |  |  |  | mg/L as N | N155 | KJNT_23058B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 2770118 | 2023-03-09 |  | 0.358 | 0.404 | 88.6139 | -11.3861 | 0.111 | -0.41441 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N156 | KJNT_23066C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 2790115 | 2023-03-14 |  | 0.094 | 0.133 | 70.6767 | -29.3233 | 0.112 | -0.34821 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N155 | KJNT_23069A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 2910108 | 2023-03-14 |  | 0.083 | 0.133 | 62.406 | -37.594 | 0.112 | -0.44643 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N155 | KJNT_23072D
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 2860105 | 2023-03-14 |  | 0.395 | 0.404 | 97.7723 | -2.2277 | 0.111 | -0.081081 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N156 | KJNT_23072C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 2920224 | 2023-03-14 |  | 0.681 | 0.404 | 168.5644 | 68.5644 | 0.111 | 2.4955 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N156 | KJNT_23073A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 0590095 | 2023-03-15 |  | 0.374 | 0.404 | 92.5743 | -7.4257 | 0.111 | -0.27027 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_23073C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 0600117 | 2023-03-16 |  | 0.081 | 0.133 | 60.9023 | -39.0977 | 0.112 | -0.46429 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N155 | KJNT_23074A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 0620099 | 2023-03-16 |  | 0.7 | 0.404 | 173.2673 | 73.2673 | 0.111 | 2.6667 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_23075D
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 0660112 | 2023-03-17 |  | 0.071 | 0.133 | 53.3835 | -46.6165 | 0.112 | -0.55357 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N155 | KJNT_23075E
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 0670101 | 2023-03-17 |  | 0.108 | 0.133 | 81.203 | -18.797 | 0.112 | -0.22321 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N155 | KJNT_23076A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 0740036 | 2023-03-21 |  | 0.2 | 0.133 | 150.3759 | 50.3759 | 0.112 | 0.59821 | 0.07 | 1986 |  |  |  | mg/L as N | N155 | KJNT_23079D
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 0750099 | 2023-03-22 |  | 0.23 | 0.404 | 56.9307 | -43.0693 | 0.111 | -1.5676 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_23079F
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 2930113 | 2023-03-23 |  | 0.134 | 0.133 | 100.7519 | 0.75188 | 0.112 | 0.0089286 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N155 | KJNT_23081C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 0800083 | 2023-03-27 |  | 0.102 | 0.133 | 76.6917 | -23.3083 | 0.112 | -0.27679 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N155 | KJNT_23082C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 0680151 | 2023-03-28 |  | 0.381 | 0.404 | 94.3069 | -5.6931 | 0.111 | -0.20721 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_23083A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 0820085 | 2023-03-28 |  | 0.294 | 0.404 | 72.7723 | -27.2277 | 0.111 | -0.99099 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_23083B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 0880095 | 2023-03-31 |  | 0.319 | 0.133 | 239.8496 | 139.8496 | 0.112 | 1.6607 | 0.07 | 1986 |  |  |  | mg/L as N | N155 | KJNT_23090A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 0890108 | 2023-03-31 |  | 0.39 | 0.404 | 96.5347 | -3.4653 | 0.111 | -0.12613 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_23090B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 1020108 | 2023-04-27 |  | 0.262 | 0.245 | 106.9388 | 6.9388 | 0.11 | 0.15455 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23117A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 0940132 | 2023-05-01 |  | 0.292 | 0.245 | 119.1837 | 19.1837 | 0.11 | 0.42727 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23103A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 1090193 | 2023-05-02 |  | 0.102 | 0.086 | 118.6047 | 18.6047 | 0.082 | 0.19512 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N157 | KJNT_23118B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 1100091 | 2023-05-02 |  | 0.228 | 0.245 | 93.0612 | -6.9388 | 0.11 | -0.15455 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23118C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 1170150 | 2023-05-10 |  | 0.24 | 0.245 | 97.9592 | -2.0408 | 0.11 | -0.045455 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23128B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 1230176 | 2023-05-11 |  | 0.103 | 0.086 | 119.7674 | 19.7674 | 0.082 | 0.20732 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N157 | KJNT_23131A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 1240212 | 2023-05-16 |  | 0.257 | 0.245 | 104.898 | 4.898 | 0.11 | 0.10909 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23131C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 1300164 | 2023-05-25 |  | 0.08 | 0.086 | 93.0233 | -6.9767 | 0.082 | -0.073171 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N157 | KJNT_23144B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 1300163 | 2023-05-25 |  | 0.245 | 0.245 | 100 | 0 | 0.11 | 0 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23144B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 1360049 | 2023-05-30 |  | 0.101 | 0.086 | 117.4419 | 17.4419 | 0.082 | 0.18293 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N157 | KJNT_23150A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 1360051 | 2023-05-30 |  | 0.268 | 0.245 | 109.3878 | 9.3878 | 0.11 | 0.20909 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23150A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 1440064 | 2023-06-01 |  | 0.236 | 0.245 | 96.3265 | -3.6735 | 0.11 | -0.081818 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23152A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 1570044 | 2023-06-13 |  | 0.237 | 0.245 | 96.7347 | -3.2653 | 0.11 | -0.072727 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23163B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 1650068 | 2023-06-22 |  | 0.207 | 0.245 | 84.4898 | -15.5102 | 0.11 | -0.34545 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23172A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 1730212 | 2023-07-05 |  | 0.254 | 0.245 | 103.6735 | 3.6735 | 0.11 | 0.081818 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23186A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 1790031 | 2023-07-19 |  | 0.073 | 0.086 | 84.8837 | -15.1163 | 0.082 | -0.15854 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N157 | KJNT_23195B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 1840088 | 2023-07-20 |  | 0.18 | 0.245 | 73.4694 | -26.5306 | 0.11 | -0.59091 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23199C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 1920172 | 2023-07-27 |  | 0.208 | 0.245 | 84.898 | -15.102 | 0.11 | -0.33636 | 0.07 | 1986 | Matrix spike (MS) recovery outside of acceptable range |  |  | mg/L as N | N158 | KJNT_23205B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 1980052 | 2023-07-28 |  | 0.224 | 0.245 | 91.4286 | -8.5714 | 0.11 | -0.19091 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23207D
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 1990167 | 2023-08-02 |  | 0.083 | 0.086 | 96.5116 | -3.4884 | 0.082 | -0.036585 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N157 | KJNT_23212B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 2020027 | 2023-08-03 |  | 0.247 | 0.245 | 100.8163 | 0.81633 | 0.11 | 0.018182 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23212E
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 2080232 | 2023-08-10 |  | 0.25 | 0.245 | 102.0408 | 2.0408 | 0.11 | 0.045455 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23221D
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 2280169 | 2023-08-24 |  | 0.244 | 0.245 | 99.5918 | -0.40816 | 0.11 | -0.0090909 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23234C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 2500320 | 2023-09-22 |  | 0.244 | 0.245 | 99.5918 | -0.40816 | 0.11 | -0.0090909 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23255F
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 2570186 | 2023-09-27 |  | 0.221 | 0.245 | 90.2041 | -9.7959 | 0.11 | -0.21818 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23268A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 2200130 | 2023-09-27 |  | 0.197 | 0.245 | 80.4082 | -19.5918 | 0.11 | -0.43636 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N158 | KJNT_23229B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 2720019 | 2023-10-12 |  | 0.16 | 0.245 | 65.3061 | -34.6939 | 0.11 | -0.77273 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23283C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 2860132 | 2023-10-20 |  | 0.085 | 0.12 | 70.8333 | -29.1667 | 0.035 | -1 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N159 | KJNT_23292A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 2850092 | 2023-10-20 |  | 0.569 | 0.54 | 105.3704 | 5.3704 | 0.069 | 0.42029 | 0.07 | 1986 |  |  |  | mg/L as N | N160 | KJNT_23292A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 2760036 | 2023-10-25 |  | 0.47 | 0.54 | 87.037 | -12.963 | 0.069 | -1.0145 | 0.07 | 1986 |  |  |  | mg/L as N | N160 | KJNT_23297B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 2900165 | 2023-10-25 |  | 0.478 | 0.54 | 88.5185 | -11.4815 | 0.069 | -0.89855 | 0.07 | 1986 |  |  |  | mg/L as N | N160 | KJNT_23297B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 2990158 | 2023-11-03 |  | 0.079 | 0.12 | 65.8333 | -34.1667 | 0.035 | -1.1714 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N159 | KJNT_23305A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 2930012 | 2023-11-29 |  | 0.136 | 0.12 | 113.3333 | 13.3333 | 0.035 | 0.45714 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N159 | KJNT_23331A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 2980083 | 2023-12-01 |  | 0.518 | 0.54 | 95.9259 | -4.0741 | 0.069 | -0.31884 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_23334A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 3130130 | 2023-12-01 |  | 0.511 | 0.54 | 94.6296 | -5.3704 | 0.069 | -0.42029 | 0.07 | 1986 |  |  |  | mg/L as N | N160 | KJNT_23334A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 3190186 | 2023-12-15 |  | 0.077 | 0.12 | 64.1667 | -35.8333 | 0.035 | -1.2286 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N159 | KJNT_23348B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 3250151 | 2023-12-18 |  | 0.125 | 0.12 | 104.1667 | 4.1667 | 0.035 | 0.14286 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N159 | KJNT_23349B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 3210044 | 2023-12-18 |  | 0.467 | 0.54 | 86.4815 | -13.5185 | 0.069 | -1.058 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_23349A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 3320177 | 2023-12-20 |  | 0.466 | 0.54 | 86.2963 | -13.7037 | 0.069 | -1.0725 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_23353B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 3340082 | 2023-12-21 |  | 0.075 | 0.12 | 62.5 | -37.5 | 0.035 | -1.2857 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N159 | KJNT_23355A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 3420010 | 2024-01-08 |  | 0.113 | 0.12 | 94.1667 | -5.8333 | 0.035 | -0.2 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N159 | KJNT_24002B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 3460242 | 2024-02-06 |  | 0.554 | 0.54 | 102.5926 | 2.5926 | 0.069 | 0.2029 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_24036B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 3470279 | 2024-02-29 |  | 0.135 | 0.12 | 112.5 | 12.5 | 0.035 | 0.42857 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N159 | KJNT_24058A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 3530162 | 2024-03-08 |  | 0.502 | 0.54 | 92.963 | -7.037 | 0.069 | -0.55072 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_24067B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 0230081 | 2024-03-12 |  | 0.097 | 0.12 | 80.8333 | -19.1667 | 0.035 | -0.65714 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N159 | KJNT_24031A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2023 | 2640109 | 2024-03-13 |  | 0.227 | 0.245 | 92.6531 | -7.3469 | 0.11 | -0.16364 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N158 | KJNT_23270B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 3350126 | 2024-03-18 |  | 0.487 | 0.54 | 90.1852 | -9.8148 | 0.069 | -0.76812 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_23355B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 0030062 | 2024-03-19 |  | 0.156 | 0.12 | 130 | 30 | 0.035 | 1.0286 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N159 | KJNT_24078C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 0040090 | 2024-03-19 |  | 0.53 | 0.54 | 98.1481 | -1.8519 | 0.069 | -0.14493 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_24078C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 3610065 | 2024-03-20 |  | 0.553 | 0.54 | 102.4074 | 2.4074 | 0.069 | 0.18841 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_24078B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 3550285 | 2024-03-23 |  | 0.074 | 0.12 | 61.6667 | -38.3333 | 0.035 | -1.3143 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N159 | KJNT_24075A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 0580160 | 2024-03-26 |  | 0.546 | 0.54 | 101.1111 | 1.1111 | 0.069 | 0.086957 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_24085C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 0610078 | 2024-04-01 |  | 0.083 | 0.12 | 69.1667 | -30.8333 | 0.035 | -1.0571 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N159 | KJNT_24088D
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 0660045 | 2024-04-06 |  | 0.109 | 0.12 | 90.8333 | -9.1667 | 0.035 | -0.31429 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N159 | KJNT_24096A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 0170013 | 2024-04-10 |  | 0.096 | 0.12 | 80 | -20 | 0.035 | -0.68571 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N159 | KJNT_24099A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 0120127 | 2024-04-10 |  | 0.454 | 0.54 | 84.0741 | -15.9259 | 0.069 | -1.2464 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_24099A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 3390055 | 2024-04-11 |  | 0.431 | 0.54 | 79.8148 | -20.1852 | 0.069 | -1.5797 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_24079A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 0180111 | 2024-04-15 |  | 0.483 | 0.54 | 89.4444 | -10.5556 | 0.069 | -0.82609 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_24102D
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 0790096 | 2024-04-18 |  | 0.396 | 0.54 | 73.3333 | -26.6667 | 0.069 | -2.087 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_24103D
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 0250068 | 2024-04-20 |  | 0.438 | 0.54 | 81.1111 | -18.8889 | 0.069 | -1.4783 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_24103E
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 0880017 | 2024-04-26 |  | 0.099 | 0.12 | 82.5 | -17.5 | 0.035 | -0.6 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N159 | KJNT_24115B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 0880080 | 2024-04-26 |  | 0.426 | 0.54 | 78.8889 | -21.1111 | 0.069 | -1.6522 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_24115B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 0930095 | 2024-04-29 |  | 2.707 | 2.75 | 98.4364 | -1.5636 | 0.158 | -0.27215 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24116B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 0800005 | 2024-05-04 |  | 0.105 | 0.12 | 87.5 | -12.5 | 0.035 | -0.42857 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N159 | KJNT_24123F
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 0670130 | 2024-05-04 |  | 0.468 | 0.54 | 86.6667 | -13.3333 | 0.069 | -1.0435 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_24123E
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 1000110 | 2024-05-07 |  | 2.729 | 2.75 | 99.2364 | -0.76364 | 0.158 | -0.13291 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N162 | KJNT_24124D
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 1070227 | 2024-05-09 |  | 2.705 | 2.75 | 98.3636 | -1.6364 | 0.158 | -0.28481 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24128B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 1150017 | 2024-05-16 |  | 2.724 | 2.75 | 99.0545 | -0.94545 | 0.158 | -0.16456 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24135B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 1300152 | 2024-05-29 |  | 2.598 | 2.75 | 94.4727 | -5.5273 | 0.158 | -0.96203 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24142E
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 0810193 | 2024-05-30 |  | 0.574 | 0.54 | 106.2963 | 6.2963 | 0.069 | 0.49275 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_24150A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 0730122 | 2024-06-11 |  | 0.162 | 0.12 | 135 | 35 | 0.035 | 1.2 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N159 | KJNT_24095A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 1500148 | 2024-06-11 |  | 0.244 | 0.14 | 174.2857 | 74.2857 | 0.09 | 1.1556 | 0.07 | 1986 |  |  |  | mg/L as N | N161 | KJNT_24157E
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 1520090 | 2024-06-13 |  | 2.636 | 2.75 | 95.8545 | -4.1455 | 0.158 | -0.72152 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24164A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 1280109 | 2024-06-21 |  | 0.181 | 0.14 | 129.2857 | 29.2857 | 0.09 | 0.45556 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N161 | KJNT_24142C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 1370193 | 2024-06-21 |  | 0.205 | 0.14 | 146.4286 | 46.4286 | 0.09 | 0.72222 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N161 | KJNT_24150C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 1380120 | 2024-06-21 |  | 2.705 | 2.75 | 98.3636 | -1.6364 | 0.158 | -0.28481 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N162 | KJNT_24150C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 1440177 | 2024-06-25 |  | 2.625 | 2.75 | 95.4545 | -4.5455 | 0.158 | -0.79114 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N162 | KJNT_24157B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 1420094 | 2024-06-26 |  | 0.152 | 0.14 | 108.5714 | 8.5714 | 0.09 | 0.13333 | 0.07 | 1986 | Holding time exceeded | Lab control sample (LCS) recovery outside of range or criteria | See result laboratory comment | mg/L as N | N161 | KJNT_24151C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 1560041 | 2024-07-09 |  | 2.818 | 2.75 | 102.4727 | 2.4727 | 0.158 | 0.43038 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N162 | KJNT_24179A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 1580168 | 2024-07-17 |  | 0.159 | 0.14 | 113.5714 | 13.5714 | 0.09 | 0.21111 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N161 | KJNT_24191A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 1650134 | 2024-07-19 |  | 0.092 | 0.14 | 65.7143 | -34.2857 | 0.09 | -0.53333 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N161 | KJNT_24198B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 1720184 | 2024-07-24 |  | 0.15 | 0.14 | 107.1429 | 7.1429 | 0.09 | 0.11111 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N161 | KJNT_24205C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 1630118 | 2024-07-25 |  | 2.83 | 2.75 | 102.9091 | 2.9091 | 0.158 | 0.50633 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N162 | KJNT_24205A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 1720054 | 2024-07-26 |  | 2.795 | 2.75 | 101.6364 | 1.6364 | 0.158 | 0.28481 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N162 | KJNT_24205B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 1790108 | 2024-07-31 |  | 0.114 | 0.14 | 81.4286 | -18.5714 | 0.09 | -0.28889 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N161 | KJNT_24212C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 1910047 | 2024-08-05 |  | 0.126 | 0.14 | 90 | -10 | 0.09 | -0.15556 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N161 | KJNT_24214B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 1930207 | 2024-08-07 |  | 2.747 | 2.75 | 99.8909 | -0.10909 | 0.158 | -0.018987 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24219A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 1980277 | 2024-08-08 |  | 0.1 | 0.14 | 71.4286 | -28.5714 | 0.09 | -0.44444 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N161 | KJNT_24219D
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 2050133 | 2024-08-12 |  | 0.101 | 0.14 | 72.1429 | -27.8571 | 0.09 | -0.43333 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N161 | KJNT_24222D
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 2080149 | 2024-08-14 |  | 2.629 | 2.75 | 95.6 | -4.4 | 0.158 | -0.76582 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24226C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 2130066 | 2024-08-15 |  | 0.14 | 0.14 | 100 | 0 | 0.09 | 0 | 0.07 | 1986 |  |  |  | mg/L as N | N161 | KJNT_24226E
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 2190100 | 2024-08-20 |  | 2.661 | 2.75 | 96.7636 | -3.2364 | 0.158 | -0.56329 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24228B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 2140188 | 2024-08-20 |  | 2.572 | 2.75 | 93.5273 | -6.4727 | 0.158 | -1.1266 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24228B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 2000170 | 2024-08-22 |  | 2.65 | 2.75 | 96.3636 | -3.6364 | 0.158 | -0.63291 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N162 | KJNT_24233A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 2210223 | 2024-08-27 |  | 0.129 | 0.14 | 92.1429 | -7.8571 | 0.09 | -0.12222 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N161 | KJNT_24233C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 2260089 | 2024-08-27 |  | 2.637 | 2.75 | 95.8909 | -4.1091 | 0.158 | -0.71519 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24233E
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 2280182 | 2024-08-29 |  | 0.106 | 0.14 | 75.7143 | -24.2857 | 0.09 | -0.37778 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N161 | KJNT_24240C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 2350151 | 2024-08-30 |  | 0.177 | 0.14 | 126.4286 | 26.4286 | 0.09 | 0.41111 | 0.07 | 1986 |  |  |  | mg/L as N | N161 | KJNT_24240G
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 2400286 | 2024-09-03 |  | 2.606 | 2.75 | 94.7636 | -5.2364 | 0.158 | -0.91139 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24242C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 2330318 | 2024-09-04 |  | 2.663 | 2.75 | 96.8364 | -3.1636 | 0.158 | -0.55063 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24240F
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 2420143 | 2024-09-10 |  | 0.109 | 0.14 | 77.8571 | -22.1429 | 0.09 | -0.34444 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N161 | KJNT_24247C
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 2540043 | 2024-09-13 |  | 2.757 | 2.75 | 100.2545 | 0.25455 | 0.158 | 0.044304 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24255B
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 2600023 | 2024-09-19 |  | 0.143 | 0.14 | 102.1429 | 2.1429 | 0.09 | 0.033333 | 0.07 | 1986 |  |  |  | mg/L as N | N161 | KJNT_24261A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 2610049 | 2024-09-19 |  | 0.13 | 0.14 | 92.8571 | -7.1429 | 0.09 | -0.11111 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N161 | KJNT_24261A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 2600042 | 2024-09-19 |  | 2.6 | 2.75 | 94.5455 | -5.4545 | 0.158 | -0.94937 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24261A
Total ammonia + organic nitrogen as N, unfltd, CFA | 00625 | KJ008 | UNF | 2024 | 2480181 | 2024-09-23 |  | 0.132 | 0.14 | 94.2857 | -5.7143 | 0.09 | -0.088889 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N161 | KJNT_24263A