## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 2890225 | 2019-11-01 |  | 0.318 | 0.297 | 107.0707 | 7.0707 | 0.018 | 1.1667 | 0.04 | 2188 |  |  |  | mg/L as N | N144 | NUTA304A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 3030029 | 2019-11-01 |  | 0.319 | 0.297 | 107.4074 | 7.4074 | 0.018 | 1.2222 | 0.02 | 2188 |  |  |  | mg/L as N | N144 | NUTA305A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 2550077 | 2019-11-07 |  | 0.129 | 0.14 | 92.1429 | -7.8571 | 0.011 | -1 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N141 | NUTA260A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2019 | 2680152 | 2019-11-07 |  | 0.135 | 0.14 | 96.4286 | -3.5714 | 0.011 | -0.45455 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N141 | NUTA260A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 3170098 | 2019-11-29 |  | 0.151 | 0.156 | 96.7949 | -3.2051 | 0.01 | -0.5 | 0.02 | 2188 |  |  |  | mg/L as N | N143 | NUTA333A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 3310061 | 2019-12-17 |  | 0.137 | 0.156 | 87.8205 | -12.1795 | 0.01 | -1.9 | 0.02 | 2188 |  |  |  | mg/L as N | N143 | NUTA346A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 3440296 | 2019-12-17 |  | 0.305 | 0.297 | 102.6936 | 2.6936 | 0.018 | 0.44444 | 0.02 | 2188 |  |  |  | mg/L as N | N144 | NUTA350A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 0150020 | 2020-01-28 |  | 0.158 | 0.156 | 101.2821 | 1.2821 | 0.01 | 0.2 | 0.02 | 2188 |  |  |  | mg/L as N | N143 | NUTA028A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 3600043 | 2020-01-28 |  | 0.311 | 0.297 | 104.7138 | 4.7138 | 0.018 | 0.77778 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N144 | NUTA015A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 0420078 | 2020-02-18 |  | 0.3 | 0.297 | 101.0101 | 1.0101 | 0.018 | 0.16667 | 0.02 | 2188 |  |  |  | mg/L as N | N144 | NUTA049B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 0700106 | 2020-03-11 |  | 0.148 | 0.156 | 94.8718 | -5.1282 | 0.01 | -0.8 | 0.02 | 2188 |  |  |  | mg/L as N | N143 | NUTA071A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 0560050 | 2020-03-11 |  | 0.312 | 0.297 | 105.0505 | 5.0505 | 0.018 | 0.83333 | 0.02 | 2188 |  |  |  | mg/L as N | N144 | NUTA069A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 0840026 | 2020-03-26 |  | 0.152 | 0.156 | 97.4359 | -2.5641 | 0.01 | -0.4 | 0.02 | 2188 |  |  |  | mg/L as N | N143 | NUTA085A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 1060058 | 2020-05-07 |  | 0.336 | 0.33 | 101.8182 | 1.8182 | 0.017 | 0.35294 | 0.02 | 2188 |  |  |  | mg/L as N | N146 | NUTA127A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 1190083 | 2020-05-07 |  | 0.335 | 0.33 | 101.5152 | 1.5152 | 0.017 | 0.29412 | 0.02 | 2188 |  |  |  | mg/L as N | N146 | NUTA127A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 1330130 | 2020-05-28 |  | 0.107 | 0.098 | 109.1837 | 9.1837 | 0.01 | 0.9 | 0.02 | 2188 |  |  |  | mg/L as N | N145 | NUTA_20148A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 1500214 | 2020-07-08 |  | 0.097 | 0.098 | 98.9796 | -1.0204 | 0.01 | -0.1 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N145 | NUTA_20183A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 1610196 | 2020-07-08 |  | 0.32688 | 0.33 | 99.0556 | -0.94443 | 0.017 | -0.18333 | 0.02 | 2188 |  |  |  | mg/L as N | N146 | NUTA_20190A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 1750073 | 2020-07-08 |  | 0.32378 | 0.33 | 98.1158 | -1.8842 | 0.017 | -0.36576 | 0.02 | 2188 |  |  |  | mg/L as N | N146 | NUTA_20190A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 1960129 | 2020-08-27 |  | 0.095 | 0.098 | 96.9388 | -3.0612 | 0.01 | -0.3 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N145 | NUTA_20198A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 2120195 | 2020-08-27 |  | 0.094 | 0.098 | 95.9184 | -4.0816 | 0.01 | -0.4 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N145 | NUTA_20239A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 2240095 | 2020-08-27 |  | 0.315 | 0.33 | 95.4545 | -4.5455 | 0.017 | -0.88235 | 0.02 | 2188 |  |  |  | mg/L as N | N146 | NUTA_20239B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 2390030 | 2020-08-27 |  | 0.334 | 0.33 | 101.2121 | 1.2121 | 0.017 | 0.23529 | 0.02 | 2188 |  |  |  | mg/L as N | N146 | NUTA_20239C
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 2590161 | 2020-09-25 |  | 0.096 | 0.098 | 97.9592 | -2.0408 | 0.01 | -0.2 | 0.02 | 2188 |  |  |  | mg/L as N | N145 | NUTA_20269B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2020 | 2740060 | 2020-11-10 |  | 0.096 | 0.098 | 97.9592 | -2.0408 | 0.01 | -0.2 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N145 | NUTA_20290A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 2880073 | 2020-11-10 |  | 0.235 | 0.232 | 101.2931 | 1.2931 | 0.019 | 0.15789 | 0.02 | 2188 |  |  |  | mg/L as N | N148 | NUTA_20290A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 3010156 | 2020-11-10 |  | 0.239 | 0.232 | 103.0172 | 3.0172 | 0.019 | 0.36842 | 0.02 | 2188 |  |  |  | mg/L as N | N148 | NUTA_20290A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 3150101 | 2020-12-11 |  | 0.124 | 0.126 | 98.4127 | -1.5873 | 0.01 | -0.2 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N147 | NUTA_20345B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 3300050 | 2020-12-11 |  | 0.127 | 0.126 | 100.7937 | 0.79365 | 0.01 | 0.1 | 0.02 | 2188 |  |  |  | mg/L as N | N147 | NUTA_20345B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 3500076 | 2020-12-17 |  | 0.247 | 0.232 | 106.4655 | 6.4655 | 0.019 | 0.78947 | 0.02 | 2188 |  |  |  | mg/L as N | N148 | NUTA_20351A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 3640017 | 2021-01-11 |  | 0.236 | 0.232 | 101.7241 | 1.7241 | 0.019 | 0.21053 | 0.02 | 2188 |  |  |  | mg/L as N | N148 | NUTA_21011A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 0270076 | 2021-02-16 |  | 0.13 | 0.126 | 103.1746 | 3.1746 | 0.01 | 0.4 | 0.02 | 2188 |  |  |  | mg/L as N | N147 | NUTA_21039A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 0330080 | 2021-02-16 |  | 0.248 | 0.232 | 106.8966 | 6.8966 | 0.019 | 0.84211 | 0.02 | 2188 |  |  |  | mg/L as N | N148 | NUTA_21039A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 0120035 | 2021-02-17 |  | 0.128 | 0.126 | 101.5873 | 1.5873 | 0.01 | 0.2 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N147 | NUTA_21048A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 0480040 | 2021-03-04 |  | 0.236 | 0.232 | 101.7241 | 1.7241 | 0.019 | 0.21053 | 0.02 | 2188 |  |  |  | mg/L as N | N148 | NUTA_21063A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 0680064 | 2021-03-11 |  | 0.118 | 0.126 | 93.6508 | -6.3492 | 0.01 | -0.8 | 0.02 | 2188 |  |  |  | mg/L as N | N147 | NUTA_21069A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 0830030 | 2021-03-25 |  | 0.12 | 0.126 | 95.2381 | -4.7619 | 0.01 | -0.6 | 0.02 | 2188 |  |  |  | mg/L as N | N147 | NUTA_21083A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 1030141 | 2021-05-14 |  | 0.285 | 0.28 | 101.7857 | 1.7857 | 0.03 | 0.16667 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N150 | NUTA_21133A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 1180040 | 2021-05-14 |  | 0.28 | 0.28 | 100 | 0 | 0.03 | 0 | 0.02 | 2188 |  |  |  | mg/L as N | N150 | NUTA_21133B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 1320165 | 2021-05-18 |  | 0.154 | 0.154 | 100 | 0 | 0.01 | 0 | 0.02 | 2188 |  |  |  | mg/L as N | N149 | NUTA_21137A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 1460001 | 2021-06-11 |  | 0.181 | 0.154 | 117.5325 | 17.5325 | 0.01 | 2.7 | 0.02 | 2188 |  |  |  | mg/L as N | N149 | NUTA_21152A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 1600031 | 2021-06-11 |  | 0.275 | 0.28 | 98.2143 | -1.7857 | 0.03 | -0.16667 | 0.02 | 2188 |  |  |  | mg/L as N | N150 | NUTA_21161A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 1940227 | 2021-08-06 |  | 0.166 | 0.154 | 107.7922 | 7.7922 | 0.01 | 1.2 | 0.02 | 2188 |  |  |  | mg/L as N | N149 | NUTA_21215B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 2080175 | 2021-08-06 |  | 0.158 | 0.154 | 102.5974 | 2.5974 | 0.01 | 0.4 | 0.02 | 2188 |  |  |  | mg/L as N | N149 | NUTA_21215B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 1730217 | 2021-08-06 |  | 0.3 | 0.28 | 107.1429 | 7.1429 | 0.03 | 0.66667 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N150 | NUTA_21215A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 2220181 | 2021-08-23 |  | 0.284 | 0.28 | 101.4286 | 1.4286 | 0.03 | 0.13333 | 0.02 | 2188 |  |  |  | mg/L as N | N150 | NUTA_21232A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 2360116 | 2021-09-01 |  | 0.292 | 0.28 | 104.2857 | 4.2857 | 0.03 | 0.4 | 0.02 | 2188 |  |  |  | mg/L as N | N150 | NUTA_21244A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 2580267 | 2021-09-30 |  | 0.154 | 0.154 | 100 | 0 | 0.01 | 0 | 0.02 | 2188 |  |  |  | mg/L as N | N149 | NUTA_21272C
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2021 | 2790017 | 2021-10-20 |  | 0.207 | 0.154 | 134.4156 | 34.4156 | 0.01 | 5.3 | 0.02 | 2188 |  |  |  | mg/L as N | N149 | NUTA_21291A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 2870239 | 2021-10-21 |  | 0.255 | 0.215 | 118.6047 | 18.6047 | 0.029 | 1.3793 | 0.02 | 2188 |  |  |  | mg/L as N | N152 | NUTA_21291B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 3000136 | 2021-11-04 |  | 0.2932 | 0.215 | 136.3721 | 36.3721 | 0.029 | 2.6966 | 0.02 | 2188 |  |  |  | mg/L as N | N152 | NUTA_21307A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 3130187 | 2021-11-19 |  | 0.053 | 0.064 | 82.8125 | -17.1875 | 0.01 | -1.1 | 0.02 | 2188 |  |  |  | mg/L as N | N151 | NUTA_21321A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 3270277 | 2021-12-07 |  | 0.067 | 0.064 | 104.6875 | 4.6875 | 0.01 | 0.3 | 0.02 | 2188 |  |  |  | mg/L as N | N151 | NUTA_21340A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 3550428 | 2022-01-04 |  | 0.248 | 0.215 | 115.3488 | 15.3488 | 0.029 | 1.1379 | 0.02 | 2188 |  |  |  | mg/L as N | N152 | NUTA_22004A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 3640135 | 2022-01-04 |  | 0.255 | 0.215 | 118.6047 | 18.6047 | 0.029 | 1.3793 | 0.02 | 2188 |  |  |  | mg/L as N | N152 | NUTA_22004A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 0120118 | 2022-01-31 |  | 0.0466 | 0.064 | 72.8125 | -27.1875 | 0.01 | -1.74 | 0.02 | 2188 |  |  |  | mg/L as N | N151 | NUTA_22013B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 0250046 | 2022-01-31 |  | 0.0716 | 0.064 | 111.875 | 11.875 | 0.01 | 0.76 | 0.02 | 2188 |  |  |  | mg/L as N | N151 | NUTA_22025A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 0390080 | 2022-02-15 |  | 0.2337 | 0.215 | 108.6977 | 8.6977 | 0.029 | 0.64483 | 0.02 | 2188 |  |  |  | mg/L as N | N152 | NUTA_22046A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 0540111 | 2022-03-09 |  | 0.2394 | 0.215 | 111.3488 | 11.3488 | 0.029 | 0.84138 | 0.02 | 2188 |  |  |  | mg/L as N | N152 | NUTA_22063A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 0670119 | 2022-03-29 |  | 0.0584 | 0.064 | 91.25 | -8.75 | 0.01 | -0.56 | 0.02 | 2188 |  |  |  | mg/L as N | N151 | NUTA_22087A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 0820069 | 2022-03-29 |  | 0.0547 | 0.064 | 85.4688 | -14.5312 | 0.01 | -0.93 | 0.02 | 2188 |  |  |  | mg/L as N | N151 | NUTA_22087A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 1320259 | 2022-06-03 |  | 0.072 | 0.066 | 109.0909 | 9.0909 | 0.01 | 0.6 | 0.02 | 2188 |  |  |  | mg/L as N | N153 | NUTA_22146A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 1460102 | 2022-06-03 |  | 0.073 | 0.066 | 110.6061 | 10.6061 | 0.01 | 0.7 | 0.02 | 2188 |  |  |  | mg/L as N | N153 | NUTA_22146B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 1930197 | 2022-08-04 |  | 0.0696 | 0.066 | 105.4545 | 5.4545 | 0.01 | 0.36 | 0.02 | 2188 |  |  |  | mg/L as N | N153 | NUTA_22215A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 2080419 | 2022-08-25 |  | 0.0825 | 0.066 | 125 | 25 | 0.01 | 1.65 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N153 | NUTA_22236A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 2570116 | 2022-09-22 |  | 0.06 | 0.066 | 90.9091 | -9.0909 | 0.01 | -0.6 | 0.02 | 2188 |  |  |  | mg/L as N | N153 | NUTA_22265A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2022 | 2710052 | 2022-09-29 |  | 0.064 | 0.066 | 96.9697 | -3.0303 | 0.01 | -0.2 | 0.02 | 2188 |  |  |  | mg/L as N | N153 | NUTA_22271A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 2860104 | 2022-10-17 |  | 0.129 | 0.106 | 121.6981 | 21.6981 | 0.026 | 0.88462 | 0.02 | 2188 |  |  |  | mg/L as N | N156 | NUTA_22290A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 2990137 | 2022-11-03 |  | 0.136 | 0.106 | 128.3019 | 28.3019 | 0.026 | 1.1538 | 0.02 | 2188 |  |  |  | mg/L as N | N156 | NUTA_22300A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 3130112 | 2022-11-29 |  | 0.083 | 0.09 | 92.2222 | -7.7778 | 0.01 | -0.7 | 0.02 | 2188 |  |  |  | mg/L as N | N155 | NUTA_22332A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 3260046 | 2022-11-30 |  | 0.081 | 0.09 | 90 | -10 | 0.01 | -0.9 | 0.02 | 2188 |  |  |  | mg/L as N | N155 | NUTA_22334A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 3490123 | 2022-12-16 |  | 0.153 | 0.106 | 144.3396 | 44.3396 | 0.026 | 1.8077 | 0.02 | 2188 |  |  |  | mg/L as N | N156 | NUTA_22350A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 0190116 | 2023-01-23 |  | 0.091 | 0.09 | 101.1111 | 1.1111 | 0.01 | 0.1 | 0.02 | 2188 |  |  |  | mg/L as N | N155 | NUTA_23017A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 0310089 | 2023-02-16 |  | 0.084 | 0.09 | 93.3333 | -6.6667 | 0.01 | -0.6 | 0.02 | 2188 |  |  |  | mg/L as N | N155 | NUTA_23046A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 0470004 | 2023-03-09 |  | 0.155 | 0.106 | 146.2264 | 46.2264 | 0.026 | 1.8846 | 0.02 | 2188 |  |  |  | mg/L as N | N156 | NUTA_23054A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 0620098 | 2023-03-09 |  | 0.142 | 0.106 | 133.9623 | 33.9623 | 0.026 | 1.3846 | 0.02 | 2188 |  |  |  | mg/L as N | N156 | NUTA_23068A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 0740035 | 2023-03-23 |  | 0.091 | 0.09 | 101.1111 | 1.1111 | 0.01 | 0.1 | 0.02 | 2188 |  |  |  | mg/L as N | N155 | NUTA_23081A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 0880094 | 2023-03-31 |  | 0.083 | 0.09 | 92.2222 | -7.7778 | 0.01 | -0.7 | 0.02 | 2188 |  |  |  | mg/L as N | N155 | NUTA_23090A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 1020109 | 2023-04-27 |  | 0.2 | 0.174 | 114.9425 | 14.9425 | 0.029 | 0.89655 | 0.02 | 2188 |  |  |  | mg/L as N | N158 | NUTA_23111A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 1170149 | 2023-04-28 |  | 0.205 | 0.174 | 117.8161 | 17.8161 | 0.029 | 1.069 | 0.02 | 2188 |  |  |  | mg/L as N | N158 | NUTA_23117A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 1300162 | 2023-05-23 |  | 0.064 | 0.069 | 92.7536 | -7.2464 | 0.012 | -0.41667 | 0.02 | 2188 |  |  |  | mg/L as N | N157 | NUTA_23132A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 1440062 | 2023-06-12 |  | 0.068 | 0.069 | 98.5507 | -1.4493 | 0.012 | -0.083333 | 0.02 | 2188 |  |  |  | mg/L as N | N157 | NUTA_23156A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 1650067 | 2023-06-20 |  | 0.185 | 0.174 | 106.3218 | 6.3218 | 0.029 | 0.37931 | 0.02 | 2188 |  |  |  | mg/L as N | N158 | NUTA_23171A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 1840087 | 2023-07-13 |  | 0.199 | 0.174 | 114.3678 | 14.3678 | 0.029 | 0.86207 | 0.02 | 2188 |  |  |  | mg/L as N | N158 | NUTA_23193A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 1940235 | 2023-08-03 |  | 0.059 | 0.069 | 85.5072 | -14.4928 | 0.012 | -0.83333 | 0.02 | 2188 |  |  |  | mg/L as N | N157 | NUTA_23213A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 2060140 | 2023-08-04 |  | 0.05 | 0.069 | 72.4638 | -27.5362 | 0.012 | -1.5833 | 0.02 | 2188 |  |  |  | mg/L as N | N157 | NUTA_23215A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 2280171 | 2023-08-18 |  | 0.183 | 0.174 | 105.1724 | 5.1724 | 0.029 | 0.31034 | 0.02 | 2188 |  |  |  | mg/L as N | N158 | NUTA_23230A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 2560090 | 2023-09-14 |  | 0.063 | 0.069 | 91.3043 | -8.6957 | 0.012 | -0.5 | 0.02 | 2188 |  |  |  | mg/L as N | N157 | NUTA_23251A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 2440131 | 2023-09-14 |  | 0.194 | 0.174 | 111.4943 | 11.4943 | 0.029 | 0.68966 | 0.02 | 2188 |  |  |  | mg/L as N | N158 | NUTA_23251A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2023 | 2690097 | 2023-09-29 |  | 0.06 | 0.069 | 86.9565 | -13.0435 | 0.012 | -0.75 | 0.02 | 2188 |  |  |  | mg/L as N | N157 | NUTA_23269A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 3190184 | 2023-11-22 |  | 0.092 | 0.095 | 96.8421 | -3.1579 | 0.01 | -0.3 | 0.02 | 2188 |  |  |  | mg/L as N | N159 | NUTA_23326A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 3340081 | 2023-12-07 |  | 0.084 | 0.095 | 88.4211 | -11.5789 | 0.01 | -1.1 | 0.02 | 2188 |  |  |  | mg/L as N | N159 | NUTA_23332A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 0090035 | 2024-01-17 |  | 0.089 | 0.095 | 93.6842 | -6.3158 | 0.01 | -0.6 | 0.02 | 2188 |  |  |  | mg/L as N | N159 | NUTA_24017A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 0230082 | 2024-02-23 |  | 0.095 | 0.095 | 100 | 0 | 0.01 | 0 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N159 | NUTA_24054A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 1000108 | 2024-06-06 |  | 0.771 | 0.6 | 128.5 | 28.5 | 0.079 | 2.1646 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N162 | NUTA_24156B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 1150016 | 2024-06-06 |  | 0.763 | 0.6 | 127.1667 | 27.1667 | 0.079 | 2.0633 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N162 | NUTA_24156B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 0730121 | 2024-06-12 |  | 0.096 | 0.095 | 101.0526 | 1.0526 | 0.01 | 0.1 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N159 | NUTA_24156A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 0880018 | 2024-06-12 |  | 0.103 | 0.095 | 108.4211 | 8.4211 | 0.01 | 0.8 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N159 | NUTA_24156A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 1370194 | 2024-07-09 |  | 0.131 | 0.122 | 107.377 | 7.377 | 0.015 | 0.6 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N161 | NUTA_24176C
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 1500147 | 2024-07-19 |  | 0.114 | 0.122 | 93.4426 | -6.5574 | 0.015 | -0.53333 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N161 | NUTA_24183D
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 1980279 | 2024-08-16 |  | 0.115 | 0.122 | 94.2623 | -5.7377 | 0.015 | -0.46667 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N161 | NUTA_24201C
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 2130065 | 2024-08-20 |  | 0.13 | 0.122 | 106.5574 | 6.5574 | 0.015 | 0.53333 | 0.02 | 2188 |  |  |  | mg/L as N | N161 | NUTA_24226A
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 1630117 | 2024-08-27 |  | 0.753 | 0.6 | 125.5 | 25.5 | 0.079 | 1.9367 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N162 | NUTA_24201B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 2260087 | 2024-09-12 |  | 0.752 | 0.6 | 125.3333 | 25.3333 | 0.079 | 1.9241 | 0.02 | 2188 |  |  |  | mg/L as N | N162 | NUTA_24226B
Total ammonia as N, unfltd, CFA | 00610 | CL017 | UNF | 2024 | 2400285 | 2024-09-13 |  | 0.753 | 0.6 | 125.5 | 25.5 | 0.079 | 1.9367 | 0.02 | 2188 |  |  |  | mg/L as N | N162 | NUTA_24239A