## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 2810116 | 2019-10-09 |  | 0.17686 | 0.18 | 98.2556 | -1.7444 | 0.011 | -0.28545 | 0.01 | 3157 |  |  |  | mg/L as N | N143 | KNLL19282A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 2890224 | 2019-10-22 |  | 0.1705 | 0.18 | 94.7222 | -5.2778 | 0.011 | -0.86364 | 0.01 | 3157 |  |  |  | mg/L as N | N143 | KNLL19295A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 2830132 | 2019-10-22 |  | 0.05648 | 0.0547 | 103.2541 | 3.2541 | 0.005 | 0.356 | 0.01 | 3157 |  |  |  | mg/L as N | N144X | KNLL19295A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 2910181 | 2019-10-22 |  | 0.05543 | 0.0547 | 101.3346 | 1.3346 | 0.005 | 0.146 | 0.01 | 3157 |  |  |  | mg/L as N | N144X | KNLL19295A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 2950099 | 2019-10-25 |  | 0.18178 | 0.18 | 100.9889 | 0.98889 | 0.011 | 0.16182 | 0.01 | 3157 |  |  |  | mg/L as N | N143 | KNLL19298A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 2970177 | 2019-10-25 |  | 0.06 | 0.0547 | 109.6892 | 9.6892 | 0.005 | 1.06 | 0.01 | 3157 |  |  |  | mg/L as N | N144X | KNLL19298A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 3090143 | 2019-11-06 |  | 0.05648 | 0.0547 | 103.2541 | 3.2541 | 0.005 | 0.356 | 0.01 | 3157 |  |  |  | mg/L as N | N144X | KNLL19310A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 3110126 | 2019-11-19 |  | 0.18457 | 0.18 | 102.5389 | 2.5389 | 0.011 | 0.41545 | 0.01 | 3157 |  |  |  | mg/L as N | N143 | KNLL19323A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 3180075 | 2019-11-19 |  | 0.17953 | 0.18 | 99.7389 | -0.26111 | 0.011 | -0.042727 | 0.01 | 3157 |  |  |  | mg/L as N | N143 | KNLL19323A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 3170100 | 2019-11-19 |  | 0.05833 | 0.0547 | 106.6362 | 6.6362 | 0.005 | 0.726 | 0.01 | 3157 |  |  |  | mg/L as N | N144X | KNLL19323A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 3250087 | 2019-11-29 |  | 0.18059 | 0.18 | 100.3278 | 0.32778 | 0.011 | 0.053636 | 0.01 | 3157 |  |  |  | mg/L as N | N143 | KNLL19333A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 3230097 | 2019-11-29 |  | 0.05575 | 0.0547 | 101.9196 | 1.9196 | 0.005 | 0.21 | 0.01 | 3157 |  |  |  | mg/L as N | N144X | KNLL19333A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 3370099 | 2019-12-10 |  | 0.17478 | 0.18 | 97.1 | -2.9 | 0.011 | -0.47455 | 0.01 | 3157 |  |  |  | mg/L as N | N143 | KNLL19344A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 3390132 | 2019-12-10 |  | 0.05424 | 0.0547 | 99.159 | -0.84095 | 0.005 | -0.092 | 0.01 | 3157 |  |  |  | mg/L as N | N144X | KNLL19344A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 3510020 | 2019-12-18 |  | 0.17898 | 0.18 | 99.4333 | -0.56667 | 0.011 | -0.092727 | 0.01 | 3157 |  |  |  | mg/L as N | N143 | KNLL19352A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 3530003 | 2020-01-07 |  | 0.05975 | 0.0547 | 109.2322 | 9.2322 | 0.005 | 1.01 | 0.01 | 3157 |  |  |  | mg/L as N | N144X | KNLL20007A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 0090080 | 2020-01-23 |  | 0.17108 | 0.18 | 95.0444 | -4.9556 | 0.011 | -0.81091 | 0.01 | 3157 |  |  |  | mg/L as N | N143 | KNLL20022A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 0070045 | 2020-01-23 |  | 0.04429 | 0.0547 | 80.9689 | -19.0311 | 0.005 | -2.082 | 0.01 | 3157 |  |  |  | mg/L as N | N144X | KNLL20022A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 0230067 | 2020-02-04 |  | 0.18486 | 0.18 | 102.7 | 2.7 | 0.011 | 0.44182 | 0.01 | 3157 |  |  |  | mg/L as N | N143 | KNLL20035A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 0220112 | 2020-02-04 |  | 0.05769 | 0.0547 | 105.4662 | 5.4662 | 0.005 | 0.598 | 0.01 | 3157 |  |  |  | mg/L as N | N144X | KNLL20035A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 0350139 | 2020-02-19 |  | 0.1783 | 0.18 | 99.0556 | -0.94444 | 0.011 | -0.15455 | 0.01 | 3157 |  |  |  | mg/L as N | N143 | KNLL20050A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 0370097 | 2020-02-19 |  | 0.05764 | 0.0547 | 105.3748 | 5.3748 | 0.005 | 0.588 | 0.01 | 3157 |  |  |  | mg/L as N | N144X | KNLL20050A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 0500056 | 2020-02-25 |  | 0.1724 | 0.18 | 95.7778 | -4.2222 | 0.011 | -0.69091 | 0.01 | 3157 |  |  |  | mg/L as N | N143 | KNLL20056A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 0510087 | 2020-02-25 |  | 0.05546 | 0.0547 | 101.3894 | 1.3894 | 0.005 | 0.152 | 0.01 | 3157 |  |  |  | mg/L as N | N144X | KNLL20056A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 0630049 | 2020-03-05 |  | 0.05943 | 0.0547 | 108.6472 | 8.6472 | 0.005 | 0.946 | 0.01 | 3157 |  |  |  | mg/L as N | N144X | KNLL20065A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 0650092 | 2020-03-18 |  | 0.1688 | 0.18 | 93.7778 | -6.2222 | 0.011 | -1.0182 | 0.01 | 3157 |  |  |  | mg/L as N | N143 | KNLL20078A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 0730162 | 2020-03-18 |  | 0.16971 | 0.18 | 94.2833 | -5.7167 | 0.011 | -0.93545 | 0.01 | 3157 |  |  |  | mg/L as N | N143 | KNLL20078A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 0700105 | 2020-03-18 |  | 0.0552 | 0.0547 | 100.9141 | 0.91408 | 0.005 | 0.1 | 0.01 | 3157 |  |  |  | mg/L as N | N144X | KNLL20078A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 0770113 | 2020-03-18 |  | 0.05428 | 0.0547 | 99.2322 | -0.76782 | 0.005 | -0.084 | 0.01 | 3157 |  |  |  | mg/L as N | N144X | KNLL20078A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 0800003 | 2020-03-31 |  | 0.17908 | 0.18 | 99.4889 | -0.51111 | 0.011 | -0.083636 | 0.01 | 3157 |  |  |  | mg/L as N | N143 | KNLL20091A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 0980041 | 2020-04-08 |  | 0.08854 | 0.094 | 94.1915 | -5.8085 | 0.009 | -0.60667 | 0.01 | 3157 |  |  |  | mg/L as N | N145 | KNLL20099A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 1060057 | 2020-04-16 |  | 0.09368 | 0.094 | 99.6596 | -0.34043 | 0.009 | -0.035556 | 0.01 | 3157 |  |  |  | mg/L as N | N145 | KNLL20107A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 1000060 | 2020-04-16 |  | 0.04231 | 0.0408 | 103.701 | 3.701 | 0.005 | 0.302 | 0.01 | 3157 |  |  |  | mg/L as N | N146X | KNLL20107A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 1120051 | 2020-04-22 |  | 0.08654 | 0.094 | 92.0638 | -7.9362 | 0.009 | -0.82889 | 0.01 | 3157 |  |  |  | mg/L as N | N145 | KNLL20113A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 1070052 | 2020-04-22 |  | 0.0401 | 0.0408 | 98.2843 | -1.7157 | 0.005 | -0.14 | 0.01 | 3157 |  |  |  | mg/L as N | N146X | KNLL20113A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 1140083 | 2020-05-06 |  | 0.04131 | 0.0408 | 101.25 | 1.25 | 0.005 | 0.102 | 0.01 | 3157 |  |  |  | mg/L as N | N146X | KNLL20127A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 1260080 | 2020-05-06 |  | 0.04104 | 0.0408 | 100.5882 | 0.58824 | 0.005 | 0.048 | 0.01 | 3157 |  |  |  | mg/L as N | N146X | KNLL20127A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 1280005 | 2020-05-12 |  | 0.08824 | 0.094 | 93.8723 | -6.1277 | 0.009 | -0.64 | 0.01 | 3157 |  |  |  | mg/L as N | N145 | KNLL20133A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 1330128 | 2020-05-13 |  | 0.04429 | 0.0408 | 108.5539 | 8.5539 | 0.005 | 0.698 | 0.01 | 3157 |  |  |  | mg/L as N | N146X | KNLL20134A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 1400017 | 2020-05-28 |  | 0.09265 | 0.094 | 98.5638 | -1.4362 | 0.009 | -0.15 | 0.01 | 3157 |  |  |  | mg/L as N | N145 | KNLL_20149A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 1430096 | 2020-05-28 |  | 0.0914 | 0.094 | 97.234 | -2.766 | 0.009 | -0.28889 | 0.01 | 3157 |  |  |  | mg/L as N | N145 | KNLL_20149A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 1550010 | 2020-06-10 |  | 0.09041 | 0.094 | 96.1809 | -3.8191 | 0.009 | -0.39889 | 0.01 | 3157 |  |  |  | mg/L as N | N145 | KNLL_20162A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 1610194 | 2020-06-10 |  | 0.09304 | 0.094 | 98.9787 | -1.0213 | 0.009 | -0.10667 | 0.01 | 3157 |  |  |  | mg/L as N | N145 | KNLL_20162A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 1560173 | 2020-06-10 |  | 0.04305 | 0.0408 | 105.5147 | 5.5147 | 0.005 | 0.45 | 0.01 | 3157 |  |  |  | mg/L as N | N146X | KNLL_20162A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 1680151 | 2020-06-24 |  | 0.0892 | 0.094 | 94.8936 | -5.1064 | 0.009 | -0.53333 | 0.01 | 3157 |  |  |  | mg/L as N | N145 | KNLL_20176A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 1630142 | 2020-06-24 |  | 0.0422 | 0.0408 | 103.4314 | 3.4314 | 0.005 | 0.28 | 0.01 | 3157 |  |  |  | mg/L as N | N146X | KNLL_20176A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 1700256 | 2020-06-24 |  | 0.0424 | 0.0408 | 103.9216 | 3.9216 | 0.005 | 0.32 | 0.01 | 3157 |  |  |  | mg/L as N | N146X | KNLL_20176A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 1910117 | 2020-07-17 |  | 0.09285 | 0.094 | 98.7766 | -1.2234 | 0.009 | -0.12778 | 0.01 | 3157 |  |  |  | mg/L as N | N145 | KNLL_20199A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 1980095 | 2020-07-17 |  | 0.08721 | 0.094 | 92.7766 | -7.2234 | 0.009 | -0.75444 | 0.01 | 3157 |  |  |  | mg/L as N | N145 | KNLL_20199A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 1890184 | 2020-07-17 |  | 0.04191 | 0.0408 | 102.7206 | 2.7206 | 0.005 | 0.222 | 0.01 | 3157 |  |  |  | mg/L as N | N146X | KNLL_20199A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 1960131 | 2020-07-17 |  | 0.0419 | 0.0408 | 102.6961 | 2.6961 | 0.005 | 0.22 | 0.01 | 3157 |  |  |  | mg/L as N | N146X | KNLL_20199A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 2040022 | 2020-07-29 |  | 0.04407 | 0.0408 | 108.0147 | 8.0147 | 0.005 | 0.654 | 0.01 | 3157 |  |  |  | mg/L as N | N146X | KNLL_20211A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 2170033 | 2020-08-14 |  | 0.08847 | 0.094 | 94.117 | -5.883 | 0.009 | -0.61444 | 0.01 | 3157 |  |  |  | mg/L as N | N145 | KNLL_20222A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 2110026 | 2020-08-14 |  | 0.09161 | 0.094 | 97.4574 | -2.5426 | 0.009 | -0.26556 | 0.01 | 3157 |  |  |  | mg/L as N | N145 | KNLL_20222A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 2190158 | 2020-08-14 |  | 0.04846 | 0.0408 | 118.7745 | 18.7745 | 0.005 | 1.532 | 0.01 | 3157 |  |  |  | mg/L as N | N146X | KNLL_20222A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 2260120 | 2020-08-19 |  | 0.0408 | 0.0408 | 100 | 0 | 0.005 | 0 | 0.01 | 3157 |  |  |  | mg/L as N | N146X | KNLL_20231A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 2240094 | 2020-08-26 |  | 0.09107 | 0.094 | 96.883 | -3.117 | 0.009 | -0.32556 | 0.01 | 3157 |  |  |  | mg/L as N | N145 | KNLL_20238A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 2320040 | 2020-08-26 |  | 0.09312 | 0.094 | 99.0638 | -0.93617 | 0.009 | -0.097778 | 0.01 | 3157 |  |  |  | mg/L as N | N145 | KNLL_20238A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 2370048 | 2020-08-26 |  | 0.04495 | 0.0408 | 110.1716 | 10.1716 | 0.005 | 0.83 | 0.01 | 3157 |  |  |  | mg/L as N | N146X | KNLL_20238A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 2540251 | 2020-09-17 |  | 0.08751 | 0.094 | 93.0957 | -6.9043 | 0.009 | -0.72111 | 0.01 | 3157 |  |  |  | mg/L as N | N145 | KNLL_20260A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 2530139 | 2020-09-17 |  | 0.04038 | 0.0408 | 98.9706 | -1.0294 | 0.005 | -0.084 | 0.01 | 3157 |  |  |  | mg/L as N | N146X | KNLL_20260A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 2590159 | 2020-09-17 |  | 0.03832 | 0.0408 | 93.9216 | -6.0784 | 0.005 | -0.496 | 0.01 | 3157 |  |  |  | mg/L as N | N146X | KNLL_20260A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 2610178 | 2020-10-02 |  | 0.09387 | 0.094 | 99.8617 | -0.1383 | 0.009 | -0.014444 | 0.01 | 3157 |  |  |  | mg/L as N | N145 | KNLL_20276A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 2670295 | 2020-10-02 |  | 0.04427 | 0.0408 | 108.5049 | 8.5049 | 0.005 | 0.694 | 0.01 | 3157 |  |  |  | mg/L as N | N146X | KNLL_20276A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2020 | 2680085 | 2020-10-08 |  | 0.09026 | 0.094 | 96.0213 | -3.9787 | 0.009 | -0.41556 | 0.01 | 3157 |  |  |  | mg/L as N | N145 | KNLL_20281A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 2810030 | 2020-10-08 |  | 0.23216 | 0.237 | 97.9578 | -2.0422 | 0.013 | -0.37231 | 0.01 | 3157 |  |  |  | mg/L as N | N147 | KNLL_20281A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 2880071 | 2020-10-15 |  | 0.23543 | 0.237 | 99.3376 | -0.66245 | 0.013 | -0.12077 | 0.01 | 3157 |  |  |  | mg/L as N | N147 | KNLL_20288A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 2820103 | 2020-10-15 |  | 0.11246 | 0.104 | 108.1346 | 8.1346 | 0.0055667 | 1.5197 | 0.01 | 3157 |  |  |  | mg/L as N | N148X | KNLL_20288A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 2890048 | 2020-10-20 |  | 0.10967 | 0.104 | 105.4519 | 5.4519 | 0.0055667 | 1.0186 | 0.01 | 3157 |  |  |  | mg/L as N | N148X | KNLL_20294A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 2950031 | 2020-11-10 |  | 0.22525 | 0.237 | 95.0422 | -4.9578 | 0.013 | -0.90385 | 0.01 | 3157 |  |  |  | mg/L as N | N147 | KNLL_20314A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 2960118 | 2020-11-10 |  | 0.10201 | 0.104 | 98.0865 | -1.9135 | 0.0055667 | -0.35748 | 0.01 | 3157 |  |  |  | mg/L as N | N148X | KNLL_20314A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 3080109 | 2020-11-23 |  | 0.10382 | 0.104 | 99.8269 | -0.17308 | 0.0055667 | -0.032335 | 0.01 | 3157 |  |  |  | mg/L as N | N148X | KNLL_20328A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 3150102 | 2020-11-23 |  | 0.10952 | 0.104 | 105.3077 | 5.3077 | 0.0055667 | 0.99161 | 0.01 | 3157 |  |  |  | mg/L as N | N148X | KNLL_20328A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 3180089 | 2020-12-14 |  | 0.23026 | 0.237 | 97.1561 | -2.8439 | 0.013 | -0.51846 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N147 | KNLL_20346A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 3240159 | 2020-12-14 |  | 0.22819 | 0.237 | 96.2827 | -3.7173 | 0.013 | -0.67769 | 0.01 | 3157 |  |  |  | mg/L as N | N147 | KNLL_20346A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 3350003 | 2020-12-14 |  | 0.22534 | 0.237 | 95.0802 | -4.9198 | 0.013 | -0.89692 | 0.01 | 3157 |  |  |  | mg/L as N | N147 | KNLL_20346A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 3230040 | 2020-12-14 |  | 0.10511 | 0.104 | 101.0673 | 1.0673 | 0.0055667 | 0.1994 | 0.01 | 3157 |  |  |  | mg/L as N | N148X | KNLL_20346A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 3440083 | 2021-01-15 |  | 0.23482 | 0.237 | 99.0802 | -0.91983 | 0.013 | -0.16769 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N147 | KNLL_21004A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 3530074 | 2021-01-15 |  | 0.10504 | 0.104 | 101 | 1 | 0.0055667 | 0.18682 | 0.01 | 3157 |  |  |  | mg/L as N | N148X | KNLL_21004A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 0150003 | 2021-01-25 |  | 0.23371 | 0.237 | 98.6118 | -1.3882 | 0.013 | -0.25308 | 0.01 | 3157 |  |  |  | mg/L as N | N147 | KNLL_21021A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 0050026 | 2021-01-25 |  | 0.1066 | 0.104 | 102.5 | 2.5 | 0.0055667 | 0.46706 | 0.01 | 3157 |  |  |  | mg/L as N | N148X | KNLL_21021A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 0210019 | 2021-01-25 |  | 0.10525 | 0.104 | 101.2019 | 1.2019 | 0.0055667 | 0.22455 | 0.01 | 3157 |  |  |  | mg/L as N | N148X | KNLL_21021A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 3660011 | 2021-01-25 |  | 0.10757 | 0.104 | 103.4327 | 3.4327 | 0.0055667 | 0.64131 | 0.01 | 3157 |  |  |  | mg/L as N | N148X | KNLL_21021A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 0400078 | 2021-02-18 |  | 0.23589 | 0.237 | 99.5316 | -0.46835 | 0.013 | -0.085385 | 0.01 | 3157 |  |  |  | mg/L as N | N147 | KNLL_21049A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 0280001 | 2021-02-18 |  | 0.23302 | 0.237 | 98.3207 | -1.6793 | 0.013 | -0.30615 | 0.01 | 3157 |  |  |  | mg/L as N | N147 | KNLL_21049A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 0350086 | 2021-02-18 |  | 0.10602 | 0.104 | 101.9423 | 1.9423 | 0.0055667 | 0.36287 | 0.01 | 3157 |  |  |  | mg/L as N | N148X | KNLL_21049A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 0540056 | 2021-02-24 |  | 0.23725 | 0.237 | 100.1055 | 0.10549 | 0.013 | 0.019231 | 0.01 | 3157 |  |  |  | mg/L as N | N147 | KNLL_21055A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 0490010 | 2021-02-24 |  | 0.10601 | 0.104 | 101.9327 | 1.9327 | 0.0055667 | 0.36107 | 0.01 | 3157 |  |  |  | mg/L as N | N148X | KNLL_21055A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 0620096 | 2021-03-08 |  | 0.10637 | 0.104 | 102.2788 | 2.2788 | 0.0055667 | 0.42574 | 0.01 | 3157 |  |  |  | mg/L as N | N148X | KNLL_21067A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 0690090 | 2021-03-18 |  | 0.23349 | 0.237 | 98.519 | -1.481 | 0.013 | -0.27 | 0.01 | 3157 |  |  |  | mg/L as N | N147 | KNLL_21077A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 0680065 | 2021-03-18 |  | 0.10656 | 0.104 | 102.4615 | 2.4615 | 0.0055667 | 0.45988 | 0.01 | 3157 |  |  |  | mg/L as N | N148X | KNLL_21077A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 0760023 | 2021-03-18 |  | 0.10148 | 0.104 | 97.5769 | -2.4231 | 0.0055667 | -0.45269 | 0.01 | 3157 |  |  |  | mg/L as N | N148X | KNLL_21077A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 0770042 | 2021-04-01 |  | 0.23189 | 0.237 | 97.8439 | -2.1561 | 0.013 | -0.39308 | 0.01 | 3157 |  |  |  | mg/L as N | N147 | KNLL_21091A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 0840107 | 2021-04-01 |  | 0.2321 | 0.237 | 97.9325 | -2.0675 | 0.013 | -0.37692 | 0.01 | 3157 |  |  |  | mg/L as N | N147 | KNLL_21091A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 0970045 | 2021-04-16 |  | 0.39704 | 0.393 | 101.028 | 1.028 | 0.01965 | 0.2056 | 0.01 | 3157 |  |  |  | mg/L as N | N149 | KNLL_21106A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 1030142 | 2021-04-30 |  | 0.38755 | 0.393 | 98.6132 | -1.3868 | 0.01965 | -0.27735 | 0.01 | 3157 |  |  |  | mg/L as N | N149 | KNLL_21120A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 1110005 | 2021-04-30 |  | 0.38756 | 0.393 | 98.6158 | -1.3842 | 0.01965 | -0.27684 | 0.01 | 3157 |  |  |  | mg/L as N | N149 | KNLL_21120A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 1050216 | 2021-04-30 |  | 0.11414 | 0.114 | 100.1228 | 0.12281 | 0.0059135 | 0.023675 | 0.01 | 3157 |  |  |  | mg/L as N | N150X | KNLL_21120A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 1120202 | 2021-04-30 |  | 0.11049 | 0.114 | 96.9211 | -3.0789 | 0.0059135 | -0.59356 | 0.01 | 3157 |  |  |  | mg/L as N | N150X | KNLL_21120A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 1190110 | 2021-05-05 |  | 0.11182 | 0.114 | 98.0877 | -1.9123 | 0.0059135 | -0.36865 | 0.01 | 3157 |  |  |  | mg/L as N | N150X | KNLL_21125A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 1250007 | 2021-05-14 |  | 0.11747 | 0.114 | 103.0439 | 3.0439 | 0.0059135 | 0.58679 | 0.01 | 3157 |  |  |  | mg/L as N | N150X | KNLL_21134A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 1320167 | 2021-05-14 |  | 0.11759 | 0.114 | 103.1491 | 3.1491 | 0.0059135 | 0.60708 | 0.01 | 3157 |  |  |  | mg/L as N | N150X | KNLL_21134A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 1330235 | 2021-05-25 |  | 0.39296 | 0.393 | 99.9898 | -0.010178 | 0.01965 | -0.0020356 | 0.01 | 3157 |  |  |  | mg/L as N | N149 | KNLL_21145A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 1390135 | 2021-05-25 |  | 0.39414 | 0.393 | 100.2901 | 0.29008 | 0.01965 | 0.058015 | 0.01 | 3157 |  |  |  | mg/L as N | N149 | KNLL_21145A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 1380138 | 2021-05-25 |  | 0.11017 | 0.114 | 96.6404 | -3.3596 | 0.0059135 | -0.64767 | 0.01 | 3157 |  |  |  | mg/L as N | N150X | KNLL_21145A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 1540138 | 2021-06-09 |  | 0.38232 | 0.393 | 97.2824 | -2.7176 | 0.01965 | -0.54351 | 0.01 | 3157 |  |  |  | mg/L as N | N149 | KNLL_21160A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 1530101 | 2021-06-09 |  | 0.38756 | 0.393 | 98.6158 | -1.3842 | 0.01965 | -0.27684 | 0.01 | 3157 |  |  |  | mg/L as N | N149 | KNLL_21160A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 1600030 | 2021-06-16 |  | 0.39469 | 0.393 | 100.43 | 0.43003 | 0.01965 | 0.086005 | 0.01 | 3157 |  |  |  | mg/L as N | N149 | KNLL_21167A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 1660118 | 2021-06-16 |  | 0.34649 | 0.393 | 88.1654 | -11.8346 | 0.01965 | -2.3669 | 0.01 | 3157 |  |  |  | mg/L as N | N149 | KNLL_21167A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 1610182 | 2021-06-16 |  | 0.11638 | 0.114 | 102.0877 | 2.0877 | 0.0059135 | 0.40247 | 0.01 | 3157 |  |  |  | mg/L as N | N150X | KNLL_21167A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 1680020 | 2021-06-21 |  | 0.11041 | 0.114 | 96.8509 | -3.1491 | 0.0059135 | -0.60708 | 0.01 | 3157 |  |  |  | mg/L as N | N150X | KNLL_21172A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 1750330 | 2021-07-14 |  | 0.11399 | 0.114 | 99.9912 | -0.0087719 | 0.0059135 | -0.001691 | 0.01 | 3157 |  |  |  | mg/L as N | N150X | KNLL_21195A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 1960205 | 2021-07-19 |  | 0.381 | 0.393 | 96.9466 | -3.0534 | 0.01965 | -0.61069 | 0.01 | 3157 |  |  |  | mg/L as N | N149 | KNLL_21200A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 1880116 | 2021-07-19 |  | 0.11621 | 0.114 | 101.9386 | 1.9386 | 0.0059135 | 0.37372 | 0.01 | 3157 |  |  |  | mg/L as N | N150X | KNLL_21200A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 1940226 | 2021-07-19 |  | 0.11038 | 0.114 | 96.8246 | -3.1754 | 0.0059135 | -0.61216 | 0.01 | 3157 |  |  |  | mg/L as N | N150X | KNLL_21200A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 2020247 | 2021-07-23 |  | 0.39671 | 0.393 | 100.944 | 0.94402 | 0.01965 | 0.1888 | 0.01 | 3157 |  |  |  | mg/L as N | N149 | KNLL_21204A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 2010232 | 2021-07-23 |  | 0.11645 | 0.114 | 102.1491 | 2.1491 | 0.0059135 | 0.4143 | 0.01 | 3157 |  |  |  | mg/L as N | N150X | KNLL_21204A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 2150045 | 2021-08-09 |  | 0.39816 | 0.393 | 101.313 | 1.313 | 0.01965 | 0.2626 | 0.01 | 3157 |  |  |  | mg/L as N | N149 | KNLL_21221A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 2100165 | 2021-08-09 |  | 0.39681 | 0.393 | 100.9695 | 0.96947 | 0.01965 | 0.19389 | 0.01 | 3157 |  |  |  | mg/L as N | N149 | KNLL_21221A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 2220183 | 2021-08-24 |  | 0.39482 | 0.393 | 100.4631 | 0.4631 | 0.01965 | 0.092621 | 0.01 | 3157 |  |  |  | mg/L as N | N149 | KNLL_21236A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 2290125 | 2021-08-24 |  | 0.37642 | 0.393 | 95.7812 | -4.2188 | 0.01965 | -0.84377 | 0.01 | 3157 |  |  |  | mg/L as N | N149 | KNLL_21236A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 2240200 | 2021-08-24 |  | 0.11232 | 0.114 | 98.5263 | -1.4737 | 0.0059135 | -0.28409 | 0.01 | 3157 |  |  |  | mg/L as N | N150X | KNLL_21236A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 2310207 | 2021-08-30 |  | 0.1063 | 0.114 | 93.2456 | -6.7544 | 0.0059135 | -1.3021 | 0.01 | 3157 |  |  |  | mg/L as N | N150X | KNLL_21242A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 2380345 | 2021-09-14 |  | 0.10631 | 0.114 | 93.2544 | -6.7456 | 0.0059135 | -1.3004 | 0.01 | 3157 |  |  |  | mg/L as N | N150X | KNLL_21257A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 2510431 | 2021-09-20 |  | 0.11291 | 0.114 | 99.0439 | -0.95614 | 0.0059135 | -0.18432 | 0.01 | 3157 |  |  |  | mg/L as N | N150X | KNLL_21263A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 2590009 | 2021-09-27 |  | 0.38401 | 0.393 | 97.7125 | -2.2875 | 0.01965 | -0.45751 | 0.01 | 3157 |  |  |  | mg/L as N | N149 | KNLL_21270A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 2580268 | 2021-09-27 |  | 0.10677 | 0.114 | 93.6579 | -6.3421 | 0.0059135 | -1.2226 | 0.01 | 3157 |  |  |  | mg/L as N | N150X | KNLL_21270A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 2660015 | 2021-10-05 |  | 0.40743 | 0.393 | 103.6718 | 3.6718 | 0.01965 | 0.73435 | 0.01 | 3157 |  |  |  | mg/L as N | N149 | KNLL_21278A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 2640270 | 2021-10-05 |  | 0.1193 | 0.114 | 104.6491 | 4.6491 | 0.0059135 | 0.89625 | 0.01 | 3157 |  |  |  | mg/L as N | N150X | KNLL_21278A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2021 | 2790019 | 2021-10-13 |  | 1.3897 | 0.393 | 353.6056 | 253.6056 | 0.01965 | 50.7211 | 0.01 | 3157 | Sample was diluted |  |  | mg/L as N | N149 | KNLL_21286A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 2790021 | 2021-10-13 |  | 0.8059 | 0.343 | 234.9563 | 134.9563 | 0.019 | 24.3632 | 0.01 | 3157 |  |  |  | mg/L as N | N151 | KNLL_21286A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 2870241 | 2021-10-19 |  | 0.33804 | 0.343 | 98.5539 | -1.4461 | 0.019 | -0.26105 | 0.01 | 3157 |  |  |  | mg/L as N | N151 | KNLL_21292A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 2940011 | 2021-10-28 |  | 0.31551 | 0.343 | 91.9854 | -8.0146 | 0.019 | -1.4468 | 0.01 | 3157 |  |  |  | mg/L as N | N151 | KNLL_21301A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 2940005 | 2021-10-28 |  | 0.20844 | 0.213 | 97.8592 | -2.1408 | 0.01065 | -0.42817 | 0.01 | 3157 |  |  |  | mg/L as N | N152X | KNLL_21301A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 2940111 | 2021-10-28 |  | 0.2027 | 0.213 | 95.1643 | -4.8357 | 0.01065 | -0.96714 | 0.01 | 3157 |  |  |  | mg/L as N | N152X | KNLL_21301A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 3010095 | 2021-11-15 |  | 0.22063 | 0.213 | 103.5822 | 3.5822 | 0.01065 | 0.71643 | 0.01 | 3157 |  |  |  | mg/L as N | N152X | KNLL_21319A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 3060201 | 2021-11-15 |  | 0.22622 | 0.213 | 106.2066 | 6.2066 | 0.01065 | 1.2413 | 0.01 | 3157 |  |  |  | mg/L as N | N152X | KNLL_21319A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 3190110 | 2021-11-23 |  | 0.34627 | 0.343 | 100.9534 | 0.95335 | 0.019 | 0.17211 | 0.01 | 3157 |  |  |  | mg/L as N | N151 | KNLL_21327A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 3220099 | 2021-11-23 |  | 0.33952 | 0.343 | 98.9854 | -1.0146 | 0.019 | -0.18316 | 0.01 | 3157 |  |  |  | mg/L as N | N151 | KNLL_21327A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 3130189 | 2021-11-23 |  | 0.22604 | 0.213 | 106.1221 | 6.1221 | 0.01065 | 1.2244 | 0.01 | 3157 |  |  |  | mg/L as N | N152X | KNLL_21327A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 3200075 | 2021-11-23 |  | 0.21709 | 0.213 | 101.9202 | 1.9202 | 0.01065 | 0.38404 | 0.01 | 3157 |  |  |  | mg/L as N | N152X | KNLL_21327A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 3340036 | 2021-12-07 |  | 0.33376 | 0.343 | 97.3061 | -2.6939 | 0.019 | -0.48632 | 0.01 | 3157 |  |  |  | mg/L as N | N151 | KNLL_21341A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 3410062 | 2021-12-20 |  | 0.33917 | 0.343 | 98.8834 | -1.1166 | 0.019 | -0.20158 | 0.01 | 3157 |  |  |  | mg/L as N | N151 | KNLL_21354A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 3570004 | 2022-01-03 |  | 0.3255 | 0.343 | 94.898 | -5.102 | 0.019 | -0.92105 | 0.01 | 3157 |  |  |  | mg/L as N | N151 | KNLL_22003A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 0050043 | 2022-01-18 |  | 0.21345 | 0.213 | 100.2113 | 0.21127 | 0.01065 | 0.042254 | 0.01 | 3157 |  |  |  | mg/L as N | N152X | KNLL_22018A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 0130002 | 2022-01-19 |  | 0.33549 | 0.343 | 97.8105 | -2.1895 | 0.019 | -0.39526 | 0.01 | 3157 |  |  |  | mg/L as N | N151 | KNLL_22019A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 0190123 | 2022-01-20 |  | 0.21106 | 0.213 | 99.0892 | -0.9108 | 0.01065 | -0.18216 | 0.01 | 3157 |  |  |  | mg/L as N | N152X | KNLL_22020A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 0380063 | 2022-02-09 |  | 0.3206 | 0.343 | 93.4694 | -6.5306 | 0.019 | -1.1789 | 0.01 | 3157 |  |  |  | mg/L as N | N151 | KNLL_22039A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 0270157 | 2022-02-09 |  | 0.31405 | 0.343 | 91.5598 | -8.4402 | 0.019 | -1.5237 | 0.01 | 3157 |  |  |  | mg/L as N | N151 | KNLL_22039A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 0480132 | 2022-02-23 |  | 0.34022 | 0.343 | 99.1895 | -0.8105 | 0.019 | -0.14632 | 0.01 | 3157 |  |  |  | mg/L as N | N151 | KNLL_22054A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 0470023 | 2022-02-23 |  | 0.20969 | 0.213 | 98.446 | -1.554 | 0.01065 | -0.3108 | 0.01 | 3157 |  |  |  | mg/L as N | N152X | KNLL_22054A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 0560010 | 2022-03-07 |  | 0.21969 | 0.213 | 103.1408 | 3.1408 | 0.01065 | 0.62817 | 0.01 | 3157 |  |  |  | mg/L as N | N152X | KNLL_22066A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 0690223 | 2022-03-16 |  | 0.32816 | 0.343 | 95.6735 | -4.3265 | 0.019 | -0.78105 | 0.01 | 3157 |  |  |  | mg/L as N | N151 | KNLL_22075A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 0670120 | 2022-03-16 |  | 0.21471 | 0.213 | 100.8028 | 0.80282 | 0.01065 | 0.16056 | 0.01 | 3157 |  |  |  | mg/L as N | N152X | KNLL_22075A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 0770096 | 2022-03-22 |  | 0.3382 | 0.343 | 98.6006 | -1.3994 | 0.019 | -0.25263 | 0.01 | 3157 |  |  |  | mg/L as N | N151 | KNLL_22081A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 0760101 | 2022-03-22 |  | 0.22186 | 0.213 | 104.1596 | 4.1596 | 0.01065 | 0.83192 | 0.01 | 3157 |  |  |  | mg/L as N | N152X | KNLL_22081A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 0830134 | 2022-03-31 |  | 0.33017 | 0.343 | 96.2595 | -3.7405 | 0.019 | -0.67526 | 0.01 | 3157 |  |  |  | mg/L as N | N151 | KNLL_22090A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 0880102 | 2022-03-31 |  | 0.21223 | 0.213 | 99.6385 | -0.3615 | 0.01065 | -0.0723 | 0.01 | 3157 |  |  |  | mg/L as N | N152X | KNLL_22090A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 0960125 | 2022-04-15 |  | 0.3938 | 0.401 | 98.2045 | -1.7955 | 0.02005 | -0.3591 | 0.01 | 3157 |  |  |  | mg/L as N | N153 | KNLL_22105A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 1020026 | 2022-04-15 |  | 0.39552 | 0.401 | 98.6334 | -1.3666 | 0.02005 | -0.27332 | 0.01 | 3157 |  |  |  | mg/L as N | N153 | KNLL_22105A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 1090123 | 2022-05-23 |  | 0.38799 | 0.401 | 96.7556 | -3.2444 | 0.02005 | -0.64888 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N153 | KNLL_22143A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 1370141 | 2022-06-02 |  | 0.3675 | 0.401 | 91.6459 | -8.3541 | 0.02005 | -1.6708 | 0.01 | 3157 |  |  |  | mg/L as N | N153 | KNLL_22153A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 1440208 | 2022-06-02 |  | 0.37675 | 0.401 | 93.9526 | -6.0474 | 0.02005 | -1.2095 | 0.01 | 3157 |  |  |  | mg/L as N | N153 | KNLL_22153A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 1520232 | 2022-06-15 |  | 0.37912 | 0.401 | 94.5436 | -5.4564 | 0.02005 | -1.0913 | 0.01 | 3157 |  |  |  | mg/L as N | N153 | KNLL_22166A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 1580093 | 2022-07-01 |  | 0.37731 | 0.401 | 94.0923 | -5.9077 | 0.02005 | -1.1815 | 0.01 | 3157 |  |  |  | mg/L as N | N153 | KNLL_22182A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 1660167 | 2022-07-15 |  | 0.37219 | 0.401 | 92.8155 | -7.1845 | 0.02005 | -1.4369 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N153 | KNLL_22196A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 1730127 | 2022-07-15 |  | 0.37356 | 0.401 | 93.1571 | -6.8429 | 0.02005 | -1.3686 | 0.01 | 3157 |  |  |  | mg/L as N | N153 | KNLL_22196A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 1950117 | 2022-08-11 |  | 0.40023 | 0.401 | 99.808 | -0.19202 | 0.02005 | -0.038404 | 0.01 | 3157 |  |  |  | mg/L as N | N153 | KNLL_22223A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 2020023 | 2022-08-11 |  | 0.39629 | 0.401 | 98.8254 | -1.1746 | 0.02005 | -0.23491 | 0.01 | 3157 |  |  |  | mg/L as N | N153 | KNLL_22223A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 2090179 | 2022-08-30 |  | 0.37743 | 0.401 | 94.1222 | -5.8778 | 0.02005 | -1.1756 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N153 | KNLL_22241A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 2140178 | 2022-09-02 |  | 0.387 | 0.401 | 96.5087 | -3.4913 | 0.02005 | -0.69825 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N153 | KNLL_22245A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 2210119 | 2022-09-02 |  | 0.3904 | 0.401 | 97.3566 | -2.6434 | 0.02005 | -0.52868 | 0.01 | 3157 |  |  |  | mg/L as N | N153 | KNLL_22245A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 2280356 | 2022-09-15 |  | 0.40649 | 0.401 | 101.3691 | 1.3691 | 0.02005 | 0.27382 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N153 | KNLL_22258A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 2580149 | 2022-09-29 |  | 0.40928 | 0.401 | 102.0648 | 2.0648 | 0.02005 | 0.41297 | 0.01 | 3157 |  |  |  | mg/L as N | N153 | KNLL_22272A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 2660046 | 2022-10-17 |  | 0.3876 | 0.401 | 96.6584 | -3.3416 | 0.02005 | -0.66833 | 0.01 | 3157 |  |  |  | mg/L as N | N153 | KNLL_22290A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2022 | 2720120 | 2022-10-17 |  | 0.38794 | 0.401 | 96.7431 | -3.2569 | 0.02005 | -0.65137 | 0.01 | 3157 |  |  |  | mg/L as N | N153 | KNLL_22290A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 2770117 | 2022-10-20 |  | 0.44897 | 0.455 | 98.6747 | -1.3253 | 0.026 | -0.23192 | 0.01 | 3157 |  |  |  | mg/L as N | N155 | KNLL_22293A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 2860106 | 2022-10-20 |  | 0.45909 | 0.455 | 100.8989 | 0.8989 | 0.026 | 0.15731 | 0.01 | 3157 |  |  |  | mg/L as N | N155 | KNLL_22293A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 2920223 | 2022-11-17 |  | 0.46394 | 0.455 | 101.9648 | 1.9648 | 0.026 | 0.34385 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N155 | KNLL_22321A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 2910109 | 2022-11-17 |  | 0.44681 | 0.451 | 99.071 | -0.92905 | 0.02255 | -0.18581 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N156X | KNLL_22321A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 2930114 | 2022-11-17 |  | 0.44499 | 0.451 | 98.6674 | -1.3326 | 0.02255 | -0.26652 | 0.01 | 3157 | See result laboratory comment |  |  | mg/L as N | N156X | KNLL_22321A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 3000168 | 2022-11-21 |  | 0.45023 | 0.451 | 99.8293 | -0.17073 | 0.02255 | -0.034146 | 0.01 | 3157 |  |  |  | mg/L as N | N156X | KNLL_22325A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 3060051 | 2022-11-21 |  | 0.45989 | 0.451 | 101.9712 | 1.9712 | 0.02255 | 0.39424 | 0.01 | 3157 |  |  |  | mg/L as N | N156X | KNLL_22325A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 3210271 | 2022-11-22 |  | 0.44982 | 0.455 | 98.8615 | -1.1385 | 0.026 | -0.19923 | 0.01 | 3157 |  |  |  | mg/L as N | N155 | KNLL_22326A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 3130111 | 2022-11-22 |  | 0.44437 | 0.451 | 98.5299 | -1.4701 | 0.02255 | -0.29401 | 0.01 | 3157 |  |  |  | mg/L as N | N156X | KNLL_22326A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 3190027 | 2022-12-02 |  | 0.45173 | 0.455 | 99.2813 | -0.71868 | 0.026 | -0.12577 | 0.01 | 3157 |  |  |  | mg/L as N | N155 | KNLL_22336A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 3340031 | 2022-12-02 |  | 0.46579 | 0.455 | 102.3714 | 2.3714 | 0.026 | 0.415 | 0.01 | 3157 |  |  |  | mg/L as N | N155 | KNLL_22336A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 3200146 | 2022-12-02 |  | 0.46042 | 0.451 | 102.0887 | 2.0887 | 0.02255 | 0.41774 | 0.01 | 3157 |  |  |  | mg/L as N | N156X | KNLL_22336A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 3400092 | 2022-12-21 |  | 0.46389 | 0.455 | 101.9538 | 1.9538 | 0.026 | 0.34192 | 0.01 | 3157 |  |  |  | mg/L as N | N155 | KNLL_22355A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 3540136 | 2023-01-06 |  | 0.47327 | 0.451 | 104.9379 | 4.9379 | 0.02255 | 0.98758 | 0.01 | 3157 |  |  |  | mg/L as N | N156X | KNLL_23006A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 3610136 | 2023-01-24 |  | 0.49206 | 0.455 | 108.1451 | 8.1451 | 0.026 | 1.4254 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N155 | KNLL_23024A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 0100104 | 2023-01-24 |  | 0.48772 | 0.451 | 108.1419 | 8.1419 | 0.02255 | 1.6284 | 0.01 | 3157 |  |  |  | mg/L as N | N156X | KNLL_23024A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 0050054 | 2023-01-24 |  | 0.48905 | 0.451 | 108.4368 | 8.4368 | 0.02255 | 1.6874 | 0.01 | 3157 |  |  |  | mg/L as N | N156X | KNLL_23024A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 0240119 | 2023-02-02 |  | 0.45064 | 0.455 | 99.0418 | -0.95824 | 0.026 | -0.16769 | 0.01 | 3157 |  |  |  | mg/L as N | N155 | KNLL_23033A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 0320034 | 2023-02-02 |  | 0.44663 | 0.455 | 98.1604 | -1.8396 | 0.026 | -0.32192 | 0.01 | 3157 |  |  |  | mg/L as N | N155 | KNLL_23033A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 0250119 | 2023-02-02 |  | 0.47059 | 0.451 | 104.3437 | 4.3437 | 0.02255 | 0.86874 | 0.01 | 3157 |  |  |  | mg/L as N | N156X | KNLL_23033A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 0380148 | 2023-02-09 |  | 0.46833 | 0.455 | 102.9297 | 2.9297 | 0.026 | 0.51269 | 0.01 | 3157 |  |  |  | mg/L as N | N155 | KNLL_23040A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 0540081 | 2023-02-24 |  | 0.43862 | 0.451 | 97.255 | -2.745 | 0.02255 | -0.549 | 0.01 | 3157 |  |  |  | mg/L as N | N156X | KNLL_23055A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 0590094 | 2023-03-02 |  | 0.48066 | 0.455 | 105.6396 | 5.6396 | 0.026 | 0.98692 | 0.01 | 3157 |  |  |  | mg/L as N | N155 | KNLL_23061A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 0660113 | 2023-03-27 |  | 0.46684 | 0.451 | 103.5122 | 3.5122 | 0.02255 | 0.70244 | 0.01 | 3157 |  |  |  | mg/L as N | N156X | KNLL_23086A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 0670100 | 2023-03-27 |  | 0.46461 | 0.451 | 103.0177 | 3.0177 | 0.02255 | 0.60355 | 0.01 | 3157 |  |  |  | mg/L as N | N156X | KNLL_23086A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 0800082 | 2023-03-27 |  | 0.46028 | 0.451 | 102.0576 | 2.0576 | 0.02255 | 0.41153 | 0.01 | 3157 |  |  |  | mg/L as N | N156X | KNLL_23086A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 0750100 | 2023-03-31 |  | 0.44551 | 0.455 | 97.9143 | -2.0857 | 0.026 | -0.365 | 0.01 | 3157 |  |  |  | mg/L as N | N155 | KNLL_23090A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 0820083 | 2023-03-31 |  | 0.45321 | 0.455 | 99.6066 | -0.39341 | 0.026 | -0.068846 | 0.01 | 3157 |  |  |  | mg/L as N | N155 | KNLL_23090A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 0740034 | 2023-03-31 |  | 0.45225 | 0.451 | 100.2772 | 0.27716 | 0.02255 | 0.055432 | 0.01 | 3157 |  |  |  | mg/L as N | N156X | KNLL_23090A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 0890107 | 2023-04-27 |  | 0.47668 | 0.455 | 104.7648 | 4.7648 | 0.026 | 0.83385 | 0.01 | 3157 |  |  |  | mg/L as N | N155 | KNLL_23117A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 0940131 | 2023-05-02 |  | 0.30194 | 0.32 | 94.3563 | -5.6438 | 0.016 | -1.1288 | 0.01 | 3157 |  |  |  | mg/L as N | N157 | KNLL_23122A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 1020107 | 2023-05-02 |  | 0.30899 | 0.32 | 96.5594 | -3.4406 | 0.016 | -0.68813 | 0.01 | 3157 |  |  |  | mg/L as N | N157 | KNLL_23122A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 1100090 | 2023-05-04 |  | 0.29908 | 0.32 | 93.4625 | -6.5375 | 0.016 | -1.3075 | 0.01 | 3157 |  |  |  | mg/L as N | N157 | KNLL_23124A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 1090192 | 2023-05-04 |  | 0.14662 | 0.155 | 94.5935 | -5.4065 | 0.00775 | -1.0813 | 0.01 | 3157 |  |  |  | mg/L as N | N158X | KNLL_23124A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 1150153 | 2023-05-04 |  | 0.14356 | 0.155 | 92.6194 | -7.3806 | 0.00775 | -1.4761 | 0.01 | 3157 |  |  |  | mg/L as N | N158X | KNLL_23124A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 1230177 | 2023-05-08 |  | 0.14929 | 0.155 | 96.3161 | -3.6839 | 0.00775 | -0.73677 | 0.01 | 3157 |  |  |  | mg/L as N | N158X | KNLL_23128A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 1240213 | 2023-05-08 |  | 0.1595 | 0.155 | 102.9032 | 2.9032 | 0.00775 | 0.58065 | 0.01 | 3157 |  |  |  | mg/L as N | N158X | KNLL_23128A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 1300165 | 2023-05-23 |  | 0.15933 | 0.155 | 102.7935 | 2.7935 | 0.00775 | 0.55871 | 0.01 | 3157 |  |  |  | mg/L as N | N158X | KNLL_23143A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 1310001 | 2023-06-14 |  | 0.31189 | 0.32 | 97.4656 | -2.5344 | 0.016 | -0.50688 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N157 | KNLL_23165A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 1380204 | 2023-06-14 |  | 0.34885 | 0.32 | 109.0156 | 9.0156 | 0.016 | 1.8031 | 0.01 | 3157 |  |  |  | mg/L as N | N157 | KNLL_23165A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 1360050 | 2023-06-14 |  | 0.15721 | 0.155 | 101.4258 | 1.4258 | 0.00775 | 0.28516 | 0.01 | 3157 |  |  |  | mg/L as N | N158X | KNLL_23165A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 1460004 | 2023-06-28 |  | 0.30157 | 0.32 | 94.2406 | -5.7594 | 0.016 | -1.1519 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N157 | KNLL_23179A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 1570043 | 2023-09-08 |  | 0.29816 | 0.32 | 93.175 | -6.825 | 0.016 | -1.365 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N157 | KNLL_23250A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 1650069 | 2023-09-08 |  | 0.27908 | 0.32 | 87.2125 | -12.7875 | 0.016 | -2.5575 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N157 | KNLL_23250A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 1660195 | 2023-09-08 |  | 0.13593 | 0.155 | 87.6968 | -12.3032 | 0.00775 | -2.4606 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N158X | KNLL_23250A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 1730213 | 2023-09-21 |  | 0.30158 | 0.32 | 94.2438 | -5.7562 | 0.016 | -1.1512 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N157 | KNLL_23264A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 1790032 | 2023-09-21 |  | 0.14189 | 0.155 | 91.5419 | -8.4581 | 0.00775 | -1.6916 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N158X | KNLL_23264A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 1980053 | 2023-09-22 |  | 0.30462 | 0.32 | 95.1937 | -4.8063 | 0.016 | -0.96125 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N157 | KNLL_23265A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 1860130 | 2023-09-22 |  | 0.14618 | 0.155 | 94.3097 | -5.6903 | 0.00775 | -1.1381 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N158X | KNLL_23265A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 1870311 | 2023-09-22 |  | 0.14525 | 0.155 | 93.7097 | -6.2903 | 0.00775 | -1.2581 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N158X | KNLL_23265A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 1940236 | 2023-09-22 |  | 0.15027 | 0.155 | 96.9484 | -3.0516 | 0.00775 | -0.61032 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N158X | KNLL_23265A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 2020028 | 2023-09-26 |  | 0.30424 | 0.32 | 95.075 | -4.925 | 0.016 | -0.985 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N157 | KNLL_23269A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 2080233 | 2023-09-26 |  | 0.30717 | 0.32 | 95.9906 | -4.0094 | 0.016 | -0.80188 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N157 | KNLL_23269A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 1990168 | 2023-09-26 |  | 0.1462 | 0.155 | 94.3226 | -5.6774 | 0.00775 | -1.1355 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N158X | KNLL_23269A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 2200131 | 2023-09-27 |  | 0.29591 | 0.32 | 92.4719 | -7.5281 | 0.016 | -1.5056 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N157 | KNLL_23270A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 2280170 | 2023-09-27 |  | 0.30158 | 0.32 | 94.2438 | -5.7562 | 0.016 | -1.1512 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N157 | KNLL_23270A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 2350098 | 2023-09-27 |  | 0.29552 | 0.32 | 92.35 | -7.65 | 0.016 | -1.53 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N157 | KNLL_23270A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 2290215 | 2023-09-27 |  | 0.35642 | 0.155 | 229.9484 | 129.9484 | 0.00775 | 25.9897 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N158X | KNLL_23270A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 2360089 | 2023-09-27 |  | 0.16162 | 0.155 | 104.271 | 4.271 | 0.00775 | 0.85419 | 0.01 | 3157 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N158X | KNLL_23270A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 2570187 | 2023-09-28 |  | 0.30072 | 0.32 | 93.975 | -6.025 | 0.016 | -1.205 | 0.01 | 3157 |  |  |  | mg/L as N | N157 | KNLL_23271A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 2490135 | 2023-09-28 |  | 0.14945 | 0.155 | 96.4194 | -3.5806 | 0.00775 | -0.71613 | 0.01 | 3157 |  |  |  | mg/L as N | N158X | KNLL_23271A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 2560091 | 2023-09-28 |  | 0.13991 | 0.155 | 90.2645 | -9.7355 | 0.00775 | -1.9471 | 0.01 | 3157 |  |  |  | mg/L as N | N158X | KNLL_23271A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 2480100 | 2023-09-28 |  | 0.16531 | 0.155 | 106.6516 | 6.6516 | 0.00775 | 1.3303 | 0.01 | 3157 |  |  |  | mg/L as N | N158X | KNLL_23271A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 2640110 | 2023-10-12 |  | 0.29573 | 0.32 | 92.4156 | -7.5844 | 0.016 | -1.5169 | 0.01 | 3157 |  |  |  | mg/L as N | N157 | KNLL_23285A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 2620182 | 2023-10-12 |  | 0.14721 | 0.155 | 94.9742 | -5.0258 | 0.00775 | -1.0052 | 0.01 | 3157 |  |  |  | mg/L as N | N158X | KNLL_23285A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2023 | 2720020 | 2023-10-13 |  | 0.30385 | 0.32 | 94.9531 | -5.0469 | 0.016 | -1.0094 | 0.01 | 3157 |  |  |  | mg/L as N | N157 | KNLL_23286A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 2760037 | 2023-10-13 |  | 0.23369 | 0.247 | 94.6113 | -5.3887 | 0.01235 | -1.0777 | 0.01 | 3157 |  |  |  | mg/L as N | N159 | KNLL_23286A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 2850093 | 2023-10-13 |  | 0.22462 | 0.247 | 90.9393 | -9.0607 | 0.01235 | -1.8121 | 0.01 | 3157 |  |  |  | mg/L as N | N159 | KNLL_23286A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 2900164 | 2023-10-25 |  | 0.22472 | 0.247 | 90.9798 | -9.0202 | 0.01235 | -1.804 | 0.01 | 3157 |  |  |  | mg/L as N | N159 | KNLL_23298A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 2860133 | 2023-10-25 |  | 0.11015 | 0.125 | 88.12 | -11.88 | 0.006295 | -2.359 | 0.01 | 3157 |  |  |  | mg/L as N | N160X | KNLL_23298A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 2930013 | 2023-10-25 |  | 0.10942 | 0.125 | 87.536 | -12.464 | 0.006295 | -2.475 | 0.01 | 3157 |  |  |  | mg/L as N | N160X | KNLL_23298A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 2990159 | 2023-11-01 |  | 0.11929 | 0.125 | 95.432 | -4.568 | 0.006295 | -0.90707 | 0.01 | 3157 |  |  |  | mg/L as N | N160X | KNLL_23305A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 3120061 | 2023-11-13 |  | 0.11814 | 0.125 | 94.512 | -5.488 | 0.006295 | -1.0898 | 0.01 | 3157 |  |  |  | mg/L as N | N160X | KNLL_23317A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 3210045 | 2023-11-27 |  | 0.23721 | 0.247 | 96.0364 | -3.9636 | 0.01235 | -0.79271 | 0.01 | 3157 |  |  |  | mg/L as N | N159 | KNLL_23331A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 3190185 | 2023-11-27 |  | 0.11864 | 0.125 | 94.912 | -5.088 | 0.006295 | -1.0103 | 0.01 | 3157 |  |  |  | mg/L as N | N160X | KNLL_23331A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 3250152 | 2023-11-27 |  | 0.11873 | 0.125 | 94.984 | -5.016 | 0.006295 | -0.99603 | 0.01 | 3157 |  |  |  | mg/L as N | N160X | KNLL_23331A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 3320176 | 2023-12-01 |  | 0.23569 | 0.247 | 95.4211 | -4.5789 | 0.01235 | -0.91579 | 0.01 | 3157 |  |  |  | mg/L as N | N159 | KNLL_23335A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 3350127 | 2023-12-06 |  | 0.23772 | 0.247 | 96.2429 | -3.7571 | 0.01235 | -0.75142 | 0.01 | 3157 |  |  |  | mg/L as N | N159 | KNLL_23340A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 3390056 | 2023-12-06 |  | 0.2316 | 0.247 | 93.7652 | -6.2348 | 0.01235 | -1.247 | 0.01 | 3157 |  |  |  | mg/L as N | N159 | KNLL_23340A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 3470278 | 2023-12-14 |  | 0.11553 | 0.125 | 92.424 | -7.576 | 0.006295 | -1.5044 | 0.01 | 3157 |  |  |  | mg/L as N | N160X | KNLL_23348A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 3530161 | 2024-01-04 |  | 0.23041 | 0.247 | 93.2834 | -6.7166 | 0.01235 | -1.3433 | 0.01 | 3157 |  |  |  | mg/L as N | N159 | KNLL_24004A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 0030063 | 2024-01-04 |  | 0.1166 | 0.125 | 93.28 | -6.72 | 0.006295 | -1.3344 | 0.01 | 3157 |  |  |  | mg/L as N | N160X | KNLL_24004A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 3620061 | 2024-01-04 |  | 0.11568 | 0.125 | 92.544 | -7.456 | 0.006295 | -1.4805 | 0.01 | 3157 |  |  |  | mg/L as N | N160X | KNLL_24004A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 0120128 | 2024-01-26 |  | 0.23421 | 0.247 | 94.8219 | -5.1781 | 0.01235 | -1.0356 | 0.01 | 3157 |  |  |  | mg/L as N | N159 | KNLL_24026A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 0250069 | 2024-01-26 |  | 0.21646 | 0.247 | 87.6356 | -12.3644 | 0.01235 | -2.4729 | 0.01 | 3157 |  |  |  | mg/L as N | N159 | KNLL_24026A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 0170012 | 2024-01-26 |  | 0.11842 | 0.125 | 94.736 | -5.264 | 0.006295 | -1.0453 | 0.01 | 3157 |  |  |  | mg/L as N | N160X | KNLL_24026A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 0370151 | 2024-02-15 |  | 0.23527 | 0.247 | 95.251 | -4.749 | 0.01235 | -0.9498 | 0.01 | 3157 |  |  |  | mg/L as N | N159 | KNLL_24046A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 0520082 | 2024-02-27 |  | 0.22972 | 0.247 | 93.004 | -6.996 | 0.01235 | -1.3992 | 0.01 | 3157 |  |  |  | mg/L as N | N159 | KNLL_24058A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 0460204 | 2024-02-27 |  | 0.11934 | 0.125 | 95.472 | -4.528 | 0.006295 | -0.89913 | 0.01 | 3157 |  |  |  | mg/L as N | N160X | KNLL_24058A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 0610077 | 2024-03-12 |  | 0.11879 | 0.125 | 95.032 | -4.968 | 0.006295 | -0.9865 | 0.01 | 3157 |  |  |  | mg/L as N | N160X | KNLL_24072A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 0660046 | 2024-03-12 |  | 0.11923 | 0.125 | 95.384 | -4.616 | 0.006295 | -0.9166 | 0.01 | 3157 |  |  |  | mg/L as N | N160X | KNLL_24072A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 0790097 | 2024-03-28 |  | 0.23012 | 0.247 | 93.166 | -6.834 | 0.01235 | -1.3668 | 0.01 | 3157 |  |  |  | mg/L as N | N159 | KNLL_24088A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 0810191 | 2024-03-28 |  | 0.23765 | 0.247 | 96.2146 | -3.7854 | 0.01235 | -0.75709 | 0.01 | 3157 |  |  |  | mg/L as N | N159 | KNLL_24088A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 0730123 | 2024-03-28 |  | 0.11711 | 0.125 | 93.688 | -6.312 | 0.006295 | -1.2534 | 0.01 | 3157 |  |  |  | mg/L as N | N160X | KNLL_24088A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 0800006 | 2024-03-28 |  | 0.1162 | 0.125 | 92.96 | -7.04 | 0.006295 | -1.3979 | 0.01 | 3157 |  |  |  | mg/L as N | N160X | KNLL_24088A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 0880081 | 2024-04-12 |  | 0.23216 | 0.247 | 93.9919 | -6.0081 | 0.01235 | -1.2016 | 0.01 | 3157 |  |  |  | mg/L as N | N159 | KNLL_24103A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 1020163 | 2024-04-22 |  | 0.08345 | 0.0873 | 95.5899 | -4.4101 | 0.005 | -0.77 | 0.01 | 3157 |  |  |  | mg/L as N | N162X | KNLL_24113A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 1090164 | 2024-04-22 |  | 0.08557 | 0.0873 | 98.0183 | -1.9817 | 0.005 | -0.346 | 0.01 | 3157 |  |  |  | mg/L as N | N162X | KNLL_24113A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 1160214 | 2024-05-09 |  | 0.08603 | 0.0873 | 98.5452 | -1.4548 | 0.005 | -0.254 | 0.01 | 3157 |  |  |  | mg/L as N | N162X | KNLL_24130A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 1280110 | 2024-05-09 |  | 0.08319 | 0.0873 | 95.2921 | -4.7079 | 0.005 | -0.822 | 0.01 | 3157 |  |  |  | mg/L as N | N162X | KNLL_24130A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 1370192 | 2024-05-17 |  | 0.01185 | 0.0873 | 13.5739 | -86.4261 | 0.005 | -15.09 | 0.01 | 3157 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N162X | KNLL_24138A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 1420093 | 2024-05-23 |  | 0.08675 | 0.0873 | 99.37 | -0.63001 | 0.005 | -0.11 | 0.01 | 3157 |  |  |  | mg/L as N | N162X | KNLL_24144A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 1380121 | 2024-05-30 |  | 0.36055 | 0.361 | 99.8753 | -0.12465 | 0.021 | -0.021429 | 0.01 | 3157 |  |  |  | mg/L as N | N161 | KNLL_24151A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 1440176 | 2024-05-30 |  | 0.34576 | 0.361 | 95.7784 | -4.2216 | 0.021 | -0.72571 | 0.01 | 3157 |  |  |  | mg/L as N | N161 | KNLL_24151A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 1560042 | 2024-06-05 |  | 0.35813 | 0.361 | 99.205 | -0.79501 | 0.021 | -0.13667 | 0.01 | 3157 |  |  |  | mg/L as N | N161 | KNLL_24157A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 1520091 | 2024-06-05 |  | 0.35875 | 0.361 | 99.3767 | -0.62327 | 0.021 | -0.10714 | 0.01 | 3157 |  |  |  | mg/L as N | N161 | KNLL_24157A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 1630119 | 2024-06-17 |  | 0.35321 | 0.361 | 97.8421 | -2.1579 | 0.021 | -0.37095 | 0.01 | 3157 |  |  |  | mg/L as N | N161 | KNLL_24169A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 1650133 | 2024-06-17 |  | 0.08596 | 0.0873 | 98.4651 | -1.5349 | 0.005 | -0.268 | 0.01 | 3157 |  |  |  | mg/L as N | N162X | KNLL_24169A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 1720055 | 2024-07-01 |  | 0.35537 | 0.361 | 98.4404 | -1.5596 | 0.021 | -0.2681 | 0.01 | 3157 |  |  |  | mg/L as N | N161 | KNLL_24183A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 1720185 | 2024-07-01 |  | 0.08745 | 0.0873 | 100.1718 | 0.17182 | 0.005 | 0.03 | 0.01 | 3157 |  |  |  | mg/L as N | N162X | KNLL_24183A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 1790109 | 2024-07-01 |  | 0.08976 | 0.0873 | 102.8179 | 2.8179 | 0.005 | 0.492 | 0.01 | 3157 |  |  |  | mg/L as N | N162X | KNLL_24183A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 1910046 | 2024-07-15 |  | 0.08547 | 0.0873 | 97.9038 | -2.0962 | 0.005 | -0.366 | 0.01 | 3157 |  |  |  | mg/L as N | N162X | KNLL_24197A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 2190099 | 2024-08-13 |  | 0.35518 | 0.361 | 98.3878 | -1.6122 | 0.021 | -0.27714 | 0.01 | 3157 |  |  |  | mg/L as N | N161 | KNLL_24226A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 2000169 | 2024-08-13 |  | 0.35175 | 0.361 | 97.4377 | -2.5623 | 0.021 | -0.44048 | 0.01 | 3157 |  |  |  | mg/L as N | N161 | KNLL_24226A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 2080150 | 2024-08-13 |  | 0.35366 | 0.361 | 97.9668 | -2.0332 | 0.021 | -0.34952 | 0.01 | 3157 |  |  |  | mg/L as N | N161 | KNLL_24226A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 2140187 | 2024-08-13 |  | 0.35601 | 0.361 | 98.6177 | -1.3823 | 0.021 | -0.23762 | 0.01 | 3157 |  |  |  | mg/L as N | N161 | KNLL_24226A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 1980278 | 2024-08-13 |  | 0.08476 | 0.0873 | 97.0905 | -2.9095 | 0.005 | -0.508 | 0.01 | 3157 |  |  |  | mg/L as N | N162X | KNLL_24226A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 2050134 | 2024-08-13 |  | 0.08489 | 0.0873 | 97.2394 | -2.7606 | 0.005 | -0.482 | 0.01 | 3157 |  |  |  | mg/L as N | N162X | KNLL_24226A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 2260088 | 2024-08-19 |  | 0.36679 | 0.361 | 101.6039 | 1.6039 | 0.021 | 0.27571 | 0.01 | 3157 |  |  |  | mg/L as N | N161 | KNLL_24232A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 2330319 | 2024-09-05 |  | 0.3537 | 0.361 | 97.9778 | -2.0222 | 0.021 | -0.34762 | 0.01 | 3157 |  |  |  | mg/L as N | N161 | KNLL_24249A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 2480182 | 2024-09-05 |  | 0.08465 | 0.0873 | 96.9645 | -3.0355 | 0.005 | -0.53 | 0.01 | 3157 |  |  |  | mg/L as N | N162X | KNLL_24249A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 2280183 | 2024-09-05 |  | 0.08544 | 0.0873 | 97.8694 | -2.1306 | 0.005 | -0.372 | 0.01 | 3157 |  |  |  | mg/L as N | N162X | KNLL_24249A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 2350149 | 2024-09-05 |  | 0.08628 | 0.0873 | 98.8316 | -1.1684 | 0.005 | -0.204 | 0.01 | 3157 |  |  |  | mg/L as N | N162X | KNLL_24249A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 2420142 | 2024-09-05 |  | 0.08319 | 0.0873 | 95.2921 | -4.7079 | 0.005 | -0.822 | 0.01 | 3157 |  |  |  | mg/L as N | N162X | KNLL_24249A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 2600041 | 2024-09-24 |  | 0.35885 | 0.361 | 99.4044 | -0.59557 | 0.021 | -0.10238 | 0.01 | 3157 |  |  |  | mg/L as N | N161 | KNLL_24268A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 2600024 | 2024-09-24 |  | 0.08643 | 0.0873 | 99.0034 | -0.99656 | 0.005 | -0.174 | 0.01 | 3157 |  |  |  | mg/L as N | N162X | KNLL_24268A
Nitrate + nitrite as N, fltd, DA, LL | 00631 | RED02 | FIL | 2024 | 2610048 | 2024-09-24 |  | 0.0899 | 0.0873 | 102.9782 | 2.9782 | 0.005 | 0.52 | 0.01 | 3157 |  |  |  | mg/L as N | N162X | KNLL_24268A