## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2019 | 2680152 | 2019-10-09 |  | 0.178 | 0.171 | 104.0936 | 4.0936 | 0.013 | 0.53846 | 0.02 | 2757 |  |  |  | mg/L as P | N141 | PDNP277A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 2890225 | 2019-11-01 |  | 0.425 | 0.412 | 103.1553 | 3.1553 | 0.0206 | 0.63107 | 0.01 | 2757 |  |  |  | mg/L as P | N144 | PDNP297A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 3030029 | 2019-11-07 |  | 0.406 | 0.412 | 98.5437 | -1.4563 | 0.0206 | -0.29126 | 0.01 | 2757 |  |  |  | mg/L as P | N144 | PDNP304B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 3170098 | 2019-11-27 |  | 0.189 | 0.184 | 102.7174 | 2.7174 | 0.0092 | 0.54348 | 0.01 | 2757 |  |  |  | mg/L as P | N143 | PDNP325A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 3310061 | 2019-12-06 |  | 0.181 | 0.184 | 98.3696 | -1.6304 | 0.0092 | -0.32609 | 0.01 | 2757 |  |  |  | mg/L as P | N143 | PDNP339A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 3440296 | 2019-12-27 |  | 0.412 | 0.412 | 100 | 0 | 0.0206 | 0 | 0.01 | 2757 |  |  |  | mg/L as P | N144 | PDNP346B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 3600043 | 2020-01-15 |  | 0.406 | 0.412 | 98.5437 | -1.4563 | 0.0206 | -0.29126 | 0.01 | 2757 |  |  |  | mg/L as P | N144 | PDNP010A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 0150020 | 2020-01-23 |  | 0.187 | 0.184 | 101.6304 | 1.6304 | 0.0092 | 0.32609 | 0.01 | 2757 |  |  |  | mg/L as P | N143 | PDNP016A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 0280071 | 2020-02-07 |  | 0.181 | 0.184 | 98.3696 | -1.6304 | 0.0092 | -0.32609 | 0.01 | 2757 |  |  |  | mg/L as P | N143 | PDNP030A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 0420078 | 2020-02-26 |  | 0.399 | 0.412 | 96.8447 | -3.1553 | 0.0206 | -0.63107 | 0.01 | 2757 |  |  |  | mg/L as P | N144 | PDNP045A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 0560050 | 2020-03-05 |  | 0.396 | 0.412 | 96.1165 | -3.8835 | 0.0206 | -0.7767 | 0.01 | 2757 |  |  |  | mg/L as P | N144 | PDNP059A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 0700106 | 2020-03-24 |  | 0.184 | 0.184 | 100 | 0 | 0.0092 | 0 | 0.01 | 2757 |  |  |  | mg/L as P | N143 | PDNP073A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 0840026 | 2020-03-26 |  | 0.185 | 0.184 | 100.5435 | 0.54348 | 0.0092 | 0.1087 | 0.01 | 2757 |  |  |  | mg/L as P | N143 | PDNP085A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 1060058 | 2020-04-23 |  | 0.339 | 0.339 | 100 | 0 | 0.01695 | 0 | 0.01 | 2757 |  |  |  | mg/L as P | N146 | PDNP111A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 1190083 | 2020-05-06 |  | 0.336 | 0.339 | 99.115 | -0.88496 | 0.01695 | -0.17699 | 0.01 | 2757 |  |  |  | mg/L as P | N146 | PDNP125A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 1330130 | 2020-06-05 |  | 0.138 | 0.134 | 102.9851 | 2.9851 | 0.008 | 0.5 | 0.01 | 2757 |  |  |  | mg/L as P | N145 | PDNP_20154A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 1500214 | 2020-06-10 |  | 0.131 | 0.134 | 97.7612 | -2.2388 | 0.008 | -0.375 | 0.01 | 2757 |  |  |  | mg/L as P | N145 | PDNP_20156A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 1610196 | 2020-06-19 |  | 0.34 | 0.339 | 100.295 | 0.29499 | 0.01695 | 0.058997 | 0.01 | 2757 |  |  |  | mg/L as P | N146 | PDNP_20163C
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 1750073 | 2020-07-01 |  | 0.333 | 0.339 | 98.2301 | -1.7699 | 0.01695 | -0.35398 | 0.01 | 2757 |  |  |  | mg/L as P | N146 | PDNP_20177C
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 1960129 | 2020-07-28 |  | 0.14 | 0.134 | 104.4776 | 4.4776 | 0.008 | 0.75 | 0.01 | 2757 |  |  |  | mg/L as P | N145 | PDNP_20202A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 2120195 | 2020-08-21 |  | 0.133 | 0.134 | 99.2537 | -0.74627 | 0.008 | -0.125 | 0.01 | 2757 |  |  |  | mg/L as P | N145 | PDNP_20231B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 2240095 | 2020-09-04 |  | 0.345 | 0.339 | 101.7699 | 1.7699 | 0.01695 | 0.35398 | 0.01 | 2757 |  |  |  | mg/L as P | N146 | PDNP_20245A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 2390030 | 2020-09-16 |  | 0.373 | 0.339 | 110.0295 | 10.0295 | 0.01695 | 2.0059 | 0.01 | 2757 |  |  |  | mg/L as P | N146 | PDNP_20255A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 2590161 | 2020-10-09 |  | 0.133 | 0.134 | 99.2537 | -0.74627 | 0.008 | -0.125 | 0.01 | 2757 |  |  |  | mg/L as P | N145 | PDNP_20275B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2020 | 2740060 | 2020-11-05 |  | 0.141 | 0.134 | 105.2239 | 5.2239 | 0.008 | 0.875 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N145 | PDNP_20303A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 2880073 | 2020-11-06 |  | 0.321 | 0.295 | 108.8136 | 8.8136 | 0.01475 | 1.7627 | 0.01 | 2757 |  |  |  | mg/L as P | N148 | PDNP_20307A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 3010156 | 2020-11-17 |  | 0.314 | 0.295 | 106.4407 | 6.4407 | 0.01475 | 1.2881 | 0.01 | 2757 |  |  |  | mg/L as P | N148 | PDNP_20317A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 3150101 | 2020-11-27 |  | 0.202 | 0.198 | 102.0202 | 2.0202 | 0.0099 | 0.40404 | 0.01 | 2757 |  |  |  | mg/L as P | N147 | PDNP_20324C
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 3300050 | 2020-12-08 |  | 0.205 | 0.198 | 103.5354 | 3.5354 | 0.0099 | 0.70707 | 0.01 | 2757 |  |  |  | mg/L as P | N147 | PDNP_20338A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 3500076 | 2020-12-31 |  | 0.312 | 0.295 | 105.7627 | 5.7627 | 0.01475 | 1.1525 | 0.01 | 2757 |  |  |  | mg/L as P | N148 | PDNP_20363A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 3640017 | 2021-01-08 |  | 0.305 | 0.295 | 103.3898 | 3.3898 | 0.01475 | 0.67797 | 0.01 | 2757 |  |  |  | mg/L as P | N148 | PDNP_21007A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 0120035 | 2021-01-22 |  | 0.203 | 0.198 | 102.5253 | 2.5253 | 0.0099 | 0.50505 | 0.01 | 2757 |  |  |  | mg/L as P | N147 | PDNP_21021A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 0270076 | 2021-02-03 |  | 0.209 | 0.198 | 105.5556 | 5.5556 | 0.0099 | 1.1111 | 0.01 | 2757 |  |  |  | mg/L as P | N147 | PDNP_21032A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 0330080 | 2021-02-11 |  | 0.309 | 0.295 | 104.7458 | 4.7458 | 0.01475 | 0.94915 | 0.01 | 2757 |  |  |  | mg/L as P | N148 | PDNP_21039B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 0480040 | 2021-03-03 |  | 0.278 | 0.295 | 94.2373 | -5.7627 | 0.01475 | -1.1525 | 0.01 | 2757 |  |  |  | mg/L as P | N148 | PDNP_21053A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 0680064 | 2021-03-19 |  | 0.235 | 0.198 | 118.6869 | 18.6869 | 0.0099 | 3.7374 | 0.01 | 2757 |  |  |  | mg/L as P | N147 | PDNP_21075C
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 0830030 | 2021-03-31 |  | 0.2 | 0.198 | 101.0101 | 1.0101 | 0.0099 | 0.20202 | 0.01 | 2757 |  |  |  | mg/L as P | N147 | PDNP_21084B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 1180040 | 2021-05-19 |  | 0.4483 | 0.45 | 99.6222 | -0.37778 | 0.0225 | -0.075556 | 0.01 | 2757 |  |  |  | mg/L as P | N150 | PDNP_21139A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 1030141 | 2021-06-04 |  | 0.4478 | 0.45 | 99.5111 | -0.48889 | 0.0225 | -0.097778 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N150 | PDNP_21153A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 1320165 | 2021-06-07 |  | 0.1765 | 0.184 | 95.9239 | -4.0761 | 0.0092 | -0.81522 | 0.01 | 2757 |  |  |  | mg/L as P | N149 | PDNP_21155B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 1460001 | 2021-06-17 |  | 0.183 | 0.184 | 99.4565 | -0.54348 | 0.0092 | -0.1087 | 0.01 | 2757 |  |  |  | mg/L as P | N149 | PDNP_21166B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 1600031 | 2021-06-24 |  | 0.4538 | 0.45 | 100.8444 | 0.84444 | 0.0225 | 0.16889 | 0.01 | 2757 |  |  |  | mg/L as P | N150 | PDNP_21172D
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 1730217 | 2021-07-13 |  | 0.4537 | 0.45 | 100.8222 | 0.82222 | 0.0225 | 0.16444 | 0.01 | 2757 |  |  |  | mg/L as P | N150 | PDNP_21188B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 1940227 | 2021-07-30 |  | 0.1866 | 0.184 | 101.413 | 1.413 | 0.0092 | 0.28261 | 0.01 | 2757 |  |  |  | mg/L as P | N149 | PDNP_21210B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 2080175 | 2021-08-11 |  | 0.1929 | 0.184 | 104.837 | 4.837 | 0.0092 | 0.96739 | 0.01 | 2757 |  |  |  | mg/L as P | N149 | PDNP_21218A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 2220181 | 2021-08-24 |  | 0.4342 | 0.45 | 96.4889 | -3.5111 | 0.0225 | -0.70222 | 0.01 | 2757 |  |  |  | mg/L as P | N150 | PDNP_21231A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 2360116 | 2021-08-30 |  | 0.4645 | 0.45 | 103.2222 | 3.2222 | 0.0225 | 0.64444 | 0.01 | 2757 |  |  |  | mg/L as P | N150 | PDNP_21238A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 2580267 | 2021-09-23 |  | 0.1937 | 0.184 | 105.2717 | 5.2717 | 0.0092 | 1.0543 | 0.01 | 2757 |  |  |  | mg/L as P | N149 | PDNP_21264A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2021 | 2790017 | 2021-10-27 |  | 0.1867 | 0.184 | 101.4674 | 1.4674 | 0.0092 | 0.29348 | 0.01 | 2757 |  |  |  | mg/L as P | N149 | PDNP_21285A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 2870239 | 2021-10-28 |  | 0.3244 | 0.323 | 100.4334 | 0.43344 | 0.01615 | 0.086687 | 0.01 | 2757 |  |  |  | mg/L as P | N152 | PDNP_21288A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 3000136 | 2021-11-12 |  | 0.3162 | 0.323 | 97.8947 | -2.1053 | 0.01615 | -0.42105 | 0.01 | 2757 |  |  |  | mg/L as P | N152 | PDNP_21313A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 3130187 | 2021-11-29 |  | 0.0876 | 0.089 | 98.427 | -1.573 | 0.005 | -0.28 | 0.01 | 2757 |  |  |  | mg/L as P | N151 | PDNP_21327A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 3270277 | 2021-12-10 |  | 0.0898 | 0.089 | 100.8989 | 0.89888 | 0.005 | 0.16 | 0.01 | 2757 |  |  |  | mg/L as P | N151 | PDNP_21341B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 3550428 | 2022-01-07 |  | 0.3199 | 0.323 | 99.0402 | -0.95975 | 0.01615 | -0.19195 | 0.01 | 2757 |  |  |  | mg/L as P | N152 | PDNP_22003A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 3640135 | 2022-01-12 |  | 0.3063 | 0.323 | 94.8297 | -5.1703 | 0.01615 | -1.0341 | 0.01 | 2757 |  |  |  | mg/L as P | N152 | PDNP_22010A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 0120118 | 2022-01-21 |  | 0.0888 | 0.089 | 99.7753 | -0.22472 | 0.005 | -0.04 | 0.01 | 2757 |  |  |  | mg/L as P | N151 | PDNP_22013A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 0250046 | 2022-02-07 |  | 0.0914 | 0.089 | 102.6966 | 2.6966 | 0.005 | 0.48 | 0.01 | 2757 |  |  |  | mg/L as P | N151 | PDNP_22035A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 0390080 | 2022-02-18 |  | 0.328 | 0.323 | 101.548 | 1.548 | 0.01615 | 0.3096 | 0.01 | 2757 |  |  |  | mg/L as P | N152 | PDNP_22042B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 0540111 | 2022-03-08 |  | 0.3181 | 0.323 | 98.483 | -1.517 | 0.01615 | -0.30341 | 0.01 | 2757 |  |  |  | mg/L as P | N152 | PDNP_22063A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 0670119 | 2022-03-23 |  | 0.0947 | 0.089 | 106.4045 | 6.4045 | 0.005 | 1.14 | 0.01 | 2757 |  |  |  | mg/L as P | N151 | PDNP_22080A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 0820069 | 2022-04-07 |  | 0.0907 | 0.089 | 101.9101 | 1.9101 | 0.005 | 0.34 | 0.01 | 2757 |  |  |  | mg/L as P | N151 | PDNP_22096B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 1020027 | 2022-04-28 |  | 0.296 | 0.293 | 101.0239 | 1.0239 | 0.01465 | 0.20478 | 0.01 | 2757 |  |  |  | mg/L as P | N154 | PDNP_22116A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 1170084 | 2022-05-10 |  | 0.2864 | 0.293 | 97.7474 | -2.2526 | 0.01465 | -0.45051 | 0.01 | 2757 |  |  |  | mg/L as P | N154 | PDNP_22126A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 1320259 | 2022-05-25 |  | 0.0933 | 0.098 | 95.2041 | -4.7959 | 0.006 | -0.78333 | 0.01 | 2757 |  |  |  | mg/L as P | N153 | PDNP_22143B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 1460102 | 2022-06-08 |  | 0.0953 | 0.098 | 97.2449 | -2.7551 | 0.006 | -0.45 | 0.01 | 2757 |  |  |  | mg/L as P | N153 | PDNP_22157B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 1660164 | 2022-06-29 |  | 0.2625 | 0.293 | 89.5904 | -10.4096 | 0.01465 | -2.0819 | 0.01 | 2757 |  |  |  | mg/L as P | N154 | PDNP_22173A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 1790081 | 2022-07-20 |  | 0.3 | 0.293 | 102.3891 | 2.3891 | 0.01465 | 0.47782 | 0.01 | 2757 |  |  |  | mg/L as P | N154 | PDNP_22195A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 1930197 | 2022-07-29 |  | 0.0991 | 0.098 | 101.1224 | 1.1224 | 0.006 | 0.18333 | 0.01 | 2757 |  |  |  | mg/L as P | N153 | PDNP_22206C
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 2080419 | 2022-08-12 |  | 0.1009 | 0.098 | 102.9592 | 2.9592 | 0.006 | 0.48333 | 0.01 | 2757 |  |  |  | mg/L as P | N153 | PDNP_22223A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 2210118 | 2022-08-31 |  | 0.2842 | 0.293 | 96.9966 | -3.0034 | 0.01465 | -0.60068 | 0.01 | 2757 |  |  |  | mg/L as P | N154 | PDNP_22236A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 2360392 | 2022-09-26 |  | 0.285 | 0.293 | 97.2696 | -2.7304 | 0.01465 | -0.54608 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N154 | PDNP_22265A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 2570116 | 2022-10-26 |  | 0.1009 | 0.098 | 102.9592 | 2.9592 | 0.006 | 0.48333 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PDNP_22285B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2022 | 2710052 | 2022-11-08 |  | 0.094 | 0.098 | 95.9184 | -4.0816 | 0.006 | -0.66667 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N153 | PDNP_22308A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 2860104 | 2022-12-06 |  | 0.663 | 0.67 | 98.9552 | -1.0448 | 0.0335 | -0.20896 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156 | PDNP_22339B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 2990137 | 2022-12-15 |  | 0.67 | 0.67 | 100 | 0 | 0.0335 | 0 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156 | PDNP_22347B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 3130112 | 2023-01-04 |  | 0.136 | 0.131 | 103.8168 | 3.8168 | 0.007 | 0.71429 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PDNP_22364A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 3260046 | 2023-01-11 |  | 0.141 | 0.131 | 107.6336 | 7.6336 | 0.007 | 1.4286 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PDNP_23009A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 3490123 | 2023-01-30 |  | 0.667 | 0.67 | 99.5522 | -0.44776 | 0.0335 | -0.089552 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156 | PDNP_23025B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 0040115 | 2023-01-31 |  | 0.675 | 0.67 | 100.7463 | 0.74627 | 0.0335 | 0.14925 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156 | PDNP_23026A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 0190116 | 2023-02-02 |  | 0.144 | 0.131 | 109.9237 | 9.9237 | 0.007 | 1.8571 | 0.01 | 2757 |  |  |  | mg/L as P | N155 | PDNP_23027B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 0310089 | 2023-02-09 |  | 0.138 | 0.131 | 105.3435 | 5.3435 | 0.007 | 1 | 0.01 | 2757 |  |  |  | mg/L as P | N155 | PDNP_23039A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 0470004 | 2023-02-24 |  | 0.522 | 0.67 | 77.9104 | -22.0896 | 0.0335 | -4.4179 | 0.01 | 2757 |  |  |  | mg/L as P | N156 | PDNP_23054A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 0620098 | 2023-03-14 |  | 0.693 | 0.67 | 103.4328 | 3.4328 | 0.0335 | 0.68657 | 0.01 | 2757 |  |  |  | mg/L as P | N156 | PDNP_23067C
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 0740035 | 2023-03-30 |  | 0.142 | 0.131 | 108.3969 | 8.3969 | 0.007 | 1.5714 | 0.01 | 2757 |  |  |  | mg/L as P | N155 | PDNP_23088A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 0880094 | 2023-04-11 |  | 0.138 | 0.131 | 105.3435 | 5.3435 | 0.007 | 1 | 0.01 | 2757 |  |  |  | mg/L as P | N155 | PDNP_23094A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 1020109 | 2023-04-19 |  | 0.257 | 0.28 | 91.7857 | -8.2143 | 0.014 | -1.6429 | 0.01 | 2757 |  |  |  | mg/L as P | N158 | PDNP_23107A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 1170149 | 2023-06-21 |  | 0.273 | 0.28 | 97.5 | -2.5 | 0.014 | -0.5 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158 | PDNP_23159A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 1650067 | 2023-07-21 |  | 0.277 | 0.28 | 98.9286 | -1.0714 | 0.014 | -0.21429 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158 | PDNP_23201B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 1300162 | 2023-08-30 |  | 0.115 | 0.117 | 98.2906 | -1.7094 | 0.006 | -0.33333 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PDNP_23233A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 1840087 | 2023-09-01 |  | 0.276 | 0.28 | 98.5714 | -1.4286 | 0.014 | -0.28571 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158 | PDNP_23233D
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 1440062 | 2023-09-28 |  | 0.111 | 0.117 | 94.8718 | -5.1282 | 0.006 | -1 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PDNP_23236A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 1940235 | 2023-10-11 |  | 0.123 | 0.117 | 105.1282 | 5.1282 | 0.006 | 1 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PDNP_23242A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 2060140 | 2023-11-17 |  | 0.117 | 0.117 | 100 | 0 | 0.006 | 0 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PDNP_23311A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2023 | 2280171 | 2024-02-14 |  | 0.265 | 0.28 | 94.6429 | -5.3571 | 0.014 | -1.0714 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158 | PDNP_24043A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 3460241 | 2024-03-06 |  | 0.364 | 0.375 | 97.0667 | -2.9333 | 0.01875 | -0.58667 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N160 | PDNP_24065A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 0580161 | 2024-03-19 |  | 0.367 | 0.375 | 97.8667 | -2.1333 | 0.01875 | -0.42667 | 0.01 | 2757 |  |  |  | mg/L as P | N160 | PDNP_24071A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 3610064 | 2024-03-19 |  | 0.367 | 0.375 | 97.8667 | -2.1333 | 0.01875 | -0.42667 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N160 | PDNP_24071A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 0730121 | 2024-04-01 |  | 0.13 | 0.128 | 101.5625 | 1.5625 | 0.0064 | 0.3125 | 0.01 | 2757 |  |  |  | mg/L as P | N159 | PDNP_24081A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 0090035 | 2024-04-06 |  | 0.127 | 0.128 | 99.2188 | -0.78125 | 0.0064 | -0.15625 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N159 | PDNP_24087A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 0030063 | 2024-04-06 |  | 0.032 | 0.0375 | 85.3333 | -14.6667 | 0.005 | -1.1 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N160X | PDNP_24087A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 0440080 | 2024-04-24 |  | 0.359 | 0.375 | 95.7333 | -4.2667 | 0.01875 | -0.85333 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N160 | PDNP_24113A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 0880018 | 2024-04-27 |  | 0.127 | 0.128 | 99.2188 | -0.78125 | 0.0064 | -0.15625 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N159 | PDNP_24114A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 1000108 | 2024-04-27 |  | 0.265 | 0.275 | 96.3636 | -3.6364 | 0.01375 | -0.72727 | 0.01 | 2757 |  |  |  | mg/L as P | N162 | PDNP_24114A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 1150016 | 2024-05-02 |  | 0.269 | 0.275 | 97.8182 | -2.1818 | 0.01375 | -0.43636 | 0.01 | 2757 |  |  |  | mg/L as P | N162 | PDNP_24121A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 1370194 | 2024-05-22 |  | 0.127 | 0.13 | 97.6923 | -2.3077 | 0.007 | -0.42857 | 0.01 | 2757 |  |  |  | mg/L as P | N161 | PDNP_24142A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 1500147 | 2024-06-03 |  | 0.147 | 0.13 | 113.0769 | 13.0769 | 0.007 | 2.4286 | 0.01 | 2757 |  |  |  | mg/L as P | N161 | PDNP_24151A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 1630117 | 2024-06-14 |  | 0.266 | 0.275 | 96.7273 | -3.2727 | 0.01375 | -0.65455 | 0.01 | 2757 |  |  |  | mg/L as P | N162 | PDNP_24165A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 1770112 | 2024-07-02 |  | 0.265 | 0.275 | 96.3636 | -3.6364 | 0.01375 | -0.72727 | 0.01 | 2757 |  |  |  | mg/L as P | N162 | PDNP_24180A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 1980279 | 2024-07-26 |  | 0.132 | 0.13 | 101.5385 | 1.5385 | 0.007 | 0.28571 | 0.01 | 2757 |  |  |  | mg/L as P | N161 | PDNP_24198B
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 2130065 | 2024-08-09 |  | 0.122 | 0.13 | 93.8462 | -6.1538 | 0.007 | -1.1429 | 0.01 | 2757 |  |  |  | mg/L as P | N161 | PDNP_24218A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 2260087 | 2024-08-28 |  | 0.264 | 0.275 | 96 | -4 | 0.01375 | -0.8 | 0.01 | 2757 |  |  |  | mg/L as P | N162 | PDNP_24229A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 2400285 | 2024-09-10 |  | 0.263 | 0.275 | 95.6364 | -4.3636 | 0.01375 | -0.87273 | 0.01 | 2757 |  |  |  | mg/L as P | N162 | PDNP_24247A
Phosphorus as P, fltd, CFA | 00666 | CL063 | FIL | 2024 | 2600021 | 2024-09-26 |  | 0.132 | 0.13 | 101.5385 | 1.5385 | 0.007 | 0.28571 | 0.01 | 2757 |  |  |  | mg/L as P | N161 | PDNP_24263A